## Note
Date : 17-06-2020 Dear Sir/Madam, Please find the attached Status of Complaints Received & Pending details as on 16-06-2020
| a) | Page 1 | Complaints Status of Zones
| b) | Page 2 to 7 | Major Interruptions and Load Restriction Details
| c) | Page 8 | Accidents
| d) | Page 9 | Accidents and AE to MD and TA to MD E-Mail complaint status
| e) | Page 10 to 18 | Status of Pending Complaints Beyond Time Limit
| f) | Page 19 to 21 | Circle/Division/Sub Division Wise Complaints Details
| g) | Page 22 | Status of Pending Transformer Complaints Beyond Time Limit
| h) | Page 23 | Status of Pending Transformer Complaints
With Warm Regards
GM (CR)
94498 44778
BESCOM Helpline

## Abstract
Abstract Status of Complaints
Opening Balance | 3173
Complaints received on 16-06-2020 | 9974
Total | 13147
Cumulative Pending Complaints | 2827
Pending Complaints beyond time limit | 1336

## 16-06-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Status of Complaints as on 16-06-2020 (00:00Hrs to 23:59Hrs) at 08:00am on 17-06-2020
| Category | Category of Complaints | ZONE | [14 empty] | TOTAL
|  |  | BMAZ |  |  |  |  | BRAZ |  |  |  |  | CTAZ
|  |  | OB | New Complaints on 16-06-2020 | Total | Disposed | Pending | OB | New Complaints on 16-06-2020 | Total | Disposed | Pending | OB | New Complaints on 16-06-2020 | Total | Disposed | Pending | OB | New Complaints on 16-06-2020 | Total | Disposed | Pending
| A | FAILURE OF POWER SUPPLY | 140 | 7659 | 7799 | 7745 | 54 | 38 | 1341 | 1379 | 1352 | 27 | 24 | 357 | 381 | 367 | 14 | 202 | 9357 | 9559 | 9464 | 95
| B | VOLTAGE COMPLAINTS | 44 | 51 | 95 | 56 | 39 | 7 | 1 | 8 | 5 | 3 | 0 | 2 | 2 | 1 | 1 | 51 | 54 | 105 | 62 | 43
| C | METER COMPLAINTS | 261 | 36 | 297 | 63 | 234 | 6 | 5 | 11 | 1 | 10 | 6 | 1 | 7 | 3 | 4 | 273 | 42 | 315 | 67 | 248
| D | BILLING ISSUES | 959 | 227 | 1186 | 390 | 796 | 43 | 25 | 68 | 37 | 31 | 13 | 7 | 20 | 10 | 10 | 1015 | 259 | 1274 | 437 | 837
| E | SAFETY ISSUES | 826 | 65 | 891 | 83 | 808 | 98 | 7 | 105 | 9 | 96 | 88 | 3 | 91 | 6 | 85 | 1012 | 75 | 1087 | 98 | 989
0 | F | TRANSFORMER FAILURE COMPLAINTS | 0 | 2 | 2 | 2 | 0 | 1 | 51 | 52 | 49 | 3 | 0 | 62 | 62 | 62 | 0 | 1 | 115 | 116 | 113 | 3
0 | G | THEFT | 73 | 2 | 75 | 9 | 66 | 71 | 1 | 72 | 0 | 72 | 56 | 0 | 56 | 0 | 56 | 200 | 3 | 203 | 9 | 194
| H | ALLEGATIONS ON STAFF | 30 | 0 | 30 | 0 | 30 | 7 | 0 | 7 | 0 | 7 | 6 | 0 | 6 | 0 | 6 | 43 | 0 | 43 | 0 | 43
| I | NEW CONNECTION/ ADDITIONAL LOAD | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| J | PHASE CONVERSION | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5 | 0 | 5
| K | TRANSFER OF OWNERSHIP AND CONVERSION | 54 | 4 | 58 | 2 | 56 | 1 | 2 | 3 | 1 | 2 | 1 | 0 | 1 | 1 | 0 | 56 | 6 | 62 | 4 | 58
| L | REFUND/ ISSUE OF CERTIFICATES | 32 | 2 | 34 | 11 | 23 | 3 | 1 | 4 | 2 | 2 | 1 | 0 | 1 | 0 | 1 | 36 | 3 | 39 | 13 | 26
| M | ADDITIONAL TC/ ENHANCEMENT | 2 | 1 | 3 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 3 | 1 | 2
| N | GENERAL | 234 | 50 | 284 | 42 | 242 | 23 | 5 | 28 | 7 | 21 | 18 | 4 | 22 | 3 | 19 | 275 | 59 | 334 | 52 | 282
| Grand Total |  | 2662 | 8099 | 10761 | 8404 | 2357 | 298 | 1439 | 1737 | 1463 | 274 | 213 | 436 | 649 | 453 | 196 | 3173 | 9974 | 13147 | 10320 | 2827

## KPTCL
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (16-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| - | - | 0:00 | - | - | - | 0:00 | -
TOTAL | Nil |  | 0:00 |  | Nil |  | 0:00

## BESCOM
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (16-06-2020)
| Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
BESCOM | - | - | 0:00 | - | 1)66/11KV Hoody MUSS F10 Feeder faulty Affected Areas:E12:Garudacharpalya,Mahadevapura and surrounding areas. (Changeover not arranged),confirmed by Madaiah AE 9449810248 . | 01:30hrs to 02:30hrs. | 1:00 | Madaiah AE 9449810248
| - | - | 0:00 | - | 2)66/11KV Gollahalli MUSS F11 Feeder faulty Affected Areas:S10:Poorvankara, Kalena Agrahara, MLA layout and surrounding areas. (Changeover not arranged),confirmed by Sudhakar JE 8277892509. | 01:22hrs to 02:45hrs. | 1:23 | Sudhakar JE 8277892509
| - | - | 0:00 | - | 3)66/11KV NRS MUSS F11 Feeder HT jump cut Affected Areas:C1: A D block ,L N Pura, 4th cross, 5th cross, Nagappa block and surrounding areas. (Changeover not arranged),confirmed by Siddhegowda JE 9449844691. | 01:45hrs to 03:07hrs. | 1:22 | Siddhegowda JE 9449844691
| - | - | 0:00 | - | 4)66/11KV B Station MUSS F22 Feeder AB Cable fault Affected Areas:E1:Chinnappa garden ,SK Garden,Benson town and surrounding areas. (Changeover not arranged),confirmed by Hemanth JE 9449875017. | 05:15hrs to 10:05hrs. | 4:50 | Hemanth JE 9449875017
| - | - | 0:00 | - | 5)66/11KV HBR MUSS F2 Feeder VL tripped Affected Areas:E5:9th main road, 2nd block HBR layout, Lingarajapuram and surrounding areas. (Changeover not arranged),confirmed by Puttaswamy JE 9449844728. | 07:20hrs to 08:00hrs. | 0:40 | Puttaswamy JE 9449844728
| - | - | 0:00 | - | 6)66/11KV Nandini Layout MUSS F4 Feeder faulty Affected Areas:C1:LN Puram, Srirampuram,Devaiah Park and surrounding areas. (Changeover not arranged),confirmed by Siddegowda JE 9449844691. | 07:30hrs to 08:30hrs. | 1:00 | Siddegowda JE 9449844691
| - | - | 0:00 | - | 7)66/11KV Remco MUSS F1 Feeder VL tripped Affected Areas:N2:BCC layout, Attiguppe, Part of Vijaya nagar and surrounding areas. (Changeover not arranged),confirmed by Ramesh JE 9449844702. | 09:00hrs to 10:00hrs. | 1:00 | Ramesh JE 9449844702
| - | - | 0:00 | - | 8)66/11KV Naganathapura MUSS F4 Feeder HT jump cut Affected Areas:S8:Hongasandra, Mico layout and surrounding areas. (Changeover not arranged),confirmed by Basavaraj JE 9449868447. | 10:30hrs to 11:15hrs. | 0:45 | Basavaraj JE 9449868447
| - | - | 0:00 | - | 9)66/11KV Victoria MUSS F14 Feeder HT jump cut Affected Areas:W2:Mysore road circle, Chamrajpet and surrounding areas. (Changeover not arranged),confirmed by Kamala JE 9449844734. | 10:30hrs to 12:10hrs. | 1:40 | Kamala JE 9449844734
| - | - | 0:00 | - | 10)66/11KV Remco MUSS F9 Feeder VL kept open for HT jump Replacement work Affected Areas:N2:BCC layout, Attiguppe,Nethaji layout,Marenahalli and surrounding areas. (Changeover not arranged),confirmed by Chandrashekar AE 9449869137. | 10:50hrs to 14:30hrs. | 3:40 | Chandrashekar AE 9449869137
| - | - | 0:00 | - | 11)66/11KV Banasavadi MUSS F1 Feeder 250KVA Transformer kept open for AB Cable work Affected Areas:E8:Nandanam colony, Horamavu and surrounding areas. (Changeover not arranged),confirmed by Manoj Kumar AE 9449869318. | 10:45hrs to 18:30hrs. | 7:45 | Manoj Kumar AE 9449869318
| - | - | 0:00 | - | 12)66/11KV Tavarekere MUSS F5 Feeder faulty Affected Areas:TV1:Varthur, Metipalya, Hosapalya and surrounding areas. (Changeover not arranged),confirmed by Manjunath JE 9480823253. | 11:00hrs to 12:15hrs. | 1:15 | Manjunath JE 9480823253
| - | - | 0:00 | - | 13)66/11KV HAL MUSS F13 Feeder to F2 Feeder Change over work Affected Areas:S17:Gururaja layout, Doddanekundi,Marathalli and surrounding areas. (Changeover not arranged),confirmed by Somashekar AE 9449844715. | 11:10hrs to 12:15hrs. | 1:05 | Somashekar AE 9449844715
| - | - | 0:00 | - | 14)66/11KV LR Bande MUSS F14 Feeder line clear taken for LT Lead Replacement work Affected Areas:C5:D J Halli, Modi road, Kavalbyrasandra and surrounding areas. (Changeover not arranged),confirmed by Umesh JE 9449865212. | 11:15hrs to 12:45hrs. | 1:30 | Umesh JE 9449865212
| - | - | 0:00 | - | 15)66/11KV BSK MUSS F20 Feeder VL kept open for LT line Laying work Affected Areas:S15:ITI layout, Kathriguppe and surrounding areas. (Changeover not arranged),confirmed by Srinivas JE 9449867887. | 11:20hrs to 14:10hrs. | 2:50 | Srinivas JE 9449867887
| - | - | 0:00 | - | 16)66/11KV NRS MUSS F25 Feeder 990KVA Transformer kept open for HT line Maintenance work Affected Areas:C1:Srirampura,Prakash nagar and surrounding areas. (Changeover not arranged),confirmed by Venugopal AE 9449864487. | 11:20hrs to 13:25hrs. | 2:05 | Venugopal AE 9449864487
| - | - | 0:00 | - | 17)66/11KV ITI MUSS F16 Feeder GOS kept open for Tree trimming work Affected Areas:E10:B Narayanapura, Anugraha layout, Sakamma layout, Nagarajappa layout,Pai layout and surrounding areas. (Changeover not arranged),confirmed by Santosh AE 9449874211. | 11:20hrs to 12:30hrs. | 1:10 | Santosh AE 9449874211
| - | - | 0:00 | - | 18)66/11KV Malgudi MUSS F19 Feeder one bit open for Tree trimming work & GOS Maintenance work Affected Areas:VE1:Anantha nagar, Veerasandra and surrounding areas. (Changeover not arranged),confirmed by Suresh AE 9449872371,. | 11:36hrs to 15:15hrs. | 3:39 | Suresh AE 9449872371,
| - | - | 0:00 | - | 19)66/11KV RMV MUSS F12 Feeder 250KVA Transformer kept open for AB Cable faulty Affected Areas:C9:LKR nagar, Devinagar, Kodigehalli and surrounding areas. (Changeover not arranged),confirmed by Kiran Kumar AE 8073094698. | 11:30hrs to 17:00hrs. | 5:30 | Kiran Kumar AE 8073094698
| - | - | 0:00 | - | 20)66/11KV Sahakara nagar MUSS F9,F13 Feeder's faulty Affected Areas:C9:Siddivinayaka layout,Thindlu main road, Virupakshapura and surrounding areas. (Changeover not arranged),confirmed by Gangadar JE 9449865383. | 11:35hrs to 12:50hrs. | 1:15 | Gangadar JE 9449865383
| - | - | 0:00 | - | 21)66/11KV HBR MUSS F6 Feeder line clear taken for GOS Maintenance work Affected Areas:E9:Fathima layout, Nagavara main road, Govindpura and surrounding areas. (Changeover not arranged),confirmed by Manjunath AE 9449874909. | 11:45hrs to 13:15hrs. | 1:30 | Manjunath AE 9449874909
| - | - | 0:00 | - | 22)66/11KV HBR MUSS F2 Feeder line clear taken for Tree fallen on HT line Affected Areas:E5:HBR layout 2nd block, Lingarajpura and surrounding areas. (Changeover not arranged),confirmed by Mahadevappa AE 9449874970. | 12:00hrs to 13:15hrs. | 1:15 | Mahadevappa AE 9449874970
| - | - | 0:00 | - | 23)66/11KV Hoody MUSS F19 Feeder line clear taken for 250KVA Transformer Maintenance work Affected Areas:E12:Rajpalya,Lakshmi sagar layout, Mahadevapura and surrounding areas. (Changeover not arranged),confirmed by Gopal JE 9449810248. | 12:00hrs to 13:30hrs. | 1:30 | Gopal JE 9449810248
| - | - | 0:00 | - | 24)66/11KV Bydarahalli MUSS F8 Feeder to F4 Feeder Change over work Affected Areas:K2:Vidyamanya nagar Andrahalli and surrounding areas. (Changeover not arranged),confirmed by Kumar Swamy JE 9449870347. | 12:15hrs to 13:10hrs. | 0:55 | Kumar Swamy JE 9449870347
| - | - | 0:00 | - | 25)66/11KV Shanthinikethan MUSS F5 Feeder VL kept open for Tree trimming work Affected Areas:E4:ECC road, Agrahara road, White field and surrounding areas. (Changeover not arranged),confirmed by Pritham AE 9449844639. | 12:20hrs to 13:40hrs. | 1:20 | Pritham AE 9449844639
| - | - | 0:00 | - | 26)66/11KV Divyashree MUSS F15 Feeder VL kept open for Tree trimming work Affected Areas:S7:BEML layout, Kundalahalli and surrounding areas. (Changeover not arranged),confirmed by Lakshmikanthappa AE 9449844849. | 11:40hrs to 14:30hrs. | 2:50 | Lakshmikanthappa AE 9449844849
| - | - | 0:00 | - | 27)66/11KV Amarjothi MUSS F4 Feeder VL kept open for Tree trimming work Affected Areas:S3:E G Pura, Vivek nagar, Austin town and surrounding areas. (Changeover not arranged),confirmed by Abhishek AE 9449840447. | 12:40hrs to 14:30hrs. | 1:50 | Abhishek AE 9449840447
| - | - | 0:00 | - | 28)66/11KV Remco MUSS F4 Feeder 250KVA Transformer kept open for Tree trimming work Affected Areas:W6:Bapuji nagar Byatarayanapura and surrounding areas. (Changeover not arranged),confirmed by Shruthi AE 9449844741. | 12:40hrs to 15:20hrs. | 2:40 | Shruthi AE 9449844741
| - | - | 0:00 | - | 29)66/11KV Elita MUSS F2 Feeder GOS kept open for Tree trimming work Affected Areas:S6:JP nagar 6th phase, Abbaiah reddy layout,Puttenahalli and surrounding areas. (Changeover not arranged),confirmed by Lingaraju JE 8277892503. | 13:00hrs to 13:30hrs. | 0:30 | Lingaraju JE 8277892503
| - | - | 0:00 | - | 30)66/11KV Naganathapura MUSS F1 Feeder line clear taken for AB Cable work Affected Areas:S13:Shruti nagar, Basapura, Hosa road, CK nagar and surrounding areas. (Changeover not arranged),confirmed by Nagaraju JE 9449868563. | 13:20hrs to 16:35hrs. | 3:15 | Nagaraju JE 9449868563
| - | - | 0:00 | - | 31)66/11KV Khodays MUSS F2 and Anjanapura, MUSS F7, F8 Feeder's OD kept open for Tree trimming work Affected Areas:S12:BDA 3rd block, Anjanapura, DX Max and surrounding areas. (Changeover not arranged),confirmed by Hareesh JE 9449844813. | 14:15hrs to 17:00hrs. | 2:45 | Hareesh JE 9449844813
| - | - | 0:00 | - | 32)66/11KV L,T South City MUSS F4 Feeder VL kept open for GOS Maintenance and wire stringing work Affected Areas:S12:Lakshmi layout, Panduranga nagar and surrounding areas. (Changeover not arranged),confirmed by Vivek AE 9449840484. | 10:30hrs to 16:15hrs. | 5:45 | Vivek AE 9449840484
| - | - | 0:00 | - | 33)66/11KV Kadubeesanahalli MUSS F9,F13 Feeder's line clear taken for bent Pole work Affected Areas:S7:SGR dental college, Ashwah nagar, Marathahalli bridge, Chinappanahalli,Dental college road, CKB layout, Balaji layout and surrounding areas. (Changeover not arranged),confirmed by Viswanath JE 9449868149. | 14:30hrs to 18:05hrs. | 3:35 | Viswanath JE 9449868149
| - | - | 0:00 | - | 34)66/11KV RR Nagar MUSS F1 Feeder loop kept open for LT AB Cable work , GOS Maintenance & Tree trimming work Affected Areas:W7:Manipal hospital, kandappa layout Jyanashree school,RR nagar and surrounding areas. (Changeover not arranged),confirmed by Raghavendra AE 9449870938. | 14:30hrs to 18:15hrs. | 3:45 | Raghavendra AE 9449870938
| - | - | 0:00 | - | 35)66/11KV Bagamane MUSS F8 Feeder tripped Affected Areas:S17:GMPalya, Kaveri nagar, Part of Jagadishnagar, BEML circle and surrounding areas. (Changeover not arranged),confirmed by Venktesh JE 9449877000. | 14:35hrs to 15:55hrs. | 1:20 | Venktesh JE 9449877000
| - | - | 0:00 | - | 36)66/11KV Banaswadi MUSS F3 Feeder 250 KVA transformer kept open for AB Cable work Affected Areas:E9:Chikanna layout , kothnur and surrounding areas. (Changeover not arranged),confirmed by Santosh AE 9449875059. | 12:30hrs to 16:45hrs. | 4:15 | Santosh AE 9449875059
| - | - | 0:00 | - | 37)66/11KV Somanahalli MUSS F4,F9 Feeder's line clear taken for 11 KV wiring work Affected Areas:K3:Kaggalipura, Bolare and surrounding areas. (Changeover not arranged),confirmed by Siddappa JE 9449866749. | 15:00hrs to 17:10hrs. | 2:10 | Siddappa JE 9449866749
| - | - | 0:00 | - | 38)66/11KV RBI MUSS F4 Feeder jump kept open for AB Cable work Affected Areas:S6:Srinidhi layout, RBI layout, Konankunte cross and surrounding areas. (Changeover not arranged),confirmed by Ramesh AE 9449867699. | 15:00hrs to 17:20hrs. | 2:20 | Ramesh AE 9449867699
| - | - | 0:00 | - | 39)66/11KV Nelamangala MUSS F24 Feeder faulty Affected Areas:NM1:Sondekoppa , vinayak nagar and surrounding areas. (Changeover not arranged),confirmed by Hemanth AE 8277892553. | 15:30hrs to 17:35hrs. | 2:05 | Hemanth AE 8277892553
| - | - | 0:00 | - | 40)66/11KV SRS MUSS F4 Feeder Vl kept open for lead wire cut Affected Areas:N5:Coconut garden, T dasarahalli and surrounding areas. (Changeover not arranged),confirmed by Dhanalakshmi AE 9449865418. | 16:00hrs to 17:15hrs. | 1:15 | Dhanalakshmi AE 9449865418
| - | - | 0:00 | - | 41)66/11KV SRS MUSS F23 Feeder 250KVA Transformer single phase Affected Areas:N4:Peenya 3rd stage, laggere and surrounding areas. (Changeover not arranged),confirmed by Sunder raj JE 9449844706. | 16:10hrs to 17:15hrs. | 1:05 | Sunder raj JE 9449844706
| - | - | 0:00 | - | 42)66/11KV Sahakara nagar MUSS F3 Feeder 250 KVA Transformer kept open for Tree trimming work Affected Areas:C8:Talakaveri layout, Amruthahalli and surrounding areas. (Changeover not arranged),confirmed by Panindra AE 9449864912. | 16:15hrs to 17:00hrs. | 0:45 | Panindra AE 9449864912
| - | - | 0:00 | - | 43)66/11KV Jayanagar MUSS F8 Feeder HT AB Cable joining work Affected Areas:S1:Jayanagra 4th T block and surrounding areas. (Changeover not arranged),confirmed by Chiranjeevi AE 9449840403. | 16:30hrs to 19:25hrs. | 2:55 | Chiranjeevi AE 9449840403
| - | - | 0:00 | - | 44)66/11KV St Jhon MUSS F2 Feeder tripped Affected Areas:S16:Tavarekere main road, balajinagar, Majestic appartment, Chikka adugodi, Gurappan palya and surrounding areas. (Changeover not arranged),confirmed by Goni basapa AE 9480811280. | 16:40hrs to 17:40hrs. | 1:00 | Goni basapa AE 9480811280
| - | - | 0:00 | - | 45)66/11KV RR Nagar MUSS F5 Feeder HT Cable damage By BWSSB Affected Areas:K1:Kodi palya, Kengeri , H Gollahalli and surrounding areas. (Changeover not arranged),confirmed by Sidappa JE 28486143. | 16:30hrs to 20:00hrs. | 3:30 | Sidappa JE 28486143
| - | - | 0:00 | - | 46)66/11KV Jayadeva MUSS F18 Feeder UG Cable fault Affected Areas:S14:BDA flats, 2nd main, 3rd main , BTM 2nd stage and surrounding areas. (Changeover not arranged),confirmed by Ranganath JE 9449844835. | 17:00hrs to 18:00hrs. | 1:00 | Ranganath JE 9449844835
| - | - | 0:00 | - | 47)66/11KV HBR MUSS F5 Feeder Pole erection work Affected Areas:E5:HBR 1st block,Lingarajpura and surrounding areas. (Changeover not arranged),confirmed by Mahadevappa AE 9449874970. | 16:30hrs to 18:45hrs. | 2:15 | Mahadevappa AE 9449874970
| - | - | 0:00 | - | 48)66/11KV Bagamane MUSS F14 Feeder 250 KVA Transformer failure Affected Areas:S17:Mallesh palya and surrounding areas. (Changeover not arranged),confirmed by Hareesh JE 9449877000. | 17:45hrs to 18:45hrs. | 1:00 | Hareesh JE 9449877000
| - | - | 0:00 | - | 49)66/11KV Bukkapatna MUSS F1, F10, F11, F12 line clear taken for Pole shifting work Affected Areas:SR2:Bukkapatna, Janukal and surrounding areas. (Changeover not arranged),confirmed by Hanumantharayappa JE 9449843725. | 17:00hrs to 20:30hrs. | 3:30 | Hanumantharayappa JE 9449843725
| - | - | 0:00 | - | 50)66/11KV Jakksandra MUSS F1 Feeder faulty Affected Areas:S20:Venkatapura, Kormangala 1st block and surrounding areas. (Changeover not arranged),confirmed by Janardhan JE 9449844831. | 18:15hrs to 19:50hrs. | 1:35 | Janardhan JE 9449844831
| - | - | 0:00 | - | 51)66/11KV C staion F4 Feeder UG Cable fault Affected Areas:E1:Haris road, BB road, William Town, SK garden , Wahab garden , Chinnapa garden, MRS pallya, Willam town extension, Gandi grama , and surrounding areas. (Changeover not arranged),confirmed by Pasha JE 9449874769. | 18:15hrs to 19:30hrs. | 1:15 | Pasha JE 9449874769
| - | - | 0:00 | - | 52)66/11KV Banasavadi MUSS F1 Feeder HT jump cut Affected Areas:E8:Nandanam colony, Horamavu and surrounding areas. (Changeover not arranged),confirmed by Manoj Kumar AE 9449875058. | 18:30hrs to 19:40hrs. | 1:10 | Manoj Kumar AE 9449875058
| - | - | 0:00 | - | 53)66/11KV SRS MUSS F20 Feeder AB Cable work Affected Areas:N4:Laggere, Rajgopal nagar and surrounding areas. (Changeover not arranged),confirmed by Sunder JE 9449844706. | 17:15hrs to 20:00hrs. | 2:45 | Sunder JE 9449844706
| - | - | 0:00 | - | 54)66/11KV Somanahalli MUS F4 Feeder HT wire cut Affected Areas:K3:Kaggalipura and surrounding areas. (Changeover not arranged),confirmed by Vijayakumar AE 9449870350. | 19:00hrs to 20:30hrs. | 1:30 | Vijayakumar AE 9449870350
| - | - | 0:00 | - | 55)66/11KV Nelamnagala MUSS F8 Feeder faulty Affected Areas:NM1:Nelamaingala, Arishinakunte and surrounding areas. (Changeover not arranged),confirmed by Mallikarjun AE 8277892551. | 19:00hrs to 20:40hrs. | 1:40 | Mallikarjun AE 8277892551
| - | - | 0:00 | - | 56)66/11KV Kodigehalli MUSS F6 Feeder faulty Affected Areas:TV1:Machohalli colony , chikkagollarahatti, janapriya township and surrounding areas. (Changeover not arranged),confirmed by Mohan Kumar AE 9449873937. | 19:20hrs to 21:40hrs. | 2:20 | Mohan Kumar AE 9449873937
| - | - | 0:00 | - | 57)66/11KV Kemanahalli MUSS F6 Feeder faulty Affected Areas:KU1:Uttari durga, Ippadi, Naganahalli, Kulumepalya and surrounding areas. (Changeover not arranged),confirmed by Raju JE 9481326480. | 19:30hrs to 21:15hrs. | 1:45 | Raju JE 9481326480
| - | - | 0:00 | - | 58)66/11KV Naganathapura MUSS F6 Feeder LT wire cut Affected Areas:S8:GB palya, Om shakti layout and surrounding areas. (Changeover not arranged),confirmed by Mahadev AE 9449810245. | 19:55hrs to 20:15hrs. | 0:20 | Mahadev AE 9449810245
| - | - | 0:00 | - | 59)66/11KV Banasawadi MUSS F17 Feeder faulty Affected Areas:E5, E8:R S palya, Kammanahalli, Subanna palya ,Lingarajpura and surrounding areas. (Changeover not arranged),confirmed by Mahesh JE 9449869348. | 20:45hrs to 21:40hrs. | 0:55 | Mahesh JE 9449869348
| - | - | 0:00 | - | 60)66/11KV Kadugodi MUSS F3 Feeder faulty Affected Areas:HK1:Samethanahalli, Naganayakanakote and surrounding areas. (Changeover not arranged),confirmed by Jagadish JE 9448375151. | 20:45hrs to 21:50hrs. | 1:05 | Jagadish JE 9448375151
| - | - | 0:00 | - | 61)66/11KV Arehalli MUSS F10 Feeder HT jump cut Affected Areas:S18:AG's layout, Arehalli & Srinivasa colony and surrounding areas. (Changeover not arranged),confirmed by Mahadeva AE 9449844796. | 21:35hrs to 21:45hrs. | 0:10 | Mahadeva AE 9449844796
| - | - | 0:00 | - | 62)66/11KV HSR MUSS F10 Feeder HT Fuse burnt out Affected Areas:S20:M M palya, ITI layout and surrounding areas. (Changeover not arranged),confirmed by Devaraju JE 9449868403. | 21:35hrs to 21:50hrs. | 0:15 | Devaraju JE 9449868403
| - | - | 0:00 | - | 63)66/11KV Padmanaba Nagar MUSS F12 Feeder one bit faulty Affected Areas:W8:Thyagaraj Nagar and surrounding areas and surrounding areas. (Changeover not arranged),confirmed by Muniraju JE 9449870871. | 22:00hrs to 24:45hrs. | 2:45 | Muniraju JE 9449870871
| - | - | 0:00 | - | 64)66/11KV HAL MUSS F2 Feeder 11KV jump cut Affected Areas:S17:HAL Shed, Marathahalli mian road, LRDE L/o, Ashwathnagar, Anandnagar, Manjunathnagar, Sanjaynagar and surrounding areas. (Changeover not arranged),confirmed by Basavaraju JE 9449844715. | 22:15hrs to 23:05hrs. | 0:50 | Basavaraju JE 9449844715
| - | - | 0:00 | - | 65)66/11KV NG Halli MUSS F8 Feeder 11KV Pin insulator flashover Affected Areas:K2:Andrahalli, Thigalara Palya, and surrounding areas and surrounding areas. (Changeover not arranged),confirmed by Manjunath JE 9449870347. | 22:30hrs to 23:00hrs. | 0:30 | Manjunath JE 9449870347
| - | - | 0:00 | - | 66)66/11KV Sarakki MUSS F18 Feeder Tree branches falling on line Affected Areas:S6:CR layout, GM garden, JP nagar 1st phase, JNR 8th block and surrounding areas. (Changeover not arranged),confirmed by Ramesh JE 9449844719. | 23:25hrs to 23:50hrs. | 0:25 | Ramesh JE 9449844719
TOTAL | Nil |  | 0:00 |  | 66 |  | 1900-01-04 10:29
Formulas:
Duration (in Hrs) = SUM(J6:[Duration (in Hrs), row above])

## (Load restriction)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions of Load Restriction by KPTCL (16-06-2020)
| Discription | Timings | Duration (in Hrs) | Confirmed By
KPTCL | - | - | 0:00 | -
Total | Nil |  | 0:00

## Accidents
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Accidents
BMAZ |  |  |  | BRAZ |  |  |  | CTAZ |  |  |  | Total
Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental
Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal
- | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## AE TO MD E-Mail Complaints
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
AE to MD and TA to MD E-mail pending complaints
Sl.No | Circle | Date | Issue | Docket No. | Time as per KERC | Tentative Date | Remarks
1 | SOUTH | 2020-05-26 | Frequent power cut | NS10827391 | 7 days | Not confirmed | mail recieved form AEE+J3:J11 As the above said your Complaint Docket number NS19539729 about frequent power supply in Duo heights Layot, due to heavy Rain & Wind there will be frequent Main supply failue from 220 kva station somanahalli interruption was occurred, and after power supply was normalised. For any power supply issues please contact our AEE 9449844670, & AE-9449840472same as forwarded to consumer awaiting for reply .
2 | SOUTH | 2020-05-26 | Frequent power cut | NS20913895 | 7 days | Not confirmed | Informed to AEE Sri.Jagadish.M.H 8277893186 and awaiting for reply
3 | SOUTH | 2020-05-28 | Excess bill | DS16532677 | 7 days | Not confirmed | informed to Ravindra.S.G AAO 8660627631and awaiting for reply
4 | SOUTH | 2020-05-28 | Tree Trimming | ES05966247 | 7 days | Not confirmed | informed to AEE Sri Ramaih S T 9449844665 told that he will discuss with AE and issue wil be attended by today
5 | EAST | 2020-05-31 | Serious Power Outages | NE09830039 | 7 days | Not confirmed | Informed to Kumar Nayak AEE 9449877171 and awaiting for reply
6 | WEST | 2020-06-01 | Frequent Power Cut and Fluctuations | NW07331189 | 7 days | Not confirmed | Informed to Eshwarappa AEE 9449844894 and awaiting for reply
7 | BRC | 2020-06-01 | Frequent Power Cut | NHK1880397 | 7 days | Not confirmed | Informed to Anil Kumar A.V AEE 9448279084 and awaiting for reply
8 | NORTH | 2020-06-01 | Tree trimming. | EN5443772 | 7 days | Not confirmed | Informed to Parashuram AEE 9449844655 and awaiting for reply
9 | SOUTH | 2020-06-03 | Uncleared debris and Deep trench with HT cables hanging dangerously after replacing switch box | NS1652858 | 7 days | Not confirmed | mail sent to AEE awaiting for reply

## BMAZ
Status of Pending Complaints Beyond Time Limit
BMAZ ZONE
Category | Category of Complaints | Sub Category | Duration | Pending Complaints Beyond Time Limit
|  |  |  | BMAZ SOUTH |  | BMAZ NORTH |  | Total
|  |  | Urban | South | West | East | North
A | FAILURE OF POWER SUPPLY | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | 6 | 31 | 4 | 13 | 54
|  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs | 0 | 0 | 0 | 0 | 0
|  | Line breakdown (pole broken) | 10 hrs | 0 | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 0 | 0 | 0 | 0 | 0
|  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 0 | 0 | 0 | 0 | 0
|  | Opening of neutral (High Voltage) | 1 hr | 2 | 2 | 4 | 5 | 13
C | METER COMPLAINTS | Inspect and check correctness | 7 days | 55 | 14 | 14 | 6 | 89 |  |  | cal
|  | Replaced slow, creeping or stuck meters | 10 days | 1 | 0 | 0 | 0 | 1
|  | Replaced burnt meters if cause not attributable to consumer | 7 days | 3 | 0 | 1 | 0 | 4
|  | Replaced burnt meters in all other cases | 24 hrs | 2 | 0 | 1 | 0 | 3
D | BILLING ISSUES | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 87 | 38 | 64 | 23 | 212
|  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 26 | 19 | 7 | 2 | 54
|  | Reconnection of supply following disconnection | On the same day | 4 | 2 | 0 | 1 | 7
E | SAFETY ISSUES | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 42 | 17 | 43 | 57 | 159
|  | Replacement of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 17 | 11 | 16 | 15 | 59 |  | c
|  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 6 | 3 | 8 | 8 | 25
|  | Tree trimming | 7 days | 40 | 55 | 34 | 37 | 166
F | Transformer FAILURE COMPLAINTS | Water Supply | 24 hrs | 0 | 0 | 0 | 0 | 0
|  | Domestic |  | 0 | 0 | 0 | 0 | 0
|  | Industry |  | 0 | 0 | 0 | 0 | 0
|  | Mixed load |  | 0 | 0 | 0 | 0 | 0
|  | Irrigation Pumpset(IP Set) |  | 0 | 0 | 0 | 0 | 0
G | THEFT | Theft | 1 Month | 4 | 6 | 25 | 16 | 51
|  | Hooking Under Nirantara Jyothi Yojane | 15 days | 1 | 0 | 2 | 0 | 3
H | ALLEGATIONS ON STAFF | Allegations on staff | 1 Month | 6 | 6 | 11 | 1 | 24
I | NEW CONNECTION/ ADDITIONAL LOAD | Release of supply where service is feasible from existing network | 1 month | 0 | 0 | 0 | 1 | 1
|  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 0 | 0 | 0 | 0 | 0
|  | IP sets | 30 days | 0 | 0 | 0 | 0 | 0
J | PHASE CONVERSION | Conversion of LT single phase to LT 3 phase | 30 days | 0 | 0 | 0 | 0 | 0
|  | Conversion from LT to HT and vice-versa | 30 days | 0 | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 16 | 6 | 14 | 1 | 37
|  | Change of category (Wrong Application Tariff) | 7 days | 0 | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES | Refund of deposits | 60 days | 0 | 0 | 1 | 0 | 1
|  | Issue of certificates | 1 day | 0 | 0 | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT | Additional TC | 1 Month | 0 | 0 | 0 | 0 | 0
|  | TC Enhancement | 15 days | 0 | 0 | 0 | 1 | 1 | 181
N | GENERAL | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 48 | 10 | 18 | 11 | 87 | 176
Grand Total |  |  |  | 366 | 220 | 267 | 198 | 1051

## BRAZ
Status of Pending Complaints Beyond Time Limit
BRAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | BRC | Ramanagar | Kolar | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transeformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 1 | 0 | 0 | 1
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 2 | 1 | 3
|  |  | Replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 1 | 1 | 3 | 5
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 10 | 14 | 9 | 33
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 9 | 3 | 7 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 3 | 1 | 0 | 4
|  |  | Tree trimming | 7 days | 7 days | 4 | 3 | 2 | 9
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 9 | 34 | 8 | 51
|  |  | Hooking Under Nirantara Jyothi Yojane | 15 days | 15 days | 1 | 4 | 2 | 7
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 0 | 4 | 2 | 6
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 1 | 1
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0 | 0 |  | `
M | ADDitIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 2 | 4 | 3 | 9
Grand Total | [5 empty] | 40 | 70 | 38 | 148
1
1336

## CTAZ
Status of Pending Complaints Beyond Time Limit
CTAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | Tumkur | Davangere | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 1 | 1
|  |  | replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0
|  |  | replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 0 | 0
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 1 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 25 | 12 | 37
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 11 | 8 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 5 | 5 | 10
|  |  | Tree trimming | 7 days | 7 days | 1 | 3 | 4
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 26 | 9 | 35
|  |  | Hooking Under Nirantara Jyoti Yojane | 15 days | 15 days | 8 | 4 | 12
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 3 | 1 | 4
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 9 | 5 | 14
Grand Total | [5 empty] | 88 | 49 | 137

## Draft summary New
Division/ Sub Division Wise Complaints of BMAZ ( 16-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BMAZ SOUTH | South | 2741 | Jayanagar | 826 | S1 | 184
[5 empty] | S2 | 39
[5 empty] | S5 | 88
[5 empty] | S6 | 174
[5 empty] | S9 | 76
[5 empty] | S14 | 82
[5 empty] | S15 | 141
[5 empty] | S18 | 42
|  |  | Kormangala | 371 | S3 | 51
[5 empty] | S4 | 69
[5 empty] | S7 | 218
[5 empty] | S16 | 33
|  |  | HSR | 1544 | S8 | 108
[5 empty] | S10 | 153
[5 empty] | S11 | 91
[5 empty] | S12 | 224
[5 empty] | S13 | 242
[5 empty] | S17 | 366
[5 empty] | S19 | 96
[5 empty] | S20 | 264
| West | 1776 | Rajajajinagar | 589 | N1 | 27
[5 empty] | N2 | 242
[5 empty] | N3 | 112
[5 empty] | N6 | 50
[5 empty] | N8 | 117
[5 empty] | N10 | 41
|  |  | R.R. Nagar | 512 | W1 | 82
[5 empty] | W2 | 131
[5 empty] | W6 | 58
[5 empty] | W8 | 105
[5 empty] | W7 | 136
|  |  | Kengeri | 675 | K1 | 285
[5 empty] | K2 | 107
[5 empty] | K3 | 170
[5 empty] | K4 | 113
Total |  | 4517 |  | 4517 |  | 4517
BMAZ NORTH | East | 2171 | Indiranagar | 521 | E3 | 145
[5 empty] | E6 | 131
[5 empty] | E10 | 218
[5 empty] | E11 | 27
|  |  | Shivajinagar | 617 | E1 | 108
[5 empty] | E2 | 57
[5 empty] | E5 | 121
[5 empty] | E8 | 271
[5 empty] | E9 | 60
|  |  | Whitefield | 935 | E4 | 210
[5 empty] | E7 | 411
[5 empty] | E12 | 314
|  |  | Vidhanasoudha | 98 | W3 | 59
[5 empty] | W4 | 24
[5 empty] | W5 | 15
| North | 1411 | Jalahalli | 362 | C3 | 136
[5 empty] | C9 | 125
[5 empty] | N9 | 101
|  |  | Peenya | 263 | N4 | 114
[5 empty] | N5 | 68
[5 empty] | N7 | 81
|  |  | Malleswaram | 425 | C1 | 173
[5 empty] | C2 | 112
[5 empty] | C6 | 140
|  |  | Hebbal | 361 | C4 | 88
[5 empty] | C5 | 71
[5 empty] | C7 | 110
[5 empty] | C8 | 92
Total |  | 3582 |  | 3582 |  | 3582
Division/ Sub Division Wise Complaints of BRAZ ( 16-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BRAZ | BRC | 709 | Nelamanagala | 332 | DB1 | 67
[5 empty] | DB2 | 44
[5 empty] | NM1 | 203
[5 empty] | DPT | 18
|  |  | Hosakote | 377 | DH1 | 44
[5 empty] | VD1 | 211
[5 empty] | HK1 | 19
[5 empty] | AV1 | 96
[5 empty] | NG1 | 7
| Ramanagar Circle | 587 | Ramanagar | 77 | BD1 | 15
[5 empty] | CP1 | 6
[5 empty] | CP2 | 1
[5 empty] | BE1 | 23
[5 empty] | RM1 | 18
[5 empty] | RM2 | 14
|  |  | Magadi | 151 | MA1 | 8
[5 empty] | KD1 | 15
[5 empty] | TV1 | 128
|  |  | Kanakapura | 230 | KP1 | 41
[5 empty] | KP2 | 74
[5 empty] | HA1 | 48
[5 empty] | SA1 | 67
|  |  | Chandapura | 129 | AN1 | 116
[5 empty] | JN1 | 6
[5 empty] | CH1 | 2
[5 empty] | AT1 | 4
[5 empty] | VE1 | 1
| Kolar Circle | 143 | Kolar | 26 | KL1 | 11
[5 empty] | KL2 | 10
[5 empty] | SP1 | 5
|  |  | Chikkaballapura | 36 | BP1 | 5
[5 empty] | CB1 | 9
[5 empty] | CB2 | 7
[5 empty] | GB1 | 13
[5 empty] | GD1 | 2
|  |  | KGF | 69 | BG1 | 9
[5 empty] | KG1 | 18
[5 empty] | ML1 | 2
[5 empty] | MB1 | 25
[5 empty] | BM1 | 15
|  |  | Chinthamani | 12 | CM1 | 6
[5 empty] | CM2 | 1
[5 empty] | SG1 | 0
[5 empty] | SG2 | 5
Total |  | 1439 |  | 1439 |  | 1439
Division/ Sub Division Wise Complaints of CTAZ ( 16-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
CTAZ | TUMKUR | 289 | TUMKUR | 110 | TK1 | 55
[5 empty] | TK2 | 7
[5 empty] | TK3 | 4
[5 empty] | TK4 | 14
[5 empty] | KYT | 7
[5 empty] | GU1 | 16
[5 empty] | NT1 | 7
|  |  | KUNIGAL | 40 | KU1 | 8
[5 empty] | HLD | 28
[5 empty] | YD1 | 4
|  |  | TIPTUR | 54 | TP1 | 17
[5 empty] | TU1 | 29
[5 empty] | CN1 | 8
|  |  | MADHUGIRI | 85 | MG1 | 13
[5 empty] | SR1 | 8
[5 empty] | SR2 | 34
[5 empty] | KR1 | 13
[5 empty] | PG1 | 16
[5 empty] | KH1 | 1
| DAVANGERE | 147 | DAVANGERE | 62 | DV1 | 33
[5 empty] | DV2 | 3
[5 empty] | DV3 | 9
[5 empty] | AG1 | 7
[5 empty] | JL1 | 5
[5 empty] | CG1 | 4
[5 empty] | SB1 | 1
|  |  | HARIHARA | 20 | HR1 | 14
[5 empty] | NY1 | 3
[5 empty] | HN1 | 3
[5 empty] | TL1 | 0
[5 empty] | HH1 | 0
|  |  | CHITRADURGA | 40 | CD1 | 17
[5 empty] | CD2 | 8
[5 empty] | HL1 | 8
[5 empty] | SRP | 1
[5 empty] | HD1 | 6
|  |  | HIRIYURU | 25 | HY1 | 8
[5 empty] | CK1 | 14
[5 empty] | TLK | 2
[5 empty] | MK1 | 1
Total |  | 436 |  | 436 |  | 436
Total | [5 empty] | 9974

## Beyond Transformer Complaints
Beyond Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL

## Pending Transformer Complains
Pending Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
1 | Yathish | FNM1970363 | 2020-06-16 | 11:09 | BRAZ | BRC | NELAMANGALA | NM1 ('R) | Mallasandra Bandde Nelamangala | MIXED LOAD | Major | 63KVA Transformer failure, it will be replaced on 17-06-2020, confirmed by Hemanth AE 8277892553.
2 | Ravi | FHK1546991 | 16-06-2020 | 23:19 | BRAZ | BRC | HOSAKOTE | HK1 ('R) | Kadigudi Road Hosakote | MIXED LOAD | Major | -
3 | Srinivas | FHK1585798 | 16-06-2020 | 23:32 | BRAZ | BRC | HOSAKOTE | HK1 ('R) | Inginehallie Hosakote | IRRIGATION | Major | -