## Note
Date : 18-06-2020 Dear Sir/Madam, Please find the attached Status of Complaints Received & Pending details as on 17-06-2020
| a) | Page 1 | Complaints Status of Zones
| b) | Page 2 to 7 | Major Interruptions and Load Restriction Details
| c) | Page 8 | Accidents
| d) | Page 9 | Accidents and AE to MD and TA to MD E-Mail complaint status
| e) | Page 10 to 18 | Status of Pending Complaints Beyond Time Limit
| f) | Page 19 to 21 | Circle/Division/Sub Division Wise Complaints Details
| g) | Page 22 | Status of Pending Transformer Complaints Beyond Time Limit
| h) | Page 23 | Status of Pending Transformer Complaints
With Warm Regards
GM (CR)
94498 44778
BESCOM Helpline

## Abstract
Abstract Status of Complaints
Opening Balance | 2827
Complaints received on 17-06-2020 | 9422
Total | 12249
Cumulative Pending Complaints | 2470
Pending Complaints beyond time limit | 1298

## 17-06-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Status of Complaints as on 17-06-2020 (00:00Hrs to 23:59Hrs) at 08:00am on 18-06-2020
| Category | Category of Complaints | ZONE | [14 empty] | TOTAL
|  |  | BMAZ |  |  |  |  | BRAZ |  |  |  |  | CTAZ
|  |  | OB | New Complaints on 17-06-2020 | Total | Disposed | Pending | OB | New Complaints on 17-06-2020 | Total | Disposed | Pending | OB | New Complaints on 17-06-2020 | Total | Disposed | Pending | OB | New Complaints on 17-06-2020 | Total | Disposed | Pending
| A | FAILURE OF POWER SUPPLY | 54 | 7129 | 7183 | 7135 | 48 | 27 | 1499 | 1526 | 1512 | 14 | 14 | 355 | 369 | 352 | 17 | 95 | 8983 | 9078 | 8999 | 79
| B | VOLTAGE COMPLAINTS | 39 | 44 | 83 | 47 | 36 | 3 | 5 | 8 | 6 | 2 | 1 | 1 | 2 | 1 | 1 | 43 | 50 | 93 | 54 | 39
| C | METER COMPLAINTS | 234 | 28 | 262 | 26 | 236 | 10 | 0 | 10 | 3 | 7 | 4 | 5 | 9 | 2 | 7 | 248 | 33 | 281 | 31 | 250
| D | BILLING ISSUES | 796 | 200 | 996 | 399 | 597 | 31 | 25 | 56 | 22 | 34 | 10 | 7 | 17 | 6 | 11 | 837 | 232 | 1069 | 427 | 642
| E | SAFETY ISSUES | 808 | 38 | 846 | 84 | 762 | 96 | 5 | 101 | 6 | 95 | 85 | 6 | 91 | 2 | 89 | 989 | 49 | 1038 | 92 | 946
0 | F | TRANSFORMER FAILURE COMPLAINTS | 0 | 1 | 1 | 1 | 0 | 3 | 22 | 25 | 25 | 0 | 0 | 16 | 16 | 16 | 0 | 3 | 39 | 42 | 42 | 0
0 | G | THEFT | 66 | 0 | 66 | 1 | 65 | 72 | 0 | 72 | 0 | 72 | 56 | 1 | 57 | 0 | 57 | 194 | 1 | 195 | 1 | 194
| H | ALLEGATIONS ON STAFF | 30 | 0 | 30 | 0 | 30 | 7 | 0 | 7 | 0 | 7 | 6 | 1 | 7 | 0 | 7 | 43 | 1 | 44 | 0 | 44
| I | NEW CONNECTION/ ADDITIONAL LOAD | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| J | PHASE CONVERSION | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5 | 0 | 5
| K | TRANSFER OF OWNERSHIP AND CONVERSION | 56 | 1 | 57 | 2 | 55 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 58 | 1 | 59 | 2 | 57
| L | REFUND/ ISSUE OF CERTIFICATES | 23 | 0 | 23 | 2 | 21 | 2 | 0 | 2 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 26 | 0 | 26 | 2 | 24
| M | ADDITIONAL TC/ ENHANCEMENT | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| N | GENERAL | 242 | 27 | 269 | 122 | 147 | 21 | 5 | 26 | 5 | 21 | 19 | 1 | 20 | 2 | 18 | 282 | 33 | 315 | 129 | 186
| Grand Total |  | 2357 | 7468 | 9825 | 7819 | 2006 | 274 | 1561 | 1835 | 1579 | 256 | 196 | 393 | 589 | 381 | 208 | 2827 | 9422 | 12249 | 9779 | 2470

## KPTCL
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (17-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| - | - | 0:00 | - | 1)66/11KV Thyamagondlu MUSS Bank no.2 fault and breaker fault. Affected Areas:DPT:Thyamagondlu,Obalapura Village, Kodigeghalli Village and surrounding areas.(Changeover not arranged),confirmed by Hariharan AE 8123512218. | 21:30hrs to 23:15hrs. | 1:45 | Hariharan AE 8123512218
TOTAL | Nil |  | 0:00 |  | 1 |  | 1:45

## BESCOM
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (17-06-2020)
| Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
BESCOM | - | - | 0:00 | - | 1)66/11KV Padmanaba Nagar MUSS F12 Feeder one bit faulty due to HT cable fault & 11KV pin insulator Affected Areas:W8:Thyagaraj nagar and surrounding areas.(Changeover not arranged),confirmed by Muniraju JE 9449870871. | 22:00hrs to 00:45hrs. | 2:45 | Muniraju JE 9449870871
| - | - | 0:00 | - | 2)66/11KV Sahakar nagar MUSS F20 & 21 Feeder's line clear for HT Jump cut Affected Areas:C8:Jakkur layout and surrounding areas.(Changeover not arranged),confirmed by Basanth Gowda JE 9449865343. | 08:45hrs to 09:30hrs. | 0:45 | Basanth Gowda JE 9449865343
| - | - | 0:00 | - | 3)66/11KV RMV MUSS F5 Feeder line trip for Tree branches fallen on LT line Affected Areas:C6:MSR Indl estate,MSRnagar,AK colony,Mathikere,MSREng College,Yeshwanthpura and surrounding areas.(Changeover not arranged),confirmed by Jaganath JE 9449844694. | 08:55hrs to 11:10hrs. | 2:15 | Jaganath JE 9449844694
| - | - | 0:00 | - | 4)66/11KV RMV MUSS F8 Feeder faulty Affected Areas:C2:Sadashivanagar,Vyalikaval,Part of Malleshwaram and surrounding areas.(Changeover not arranged),confirmed by Roopa AE 9449864733. | 09:30hrs to 10:35hrs. | 1:05 | Roopa AE 9449864733
| - | - | 0:00 | - | 5)66/11KV SRS MUSS F4 Feeder tripped Affected Areas:N5:Ganesh temple road,Coconut garden,T Dasarahalli and surrounding areas.(Changeover not arranged),confirmed by Dhanalakshmi AE 9449865418. | 10:00hrs to 10:50hrs. | 0:50 | Dhanalakshmi AE 9449865418
| - | - | 0:00 | - | 6)66/11KV Geddalahalli MUSS F11 Feeder GOS Kept open for model subdivision work Affected Areas:E8:Kalkere,Rajkumar layout,Anjaneya temple road,Sonshine school and surrounding areas.(Changeover not arranged),confirmed by Naresh AE 9449869320. | 10:10hrs to 18:05hrs. | 7:55 | Naresh AE 9449869320
| - | - | 0:00 | - | 7)66/11KV Bagmane MUSS F11 Feeder GOS Kept open for Tree branches fallen on LT line Affected Areas:S17:Ramaiah reddy colony,Vignan nagar,Basavanagar and surrounding areas.(Changeover not arranged),confirmed by Nayak JE 9449877000. | 10:00hrs to 11:30hrs. | 1:30 | Nayak JE 9449877000
| - | - | 0:00 | - | 8)66/11KV Jayadeva MUSS F14 Feeder UG cable damaged by Metro Affected Areas:S1:Fire Quarters Jayanagar 1st block SRK garden,jayanagar 4th t block and surrounding areas.(Changeover not arranged),confirmed by Prakash JE 9449865997. | 10:10hrs to 19:15hrs. | 9:05 | Prakash JE 9449865997
| - | - | 0:00 | - | 9)66/11KV BSK MUSS F22 Feeder faulty Affected Areas:W8:Maruthi circle,Hanumantha nagar and surrounding areas.(Changeover not arranged),confirmed by Ramachandra JE 9449870845. | 10:20hrs to 11:35hrs. | 1:15 | Ramachandra JE 9449870845
| - | - | 0:00 | - | 10)66/11KV Naganathapura MUSS F22 Feeder HT Jump cut Affected Areas:S13:Basapura village,Electronic city and surrounding areas.(Changeover not arranged),confirmed by Basavaraju JE 9449868563. | 10:15hrs to 11:30hrs. | 1:15 | Basavaraju JE 9449868563
| - | - | 0:00 | - | 11)66/11KV Nelagadaranahalli MUSS F4 250KVA Transformer Kept open for LT AB cable work Affected Areas:N5:Gruhalakshmi layout,HMT layout and surrounding areas.(Changeover not arranged),confirmed by Kiran AE 9449865394. | 10:30hrs to 18:10hrs. | 7:40 | Kiran AE 9449865394
| - | - | 0:00 | - | 12)66/11KV Nelagadaranahalli MUSS F11 250KVA Transformer Kept open for LT AB cable work Affected Areas:N5:HMT layout,Near Ganesha temple and surrounding areas.(Changeover not arranged),confirmed by Kiran AE 9449865394. | 10:30hrs to 18:10hrs. | 7:40 | Kiran AE 9449865394
| - | - | 0:00 | - | 13)66/11KV HBR MUSS F6 Feeder faulty Affected Areas:E9:Yallamma temple street,Arabic college,Rashad nagar,Govindapura and surrounding areas.(Changeover not arranged),confirmed by Manjunath AE 9449874909. | 11:00hrs to 12:40hrs. | 1:40 | Manjunath AE 9449874909
| - | - | 0:00 | - | 14)66/11KV Vijaya nagar MUSS F1 Feeder GOS Kept open for Transformer lead replacement work Affected Areas:N3:Basaveshwaranagar 8th C main Manjunatha nagar and surrounding areas.(Changeover not arranged),confirmed by Shankar Raj AE 9449870128. | 10:50hrs to 12:10hrs. | 1:20 | Shankar Raj AE 9449870128
| - | - | 0:00 | - | 15)66/11KV ITI MUSS F5 Feeder GOS Kept open for Tree trimming work Affected Areas:E10:BSNL office road,Dooravani nagar,Uday nagar and surrounding areas.(Changeover not arranged),confirmed by Srinivas JE 9449844797. | 11:00hrs to 12:30hrs. | 1:30 | Srinivas JE 9449844797
| - | - | 0:00 | - | 16)66/11KV LR Bande MUSS F2 Feeder OD Kept open for Tree trimming work Affected Areas:C5:Narayanappa layout,Bhuvaneshwari nagar,Kavalbyrasandra and surrounding areas.(Changeover not arranged),confirmed by Chandra Nayak AE 9449864899. | 11:10hrs to 12:40hrs. | 1:30 | Chandra Nayak AE 9449864899
| - | - | 0:00 | - | 17)66/11KV Soladevanahalli MUSS F7 Feeder VL Kept open for Tree trimming work Affected Areas:N9:Yallamma temple road,Somashettyhalli,Chikkabanavara and surrounding areas.(Changeover not arranged),confirmed by Paramesh AE 9449865781. | 11:20hrs to 13:15hrs. | 1:55 | Paramesh AE 9449865781
| - | - | 0:00 | - | 18)66/11KV HBR MUSS F3 Feeder line clear taken for AFT work Affected Areas:E5:3rd block HBR layout,Lingarajapuram and surrounding areas.(Changeover not arranged),confirmed by Mahadevappa AE 9449874970. | 11:00hrs to 12:15hrs. | 1:15 | Mahadevappa AE 9449874970
| - | - | 0:00 | - | 19)66/11KV Leela MUSS F10 Feeder faulty Affected Areas:E6:Muneshwara temple,Kodihalli HAL 3rd stage and surrounding areas.(Changeover not arranged),confirmed by Prabha AE 9449874736. | 11:55hrs to 14:30hrs. | 2:35 | Prabha AE 9449874736
| - | - | 0:00 | - | 20)66/11KV NGV MUSS F3 Feeder Loop cable fault Affected Areas:S4:1st block koramangala and surrounding areas.(Changeover not arranged),confirmed by Shivakumar AE 9449840452. | 12:11hrs to 13:10hrs. | 0:59 | Shivakumar AE 9449840452
| - | - | 0:00 | - | 21)66/11KV MEI MUSS F3 Feeder line clear taken for Jump replacement work & Tree trimming work Affected Areas:N5:Chikkasandra,AYR layout,Chikkasandra,Shettyhalli and surrounding areas.(Changeover not arranged),confirmed by Venigopal AE 9449865590. | 12:00hrs to 13:40hrs. | 1:40 | Venigopal AE 9449865590
| - | - | 0:00 | - | 22)66/11KV SRS MUSS F20 Feeder Jump Kept open for AB cable work Affected Areas:N4:Rajeshwari nagar,Laggere and surrounding areas.(Changeover not arranged),confirmed by Anil AE 9449865398. | 12:20hrs to 18:15hrs. | 5:55 | Anil AE 9449865398
| - | - | 0:00 | - | 23)66/11KV Shanthiniketha MUSS F5 Feeder VL Kept open for GOS replacement work Affected Areas:E4:ECC road,Whit field and surrounding areas.(Changeover not arranged),confirmed by Krishna JE 9449844639. | 12:20hrs to 15:00hrs. | 2:40 | Krishna JE 9449844639
| - | - | 0:00 | - | 24)66/11KV Hoody MUSS F10 Feeder 1st bit open for AB cable work Affected Areas:E12:Garudacharpalya,Mahadevapura and surrounding areas.(Changeover not arranged),confirmed by Babu JE 9449810248. | 11:55hrs to 15:10hrs. | 3:15 | Babu JE 9449810248
| - | - | 0:00 | - | 25)66/11KV HBR MUSS F7 Feeder VL Kept open for AB cable fault Affected Areas:E1:KG Halli,Vinobha nagar,Venkateshpuram and surrounding areas.(Changeover not arranged),confirmed by Munivenkatappa JE 9449844721. | 12:20hrs to 13:15hrs. | 0:55 | Munivenkatappa JE 9449844721
| - | - | 0:00 | - | 26)66/11KV Austin town MUSS F3 Feeder VL Kept open for Transformer maintanance work Affected Areas:S3:Viveka nagar,Austin town and surrounding areas.(Changeover not arranged),confirmed by Abhishek AE 9449810243. | 12:30hrs to 13:35hrs. | 1:05 | Abhishek AE 9449810243
| - | - | 0:00 | - | 27)66/11KV NRS MUSS F5 Feeder faulty Affected Areas:N1:2nd block rajajinagar,1st block Rajaji nagar and surrounding areas.(Changeover not arranged),confirmed by Vishwaprasad AE 9449844700. | 12:30hrs to 13:30hrs. | 1:00 | Vishwaprasad AE 9449844700
| - | - | 0:00 | - | 28)66/11KV Mathikere MUSS F5 Feeder 250KVA Transformer Kept open for Pole replacement work Affected Areas:C6:Yeshwanthpur,BK nagar and surrounding areas.(Changeover not arranged),confirmed by Anil AE 9449864543. | 12:30hrs to 15:00hrs. | 2:30 | Anil AE 9449864543
| - | - | 0:00 | - | 29)66/11KV ITI MUSS F4 Feeder 250KVA Transformer Erection work Affected Areas:E10:Vijinapura,Kasturi nagar and surrounding areas.(Changeover not arranged),confirmed by Rajak JE 9449874691. | 12:30hrs to 15:00hrs. | 2:30 | Rajak JE 9449874691
| - | - | 0:00 | - | 30)66/11KV MEI MUSS F4 Feeder Jump Kept open for Pole Erection work Affected Areas:N5:Bhuvaneshwari nagar,Maheshwari nagar,Part of Kalyan nagar and surrounding areas.(Changeover not arranged),confirmed by Dhanalakshmi AE 9449865418. | 13:00hrs to 18:45hrs. | 5:45 | Dhanalakshmi AE 9449865418
| - | - | 0:00 | - | 31)66/11KV LR Bande MUSS F10 Feeder one bit open for AB cable work Affected Areas:E9:Yellamma Temple road Jafferulla layout Govindpura village and surrounding areas.(Changeover not arranged),confirmed by Manjunath AE 9449874909. | 13:10hrs to 18:20hrs. | 5:10 | Manjunath AE 9449874909
| - | - | 0:00 | - | 32)66/11KV B Station F24 Feeder line clear taken for AFT work Affected Areas:E3:RK mutt rd,DM street,PM street,Ulsoor and surrounding areas.(Changeover not arranged),confirmed by Rudramuni AE 9449874687. | 13:00hrs to 17:45hrs. | 4:45 | Rudramuni AE 9449874687
| - | - | 0:00 | - | 33)66/11KV RR nagar MUSS F9 Feeder 250 KVA Transformer Kept open for AB cable work Affected Areas:W7:Marappa layout,Ideal homes,RR nagar and surrounding areas.(Changeover not arranged),confirmed by Raghavendra AE 9449844806. | 10:30hrs to 19:30hrs. | 9:00 | Raghavendra AE 9449844806
| - | - | 0:00 | - | 34)66/11KV BSK MUSS F24 Feeder AB cable damage Affected Areas:S15:BSK 3rd stage,Katriguppe,near water tank and surrounding areas.(Changeover not arranged),confirmed by Dhavlesh AE 9449840437. | 12:30hrs to 17:30hrs. | 5:00 | Dhavlesh AE 9449840437
| - | - | 0:00 | - | 35)66/11KV Banasawadi MUSS F1 Feeder VL Kept open for AB cable work Affected Areas:E8:Coconut grew,Hormavu,Babsab palya and surrounding areas.(Changeover not arranged),confirmed by Manoj kumar AE 9449869318. | 14:35hrs to 18:30hrs. | 3:55 | Manoj kumar AE 9449869318
| - | - | 0:00 | - | 36)66/11KV Somanahalli MUSS F3 & F4 Feeder's faulty Affected Areas:K3:Vaderahalli,Kaggalipura and surrounding areas.(Changeover not arranged),confirmed by Vijay Kumar JE 9449870349. | 14:30hrs to 16:15hrs. | 1:45 | Vijay Kumar JE 9449870349
| - | - | 0:00 | - | 37)66/11KV Telecom MUSS F4 Feeder 1st bit, 2nd bit UG cable damage by BWSSB Affected Areas:W3:Hosahalli mn rd,13th cross14th cross,sangam circle,padarayanpura,gudadahalli,Gori palya and surrounding areas.(Changeover not arranged),confirmed by Prasanna AE 9449840364. | 14:40hrs to 20:45hrs. | 6:05 | Prasanna AE 9449840364
| - | - | 0:00 | - | 38)66/11KV RBI MUSS F4 Feeder two Transformers Kept open for AB cable work Affected Areas:S6:RBI layout,Konakunte and surrounding areas.(Changeover not arranged),confirmed by Ramesh AE 9449840430. | 14:45hrs to 17:10hrs. | 2:25 | Ramesh AE 9449840430
| - | - | 0:00 | - | 39)66/11KV Anjanapura MUSS F7 Feeder loop Kept open for Tree trimming work Affected Areas:S12:JP nagar 8th phase,Thalaghttapura and surrounding areas.(Changeover not arranged),confirmed by Ravikumar AE 9449844813. | 14:30hrs to 17:00hrs. | 2:30 | Ravikumar AE 9449844813
| - | - | 0:00 | - | 40)66/11KV St Jhon MUSS F1 Feeder 250 KVA Transformer Kept open for Pole Erection work Affected Areas:S14:BTM 1st stage,20th main and surrounding areas.(Changeover not arranged),confirmed by Naveen JE 9449844835. | 11:00hrs to 17:00hrs. | 6:00 | Naveen JE 9449844835
| - | - | 0:00 | - | 41)66/11KV Devanagundhi MUSS F2 & F3 Feeder's line clear taken for 11KV line shifting work Affected Areas:HK1:Muthasandra,medi mallasandra,Devanagundhi and surrounding areas.(Changeover not arranged),confirmed by Muniraju AE 9449871183. | 14:00hrs to 18:00hrs. | 4:00 | Muniraju AE 9449871183
| - | - | 0:00 | - | 42)66/11KV BSK MUSS F11 Feeder RMU fault Affected Areas:W8:Gavipurum,Hanumanth nagar and surrounding areas.(Changeover not arranged),confirmed by Avinash AE 9449870596. | 16:00hrs to 18:00hrs. | 2:00 | Avinash AE 9449870596
| - | - | 0:00 | - | 43)66/11KV Kadubeesanhalli MUSS F9 Feeder spun Pole Erection work Affected Areas:S7:Dental college road,CKB layout,Balaji layout,Ashwath nagar,Marathahalli and surrounding areas.(Changeover not arranged),confirmed by Rajshekhar AE 9449840459. | 16:10hrs to 17:30hrs. | 1:20 | Rajshekhar AE 9449840459
| - | - | 0:00 | - | 44)66/11KV Nanndini MUSS F5 Feeder 250 KVA Transformer Kept open for AB cable work Affected Areas:N7:Nandini layout,Saraswathi nagar and surrounding areas.(Changeover not arranged),confirmed by Rajeswari Nagar JE 9449844707. | 10:00hrs to 20:00hrs. | 10:00 | Rajeswari Nagar JE 9449844707
| - | - | 0:00 | - | 45)66/11KV Jigani MUSS F4, F5, F7, F9 & F28 Feeder's line clear taken due to Tree fallen on line Affected Areas:JN1:Madapatna,Konasandra,Bommandahalli,Kumbarahalli,Nossenur and surrounding areas.(Changeover not arranged),confirmed by Dinesh AE 9449871782. | 17:00hrs to 18:30hrs. | 1:30 | Dinesh AE 9449871782
| - | - | 0:00 | - | 46)66/11KV Hoskote MUSS F14 Feeder Pole Erection work Affected Areas:HK1:Kanaka nagar,seegehalli chaithanya green ford,vinayaka nagar and surrounding areas.(Changeover not arranged),confirmed by Shahsi JE 9449871194. | 17:30hrs to 19:20hrs. | 1:50 | Shahsi JE 9449871194
| - | - | 0:00 | - | 47)66/11KV Hebbal MUSS F2 Feeder HT Jump cut Affected Areas:C4:U.A.S Campus,Dinnur main road,R.T nagar,RBI Colony,Punjab National Bank,HMT layout,Kausarnagar,Muninanjappa block and surrounding areas.(Changeover not arranged),confirmed by SAfi ulla JE 9449844696. | 18:50hrs to 19:40hrs. | 0:50 | SAfi ulla JE 9449844696
| - | - | 0:00 | - | 48)66/11KV BTM MUSS F6 Feeder HT Jump cut Affected Areas:S8:Virat nagar,Roopen Agrahara and surrounding areas.(Changeover not arranged),confirmed by Basavaraj JE 9449868440. | 19:30hrs to 21:15hrs. | 1:45 | Basavaraj JE 9449868440
| - | - | 0:00 | - | 49)66/11KV Gollahalli MUSS F11 Feeder faulty Affected Areas:S10:Chikka Kammanahalli,Mylasandra,Bettadasanapura and surrounding areas.(Changeover not arranged),confirmed by Dinesh JE 9449840473. | 20:00hrs to 21:10hrs. | 1:10 | Dinesh JE 9449840473
| - | - | 0:00 | - | 50)66/11KV Hiranandini MUSS F18 Feeder VL faulty Affected Areas:S19:Krishna layout,Hulimavu and surrounding areas.(Changeover not arranged),confirmed by Prashanth Kumar AE 9449840471. | 20:00hrs to 21:00hrs. | 1:00 | Prashanth Kumar AE 9449840471
| - | - | 0:00 | - | 51)66/11KV ITI MUSS F2 Feeder sound from Transformer Affected Areas:E11:Nagappa reddy layout,SP Naidu layout,Hoysalanagar,Sir MV nagar and surrounding areas.(Changeover not arranged),confirmed by Manjula AE 9449874210. | 20:30hrs to 21:10hrs. | 0:40 | Manjula AE 9449874210
| - | - | 0:00 | - | 52)66/11KV HBR MUSS F5 Feeder 11KV Jump cut Affected Areas:E5:Lingarajpuram,kariyana palya,Hennur main road,Lingarajapuram,Kariyanapalya,Janakiram layout,Kanakadasa layout,Rs Palya,Kammanahalli main road and surrounding areas.(Changeover not arranged),confirmed by Puttswamy JE 9449844728. | 20:30hrs to 21:30hrs. | 1:00 | Puttswamy JE 9449844728
| - | - | 0:00 | - | 53)66/11KV Devanagundhi MUSS F3 Feeder faulty Affected Areas:HK1:Doddadunnasandra village,anugondanahalli,Medi Mallasandra and surrounding areas.(Changeover not arranged),confirmed by Muniraju AE 9449871183. | 20:50hrs to 21:40hrs. | 0:50 | Muniraju AE 9449871183
| - | - | 0:00 | - | 54)66/11KV Somanahalli MUSS F4 Feeder faulty Affected Areas:K3:Gandhinagar,Kaggalipura,Kanakapura main road ,bolare,shivaji layout and surrounding areas.(Changeover not arranged),confirmed by Thimmarayappa JE 9449870532. | 21:25hrs to 23:50hrs. | 2:25 | Thimmarayappa JE 9449870532
| - | - | 0:00 | - | 55)66/11KV ITI MUSS F13 Feeder faulty Affected Areas:E11:Gangothri road,Muniyappa layout,BWSSB,ITI,RM nagar main road and surrounding areas.(Changeover not arranged),confirmed by 9449874263. | 22:45hrs to 23:15hrs. | 0:30 | 9449874263
| - | - | 0:00 | - | 56)66/11KV Chandapura MUSS F6 Feeder faulty Affected Areas:CH1:Lakshmi sagar road,old chandapura and surrounding areas.(Changeover not arranged),confirmed by Anand AE 9449866789. | 22:35hrs to 23:45hrs. | 1:10 | Anand AE 9449866789
| - | - | 0:00 | - | 57)66/11KV Gollahalli MUSS F6 Feeder faulty Affected Areas:JN1:Male nallasandra,begi halli and surrounding areas.(Changeover not arranged),confirmed by Akash JE 9448462046. | 22:35hrs to 23:27hrs. | 0:52 | Akash JE 9448462046
| - | - | 0:00 | - | 58)66/11KV Manyatha MUSS F13 Feeder 250KVA Transformer failure Affected Areas:E9:Rachenahalli,Amarjothi layout,Thanisandra main road and surrounding areas.(Changeover not arranged),confirmed by Kempegowda JE 9449869360. | 22:45hrs to 00:00hrs. | 1:15 | Kempegowda JE 9449869360
TOTAL | Nil |  | 0:00 |  | 58 |  | 1900-01-05 20:41

## (Load restriction)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions of Load Restriction by KPTCL (17-06-2020)
| Discription | Timings | Duration (in Hrs) | Confirmed By
KPTCL | - | - | 0:00 | -
Total | Nil |  | 0:00

## Accidents
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Accidents
BMAZ |  |  |  | BRAZ |  |  |  | CTAZ |  |  |  | Total
Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental
Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal
- | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## AE TO MD E-Mail Complaints
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
AE to MD and TA to MD E-mail pending complaints
Sl.No | Circle | Date | Issue | Docket No. | Time as per KERC | Tentative Date | Remarks
1 | SOUTH | 2020-05-26 | Frequent power cut | NS10827391 | 7 days | Not confirmed | mail recieved form AEE+J3:J11 As the above said your Complaint Docket number NS19539729 about frequent power supply in Duo heights Layot, due to heavy Rain & Wind there will be frequent Main supply failue from 220 kva station somanahalli interruption was occurred, and after power supply was normalised. For any power supply issues please contact our AEE 9449844670, & AE-9449840472same as forwarded to consumer awaiting for reply .
2 | SOUTH | 2020-05-26 | Frequent power cut | NS20913895 | 7 days | Not confirmed | Informed to AEE Sri.Jagadish.M.H 8277893186 and awaiting for reply
3 | SOUTH | 2020-05-28 | Excess bill | DS16532677 | 7 days | Not confirmed | informed to Ravindra.S.G AAO 8660627631and awaiting for reply
4 | SOUTH | 2020-05-28 | Tree Trimming | ES05966247 | 7 days | Not confirmed | informed to AEE Sri Ramaih S T 9449844665 told that he will discuss with AE and issue wil be attended by today
5 | EAST | 2020-05-31 | Serious Power Outages | NE09830039 | 7 days | Not confirmed | Informed to Kumar Nayak AEE 9449877171 and awaiting for reply
6 | WEST | 2020-06-01 | Frequent Power Cut and Fluctuations | NW07331189 | 7 days | Not confirmed | Informed to Eshwarappa AEE 9449844894 and awaiting for reply
7 | BRC | 2020-06-01 | Frequent Power Cut | NHK1880397 | 7 days | Not confirmed | Informed to Anil Kumar A.V AEE 9448279084 and awaiting for reply
8 | NORTH | 2020-06-01 | Tree trimming. | EN5443772 | 7 days | Not confirmed | Informed to Parashuram AEE 9449844655 and awaiting for reply
9 | SOUTH | 2020-06-03 | Uncleared debris and Deep trench with HT cables hanging dangerously after replacing switch box | NS1652858 | 7 days | Not confirmed | mail sent to AEE awaiting for reply

## BMAZ
Status of Pending Complaints Beyond Time Limit
BMAZ ZONE
Category | Category of Complaints | Sub Category | Duration | Pending Complaints Beyond Time Limit
|  |  |  | BMAZ SOUTH |  | BMAZ NORTH |  | Total
|  |  | Urban | South | West | East | North
A | FAILURE OF POWER SUPPLY | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | 22 | 14 | 0 | 12 | 48
|  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs | 0 | 0 | 0 | 0 | 0
|  | Line breakdown (pole broken) | 10 hrs | 0 | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 0 | 0 | 0 | 0 | 0
|  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 0 | 0 | 0 | 0 | 0
|  | Opening of neutral (High Voltage) | 1 hr | 4 | 3 | 4 | 3 | 14
C | METER COMPLAINTS | Inspect and check correctness | 7 days | 60 | 18 | 12 | 7 | 97 |  |  | cal
|  | Replaced slow, creeping or stuck meters | 10 days | 2 | 0 | 0 | 0 | 2
|  | Replaced burnt meters if cause not attributable to consumer | 7 days | 2 | 0 | 1 | 0 | 3
|  | Replaced burnt meters in all other cases | 24 hrs | 3 | 1 | 3 | 0 | 7
D | BILLING ISSUES | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 44 | 34 | 45 | 18 | 141
|  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 33 | 27 | 6 | 8 | 74
|  | Reconnection of supply following disconnection | On the same day | 2 | 1 | 1 | 1 | 5
E | SAFETY ISSUES | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 40 | 14 | 44 | 60 | 158
|  | Replacement of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 16 | 11 | 16 | 17 | 60 |  | c
|  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 4 | 4 | 10 | 7 | 25
|  | Tree trimming | 7 days | 48 | 54 | 50 | 44 | 196
F | Transformer FAILURE COMPLAINTS | Water Supply | 24 hrs | 0 | 0 | 0 | 0 | 0
|  | Domestic |  | 0 | 0 | 0 | 0 | 0
|  | Industry |  | 0 | 0 | 0 | 0 | 0
|  | Mixed load |  | 0 | 0 | 0 | 0 | 0
|  | Irrigation Pumpset(IP Set) |  | 0 | 0 | 0 | 0 | 0
G | THEFT | Theft | 1 Month | 4 | 6 | 24 | 15 | 49
|  | Hooking Under Nirantara Jyothi Yojane | 15 days | 1 | 0 | 2 | 0 | 3
H | ALLEGATIONS ON STAFF | Allegations on staff | 1 Month | 6 | 6 | 11 | 1 | 24
I | NEW CONNECTION/ ADDITIONAL LOAD | Release of supply where service is feasible from existing network | 1 month | 0 | 0 | 0 | 1 | 1
|  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 0 | 0 | 0 | 0 | 0
|  | IP sets | 30 days | 0 | 0 | 0 | 0 | 0
J | PHASE CONVERSION | Conversion of LT single phase to LT 3 phase | 30 days | 0 | 0 | 0 | 0 | 0
|  | Conversion from LT to HT and vice-versa | 30 days | 0 | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 16 | 6 | 18 | 1 | 41
|  | Change of category (Wrong Application Tariff) | 7 days | 0 | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES | Refund of deposits | 60 days | 0 | 0 | 1 | 0 | 1
|  | Issue of certificates | 1 day | 0 | 0 | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT | Additional TC | 1 Month | 0 | 0 | 0 | 0 | 0
|  | TC Enhancement | 15 days | 0 | 0 | 0 | 1 | 1 | 181
N | GENERAL | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 27 | 11 | 20 | 10 | 68 | 176
Grand Total |  |  |  | 334 | 210 | 268 | 206 | 1018

## BRAZ
Status of Pending Complaints Beyond Time Limit
BRAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | BRC | Ramanagar | Kolar | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transeformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 1 | 1 | 1 | 3
|  |  | Replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 1 | 0 | 1
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 1 | 3 | 4
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 1 | 0 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 1 | 0 | 0 | 1
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 12 | 14 | 9 | 35
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 9 | 3 | 7 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 3 | 1 | 0 | 4
|  |  | Tree trimming | 7 days | 7 days | 4 | 3 | 3 | 10
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 6 | 29 | 7 | 42
|  |  | Hooking Under Nirantara Jyothi Yojane | 15 days | 15 days | 2 | 4 | 2 | 8
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 0 | 4 | 2 | 6
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 1 | 1
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0 | 0 |  | `
M | ADDitIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 2 | 4 | 3 | 9
Grand Total | [5 empty] | 40 | 66 | 38 | 144
1
1298

## CTAZ
Status of Pending Complaints Beyond Time Limit
CTAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | Tumkur | Davangere | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 1 | 1
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 1 | 1
|  |  | replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0
|  |  | replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 1 | 1
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 1 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 25 | 12 | 37
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 12 | 8 | 20
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 5 | 5 | 10
|  |  | Tree trimming | 7 days | 7 days | 1 | 2 | 3
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 24 | 7 | 31
|  |  | Hooking Under Nirantara Jyoti Yojane | 15 days | 15 days | 8 | 4 | 12
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 3 | 1 | 4
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 9 | 6 | 15
Grand Total | [5 empty] | 87 | 49 | 136

## Draft summary New
Division/ Sub Division Wise Complaints of BMAZ ( 17-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BMAZ SOUTH | South | 2425 | Jayanagar | 911 | S1 | 233
[5 empty] | S2 | 54
[5 empty] | S5 | 55
[5 empty] | S6 | 97
[5 empty] | S9 | 61
[5 empty] | S14 | 90
[5 empty] | S15 | 263
[5 empty] | S18 | 58
|  |  | Kormangala | 476 | S3 | 110
[5 empty] | S4 | 176
[5 empty] | S7 | 147
[5 empty] | S16 | 43
|  |  | HSR | 1038 | S8 | 119
[5 empty] | S10 | 153
[5 empty] | S11 | 90
[5 empty] | S12 | 101
[5 empty] | S13 | 152
[5 empty] | S17 | 158
[5 empty] | S19 | 81
[5 empty] | S20 | 184
| West | 1336 | Rajajajinagar | 386 | N1 | 65
[5 empty] | N2 | 65
[5 empty] | N3 | 58
[5 empty] | N6 | 113
[5 empty] | N8 | 57
[5 empty] | N10 | 28
|  |  | R.R. Nagar | 356 | W1 | 63
[5 empty] | W2 | 61
[5 empty] | W6 | 46
[5 empty] | W8 | 95
[5 empty] | W7 | 91
|  |  | Kengeri | 594 | K1 | 188
[5 empty] | K2 | 66
[5 empty] | K3 | 205
[5 empty] | K4 | 135
Total |  | 3761 |  | 3761 |  | 3761
BMAZ NORTH | East | 2307 | Indiranagar | 371 | E3 | 100
[5 empty] | E6 | 110
[5 empty] | E10 | 111
[5 empty] | E11 | 50
|  |  | Shivajinagar | 548 | E1 | 111
[5 empty] | E2 | 74
[5 empty] | E5 | 177
[5 empty] | E8 | 131
[5 empty] | E9 | 55
|  |  | Whitefield | 877 | E4 | 164
[5 empty] | E7 | 257
[5 empty] | E12 | 456
|  |  | Vidhanasoudha | 511 | W3 | 471
[5 empty] | W4 | 20
[5 empty] | W5 | 20
| North | 1400 | Jalahalli | 393 | C3 | 143
[5 empty] | C9 | 135
[5 empty] | N9 | 115
|  |  | Peenya | 237 | N4 | 11
[5 empty] | N5 | 114
[5 empty] | N7 | 112
|  |  | Malleswaram | 337 | C1 | 152
[5 empty] | C2 | 83
[5 empty] | C6 | 102
|  |  | Hebbal | 433 | C4 | 129
[5 empty] | C5 | 82
[5 empty] | C7 | 116
[5 empty] | C8 | 106
Total |  | 3707 |  | 3707 |  | 3707
Division/ Sub Division Wise Complaints of BRAZ ( 17-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BRAZ | BRC | 814 | Nelamanagala | 259 | DB1 | 63
[5 empty] | DB2 | 36
[5 empty] | NM1 | 118
[5 empty] | DPT | 42
|  |  | Hosakote | 555 | DH1 | 33
[5 empty] | VD1 | 85
[5 empty] | HK1 | 27
[5 empty] | AV1 | 296
[5 empty] | NG1 | 114
| Ramanagar Circle | 606 | Ramanagar | 104 | BD1 | 16
[5 empty] | CP1 | 13
[5 empty] | CP2 | 1
[5 empty] | BE1 | 23
[5 empty] | RM1 | 38
[5 empty] | RM2 | 13
|  |  | Magadi | 132 | MA1 | 17
[5 empty] | KD1 | 20
[5 empty] | TV1 | 95
|  |  | Kanakapura | 256 | KP1 | 34
[5 empty] | KP2 | 95
[5 empty] | HA1 | 76
[5 empty] | SA1 | 51
|  |  | Chandapura | 114 | AN1 | 98
[5 empty] | JN1 | 6
[5 empty] | CH1 | 0
[5 empty] | AT1 | 8
[5 empty] | VE1 | 2
| Kolar Circle | 141 | Kolar | 54 | KL1 | 41
[5 empty] | KL2 | 8
[5 empty] | SP1 | 5
|  |  | Chikkaballapura | 31 | BP1 | 12
[5 empty] | CB1 | 14
[5 empty] | CB2 | 0
[5 empty] | GB1 | 5
[5 empty] | GD1 | 0
|  |  | KGF | 43 | BG1 | 18
[5 empty] | KG1 | 4
[5 empty] | ML1 | 0
[5 empty] | MB1 | 14
[5 empty] | BM1 | 7
|  |  | Chinthamani | 13 | CM1 | 1
[5 empty] | CM2 | 8
[5 empty] | SG1 | 2
[5 empty] | SG2 | 2
Total |  | 1561 |  | 1561 |  | 1561
Division/ Sub Division Wise Complaints of CTAZ ( 17-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
CTAZ | TUMKUR | 207 | TUMKUR | 105 | TK1 | 31
[5 empty] | TK2 | 8
[5 empty] | TK3 | 5
[5 empty] | TK4 | 8
[5 empty] | KYT | 1
[5 empty] | GU1 | 50
[5 empty] | NT1 | 2
|  |  | KUNIGAL | 15 | KU1 | 3
[5 empty] | HLD | 9
[5 empty] | YD1 | 3
|  |  | TIPTUR | 32 | TP1 | 11
[5 empty] | TU1 | 18
[5 empty] | CN1 | 3
|  |  | MADHUGIRI | 55 | MG1 | 5
[5 empty] | SR1 | 12
[5 empty] | SR2 | 19
[5 empty] | KR1 | 4
[5 empty] | PG1 | 15
[5 empty] | KH1 | 0
| DAVANGERE | 186 | DAVANGERE | 89 | DV1 | 41
[5 empty] | DV2 | 7
[5 empty] | DV3 | 9
[5 empty] | AG1 | 4
[5 empty] | JL1 | 5
[5 empty] | CG1 | 18
[5 empty] | SB1 | 5
|  |  | HARIHARA | 26 | HR1 | 17
[5 empty] | NY1 | 1
[5 empty] | HN1 | 5
[5 empty] | TL1 | 3
[5 empty] | HH1 | 0
|  |  | CHITRADURGA | 54 | CD1 | 22
[5 empty] | CD2 | 4
[5 empty] | HL1 | 22
[5 empty] | SRP | 0
[5 empty] | HD1 | 6
|  |  | HIRIYURU | 17 | HY1 | 5
[5 empty] | CK1 | 11
[5 empty] | TLK | 1
[5 empty] | MK1 | 0
Total |  | 393 |  | 393 |  | 393
Total | [5 empty] | 9422

## Beyond Transformer Complaints
Beyond Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL

## Pending Transformer Complains
Pending Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL