## Note
Date : 19-06-2020 Dear Sir/Madam, Please find the attached Status of Complaints Received & Pending details as on 18-06-2020
| a) | Page 1 | Complaints Status of Zones
| b) | Page 2 to 8 | Major Interruptions and Load Restriction Details
| c) | Page 9 | Accidents
| d) | Page 10 | Accidents and AE to MD and TA to MD E-Mail complaint status
| e) | Page 11 to 19 | Status of Pending Complaints Beyond Time Limit
| f) | Page 20 to 22 | Circle/Division/Sub Division Wise Complaints Details
| g) | Page 23 | Status of Pending Transformer Complaints Beyond Time Limit
| h) | Page 24 | Status of Pending Transformer Complaints
With Warm Regards
GM (CR)
94498 44778
BESCOM Helpline

## Abstract
Abstract Status of Complaints
Opening Balance | 2470
Complaints received on 18-06-2020 | 7401
Total | 9871
Cumulative Pending Complaints | 2468
Pending Complaints beyond time limit | 1350

## 18-06-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Status of Complaints as on 18-06-2020 (00:00Hrs to 23:59Hrs) at 08:00am on 19-06-2020
| Category | Category of Complaints | ZONE | [14 empty] | TOTAL
|  |  | BMAZ |  |  |  |  | BRAZ |  |  |  |  | CTAZ
|  |  | OB | New Complaints on 18-06-2020 | Total | Disposed | Pending | OB | New Complaints on 18-06-2020 | Total | Disposed | Pending | OB | New Complaints on 18-06-2020 | Total | Disposed | Pending | OB | New Complaints on 18-06-2020 | Total | Disposed | Pending
| A | FAILURE OF POWER SUPPLY | 48 | 5428 | 5476 | 5417 | 59 | 14 | 1131 | 1145 | 1119 | 26 | 17 | 410 | 427 | 403 | 24 | 79 | 6969 | 7048 | 6939 | 109
| B | VOLTAGE COMPLAINTS | 36 | 57 | 93 | 40 | 53 | 2 | 10 | 12 | 7 | 5 | 1 | 3 | 4 | 3 | 1 | 39 | 70 | 109 | 50 | 59
| C | METER COMPLAINTS | 236 | 28 | 264 | 32 | 232 | 7 | 2 | 9 | 5 | 4 | 7 | 1 | 8 | 6 | 2 | 250 | 31 | 281 | 43 | 238
| D | BILLING ISSUES | 597 | 175 | 772 | 138 | 634 | 34 | 16 | 50 | 23 | 27 | 11 | 3 | 14 | 3 | 11 | 642 | 194 | 836 | 164 | 672
| E | SAFETY ISSUES | 762 | 41 | 803 | 89 | 714 | 95 | 5 | 100 | 9 | 91 | 89 | 3 | 92 | 3 | 89 | 946 | 49 | 995 | 101 | 894
0 | F | TRANSFORMER FAILURE COMPLAINTS | 0 | 1 | 1 | 1 | 0 | 0 | 20 | 20 | 20 | 0 | 0 | 29 | 29 | 29 | 0 | 0 | 50 | 50 | 50 | 0
0 | G | THEFT | 65 | 1 | 66 | 1 | 65 | 72 | 0 | 72 | 0 | 72 | 57 | 0 | 57 | 6 | 51 | 194 | 1 | 195 | 7 | 188
| H | ALLEGATIONS ON STAFF | 30 | 0 | 30 | 3 | 27 | 7 | 1 | 8 | 0 | 8 | 7 | 0 | 7 | 0 | 7 | 44 | 1 | 45 | 3 | 42
| I | NEW CONNECTION/ ADDITIONAL LOAD | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| J | PHASE CONVERSION | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5 | 0 | 5
| K | TRANSFER OF OWNERSHIP AND CONVERSION | 55 | 3 | 58 | 4 | 54 | 2 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 57 | 3 | 60 | 5 | 55
| L | REFUND/ ISSUE OF CERTIFICATES | 21 | 2 | 23 | 8 | 15 | 2 | 0 | 2 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 24 | 2 | 26 | 9 | 17
| M | ADDITIONAL TC/ ENHANCEMENT | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| N | GENERAL | 147 | 23 | 170 | 24 | 146 | 21 | 5 | 26 | 2 | 24 | 18 | 3 | 21 | 6 | 15 | 186 | 31 | 217 | 32 | 185
| Grand Total |  | 2006 | 5759 | 7765 | 5757 | 2008 | 256 | 1190 | 1446 | 1187 | 259 | 208 | 452 | 660 | 459 | 201 | 2470 | 7401 | 9871 | 7403 | 2468

## KPTCL
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (18-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
NIL

## BESCOM
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (18-06-2020)
| Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
BESCOM |  |  |  |  | 1)66/11KV Hebbal MUSS F6 Feeder HT cable faulty Affected Areas:C4:Kempapaura,Hebbal and surrounding areas.(Changeover not arranged),confirmed by Javarappa JE 9449864998. | 22:45hrs to 00:30hrs. | 1:45 | Javarappa JE 9449864998
[5 empty] | 2)66/11KV Hebbal MUSS F9 Feeder VL tripped Affected Areas:C2:Vyalikaval and surrounding areas.(Changeover not arranged),confirmed by Jagdish JE 9449844692. | 00:30hrs to 01:25hrs. | 0:55 | Jagdish JE 9449844692
[5 empty] | 3)66/11KV Somanahalli MUSS F2 Feeder faulty Affected Areas:K3:Gandhi nagar,Kaggalipura,Kanakpura road and surrounding areas.(Changeover not arranged),confirmed by Puttaswamy AEE. | 01:00hrs to 01:45hrs. | 0:45 | Puttaswamy AEE
[5 empty] | 4)66/11KV Nagpura MUSS F9 Feeder RMU Pot head falsh over making change over from F12 Feeder Affected Areas:N7:Mahalakshmi layout and surrounding areas.(Changeover not arranged),confirmed by Bhaskar JE 9449844707. | 00:30hrs to 03:20hrs. | 2:50 | Bhaskar JE 9449844707
[5 empty] | 5)66/11KV Divya Shree MUSS F5 Feeder tripped Affected Areas:S7:AECS layout A & D block,Kundalahalli and surrounding areas.(Changeover not arranged),confirmed by Nail JE 9449844849. | 05:50hrs to 07:10hrs. | 1:20 | Nail JE 9449844849
[5 empty] | 6)66/11KV HSR MUSS F19 Feeder faulty Affected Areas:S20:Hosapalya,Bande palya main road,Kudlu Gate and surrounding areas.(Changeover not arranged),confirmed by Vijaya kumar JE 9449840469. | 06:00hrs to 07:30hrs. | 1:30 | Vijaya kumar JE 9449840469
[5 empty] | 7)66/11KV Kadabisanahalli MUSS F7 Feeder tripped Affected Areas:S17:Hemanth nagar,Sanjay nagar,Karthik nagar,ashwath nagar and surrounding areas.(Changeover not arranged),confirmed by Manjunath JE 9449844715. | 07:20hrs to 08:10hrs. | 0:50 | Manjunath JE 9449844715
[5 empty] | 8)66/11KV Sahakaranagara MUSS F3 Feeder HT wire cut Affected Areas:C8:Talakaveri layout,amruthahalli water tank backside and surrounding areas.(Changeover not arranged),confirmed by Narasimhaiah JE 9449844623. | 07:30hrs to 08:15hrs. | 0:45 | Narasimhaiah JE 9449844623
[5 empty] | 9)66/11KV Jyadeva MUSS F2 Feeder tripped Affected Areas:S1:Jayanagar 4th T block,SSMRV College and surrounding areas.(Changeover not arranged),confirmed by Sivanna JE 9449840406. | 08:50hrs to 09:15hrs. | 0:25 | Sivanna JE 9449840406
[5 empty] | 10)66/11KV Chandra layout MUSS F9 Feeder tripped due to branches fell on line Affected Areas:N8:NGEF layout,vinayaka layout 2nd stage nagarbhavi and surrounding areas.(Changeover not arranged),confirmed by Eshwarappa JE 9449869427. | 09:20hrs to 12:00hrs. | 2:40 | Eshwarappa JE 9449869427
[5 empty] | 11)66/11KV Abbigere MUSS F8 Feeder 250KVA Transformer Single phase Affected Areas:C3:Valmiki nagar,singapura,kammagondahalli,abbigere and surrounding areas.(Changeover not arranged),confirmed by Venkatesh AE 949864538. | 09:30hrs to 11:00hrs. | 1:30 | Venkatesh AE 949864538
[5 empty] | 12)66/11KV Banasawadi MUSS F1 Feeder tripped Affected Areas:E8:Nandanam layout,horamavu kalkere and surrounding areas.(Changeover not arranged),confirmed by Mahadev JE 9449869318. | 09:00hrs to 10:30hrs. | 1:30 | Mahadev JE 9449869318
[5 empty] | 13)66/11KV Hebbala MUSS F17 Feeder 250KVA (TC NO 188) Trasformer Kept open for Tree trimming work Affected Areas:C5:Venkataswamappa layout,manorayanapalya,kavalbyrasandra b and surrounding areas.(Changeover not arranged),confirmed by Chandra Naik AE 9449864899. | 10:20hrs to 12:00hrs. | 1:40 | Chandra Naik AE 9449864899
[5 empty] | 14)66/11KV Geddalahalli MUSS F11 Feeder GOS Kept open for Model subdivision work Affected Areas:E8:Kane road,Sankalpa layout,Jayanthi Grama,Banjara layout,OM Shakthi temple and surrounding areas.(Changeover not arranged),confirmed by Naresh AE 9449869320. | 10:30hrs to 18:05hrs. | 7:35 | Naresh AE 9449869320
[5 empty] | 15)66/11KV Nandini MUSS F-7 Feeder 500 KVA taken for AB cable erection work Affected Areas:N7:Ramakrishna nagar,Kanteerava road,J C nagar and surrounding areas.(Changeover not arranged),confirmed by Shankar JE 8277892528. | 10:30hrs to 18:20hrs. | 7:50 | Shankar JE 8277892528
[5 empty] | 16)66/11KV Mathikere MUSS F7 Feeder 250KVA Trasformer Kept open for Tree trimming work Affected Areas:C6:Subbaiah Hospital Mathikere and surrounding areas.(Changeover not arranged),confirmed by Raghu nath AE 9449864547. | 10:40hrs to 12:00hrs. | 1:20 | Raghu nath AE 9449864547
[5 empty] | 17)66/11KV Sahakar MUSS F9 Feeder 250KVA Trasformer Kept open for Tree trimming work Affected Areas:C9:Srinidhi layout,Virupakshapura and surrounding areas.(Changeover not arranged),confirmed by Veera swamy AE 9449864922. | 11:00hrs to 14:10hrs. | 3:10 | Veera swamy AE 9449864922
[5 empty] | 18)66/11KV Jayanagar Stn F3 Feeder loop Kept Open for Bus bar Maintenance work Affected Areas:S1:34th cross,33rd cross,4th block jayanagar and surrounding areas.(Changeover not arranged),confirmed by Ramesh JE 9449844711. | 11:00hrs to 12:20hrs. | 1:20 | Ramesh JE 9449844711
[5 empty] | 19)66/11KV Hirananadhini MUSS F2 Feeder GOS Kept open for Model subdivision work Affected Areas:S10:Begur Village,Begur Hobli,kote bande road, mylasandra road and surrounding areas.(Changeover not arranged),confirmed by Sunil AE 9449840472. | 11:00hrs to 14:00hrs. | 3:00 | Sunil AE 9449840472
[5 empty] | 20)66/11KV Arehalli MUSS F3 Feeder 250KVA Transformer Kept open for HT AB cable work Affected Areas:S15:Shreeramnagar,opp anjaneya temple ittamadu and surrounding areas.(Changeover not arranged),confirmed by Rajashekar AE 8277889657. | 11:00hrs to 16:30hrs. | 5:30 | Rajashekar AE 8277889657
[5 empty] | 21)66/11KV Vijay Nagar F13 Feeder Transformer Kept open for Tree trimming work Affected Areas:N3:BEML layout kamalanagar and surrounding areas.(Changeover not arranged),confirmed by Shankar AE 9449844704. | 11:00hrs to 14:15hrs. | 3:15 | Shankar AE 9449844704
[5 empty] | 22)66/11KV Divya Shree MUSS F4 Feeder VL Kept open for RMU replacement work Affected Areas:S7:Silver spring layout near dominos munnekolala and surrounding areas.(Changeover not arranged),confirmed by Murali AE 9449840458. | 11:00hrs to 18:50hrs. | 7:50 | Murali AE 9449840458
[5 empty] | 23)66/11KV Pottery road F5 Feeder AB cable work Affected Areas:E5:Kammanahalli,Shamanna layout,Lingarajapuram and surrounding areas.(Changeover not arranged),confirmed by Parashuram AE 9449844728. | 11:00hrs to 12:15hrs. | 1:15 | Parashuram AE 9449844728
[5 empty] | 24)66/11KV LR BANDE MUSS F3 Feeder tripped Affected Areas:E9:Coffee board layout,kempapura hebbal and surrounding areas.(Changeover not arranged),confirmed by Raghu JE 9449869309. | 11:50hrs to 13:00hrs. | 1:10 | Raghu JE 9449869309
[5 empty] | 25)66/11KV Naganathapura MUSS F1 Feeder GOS Kept open for Model sub division work Affected Areas:S13:Vivekananda nagar,Mico Factory and surrounding areas.(Changeover not arranged),confirmed by Shivukumar AE 9449840480. | 12:00hrs to 15:30hrs. | 3:30 | Shivukumar AE 9449840480
[5 empty] | 26)66/11KV RBI MUSS F9 Feeder 250KVA Transformer Kept open for Neutral testing work Affected Areas:S12:JP nagara 7th phase,samthrupthinagar near Dhakshin cafe and surrounding areas.(Changeover not arranged),confirmed by Vivek AE 9449840484. | 12:30hrs to 14:15hrs. | 1:45 | Vivek AE 9449840484
[5 empty] | 27)66/11KV NGEF MUSS F5 Feeder line clear taken for Tree trimming work Affected Areas:E10:Dhooravani nagar,vijinapura kasturi nagar and surrounding areas.(Changeover not arranged),confirmed by Nawaz AE 9449874265. | 13:00hrs to 14:20hrs. | 1:20 | Nawaz AE 9449874265
[5 empty] | 28)66/11KV HBR MUSS F3 Feeder line clear taken for AB cable work Affected Areas:E5:HBR layout 1st main 2nd cross lingarajpura and surrounding areas.(Changeover not arranged),confirmed by Ashok JE 9449873982. | 13:20hrs to 14:15hrs. | 0:55 | Ashok JE 9449873982
[5 empty] | 29)66/11KV Divyasree MUSS F5 Feeder line clear taken for Tree trimming work Affected Areas:S7:AECS layout,kundalahalli and surrounding areas.(Changeover not arranged),confirmed by Gurumurthy JE 9449844849. | 14:00hrs to 15:45hrs. | 1:45 | Gurumurthy JE 9449844849
[5 empty] | 30)66/11KV Hiranandini MUSS F2 Feeder line clear taken for Rabbit conductor releasing work Affected Areas:S10:Begur,Yelenahalli and surrounding areas.(Changeover not arranged),confirmed by Sunil JE 9449844812. | 14:25hrs to 16:55hrs. | 2:30 | Sunil JE 9449844812
[5 empty] | 31)66/11KV Sarakki MUSS F20 Feeder 250KVA Transformer Kept open for LT AB cable work Affected Areas:S14:JP nagar 2nd phase,3rd phase and surrounding areas.(Changeover not arranged),confirmed by Anand AE 9449867660. | 14:35hrs to 18:50hrs. | 4:15 | Anand AE 9449867660
[5 empty] | 32)66/11KV Kachmaranahalli MUSS F4 Feeder faulty Affected Areas:E4:Ramgondanahalli and surrounding areas.(Changeover not arranged),confirmed by Pritham AE 9449844639. | 14:40hrs to 15:55hrs. | 1:15 | Pritham AE 9449844639
[5 empty] | 33)66/11KV Putteanahalli MUSS F12 Feeder line clear due to HT Jump cut Affected Areas:C7:YOT,Maruthi nagar and surrounding areas.(Changeover not arranged),confirmed by Mahesh JE 9449844698. | 14:45hrs to 17:00hrs. | 2:15 | Mahesh JE 9449844698
[5 empty] | 34)66/11KV B station MUSS F2 Feeder line clear taken for UG cable Jointing work Affected Areas:E3:Murphy town,Tamarai kannan road,deeraj manor corporation colony,Bazaar street,Gangadhar chetty road and surrounding areas.(Changeover not arranged),confirmed by Santhosh JE 9449874687. | 14:50hrs to 16:00hrs. | 1:10 | Santhosh JE 9449874687
[5 empty] | 35)66/11KV HSR MUSS F3 Feeder 250KVA Transformer Kept open for Transformer structure work & AB cable puncher Affected Areas:S20:1st Sector,HSR layout and surrounding areas.(Changeover not arranged),confirmed by Yathish AE 9449840476. | 15:30hrs to 18:15hrs. | 2:45 | Yathish AE 9449840476
[5 empty] | 36)66/11KV Hoskote MUSS F14 Feeder line clear taken for Pole erection work Affected Areas:HK1:Hoskote and surrounding areas.(Changeover not arranged),confirmed by Vittal AE 9449871186. | 16:00hrs to 17:10hrs. | 1:10 | Vittal AE 9449871186
[5 empty] | 37)66/11KV Shobha MUSS F17 Feeder line clear taken due to Tree fallen on line Affected Areas:S11:Ambalipura and surrounding areas.(Changeover not arranged),confirmed by Lakshminarayan Reddy AE 9449840478. | 17:25hrs to 18:45hrs. | 1:20 | Lakshminarayan Reddy AE 9449840478
[5 empty] | 38)66/11KV Hebbal MUSS F20 Feeder line clear taken due to Pole damaged by BWSSB Affected Areas:C5:Kanakanagar and surrounding areas.(Changeover not arranged),confirmed by Chandra Nayak AE 9449864899. | 17:30hrs to 18:30hrs. | 1:00 | Chandra Nayak AE 9449864899
[5 empty] | 39)66/11KV Jayadev MUSS F5 Feeder HT Jump cut Affected Areas:S1:28th main 38th cross to 40th cross,corporation colony,east end main road,east end C main,east end D main from 40th cross to 41st cross and surrounding areas.(Changeover not arranged),confirmed by Chiranjivi AE 9449840403. | 17:45hrs to 19:00hrs. | 1:15 | Chiranjivi AE 9449840403
[5 empty] | 40)66/11KV Davangere MUSS F2,F9 & F12 Feeder line clear taken for UG cable work Affected Areas:DV1:Davangere and surrounding areas.(Changeover not arranged),confirmed by DV1 complaint section 08192 259210. | 19:00hrs to 20:15hrs. | 1:15 | DV1 complaint section 08192 259210
[5 empty] | 41)66/11KV Bandemutt MUSS F10 Feeder faulty Affected Areas:K1:Kommagatta,Veerabhadranagar,Bangle,Sulikere,Sulikerepalya,Kenchanapura,part of Ramasandra,Part of Hosakere and surrounding areas.(Changeover not arranged),confirmed by Mohitha AE 9449870341. | 19:15hrs to 20:15hrs. | 1:00 | Mohitha AE 9449870341
[5 empty] | 42)66/11KV Bandematta MUSS F10 Feeder line clear taken for HT Jump cut Affected Areas:K1:Kommagatta,Veerabhadranagar,Bangle,Sulikere,Sulikerepalya,Kenchanapura,part of Ramasandra,Part of Hosakere and surrounding areas.(Changeover not arranged),confirmed by Suresh JE 9449870317. | 21:35hrs to 22:35hrs. | 1:00 | Suresh JE 9449870317
[5 empty] | 43)66/11KV Banasawadi MUSS F17 Feeder 11KV Jump cut Affected Areas:E5:Kanakadasa layout,Lingarajpuram,Kallappa garden,kachanayakanahalli and surrounding areas.(Changeover not arranged),confirmed by 9449844728. | 22:20hrs to 23:35hrs. | 1:15 | Umesh JE 9449844728
[5 empty] | 44)66/11KV Malgudi MUSS F19 Feeder faulty Affected Areas:VE1:Kammasandra,Ananthnagar,daddys garden layout and surrounding areas.(Changeover not arranged),confirmed by Suresh AE 9449872371. | 22:15hrs to 23:15hrs. | 1:00 | Suresh AE 9449872371
TOTAL |  |  |  |  | 44 |  | 1900-01-02 23:20

## Load restriction
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions of Load Restriction by KPTCL (18-06-2020)
| Discription | Timings | Duration (in Hrs) | Confirmed By
KPTCL | NIL

## Accidents
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Accidents
BMAZ |  |  |  | BRAZ |  |  |  | CTAZ |  |  |  | Total
Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental
Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal
- | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## AE TO MD E-Mail Complaints
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
AE to MD and TA to MD E-mail pending complaints
Sl.No | Circle | Date | Issue | Docket No. | Time as per KERC | Tentative Date | Remarks
1 | SOUTH | 2020-05-26 | Frequent power cut | NS10827391 | 7 days | Not confirmed | mail recieved form AEE+J3:J11 As the above said your Complaint Docket number NS19539729 about frequent power supply in Duo heights Layot, due to heavy Rain & Wind there will be frequent Main supply failue from 220 kva station somanahalli interruption was occurred, and after power supply was normalised. For any power supply issues please contact our AEE 9449844670, & AE-9449840472same as forwarded to consumer awaiting for reply .
2 | SOUTH | 2020-05-26 | Frequent power cut | NS20913895 | 7 days | Not confirmed | Informed to AEE Sri.Jagadish.M.H 8277893186 and awaiting for reply
3 | SOUTH | 2020-05-28 | Excess bill | DS16532677 | 7 days | Not confirmed | informed to Ravindra.S.G AAO 8660627631and awaiting for reply
4 | SOUTH | 2020-05-28 | Tree Trimming | ES05966247 | 7 days | Not confirmed | informed to AEE Sri Ramaih S T 9449844665 told that he will discuss with AE and issue wil be attended by today
5 | EAST | 2020-05-31 | Serious Power Outages | NE09830039 | 7 days | Not confirmed | Informed to Kumar Nayak AEE 9449877171 and awaiting for reply
6 | WEST | 2020-06-01 | Frequent Power Cut and Fluctuations | NW07331189 | 7 days | Not confirmed | Informed to Eshwarappa AEE 9449844894 and awaiting for reply
7 | BRC | 2020-06-01 | Frequent Power Cut | NHK1880397 | 7 days | Not confirmed | Informed to Anil Kumar A.V AEE 9448279084 and awaiting for reply
8 | NORTH | 2020-06-01 | Tree trimming. | EN5443772 | 7 days | Not confirmed | Informed to Parashuram AEE 9449844655 and awaiting for reply
9 | SOUTH | 2020-06-03 | Uncleared debris and Deep trench with HT cables hanging dangerously after replacing switch box | NS1652858 | 7 days | Not confirmed | mail sent to AEE awaiting for reply

## BMAZ
Status of Pending Complaints Beyond Time Limit
BMAZ ZONE
Category | Category of Complaints | Sub Category | Duration | Pending Complaints Beyond Time Limit
|  |  |  | BMAZ SOUTH |  | BMAZ NORTH |  | Total
|  |  | Urban | South | West | East | North
A | FAILURE OF POWER SUPPLY | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | 29 | 7 | 7 | 16 | 59
|  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs | 0 | 0 | 0 | 0 | 0
|  | Line breakdown (pole broken) | 10 hrs | 0 | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 0 | 0 | 0 | 0 | 0
|  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 0 | 1 | 0 | 0 | 1
|  | Opening of neutral (High Voltage) | 1 hr | 5 | 2 | 8 | 2 | 17
C | METER COMPLAINTS | Inspect and check correctness | 7 days | 61 | 18 | 14 | 6 | 99 |  |  | cal
|  | Replaced slow, creeping or stuck meters | 10 days | 2 | 0 | 0 | 0 | 2
|  | Replaced burnt meters if cause not attributable to consumer | 7 days | 1 | 0 | 1 | 0 | 2
|  | Replaced burnt meters in all other cases | 24 hrs | 3 | 1 | 2 | 0 | 6
D | BILLING ISSUES | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 56 | 35 | 57 | 19 | 167
|  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 34 | 24 | 11 | 7 | 76
|  | Reconnection of supply following disconnection | On the same day | 4 | 2 | 3 | 1 | 10
E | SAFETY ISSUES | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 43 | 13 | 37 | 60 | 153
|  | Replacement of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 18 | 11 | 12 | 18 | 59 |  | c
|  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 4 | 4 | 9 | 7 | 24
|  | Tree trimming | 7 days | 57 | 60 | 20 | 58 | 195
F | Transformer FAILURE COMPLAINTS | Water Supply | 24 hrs | 0 | 0 | 0 | 0 | 0
|  | Domestic |  | 0 | 0 | 0 | 0 | 0
|  | Industry |  | 0 | 0 | 0 | 0 | 0
|  | Mixed load |  | 0 | 0 | 0 | 0 | 0
|  | Irrigation Pumpset(IP Set) |  | 0 | 0 | 0 | 0 | 0
G | THEFT | Theft | 1 Month | 4 | 5 | 25 | 17 | 51
|  | Hooking Under Nirantara Jyothi Yojane | 15 days | 1 | 0 | 2 | 0 | 3
H | ALLEGATIONS ON STAFF | Allegations on staff | 1 Month | 4 | 6 | 10 | 1 | 21
I | NEW CONNECTION/ ADDITIONAL LOAD | Release of supply where service is feasible from existing network | 1 month | 0 | 0 | 0 | 1 | 1
|  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 0 | 0 | 0 | 0 | 0
|  | IP sets | 30 days | 0 | 0 | 0 | 0 | 0
J | PHASE CONVERSION | Conversion of LT single phase to LT 3 phase | 30 days | 0 | 0 | 0 | 0 | 0
|  | Conversion from LT to HT and vice-versa | 30 days | 0 | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 15 | 6 | 20 | 0 | 41
|  | Change of category (Wrong Application Tariff) | 7 days | 0 | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES | Refund of deposits | 60 days | 0 | 0 | 1 | 0 | 1
|  | Issue of certificates | 1 day | 0 | 0 | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT | Additional TC | 1 Month | 0 | 0 | 0 | 0 | 0
|  | TC Enhancement | 15 days | 0 | 0 | 0 | 1 | 1 | 181
N | GENERAL | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 31 | 10 | 16 | 11 | 68 | 176
Grand Total |  |  |  | 372 | 205 | 255 | 225 | 1057

## BRAZ
Status of Pending Complaints Beyond Time Limit
BRAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | BRC | Ramanagar | Kolar | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transeformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 1 | 2 | 0 | 3
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 1 | 0 | 0 | 1
|  |  | Replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 1 | 0 | 1
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 1 | 3 | 4
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 3 | 0 | 3
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 1 | 0 | 0 | 1
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 12 | 13 | 8 | 33
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 10 | 3 | 7 | 20
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 3 | 1 | 0 | 4
|  |  | Tree trimming | 7 days | 7 days | 8 | 3 | 2 | 13
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 9 | 34 | 9 | 52
|  |  | Hooking Under Nirantara Jyothi Yojane | 15 days | 15 days | 2 | 4 | 2 | 8
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 0 | 4 | 2 | 6
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0 | 0 |  | `
M | ADDitIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 2 | 4 | 3 | 9
Grand Total | [5 empty] | 49 | 73 | 36 | 158
0
1350

## CTAZ
Status of Pending Complaints Beyond Time Limit
CTAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | Tumkur | Davangere | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 1 | 1
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0
|  |  | replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 2 | 2
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 1 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 25 | 12 | 37
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 12 | 9 | 21
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 5 | 5 | 10
|  |  | Tree trimming | 7 days | 7 days | 1 | 2 | 3
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 27 | 4 | 31
|  |  | Hooking Under Nirantara Jyoti Yojane | 15 days | 15 days | 8 | 3 | 11
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 3 | 1 | 4
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 8 | 6 | 14
Grand Total | [5 empty] | 89 | 46 | 135

## Draft summary New
Division/ Sub Division Wise Complaints of BMAZ ( 18-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BMAZ SOUTH | South | 1880 | Jayanagar | 670 | S1 | 232
[5 empty] | S2 | 37
[5 empty] | S5 | 40
[5 empty] | S6 | 95
[5 empty] | S9 | 30
[5 empty] | S14 | 152
[5 empty] | S15 | 58
[5 empty] | S18 | 26
|  |  | Kormangala | 447 | S3 | 86
[5 empty] | S4 | 73
[5 empty] | S7 | 234
[5 empty] | S16 | 54
|  |  | HSR | 763 | S8 | 81
[5 empty] | S10 | 76
[5 empty] | S11 | 71
[5 empty] | S12 | 109
[5 empty] | S13 | 108
[5 empty] | S17 | 84
[5 empty] | S19 | 37
[5 empty] | S20 | 197
| West | 978 | Rajajajinagar | 401 | N1 | 58
[5 empty] | N2 | 55
[5 empty] | N3 | 82
[5 empty] | N6 | 65
[5 empty] | N8 | 113
[5 empty] | N10 | 28
|  |  | R.R. Nagar | 124 | W1 | 18
[5 empty] | W2 | 29
[5 empty] | W6 | 34
[5 empty] | W8 | 9
[5 empty] | W7 | 34
|  |  | Kengeri | 453 | K1 | 221
[5 empty] | K2 | 111
[5 empty] | K3 | 55
[5 empty] | K4 | 66
Total |  | 2858 |  | 2858 |  | 2858
BMAZ NORTH | East | 1620 | Indiranagar | 323 | E3 | 135
[5 empty] | E6 | 100
[5 empty] | E10 | 20
[5 empty] | E11 | 68
|  |  | Shivajinagar | 427 | E1 | 69
[5 empty] | E2 | 64
[5 empty] | E5 | 167
[5 empty] | E8 | 96
[5 empty] | E9 | 31
|  |  | Whitefield | 709 | E4 | 231
[5 empty] | E7 | 250
[5 empty] | E12 | 228
|  |  | Vidhanasoudha | 161 | W3 | 96
[5 empty] | W4 | 35
[5 empty] | W5 | 30
| North | 1281 | Jalahalli | 288 | C3 | 83
[5 empty] | C9 | 49
[5 empty] | N9 | 156
|  |  | Peenya | 131 | N4 | 18
[5 empty] | N5 | 37
[5 empty] | N7 | 76
|  |  | Malleswaram | 461 | C1 | 128
[5 empty] | C2 | 188
[5 empty] | C6 | 145
|  |  | Hebbal | 401 | C4 | 66
[5 empty] | C5 | 83
[5 empty] | C7 | 79
[5 empty] | C8 | 173
Total |  | 2901 |  | 2901 |  | 2901
Division/ Sub Division Wise Complaints of BRAZ ( 18-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BRAZ | BRC | 453 | Nelamanagala | 238 | DB1 | 94
[5 empty] | DB2 | 40
[5 empty] | NM1 | 91
[5 empty] | DPT | 13
|  |  | Hosakote | 215 | DH1 | 28
[5 empty] | VD1 | 62
[5 empty] | HK1 | 13
[5 empty] | AV1 | 98
[5 empty] | NG1 | 14
| Ramanagar Circle | 605 | Ramanagar | 72 | BD1 | 25
[5 empty] | CP1 | 2
[5 empty] | CP2 | 1
[5 empty] | BE1 | 19
[5 empty] | RM1 | 10
[5 empty] | RM2 | 15
|  |  | Magadi | 163 | MA1 | 2
[5 empty] | KD1 | 4
[5 empty] | TV1 | 157
|  |  | Kanakapura | 227 | KP1 | 35
[5 empty] | KP2 | 65
[5 empty] | HA1 | 89
[5 empty] | SA1 | 38
|  |  | Chandapura | 143 | AN1 | 112
[5 empty] | JN1 | 11
[5 empty] | CH1 | 3
[5 empty] | AT1 | 16
[5 empty] | VE1 | 1
| Kolar Circle | 132 | Kolar | 45 | KL1 | 27
[5 empty] | KL2 | 7
[5 empty] | SP1 | 11
|  |  | Chikkaballapura | 20 | BP1 | 10
[5 empty] | CB1 | 3
[5 empty] | CB2 | 0
[5 empty] | GB1 | 7
[5 empty] | GD1 | 0
|  |  | KGF | 47 | BG1 | 8
[5 empty] | KG1 | 12
[5 empty] | ML1 | 0
[5 empty] | MB1 | 14
[5 empty] | BM1 | 13
|  |  | Chinthamani | 20 | CM1 | 10
[5 empty] | CM2 | 8
[5 empty] | SG1 | 2
[5 empty] | SG2 | 0
Total |  | 1190 |  | 1190 |  | 1190
Division/ Sub Division Wise Complaints of CTAZ ( 18-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
CTAZ | TUMKUR | 242 | TUMKUR | 78 | TK1 | 33
[5 empty] | TK2 | 4
[5 empty] | TK3 | 12
[5 empty] | TK4 | 11
[5 empty] | KYT | 2
[5 empty] | GU1 | 14
[5 empty] | NT1 | 2
|  |  | KUNIGAL | 62 | KU1 | 9
[5 empty] | HLD | 36
[5 empty] | YD1 | 17
|  |  | TIPTUR | 38 | TP1 | 20
[5 empty] | TU1 | 17
[5 empty] | CN1 | 1
|  |  | MADHUGIRI | 64 | MG1 | 4
[5 empty] | SR1 | 22
[5 empty] | SR2 | 21
[5 empty] | KR1 | 8
[5 empty] | PG1 | 9
[5 empty] | KH1 | 0
| DAVANGERE | 210 | DAVANGERE | 145 | DV1 | 98
[5 empty] | DV2 | 8
[5 empty] | DV3 | 7
[5 empty] | AG1 | 0
[5 empty] | JL1 | 7
[5 empty] | CG1 | 24
[5 empty] | SB1 | 1
|  |  | HARIHARA | 18 | HR1 | 13
[5 empty] | NY1 | 0
[5 empty] | HN1 | 5
[5 empty] | TL1 | 0
[5 empty] | HH1 | 0
|  |  | CHITRADURGA | 33 | CD1 | 14
[5 empty] | CD2 | 2
[5 empty] | HL1 | 13
[5 empty] | SRP | 0
[5 empty] | HD1 | 4
|  |  | HIRIYURU | 14 | HY1 | 3
[5 empty] | CK1 | 5
[5 empty] | TLK | 2
[5 empty] | MK1 | 4
Total |  | 452 |  | 452 |  | 452
Total | [5 empty] | 7401

## Beyond Transformer Complaints
Beyond Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL

## Pending Transformer Complains
Pending Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL