## Note
Date : 20-06-2020 Dear Sir/Madam, Please find the attached Status of Complaints Received & Pending details as on 19-06-2020
| a) | Page 1 | Complaints Status of Zones
| b) | Page 2 to 8 | Major Interruptions and Load Restriction Details
| c) | Page 9 | Accidents
| d) | Page 10 | Accidents and AE to MD and TA to MD E-Mail complaint status
| e) | Page 11 to 19 | Status of Pending Complaints Beyond Time Limit
| f) | Page 20 to 22 | Circle/Division/Sub Division Wise Complaints Details
| g) | Page 23 | Status of Pending Transformer Complaints Beyond Time Limit
| h) | Page 24 | Status of Pending Transformer Complaints
With Warm Regards
GM (CR)
94498 44778
BESCOM Helpline

## Abstract
Abstract Status of Complaints
Opening Balance | 2468
Complaints received on 19-06-2020 | 10178
Total | 12646
Cumulative Pending Complaints | 2289
Pending Complaints beyond time limit | 1190

## 19-06-2020(8AM)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Status of Complaints as on 19-06-2020 (00:00Hrs to 23:59Hrs) at 08:00am on 20-06-2020
| Category | Category of Complaints | ZONE | [14 empty] | TOTAL
|  |  | BMAZ |  |  |  |  | BRAZ |  |  |  |  | CTAZ
|  |  | OB | New Complaints on 19-06-2020 | Total | Disposed | Pending | OB | New Complaints on 19-06-2020 | Total | Disposed | Pending | OB | New Complaints on 19-06-2020 | Total | Disposed | Pending | OB | New Complaints on 19-06-2020 | Total | Disposed | Pending
| A | FAILURE OF POWER SUPPLY | 59 | 8133 | 8192 | 8121 | 71 | 26 | 1190 | 1216 | 1199 | 17 | 24 | 482 | 506 | 495 | 11 | 109 | 9805 | 9914 | 9815 | 99
| B | VOLTAGE COMPLAINTS | 53 | 38 | 91 | 62 | 29 | 5 | 6 | 11 | 9 | 2 | 1 | 0 | 1 | 0 | 1 | 59 | 44 | 103 | 71 | 32
| C | METER COMPLAINTS | 232 | 21 | 253 | 22 | 231 | 4 | 1 | 5 | 1 | 4 | 2 | 0 | 2 | 1 | 1 | 238 | 22 | 260 | 24 | 236
| D | BILLING ISSUES | 634 | 139 | 773 | 199 | 574 | 27 | 20 | 47 | 25 | 22 | 11 | 5 | 16 | 4 | 12 | 672 | 164 | 836 | 228 | 608
| E | SAFETY ISSUES | 714 | 32 | 746 | 114 | 632 | 91 | 5 | 96 | 7 | 89 | 89 | 0 | 89 | 4 | 85 | 894 | 37 | 931 | 125 | 806
0 | F | TRANSFORMER FAILURE COMPLAINTS | 0 | 1 | 1 | 1 | 0 | 0 | 31 | 31 | 31 | 0 | 0 | 38 | 38 | 36 | 2 | 0 | 70 | 70 | 68 | 2
0 | G | THEFT | 65 | 0 | 65 | 0 | 65 | 72 | 0 | 72 | 2 | 70 | 51 | 0 | 51 | 0 | 51 | 188 | 0 | 188 | 2 | 186
| H | ALLEGATIONS ON STAFF | 27 | 0 | 27 | 0 | 27 | 8 | 0 | 8 | 0 | 8 | 7 | 0 | 7 | 0 | 7 | 42 | 0 | 42 | 0 | 42
| I | NEW CONNECTION/ ADDITIONAL LOAD | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| J | PHASE CONVERSION | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5 | 0 | 5
| K | TRANSFER OF OWNERSHIP AND CONVERSION | 54 | 2 | 56 | 0 | 56 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 55 | 2 | 57 | 0 | 57
| L | REFUND/ ISSUE OF CERTIFICATES | 15 | 1 | 16 | 0 | 16 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 17 | 1 | 18 | 0 | 18
| M | ADDITIONAL TC/ ENHANCEMENT | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| N | GENERAL | 146 | 31 | 177 | 16 | 161 | 24 | 1 | 25 | 8 | 17 | 15 | 1 | 16 | 0 | 16 | 185 | 33 | 218 | 24 | 194
| Grand Total |  | 2008 | 8398 | 10406 | 8535 | 1871 | 259 | 1254 | 1513 | 1282 | 231 | 201 | 526 | 727 | 540 | 187 | 2468 | 10178 | 12646 | 10357 | 2289

## KPTCL
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (19-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| 1)66/11KV Vijaya nagar MUSS Maintenance work due to Battery charger work, Cable installation & Breaker work (Prajavani -3A, Samyuktha Karnataka- Page no-2 18-06-2020). Affected Areas:N2,N3,N6,N8,N10:RPC Layout, Marenahalli, Basaveshwara nagar, Industrial Area, Kamakshipalya,Nagarabhavi, Srigandakaval, Papareddy palya, Pattegarpalya and surrounding areas. (Changeover not arranged),confirmed by Pradeep JE 23359095. | 11:00hrs to 16:25hrs | 5:25 | Pradeep JE 23359095 | 1)66/11KV Leelal MUSS Bank-2 line clear taken for CT Maintenance work. Affected Areas:E6,S3:Indira Nagar, new thippasandra, Muneshwara Layout, Ejipura, Austin Town and surrounding areas. (Changeover not arranged),confirmed by Kiran JE 25276578. | 12:30hrs to 13:50hrs | 1:20 | Kiran JE 25276578
| - | - | 0:00 | - | 2)66/11KV Geddalahalli MUSS incoming supply failure. Affected Areas:E8, E9:Banaswadi, Kothanur, Thanisandra, Hanumanth Nagar and surrounding areas. (Changeover not arranged),confirmed by Sathish JE 9480830128. | 13:50hrs to 15:05hrs | 1:15 | Sathish JE 9480830128
| - | - | 0:00 | - | 3)66/11KV Davanagere MUSS Maintenace work. Affected Areas:DV1,DV2,DV3,DV4:Davanagere Urban and Rural and surrounding areas. (Changeover not arranged),confirmed by Davanagere JE 8277891008. | 10:00hrs to 18:35hrs | 8:35 | Davanagere JE 8277891008
TOTAL | 1 |  | 5:25 |  | 3 |  | 11:10

## BESCOM
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (19-06-2020)
| Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
BESCOM | - | - | 0:00 | - | 1)66/11KV ITI MUSS F1 Feeder faulty Affected Areas:E11:Ramurthy Nagar, Shanthi layout, Anandapura, Akshya Nagar, Margondanahalli, Jinkethimmanahalli, NRI layout and surrounding areas. (Changeover not arranged),confirmed by Manjunath JE 9449874336. | 23:30hrs to 00:20hrs | 0:50 | Manjunath JE 9449874336
| - | - | 0:00 | - | 2)66/11KV Divya Sri MUSS F6 Feeder VL tripped Affected Areas:S7:AECS layout, Chinnappanahalli,Kundalahalli and surrounding areas. (Changeover not arranged),confirmed by Mahadev JE 9449844849. | 23:37hrs to 00:30hrs | 1:07 | Mahadev JE 9449844849
| - | - | 0:00 | - | 3)66/11KV LR Bande MUSS F12 Feeder faulty Affected Areas:C5:Kanaka Nagar, V Nagenahalli, Seethappa layout, Bhuvaneshwari Nagar, Patel muniyappa layout, Babureddy layout and surrounding areas. (Changeover not arranged),confirmed by Kiran JE 9449810251. | 00:25hrs to 01:20hrs | 0:55 | Kiran JE 9449810251
| - | - | 0:00 | - | 4)66/11KV Somanahalli MUSS F2,F3 Feeder's line clear take for HT jump cut Affected Areas:K3:Kaggalipura,Malli palya,Kanakapura main road and surrounding areas. (Changeover not arranged),confirmed by Vijaykumar JE 9449870350. | 01:15hrs to 02:00hrs | 0:45 | Vijaykumar JE 9449870350
| - | - | 0:00 | - | 5)66/11KV LR Bande MUSS F12 Feeder HT Cable burnt out Affected Areas:C5:Kanaka Nagar, 5th A cross and surrounding areas. (Changeover not arranged),confirmed by Kiran JE 9449810251. | 00:25hrs to 12:30hrs | 12:05 | Kiran JE 9449810251
| - | - | 0:00 | - | 6)66/11KV Channapatna MUSS F22 Feeder faulty due to HT Cable fault Affected Areas:CP1:Jeevanpura Mohalla , Indra Cottage , Mallayanadoddi , KHB layout and surrounding areas. (Changeover not arranged),confirmed by Girish JE 9480823266. | 01:00hrs to 06:53hrs | 5:53 | Girish JE 9480823266
| - | - | 0:00 | - | 7)66/11KV Remco MUSS F11 Feeder UG Cable fault Affected Areas:W6:Vittal Nagar, Rudrappa garden,Kasturba Nagar and surrounding areas. (Changeover not arranged),confirmed by Ramesh JE 9449870993. | 07:00hrs to 12:30hrs | 5:30 | Ramesh JE 9449870993
| - | - | 0:00 | - | 8)66/11KV Divyashree MUSS F6 Feeder UG Cable fault Affected Areas:S7:BEML layout, kundalahalli and surrounding areas. (Changeover not arranged),confirmed by Mahadev JE 9449844849. | 09:30hrs to 11:10hrs | 1:40 | Mahadev JE 9449844849
| - | - | 0:00 | - | 9)66/11KV Banasavadi MUSS F1 Feeder VL kept open for Model subdivision work Affected Areas:E8:Nandanum colony, Vijaya bank colony, Shakthi Nagar, Hormavu main road and surrounding areas. (Changeover not arranged),confirmed by Manoj Kumar AE 9449875058. | 09:35hrs to 18:45hrs | 9:10 | Manoj Kumar AE 9449875058
| - | - | 0:00 | - | 10)66/11KV Mathikere MUSS F9 Feeder HT jump cut Affected Areas:C6:Seetha ramaiah layout, Mathikere and surrounding areas. (Changeover not arranged),confirmed by Raghunath AE 9449844694. | 09:30hrs to 10:30hrs | 1:00 | Raghunath AE 9449844694
| - | - | 0:00 | - | 11)66/11KV NGEF MUSS F10 Feeder HT jump cut Affected Areas:E10:Nagappa Reddy layout,Sadananda Nagar, Kasthuri Nagar and surrounding areas. (Changeover not arranged),confirmed by Prakash JE 9449874691. | 10:00hrs to 10:55hrs | 0:55 | Prakash JE 9449874691
| - | - | 0:00 | - | 12)66/11KV RR Nagar MUSS F5 Feeder faulty Affected Areas:K1:Annapoorneshwari layout, Kodipalya kengeri and surrounding areas. (Changeover not arranged),confirmed by Mahadeva AE 9449870327. | 10:00hrs to 11:12hrs | 1:12 | Mahadeva AE 9449870327
| - | - | 0:00 | - | 13)66/11KV Hebbala MUSS F2 Feeder VL kept open for GOS Replacement work Affected Areas:C4:Dharmanna Garden, Dinnur Road RT Nagar, Ganga Nagar and surrounding areas. (Changeover not arranged),confirmed by Puttaswamy AE 9449864894. | 10:00hrs to 16:00hrs | 6:00 | Puttaswamy AE 9449864894
| - | - | 0:00 | - | 14)66/11KV C Station MUSS F8 Feeder tripped Affected Areas:E1:MRS palya, Nandi durga road, benson town and surrounding areas. (Changeover not arranged),confirmed by Manjunath JE 9449874769. | 11:00hrs to 11:35hrs | 0:35 | Manjunath JE 9449874769
| - | - | 0:00 | - | 15)66/11KV Hoody MUSS F6 Feeder 250KVA Transformer open for Maintenance work Affected Areas:E12:Lakshmi Sagar layout, Mahadevapura and surrounding areas. (Changeover not arranged),confirmed by Sindhe AE 9449874269. | 11:30hrs to 13:30hrs | 2:00 | Sindhe AE 9449874269
| - | - | 0:00 | - | 16)66/11KV Arehalli MUSS F3 Feeder jump kept open for UG Cable work Affected Areas:S15:Ittamadu, KEB layout, BSK 3rd Stage and surrounding areas. (Changeover not arranged),confirmed by Rajashekar AE 8277889657. | 11:30hrs to 18:50hrs | 7:20 | Rajashekar AE 8277889657
| - | - | 0:00 | - | 17)66/11KV Gokula MUSS F2 Feeder OD Kpet open for Tree trimming work Affected Areas:C3:Kateramma temple crss Dodda bommasandra and surrounding areas. (Changeover not arranged),confirmed by Rohith AE 9449864542. | 12:00hrs to 13:25hrs | 1:25 | Rohith AE 9449864542
| - | - | 0:00 | - | 18)66/11KV Sahakara Nagar MUSS F8 Feeder One bit open for LT AB Cable work Affected Areas:C9:B B Nagar, Maruthi Nagar, D-Enclave, Kodigehalli and surrounding areas. (Changeover not arranged),confirmed by Kiran Kumar AE 9449864896. | 12:30hrs to 16:15hrs | 3:45 | Kiran Kumar AE 9449864896
| - | - | 0:00 | - | 19)66/11KV Bagmane MUSS F11 Feeder VL kept open for Tree Trimming work Affected Areas:S17:Vignana Nagar, HAL. and surrounding areas. (Changeover not arranged),confirmed by Yogaraj AE 7899388153. | 12:30hrs to 13:30hrs | 1:00 | Yogaraj AE 7899388153
| - | - | 0:00 | - | 20)66/11KV RR Nagar MUSS F12 Feeder VL kept open for HT jump Replacement work Affected Areas:W7:Maxcure Hospital behind Kariyappa park RR Nagar and surrounding areas. (Changeover not arranged),confirmed by Mutturaju AE 9449870957. | 12:40hrs to 16:00hrs | 3:20 | Mutturaju AE 9449870957
| - | - | 0:00 | - | 21)66/11KV Sarakki MUSS F4 Feeder GOS kept open for Tree trimming work Affected Areas:S6:6th phase JP Nagar and surrounding areas. (Changeover not arranged),confirmed by Ramprasad AE 9449844719. | 13:00hrs to 14:10hrs | 1:10 | Ramprasad AE 9449844719
| - | - | 0:00 | - | 22)66/11KV HSR MUSS F5 Feeder VL tripped Affected Areas:S11:Somasundarapalya, Kasavanahalli and surrounding areas. (Changeover not arranged),confirmed by Madhukumar JE 9449868520. | 13:00hrs to 13:40hrs | 0:40 | Madhukumar JE 9449868520
| - | - | 0:00 | - | 23)66/11KV HSR MUSS F8 Feeder line clear taken for Auxiliary Cable work Affected Areas:S20:HSR layout 7th Sectore and surrounding areas. (Changeover not arranged),confirmed by Srinivas JE 9448494009. | 13:15hrs to 13:50hrs | 0:35 | Srinivas JE 9448494009
| - | - | 0:00 | - | 24)66/11KV Jayanagar MUSS F4 Feeder 500KVA Transformer kept open for AB Cable work Affected Areas:S1:16th main road, 4th T Block Jaya Nagar and surrounding areas. (Changeover not arranged),confirmed by Chiranjivi AE 9449840403. | 13:00hrs to 16:30hrs | 3:30 | Chiranjivi AE 9449840403
| - | - | 0:00 | - | 25)66/11KV Jayanagar MUSS F5 Feeder 990KVA Transformer kept open for AB Cable work Affected Areas:S1:16th main road, 4th T Block Jaya Nagar and surrounding areas. (Changeover not arranged),confirmed by Chiranjivi AE 9449840403. | 13:00hrs to 16:35hrs | 3:35 | Chiranjivi AE 9449840403
| - | - | 0:00 | - | 26)66/11KV Kadugodi MUSS F8 Feeder 250KVA Transformers kept open for AB Cable work Affected Areas:E4:Nagaondanahlli and surrounding areas. (Changeover not arranged),confirmed by Preetham AE 9449844639. | 14:00hrs to 16:30hrs | 2:30 | Preetham AE 9449844639
| - | - | 0:00 | - | 27)66/11KV Hoody MUSS F5 Feeder line clear taken for HT UG Cable work Affected Areas:E12:Rajpalya, Hoody and surrounding areas. (Changeover not arranged),confirmed by Siinde AE 9449874269. | 14:30hrs to 16:30hrs | 2:00 | Siinde AE 9449874269
| - | - | 0:00 | - | 28)66/11KV MEI MUSS F7 Feeter 250KVA Transformer New eruction work Affected Areas:N5:Pipeline road, Mallasandra, Kalyana Nagar, T Dasarahalli and surrounding areas. (Changeover not arranged),confirmed by Shivnanda JE 9449865419. | 14:30hrs to 18:45hrs | 4:15 | Shivnanda JE 9449865419
| - | - | 0:00 | - | 29)66/11KV Hebbal MUSS F5 Feeder faulty Affected Areas:E1:Rehamath Nagar, Benson town and surrounding areas. (Changeover not arranged),confirmed by Shivaji Rao AE 9449874769. | 14:50hrs to 15:45hrs | 0:55 | Shivaji Rao AE 9449874769
| - | - | 0:00 | - | 30)66/11KV Remco MUSS F4 Feeter 250KVA Transformer new eruction work Affected Areas:W6:Bapuji Nagar, Chowdappa layout, Byatarayanapura and surrounding areas. (Changeover not arranged),confirmed by Arun Kumar AE 9449871054. | 14:30hrs to 15:30hrs | 1:00 | Arun Kumar AE 9449871054
| - | - | 0:00 | - | 31)66/11KV NGV MUSS F3 Feeder broken Pole replacement work Affected Areas:S4:5th, 6th Block, KHB colony, Koramangala and surrounding areas. (Changeover not arranged),confirmed by Shivakumar AE 9449844716. | 14:00hrs to 16:10hrs | 2:10 | Shivakumar AE 9449844716
| - | - | 0:00 | - | 32)66/11KV EPIP MUSS F17 Feeder line clear taken for GOS work Affected Areas:S7, S17:Chinnappanahalli, Doddanekundi and surrounding areas. (Changeover not arranged),confirmed by Venkatesh AE 9449844849. | 15:00hrs to 18:35hrs | 3:35 | Venkatesh AE 9449844849
| - | - | 0:00 | - | 33)66/11KV C Station F4 Feeder AB Cable work Affected Areas:E1:Jayamahal, Marappa Garden, Benson Town and surrounding areas. (Changeover not arranged),confirmed by Shivaji Rao AE 9449874769. | 15:50hrs to 18:15hrs | 2:25 | Shivaji Rao AE 9449874769
| - | - | 0:00 | - | 34)66/11KV Naagnathapura F4 Feeder AB Cable work Affected Areas:S13:Nagnathapura, Chennakeshava Nagar and surrounding areas. (Changeover not arranged),confirmed by Shivakumar AE 9449868563. | 15:45hrs to 17:00hrs | 1:15 | Shivakumar AE 9449868563
| - | - | 0:00 | - | 35)66/11KV C Station F14 ,F22 Feeder's UG Cable damaged by Smart city Affected Areas:E2:Queens road, Shivaji Road, Park Road, The Hindu press, Shivaji Nagar, Tasker Town and surrounding areas. (Changeover not arranged),confirmed by Poornachandra Tejaswi AEE 9449874910. | 15:50hrs to 22:00hrs | 6:10 | Poornachandra Tejaswi AEE 9449874910
| - | - | 0:00 | - | 36)66/11KV Somanahalli MUSS F8 Feeder faulty Affected Areas:K3:Thattaguppe, Somanahalli, Kaggalipura and surrounding areas. (Changeover not arranged),confirmed by Puttaraju JE 9449866749. | 17:00hrs to 17:45hrs | 0:45 | Puttaraju JE 9449866749
| - | - | 0:00 | - | 37)66/11KV BTM MUSS F13 Feeder Model subdivision work Affected Areas:S19:Devarachikkanahalli, Kodichikkanahalli and surrounding areas. (Changeover not arranged),confirmed by Suresh JE 9449868450. | 16:00hrs to 18:50hrs | 2:50 | Suresh JE 9449868450
| - | - | 0:00 | - | 38)66/11KV Davanagere MUSS F6, F7 ,F8 Feeder's AB Cable burst Affected Areas:DV1,DV2:Davanagere Town and part of rural areas and surrounding areas. (Changeover not arranged),confirmed by Davanagere JE 8277891008. | 18:45hrs to 21:15hrs | 2:30 | Davanagere JE 8277891008
| - | - | 0:00 | - | 39)66/11KV Puttenahalli MUSS F12 Feeder Tree branches fallen on line Affected Areas:C7:Yelahanka Old Town and surrounding areas. (Changeover not arranged),confirmed by Govind Raju AE 9449844698. | 18:50hrs to 19:30hrs | 0:40 | Govind Raju AE 9449844698
| - | - | 0:00 | - | 40)66/11KV Mathikere MUSS F4 Feeder tripped Affected Areas:C6:New BEL Road, Nethaji Nagar, Mathikere and surrounding areas. (Changeover not arranged),confirmed by Basavaraj JE 9449844694. | 19:00hrs to 19:30hrs | 0:30 | Basavaraj JE 9449844694
| - | - | 0:00 | - | 41)66/11KV Banasavadi MUSS F1 Feeder VL tripped Affected Areas:E8:Nisarga layout, Hormavu main road and surrounding areas. (Changeover not arranged),confirmed by Shivaraj JE 9449873981. | 19:15hrs to 20:10hrs | 0:55 | Shivaraj JE 9449873981
| - | - | 0:00 | - | 42)66/11KV Vrushabhavathi MUSS F15 Feeder 11KV jump cut Affected Areas:K1:Harsha layout, Brundhavana layout, Mysore road and surrounding areas. (Changeover not arranged),confirmed by Madhusudhan JE 9449870342. | 19:30hrs to 20:00hrs | 0:30 | Madhusudhan JE 9449870342
| - | - | 0:00 | - | 43)66/11KV Sahakarnagar MUSS F22 Feeder Trunk Cable fault Affected Areas:C8:Telecom layout, MCECHS layout, Dr Shivaram Karanth Nagar, Jakkur and surrounding areas. (Changeover not arranged),confirmed by Arasu JE 9449865343. | 19:45hrs to 20:50hrs | 1:05 | Arasu JE 9449865343
| - | - | 0:00 | - | 44)66/11KV Banaswadi MUSS F3 Feeder LT jump cut Affected Areas:E9:Sonnappa layout, Hennur cross and surrounding areas. (Changeover not arranged),confirmed by Jagadeesh JE 9449875096. | 20:30hrs to 21:10hrs | 0:40 | Jagadeesh JE 9449875096
| - | - | 0:00 | - | 45)66/11KV LR Bande MUSS F1 Feeder one bit kept open for 11 KV Cable burnt out Affected Areas:C5:MM layout, Siddartha layout , Kavalbyarasandra and surrounding areas. (Changeover not arranged),confirmed by Manjunath JE 9449865212. | 21:15hrs to 22:40hrs | 1:25 | Manjunath JE 9449865212
| - | - | 0:00 | - | 46)66/11KV Telecom MUSS F4 Feeder HT jump cut Affected Areas:W3:Padarayanapura,Gori Palya and surrounding areas. (Changeover not arranged),confirmed by Pusamaiah JE 9449841603. | 22:05hrs to 23:00hrs | 0:55 | Pusamaiah JE 9449841603
| - | - | 0:00 | - | 47)66/11KV Byadarahalli MUSS F4 Feeder HT jump cut Affected Areas:K2:Andrahalli and surrounding areas. (Changeover not arranged),confirmed by Rangaswamy JE 9449870347 . | 22:12hrs to 22:40hrs | 0:28 | Rangaswamy JE 9449870347
| - | - | 0:00 | - | 48)66/11KV ISRO MUSS F4 Feeder tripped Affected Areas:S5:ISRO layout, Pipe line, Part of K.S.layout,K.S.layout, 1st Stage, 14th main and surrounding areas. (Changeover not arranged),confirmed by Basavaraju JE 9449810246. | 22:10hrs to 23:03hrs | 0:53 | Basavaraju JE 9449810246
| - | - | 0:00 | - | 49)66/11KV Somanahalli MUSS F9 Feeder faulty Affected Areas:K3:Bolare , Kanakpura main road, Kaggalipura and surrounding areas. (Changeover not arranged),confirmed by Vijaykumar AE 9449870350. | 22:20hrs to 23:30hrs | 1:10 | Vijaykumar AE 9449870350
| - | - | 0:00 | - | 50)66/11KV Nandini MUSS F4 Feeder Tree fallen on LT line Affected Areas:C1:Srirampura ,Okalipura ,LN Pura and surrounding areas. (Changeover not arranged),confirmed by Sidesh JE 9449844691. | 22:30hrs to 23:30hrs | 1:00 | Sidesh JE 9449844691
TOTAL | Nil |  | 0:00 |  | 50 |  | 1900-01-03 22:28
Formulas:
Duration (in Hrs) = SUM(J6:[Duration (in Hrs), row above])

## (Load restriction)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions of Load Restriction by KPTCL (19-06-2020)
| Discription | Timings | Duration (in Hrs) | Confirmed By
KPTCL | - | - | 0:00 | -
Total | Nil |  | 0:00

## Accidents
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Accidents
BMAZ |  |  |  | BRAZ |  |  |  | CTAZ |  |  |  | Total
Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental
Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal
- | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## AE TO MD E-Mail Complaints
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
AE to MD and TA to MD E-mail pending complaints
Sl.No | Circle | Date | Issue | Docket No. | Time as per KERC | Tentative Date | Remarks
1 | SOUTH | 2020-05-26 | Frequent power cut | NS10827391 | 7 days | Not confirmed | mail recieved form AEE+J3:J11 As the above said your Complaint Docket number NS19539729 about frequent power supply in Duo heights Layot, due to heavy Rain & Wind there will be frequent Main supply failue from 220 kva station somanahalli interruption was occurred, and after power supply was normalised. For any power supply issues please contact our AEE 9449844670, & AE-9449840472same as forwarded to consumer awaiting for reply .
2 | SOUTH | 2020-05-26 | Frequent power cut | NS20913895 | 7 days | Not confirmed | Informed to AEE Sri.Jagadish.M.H 8277893186 and awaiting for reply
3 | SOUTH | 2020-05-28 | Excess bill | DS16532677 | 7 days | Not confirmed | informed to Ravindra.S.G AAO 8660627631and awaiting for reply
4 | SOUTH | 2020-05-28 | Tree Trimming | ES05966247 | 7 days | Not confirmed | informed to AEE Sri Ramaih S T 9449844665 told that he will discuss with AE and issue wil be attended by today
5 | EAST | 2020-05-31 | Serious Power Outages | NE09830039 | 7 days | Not confirmed | Informed to Kumar Nayak AEE 9449877171 and awaiting for reply
6 | WEST | 2020-06-01 | Frequent Power Cut and Fluctuations | NW07331189 | 7 days | Not confirmed | Informed to Eshwarappa AEE 9449844894 and awaiting for reply
7 | BRC | 2020-06-01 | Frequent Power Cut | NHK1880397 | 7 days | Not confirmed | Informed to Anil Kumar A.V AEE 9448279084 and awaiting for reply
8 | NORTH | 2020-06-01 | Tree trimming. | EN5443772 | 7 days | Not confirmed | Informed to Parashuram AEE 9449844655 and awaiting for reply
9 | SOUTH | 2020-06-03 | Uncleared debris and Deep trench with HT cables hanging dangerously after replacing switch box | NS1652858 | 7 days | Not confirmed | mail sent to AEE awaiting for reply

## BMAZ
Status of Pending Complaints Beyond Time Limit
BMAZ ZONE
Category | Category of Complaints | Sub Category | Duration | Pending Complaints Beyond Time Limit
|  |  |  | BMAZ SOUTH |  | BMAZ NORTH |  | Total
|  |  | Urban | South | West | East | North
A | FAILURE OF POWER SUPPLY | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | 51 | 6 | 5 | 9 | 71
|  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs | 0 | 0 | 0 | 0 | 0
|  | Line breakdown (pole broken) | 10 hrs | 0 | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 0 | 0 | 0 | 0 | 0
|  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 0 | 1 | 0 | 0 | 1
|  | Opening of neutral (High Voltage) | 1 hr | 1 | 2 | 1 | 3 | 7
C | METER COMPLAINTS | Inspect and check correctness | 7 days | 64 | 7 | 17 | 7 | 95 |  |  | cal
|  | Replaced slow, creeping or stuck meters | 10 days | 2 | 0 | 0 | 0 | 2
|  | Replaced burnt meters if cause not attributable to consumer | 7 days | 1 | 0 | 1 | 0 | 2
|  | Replaced burnt meters in all other cases | 24 hrs | 3 | 0 | 2 | 0 | 5
D | BILLING ISSUES | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 55 | 34 | 62 | 19 | 170
|  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 38 | 23 | 13 | 4 | 78
|  | Reconnection of supply following disconnection | On the same day | 8 | 4 | 2 | 1 | 15
E | SAFETY ISSUES | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 12 | 5 | 11 | 13 | 41
|  | Replacement of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 18 | 6 | 13 | 12 | 49 |  | c
|  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 4 | 3 | 9 | 5 | 21
|  | Tree trimming | 7 days | 73 | 40 | 19 | 56 | 188
F | Transformer FAILURE COMPLAINTS | Water Supply | 24 hrs | 0 | 0 | 0 | 0 | 0
|  | Domestic |  | 0 | 0 | 0 | 0 | 0
|  | Industry |  | 0 | 0 | 0 | 0 | 0
|  | Mixed load |  | 0 | 0 | 0 | 0 | 0
|  | Irrigation Pumpset(IP Set) |  | 0 | 0 | 0 | 0 | 0
G | THEFT | Theft | 1 Month | 5 | 5 | 25 | 17 | 52
|  | Hooking Under Nirantara Jyothi Yojane | 15 days | 1 | 0 | 2 | 0 | 3
H | ALLEGATIONS ON STAFF | Allegations on staff | 1 Month | 4 | 6 | 10 | 1 | 21
I | NEW CONNECTION/ ADDITIONAL LOAD | Release of supply where service is feasible from existing network | 1 month | 0 | 0 | 0 | 1 | 1
|  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 0 | 0 | 0 | 0 | 0
|  | IP sets | 30 days | 0 | 0 | 0 | 0 | 0
J | PHASE CONVERSION | Conversion of LT single phase to LT 3 phase | 30 days | 0 | 0 | 0 | 0 | 0
|  | Conversion from LT to HT and vice-versa | 30 days | 0 | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 15 | 6 | 21 | 0 | 42
|  | Change of category (Wrong Application Tariff) | 7 days | 0 | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES | Refund of deposits | 60 days | 0 | 0 | 0 | 0 | 0
|  | Issue of certificates | 1 day | 1 | 0 | 0 | 0 | 1
M | ADDITIONAL TC/ENHANCEMENT | Additional TC | 1 Month | 0 | 0 | 0 | 0 | 0
|  | TC Enhancement | 15 days | 0 | 0 | 0 | 1 | 1 | 181
N | GENERAL | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 33 | 10 | 17 | 10 | 70 | 176
Grand Total |  |  |  | 389 | 158 | 230 | 159 | 936

## BRAZ
Status of Pending Complaints Beyond Time Limit
BRAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | BRC | Ramanagar | Kolar | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transeformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 1 | 0 | 0 | 1
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 1 | 1 | 0 | 2
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 1 | 0 | 0 | 1
|  |  | Replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 1 | 0 | 1
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 2 | 1 | 1 | 4
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 1 | 0 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 3 | 5 | 5 | 13
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 10 | 2 | 7 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 3 | 1 | 0 | 4
|  |  | Tree trimming | 7 days | 7 days | 9 | 2 | 1 | 12
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 9 | 34 | 9 | 52
|  |  | Hooking Under Nirantara Jyothi Yojane | 15 days | 15 days | 2 | 4 | 0 | 6
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 0 | 4 | 2 | 6
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0 | 0 |  | `
M | ADDitIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 3 | 4 | 3 | 10
Grand Total | [5 empty] | 44 | 60 | 28 | 132
0
1190

## CTAZ
Status of Pending Complaints Beyond Time Limit
CTAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | Tumkur | Davangere | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 1 | 1
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0
|  |  | replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 5 | 5
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 1 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 14 | 7 | 21
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 12 | 9 | 21
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 5 | 5 | 10
|  |  | Tree trimming | 7 days | 7 days | 1 | 2 | 3
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 27 | 4 | 31
|  |  | Hooking Under Nirantara Jyoti Yojane | 15 days | 15 days | 8 | 3 | 11
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 3 | 1 | 4
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 8 | 6 | 14
Grand Total | [5 empty] | 78 | 44 | 122

## Draft summary New
Division/ Sub Division Wise Complaints of BMAZ ( 19-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BMAZ SOUTH | South | 1810 | Jayanagar | 598 | S1 | 149
[5 empty] | S2 | 59
[5 empty] | S5 | 58
[5 empty] | S6 | 67
[5 empty] | S9 | 34
[5 empty] | S14 | 77
[5 empty] | S15 | 108
[5 empty] | S18 | 46
|  |  | Kormangala | 334 | S3 | 37
[5 empty] | S4 | 85
[5 empty] | S7 | 166
[5 empty] | S16 | 46
|  |  | HSR | 878 | S8 | 40
[5 empty] | S10 | 79
[5 empty] | S11 | 60
[5 empty] | S12 | 183
[5 empty] | S13 | 85
[5 empty] | S17 | 179
[5 empty] | S19 | 64
[5 empty] | S20 | 188
| West | 1961 | Rajajajinagar | 1179 | N1 | 33
[5 empty] | N2 | 204
[5 empty] | N3 | 231
[5 empty] | N6 | 322
[5 empty] | N8 | 222
[5 empty] | N10 | 167
|  |  | R.R. Nagar | 330 | W1 | 28
[5 empty] | W2 | 65
[5 empty] | W6 | 163
[5 empty] | W8 | 15
[5 empty] | W7 | 59
|  |  | Kengeri | 452 | K1 | 179
[5 empty] | K2 | 89
[5 empty] | K3 | 131
[5 empty] | K4 | 53
Total |  | 3771 |  | 3771 |  | 3771
BMAZ NORTH | East | 2421 | Indiranagar | 581 | E3 | 234
[5 empty] | E6 | 35
[5 empty] | E10 | 145
[5 empty] | E11 | 167
|  |  | Shivajinagar | 737 | E1 | 183
[5 empty] | E2 | 93
[5 empty] | E5 | 131
[5 empty] | E8 | 129
[5 empty] | E9 | 201
|  |  | Whitefield | 944 | E4 | 103
[5 empty] | E7 | 467
[5 empty] | E12 | 374
|  |  | Vidhanasoudha | 159 | W3 | 92
[5 empty] | W4 | 45
[5 empty] | W5 | 22
| North | 2206 | Jalahalli | 475 | C3 | 76
[5 empty] | C9 | 264
[5 empty] | N9 | 135
|  |  | Peenya | 189 | N4 | 51
[5 empty] | N5 | 35
[5 empty] | N7 | 103
|  |  | Malleswaram | 886 | C1 | 281
[5 empty] | C2 | 378
[5 empty] | C6 | 227
|  |  | Hebbal | 656 | C4 | 211
[5 empty] | C5 | 90
[5 empty] | C7 | 246
[5 empty] | C8 | 109
Total |  | 4627 |  | 4627 |  | 4627
Division/ Sub Division Wise Complaints of BRAZ ( 19-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BRAZ | BRC | 535 | Nelamanagala | 279 | DB1 | 131
[5 empty] | DB2 | 51
[5 empty] | NM1 | 85
[5 empty] | DPT | 12
|  |  | Hosakote | 256 | DH1 | 49
[5 empty] | VD1 | 76
[5 empty] | HK1 | 14
[5 empty] | AV1 | 90
[5 empty] | NG1 | 27
| Ramanagar Circle | 502 | Ramanagar | 171 | BD1 | 14
[5 empty] | CP1 | 4
[5 empty] | CP2 | 2
[5 empty] | BE1 | 80
[5 empty] | RM1 | 55
[5 empty] | RM2 | 16
|  |  | Magadi | 100 | MA1 | 4
[5 empty] | KD1 | 12
[5 empty] | TV1 | 84
|  |  | Kanakapura | 171 | KP1 | 46
[5 empty] | KP2 | 56
[5 empty] | HA1 | 32
[5 empty] | SA1 | 37
|  |  | Chandapura | 60 | AN1 | 44
[5 empty] | JN1 | 9
[5 empty] | CH1 | 2
[5 empty] | AT1 | 2
[5 empty] | VE1 | 3
| Kolar Circle | 217 | Kolar | 58 | KL1 | 38
[5 empty] | KL2 | 10
[5 empty] | SP1 | 10
|  |  | Chikkaballapura | 19 | BP1 | 7
[5 empty] | CB1 | 2
[5 empty] | CB2 | 2
[5 empty] | GB1 | 8
[5 empty] | GD1 | 0
|  |  | KGF | 89 | BG1 | 4
[5 empty] | KG1 | 13
[5 empty] | ML1 | 0
[5 empty] | MB1 | 42
[5 empty] | BM1 | 30
|  |  | Chinthamani | 51 | CM1 | 43
[5 empty] | CM2 | 3
[5 empty] | SG1 | 2
[5 empty] | SG2 | 3
Total |  | 1254 |  | 1254 |  | 1254
Division/ Sub Division Wise Complaints of CTAZ ( 19-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
CTAZ | TUMKUR | 244 | TUMKUR | 99 | TK1 | 43
[5 empty] | TK2 | 22
[5 empty] | TK3 | 5
[5 empty] | TK4 | 4
[5 empty] | KYT | 1
[5 empty] | GU1 | 19
[5 empty] | NT1 | 5
|  |  | KUNIGAL | 50 | KU1 | 8
[5 empty] | HLD | 39
[5 empty] | YD1 | 3
|  |  | TIPTUR | 34 | TP1 | 18
[5 empty] | TU1 | 7
[5 empty] | CN1 | 9
|  |  | MADHUGIRI | 61 | MG1 | 7
[5 empty] | SR1 | 23
[5 empty] | SR2 | 14
[5 empty] | KR1 | 3
[5 empty] | PG1 | 14
[5 empty] | KH1 | 0
| DAVANGERE | 282 | DAVANGERE | 228 | DV1 | 184
[5 empty] | DV2 | 16
[5 empty] | DV3 | 12
[5 empty] | AG1 | 3
[5 empty] | JL1 | 9
[5 empty] | CG1 | 2
[5 empty] | SB1 | 2
|  |  | HARIHARA | 17 | HR1 | 8
[5 empty] | NY1 | 1
[5 empty] | HN1 | 7
[5 empty] | TL1 | 1
[5 empty] | HH1 | 0
|  |  | CHITRADURGA | 22 | CD1 | 6
[5 empty] | CD2 | 6
[5 empty] | HL1 | 2
[5 empty] | SRP | 0
[5 empty] | HD1 | 8
|  |  | HIRIYURU | 15 | HY1 | 6
[5 empty] | CK1 | 4
[5 empty] | TLK | 2
[5 empty] | MK1 | 3
Total |  | 526 |  | 526 |  | 526
Total | [5 empty] | 10178

## Beyond Transformer Complaints
Beyond Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL

## Pending Transformer Complains
Pending Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
1 | Chandrappa | FHD1983568 | 2020-06-19 | 15:20 | CTAZ | DAVANAGERE | CHITRADURGA | HD1 ('R) | Bokkikkariya Hosadurga | IRRIGATION | Minor | 25 KVA Transformer failure, it will be replaced on 20-06-2020, confirmed by Thippeswamy AE 9449876361.
2 | Lokappa | FHD1243872 | 2020-06-19 | 15:27 | CTAZ | DAVANAGERE | CHITRADURGA | HD1 ('R) | Kondajji Hosadurga | IRRIGATION | Minor | 25 KVA Transformer failure, it will be replaced on 20-06-2020, confirmed by Thippeswamy AE 9449876361.