## Note
Date : 21-06-2020 Dear Sir/Madam, Please find the attached Status of Complaints Received & Pending details as on 20-06-2020
| a) | Page 1 | Complaints Status of Zones
| b) | Page 2 to 8 | Major Interruptions and Load Restriction Details
| c) | Page 9 | Accidents
| d) | Page 10 | Accidents and AE to MD and TA to MD E-Mail complaint status
| e) | Page 11 to 19 | Status of Pending Complaints Beyond Time Limit
| f) | Page 20 to 22 | Circle/Division/Sub Division Wise Complaints Details
| g) | Page 23 | Status of Pending Transformer Complaints Beyond Time Limit
| h) | Page 24 | Status of Pending Transformer Complaints
With Warm Regards
GM (CR)
94498 44778
BESCOM Helpline

## Abstract
Abstract Status of Complaints
Opening Balance | 2289
Complaints received on 20-06-2020 | 9028
Total | 11317
Cumulative Pending Complaints | 1969
Pending Complaints beyond time limit | 1083

## 20-06-2020(8AM)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Status of Complaints as on 20-06-2020 (00:00Hrs to 23:59Hrs) at 08:00am on 21-06-2020
| Category | Category of Complaints | ZONE | [14 empty] | TOTAL
|  |  | BMAZ |  |  |  |  | BRAZ |  |  |  |  | CTAZ
|  |  | OB | New Complaints on 20-06-2020 | Total | Disposed | Pending | OB | New Complaints on 20-06-2020 | Total | Disposed | Pending | OB | New Complaints on 20-06-2020 | Total | Disposed | Pending | OB | New Complaints on 20-06-2020 | Total | Disposed | Pending
| A | FAILURE OF POWER SUPPLY | 71 | 7045 | 7116 | 7083 | 33 | 17 | 1238 | 1255 | 1231 | 24 | 11 | 432 | 443 | 435 | 8 | 99 | 8715 | 8814 | 8749 | 65
| B | VOLTAGE COMPLAINTS | 29 | 22 | 51 | 25 | 26 | 2 | 9 | 11 | 8 | 3 | 1 | 0 | 1 | 1 | 0 | 32 | 31 | 63 | 34 | 29
| C | METER COMPLAINTS | 231 | 14 | 245 | 4 | 241 | 4 | 1 | 5 | 1 | 4 | 1 | 1 | 2 | 2 | 0 | 236 | 16 | 252 | 7 | 245
| D | BILLING ISSUES | 574 | 102 | 676 | 349 | 327 | 22 | 10 | 32 | 19 | 13 | 12 | 0 | 12 | 9 | 3 | 608 | 112 | 720 | 377 | 343
| E | SAFETY ISSUES | 632 | 26 | 658 | 75 | 583 | 89 | 6 | 95 | 5 | 90 | 85 | 2 | 87 | 7 | 80 | 806 | 34 | 840 | 87 | 753
0 | F | TRANSFORMER FAILURE COMPLAINTS | 0 | 2 | 2 | 2 | 0 | 0 | 33 | 33 | 33 | 0 | 2 | 29 | 31 | 29 | 2 | 2 | 64 | 66 | 64 | 2
0 | G | THEFT | 65 | 1 | 66 | 0 | 66 | 70 | 2 | 72 | 0 | 72 | 51 | 1 | 52 | 9 | 43 | 186 | 4 | 190 | 9 | 181
| H | ALLEGATIONS ON STAFF | 27 | 0 | 27 | 0 | 27 | 8 | 0 | 8 | 0 | 8 | 7 | 0 | 7 | 0 | 7 | 42 | 0 | 42 | 0 | 42
| I | NEW CONNECTION/ ADDITIONAL LOAD | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| J | PHASE CONVERSION | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5 | 0 | 5
| K | TRANSFER OF OWNERSHIP AND CONVERSION | 56 | 3 | 59 | 1 | 58 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 57 | 4 | 61 | 2 | 59
| L | REFUND/ ISSUE OF CERTIFICATES | 16 | 4 | 20 | 0 | 20 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 18 | 4 | 22 | 0 | 22
| M | ADDITIONAL TC/ ENHANCEMENT | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| N | GENERAL | 161 | 35 | 196 | 18 | 178 | 17 | 4 | 21 | 0 | 21 | 16 | 5 | 21 | 1 | 20 | 194 | 44 | 238 | 19 | 219
| Grand Total |  | 1871 | 7254 | 9125 | 7557 | 1568 | 231 | 1304 | 1535 | 1298 | 237 | 187 | 470 | 657 | 493 | 164 | 2289 | 9028 | 11317 | 9348 | 1969

## KPTCL
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (20-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| 1)66/11KV Kodigehalli MUSS New Power Transformer No.2 Erection work (intermittent power supply will be Arranged) [News Paper-Prajavai, Page No.3A) (17-06-20200]. Affected Areas:TV1,K4:Kodigehalli, BBMP Plant,Kannahalli,Anikethana Nagar, Seegehalli Industrial Area, Parvathi layout,Chikkagollarahatti, Elekodigehalli, Skanda Nagar, Seegehalli, Seegehalli Gate,Nalini Estate, Shanthi lal layout, Mutturayaswamy layout and surrounding areas. (Changeover arranged),confirmed by Suresh JE 9148851854. | 10:00hrs 17-06-2020 to 11:00hrs 20-06-2020 | 1900-01-02 01:00 | Suresh JE 9148851854 | 1)66/11KV Kadubeesanahalli MUSS Incoming supply failure due to hot line observation work & Clamp Change work at 220KV HAL Station. Affected Areas:S7,S17:Munekollala, Sanjay Nagar,Kundalahalli, BasavaNagar, ,Vignan Nagar, chinnappanahalli,Marathalli and surrounding areas. (Changeover not arranged),confirmed by Anitha JE 9449596830. | 11:40hrs to 12:25hrs | 0:45 | Anitha JE 9449596830
| 2)66/11KV B Station MUSS Trnsformer No.4 line clear taken for Tan delta testing work & Breaker Maintenance work Affected Feeders F25, F26, F27, F28, F30, F31 & F32) [News Paper Prajavani Page no-3] (19-06-2020). Affected Areas:E2,E3:MG Road, Church street, St marks road, Chinnaswamy stadium, Museum road, Artilary road, Ulsoor, Ulsoor Market, Trinity circle, Garuda Mall, Ulsoor main road, Gangadhar shetty road, Ulsoor police station, Lido mall road, Swamy vivekananda road and surrounding areas. (Changeover not arranged),confirmed by Balan JE 9448365149 . | 10:00hrs to 20:35hrs | 10:35 | Balan JE 9448365149 | 2)66/11KV D Cross MUSS 20MVA Power Transformer No.1 Bank 2 line clear taken for BUS bar work Affected Feeder's: F6, F7, F10, F11, F16, F17, F22, F23. Affected Areas:DB1,DB2:Palanajogihalli, TB Circle, Subhash Nagar, Shanthi Nagar, Manasi, Vinayak Nagar, Doddaballapura Town and surrounding areas. (Changeover not arranged),confirmed by Rakesh JE 9480823210. | 13:20hrs to 17:30hrs | 4:10 | Rakesh JE 9480823210
TOTAL | 2 |  | 1900-01-02 11:35 |  | 2 |  | 4:55
Formulas:
Duration (in Hrs) = SUM(F6:[Duration (in Hrs), row above])

## BESCOM
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (20-06-2020)
| Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
BESCOM | - | - | 0:00 | - | 1)66/11KV D Cross MUSS F10 Feeder faulty Affected Areas:DB1:Palanjoga halli, T B Narayanappa, Islampura and surrounding areas. (Changeover not arranged),confirmed by Venkatesh JE 080 27622003. | 23:30hrs to 00:30hrs | 1:00 | Venkatesh JE 080 27622003
| - | - | 0:00 | - | 2)66/11KV Dommasandra MUSS F11 Feeder faulty Affected Areas:AT1:Thippasandra ,Dommasandra,Halsalli, Nariga and surrounding areas. (Changeover not arranged),confirmed by Narayan swamy AE 9449866798. | 00:15hrs to 00:47hrs | 0:32 | Narayan swamy AE 9449866798
| - | - | 0:00 | - | 3)66/11KV ITI MUSS F1 Feeder one bit faulty Affected Areas:E11:Varanasi,RamurthyNagar, Shanthi layout, Anandapura, AkshyaNagar, Margondanahalli, Jinkethimmanahalli, NRI layout and surrounding areas. (Changeover not arranged),confirmed by Kiran JE 9449874336. | 02:50hrs to 03:40hrs | 0:50 | Kiran JE 9449874336
| - | - | 0:00 | - | 4)66/11KV Chandra Layout MUSS F7 Feeder faulty Affected Areas:N8:Krishnananda Nagar,Malagala Road,Nagarbhavi 2nd stage and surrounding areas. (Changeover not arranged),confirmed by Ashwathappa JE 9449844625. | 07:00hrs to 07:50hrs | 0:50 | Ashwathappa JE 9449844625
| - | - | 0:00 | - | 5)66/11KV Abbigere MUSS F7 Feeder line clear taken for Pin Insulator Flash over Affected Areas:C3 N9:Janta colony, Sapthagiri layout, Abbigere ,Medahalli,Soladevanahalli and surrounding areas. (Changeover not arranged),confirmed by Sunkaiah JE 9449844804. | 07:30hrs to 08:30hrs | 1:00 | Sunkaiah JE 9449844804
| - | - | 0:00 | - | 6)66/11KV HSR MUSS F17 Feeder faulty Affected Areas:S20:7th Sector HSR layout,3rd Sector HSR layout and surrounding areas. (Changeover not arranged),confirmed by Balaji JE 9449844831. | 09:30hrs to 11:15hrs | 1:45 | Balaji JE 9449844831
| - | - | 0:00 | - | 7)66/11KV Gollahalli MUSS F11 Feeder line clear taken for HT jump cut Affected Areas:S10:Akshaya Nagar,Bettadasanapura, Basavanapura and surrounding areas. (Changeover not arranged),confirmed by Rafiq JE 8277892509. | 10:00hrs to 11:14hrs | 1:14 | Rafiq JE 8277892509
| - | - | 0:00 | - | 8)66/11KV Geddlahalli MUSS F11 Feeder GOS kept open for Model subdivision work Affected Areas:E8:Kalkere,Punyabhoomi layout, Kalkere Village and surrounding areas. (Changeover not arranged),confirmed by Naresh AE 9449869320. | 10:00hrs to 18:15hrs | 8:15 | Naresh AE 9449869320
| - | - | 0:00 | - | 9)66/11KV EPIP MUSS F4 Feeder faulty Affected Areas:S7:A Block, AECS layout, Kundalahalli and surrounding areas. (Changeover not arranged),confirmed by Venkatesh AE 9449844849. | 10:00hrs to 12:10hrs | 2:10 | Venkatesh AE 9449844849
| - | - | 0:00 | - | 10)66/11KV Nandini MUSS F8 Feeder HT jump cut Affected Areas:N7:Poojamma temple road, Goraguntepalya, Part of Nandini layout and surrounding areas. (Changeover not arranged),confirmed by Santosh Kumar AE 9844467931. | 10:30hrs to 11:15hrs | 0:45 | Santosh Kumar AE 9844467931
| - | - | 0:00 | - | 11)66/11KV Nelagadaranahalli MUSS F11 Feeder 250KVA Transformer kept open for LT AB Cable work Affected Areas:N5:HMT layout Chokkasandra and surrounding areas. (Changeover not arranged),confirmed by Kiran AE 9449865394. | 11:00hrs to 18:20hrs | 7:20 | Kiran AE 9449865394
| - | - | 0:00 | - | 12)66/11KV Nelagadaranahalli MUSS F4 Feeder 250KVA Transformer kept open for LT AB Cable work Affected Areas:N5:Gruhalakshmi layout,Chokkasandra and surrounding areas. (Changeover not arranged),confirmed by Kiran AE 9449865394. | 11:00hrs to 18:20hrs | 7:20 | Kiran AE 9449865394
| - | - | 0:00 | - | 13)66/11KV Bagmane MUSS F8 Feeder GOS kept open for Tree trimming work Affected Areas:S17:GM Palya, HAL and surrounding areas. (Changeover not arranged),confirmed by Yogaraj AE 9449877000. | 11:00hrs to 12:10hrs | 1:10 | Yogaraj AE 9449877000
| - | - | 0:00 | - | 14)66/11KV Vijay Nagar MUSS F11 Feeder faulty Affected Areas:N10:Ranganathpura,Kamakshipalya and surrounding areas. (Changeover not arranged),confirmed by Prakash AE 9449870039. | 11:20hrs to 12:30hrs | 1:10 | Prakash AE 9449870039
| - | - | 0:00 | - | 15)66/11KV HBR MUSS F3 Feeder line clear taken for AFT work Affected Areas:E5:Yaseen Nagar, 2nd block HBR layout, Lingarajpura and surrounding areas. (Changeover not arranged),confirmed by Mahadevappa AE 9449874970. | 11:15hrs to 12:40hrs | 1:25 | Mahadevappa AE 9449874970
| - | - | 0:00 | - | 16)66/11KV Banasavadi MUSS F17 Feeder line clear taken for Tree trimming work Affected Areas:E5 E8:Joseph layout, lingarajapuram,Devi shetty road Kammanahalli main rd RS palya, Banasavadi and surrounding areas. (Changeover not arranged),confirmed by Vinay AE 9449869316. | 11:20hrs to 12:30hrs | 1:10 | Vinay AE 9449869316
| - | - | 0:00 | - | 17)66/11KV Chandra Layout MUSS F2 Feeder VL kept open for 250KVA Transformer Maintenance work Affected Areas:N2:Subbana garden, Vinayaka layout, and surrounding areas. (Changeover not arranged),confirmed by Chandrashekar AE 9449869137. | 11:30hrs to 13:15hrs | 1:45 | Chandrashekar AE 9449869137
| - | - | 0:00 | - | 18)66/11KV LR Bande MUSS F5 Feeder line clear taken for Metro work Affected Areas:C5:Kushal Nagar, Kadugondanahalli police station,Part of Kavalbyrasandra , Rama tent road BDA layout and surrounding areas. (Changeover not arranged),confirmed by Akkama AE 9901939604. | 11:40hrs to 18:10hrs | 6:30 | Akkama AE 9901939604
| - | - | 0:00 | - | 19)66/11KV HBR MUSS F12 Feeder LT jump cut Affected Areas:E9:Shirdi Sai Ratan Lyt Shivaram Karanth and surrounding areas. (Changeover not arranged),confirmed by Ashirvad JE 9449869309. | 12:20hrs to 13:30hrs | 1:10 | Ashirvad JE 9449869309
| - | - | 0:00 | - | 20)66/11KV Sahakara Nagar MUSS F20 Feeder 250KVA Transformer kept open for Tree trimming work Affected Areas:C8:Part of Jakkur and surrounding areas. (Changeover not arranged),confirmed by Krishna JE 9449865343. | 13:00hrs to 15:10hrs | 2:10 | Krishna JE 9449865343
| - | - | 0:00 | - | 21)66/11KV HSR MUSS F21 Feeder faulty Affected Areas:S20:Jakkasandra, Teachers colony, Venkatapura, 1st block Koramangala and surrounding areas. (Changeover not arranged),confirmed by Vasanth JE 9449844831. | 13:18hrs to 14:40hrs | 1:22 | Vasanth JE 9449844831
| - | - | 0:00 | - | 22)66/11KV Jayadeva MUSS F2 ,F5 Feeder's 990 KVA Transformer kept open for LT AB Cable work Affected Areas:S1:JayaNagar 9th block and surrounding areas. (Changeover not arranged),confirmed by Cheeranjeevi AE 9449840406. | 13:00hrs to 18:15hrs | 5:15 | Cheeranjeevi AE 9449840406
| - | - | 0:00 | - | 23)66/11KV Divyashree MUSS F9 Feeder VL kept open for Pole replacement work Affected Areas:S7:Green garden layout, Munekolala and surrounding areas. (Changeover not arranged),confirmed by Murali AE 9449840458. | 14:15hrs to 17:00hrs | 2:45 | Murali AE 9449840458
| - | - | 0:00 | - | 24)66/11KV NGV MUSS F9 Feeder 990 KVA New Transformer Erection work Affected Areas:S4:Kormangala 6th block and surrounding areas. (Changeover not arranged),confirmed by Vasanth JE 9449844716. | 14:30hrs to 18:20hrs | 3:50 | Vasanth JE 9449844716
| - | - | 0:00 | - | 25)66/11KV HSR MUSS F3 Feeder 11KV Cable work Affected Areas:S20:HSR 1st sector and surrounding areas. (Changeover not arranged),confirmed by Janardhan Yatish AE 9449844831. | 14:45hrs to 17:25hrs | 2:40 | Janardhan Yatish AE 9449844831
| - | - | 0:00 | - | 26)66/11KV Bagamane MUSS F9 Feder line clear taken for line work Affected Areas:E12:Setty layout, Papareddy layout, Garudachar palya and surrounding areas. (Changeover not arranged),confirmed by Babu JE 9449810248. | 14:50hrs to 16:50hrs | 2:00 | Babu JE 9449810248
| - | - | 0:00 | - | 27)66/11KV Kadugodi MUSS F12, F14 Feeder's tripped Affected Areas:E4:Whitefield and surrounding areas. (Changeover not arranged),confirmed by Krishna JE 9449844639. | 14:55hrs to 16:10hrs | 1:15 | Krishna JE 9449844639
| - | - | 0:00 | - | 28)66/11KV IISC MUSS F9 Feeder Maintenance work Affected Areas:C6:Triveni rd, Yeshwanth pura and surrounding areas. (Changeover not arranged),confirmed by Givindappa JE 9449844694. | 15:10hrs to 16:40hrs | 1:30 | Givindappa JE 9449844694
| - | - | 0:00 | - | 29)66/11KV Arehalli MUSS F3 Feeder jump kept open for Pole erection work Affected Areas:S15:Ittamadu, BSK 3rd stage and surrounding areas. (Changeover not arranged),confirmed by Rajshekhar AE 9880516254. | 15:00hrs to 18:40hrs | 3:40 | Rajshekhar AE 9880516254
| - | - | 0:00 | - | 30)66/11KV Banasawadi MUSS F1 Feeder Additional 250KVA Transformer work Affected Areas:E8:Coconut grove layout, Hormavu, Babsab palya and surrounding areas. (Changeover not arranged),confirmed by Manoj Kumar AE 9449875058. | 14:30hrs to 16:45hrs | 2:15 | Manoj Kumar AE 9449875058
| - | - | 0:00 | - | 31)66/11KV Sarakki MUSS F14 Feeder 250 KVA Transformer kept open for AFT work Affected Areas:S6:JP Nagar 1st phase and surrounding areas. (Changeover not arranged),confirmed by Ramprasad AE 9449844719. | 10:30hrs to 19:10hrs | 8:40 | Ramprasad AE 9449844719
| - | - | 0:00 | - | 32)66/11KV BTM MUSS F4 Feeder VL kept open for Pole bent work Affected Areas:S8:Mico layout, Hongasandra 8th, 9th, 11th main and surrounding areas. (Changeover not arranged),confirmed by Manjunath AE 9449840466. | 15:50hrs to 17:20hrs | 1:30 | Manjunath AE 9449840466
| - | - | 0:00 | - | 33)66/11KV Bandemutt MUSS F10 Feeder GOS kept open for AB Cable work Affected Areas:K1:Ramohalli and surrounding areas. (Changeover not arranged),confirmed by Prakash JE 9449870438. | 15:00hrs to 18:25hrs | 3:25 | Prakash JE 9449870438
| - | - | 0:00 | - | 34)66/11KV Divyashree MUSS F9 Feeder UG Cable damage Affected Areas:S7:Green garden layout, Munekolala, Manjunath layout and surrounding areas. (Changeover not arranged),confirmed by Murali AE 9449840458. | 17:00hrs to 19:35hrs | 2:35 | Murali AE 9449840458
| - | - | 0:00 | - | 35)66/11KV EPIP MUSS F4 Feeder 250KVA Transformer kept open for UG Cable damage Affected Areas:S7:AECS A block, Kundalahalli and surrounding areas. (Changeover not arranged),confirmed by Venktesh AE 9449844849. | 17:20hrs to 18:45hrs | 1:25 | Venktesh AE 9449844849
| - | - | 0:00 | - | 36)66/11KV Subramanyapura MUSS F11 Feeder 2 to 3 HT jumps cut Affected Areas:S18:Uttarahalli, Narasamma layout, Behind KRHospital, Bangarappa layout and surrounding areas. (Changeover not arranged),confirmed by Shivashankar AE 9449840421. | 17:35hrs to 19:00hrs | 1:25 | Shivashankar AE 9449840421
| - | - | 0:00 | - | 37)66/11KV Bagamane MUSS F13 Feeder Pole bent Affected Areas:S17:Islampura, Annasandra palya ,HAL and surrounding areas. (Changeover not arranged),confirmed by Rajendra JE 9739993939. | 17:00hrs to 18:15hrs | 1:15 | Rajendra JE 9739993939
| - | - | 0:00 | - | 38)66/11KV B Station F13 Feeder Main lead burnt out Affected Areas:E6:Indira Nagar, Motappana palya and surrounding areas. (Changeover not arranged),confirmed by Jakanachari JE 9449874720. | 18:00hrs to 18:55hrs | 0:55 | Jakanachari JE 9449874720
| - | - | 0:00 | - | 39)66/11KV Geddalahalli MUSS F11 Feeder HT fuse blown out Affected Areas:E8:Kalkere, Hormavu, Banjara layout and surrounding areas. (Changeover not arranged),confirmed by Naresh AE 9449869320. | 18:30hrs to 19:10hrs | 0:40 | Naresh AE 9449869320
| - | - | 0:00 | - | 40)66/11KV Kadugodi MUSS F3 Feeder HT jump cut Affected Areas:HK1:Samethanahalli, Thirumalashettyhalli and surrounding areas. (Changeover not arranged),confirmed by Ggangadhar AE 9449871175. | 19:00hrs to 20:25hrs | 1:25 | Ggangadhar AE 9449871175
| - | - | 0:00 | - | 41)66/11KV HAL MUSS F6 Feeder damage Pole replacement work Affected Areas:E6:Jeevan bhima Nagar, KPWD qtrs and surrounding areas. (Changeover not arranged),confirmed by Kusuma AE 9449874307. | 19:00hrs to 20:45hrs | 1:45 | Kusuma AE 9449874307
| - | - | 0:00 | - | 42)66/11KV Jayanagar MUSS F7 Feeder HT jump cut Affected Areas:S1:JayaNagar 6th block and surrounding areas. (Changeover not arranged),confirmed by Chidanada JE 9449844711. | 19:40hrs to 21:15hrs | 1:35 | Chidanada JE 9449844711
| - | - | 0:00 | - | 43)66/11KV Devanahalli MUSS F17 Feeder faulty Affected Areas:DH1:Kannamangala, Bettenahalli and surrounding areas. (Changeover not arranged),confirmed by satish AE 9449871584. | 20:45hrs to 22:15hrs | 1:30 | satish AE 9449871584
| - | - | 0:00 | - | 44)66/11KV Jayadeva MUSS F1 Feeder faulty Affected Areas:S14:NS Palya,BTM layout 2nd stage and surrounding areas. (Changeover not arranged),confirmed by Suresh JE 9449844835. | 21:50hrs to 22:53hrs | 1:03 | Suresh JE 9449844835
| - | - | 0:00 | - | 45)66/11KV Gollahalli MUSS F1 Feeder HT jump cut Affected Areas:S10:Doddakamanahalli and surrounding areas. (Changeover not arranged),confirmed by Basavaraju JE 8277892509. | 21:15hrs to 22:33hrs | 1:18 | Basavaraju JE 8277892509
| - | - | 0:00 | - | 46)66/11KV Nimhans MUSS F3 Feeder 250KVA Transformer kept open for BBMP borewell work Affected Areas:S1:Siddapura,Dayananda Nagar,Someshwara Nagar and surrounding areas. (Changeover not arranged),confirmed by Suresh JE 9449865945. | 10:28hrs to 23:00hrs | 12:32 | Suresh JE 9449865945
| - | - | 0:00 | - | 47)66/11KV SRS MUSS F27 Feeder LT wire burnt out Affected Areas:N4:Kasturi badavane ,Rajgopal Nagar, peenya 2nd stage and surrounding areas. (Changeover not arranged),confirmed by Shivakumar JE 9449844650. | 22:10hrs to 23:00hrs | 0:50 | Shivakumar JE 9449844650
| - | - | 0:00 | - | 48)66/11KV Jayadeva MUSS F1 Feeder tripped Affected Areas:S14:NS Palya,BTM Layout 2nd stage and surrounding areas. (Changeover not arranged),confirmed by Suresh JE 9449844835 . | 22:50hrs to 23:15hrs | 0:25 | Suresh JE 9449844835
| - | - | 0:00 | - | 49)66/11KV Hebbal MUSS F21 Feeder LT box burnt out Affected Areas:C4:Chamundi Nagar and surrounding areas. (Changeover not arranged),confirmed by Manjunth JE 9449844696. | 23:00hrs to 00:11hrs | 1:11 | Manjunth JE 9449844696
| - | - | 0:00 | - | 50)66/11KV Jaydeva MUSS F14 Feeder faulty Affected Areas:S1:Jaya Nagar 4th T Block,SRK Garden and surrounding areas(Changeover not arranged),confirmed by Manjunth JE 9449840406 . | 23:15hrs to 00:15hrs | 1:00 | Raghavendra JE 9449840406
| - | - | 0:00 | - | 51)66/11KV RMZ MUSS F19 Feeder Lorry hit the Pole Affected Areas:S11:Doddakannahalli and surrounding areas(Changeover not arranged),confirmed by Suresh JE 9449844835. | 23:30hrs to 01:12hrs | 1:42 | Suresh JE 9449844835
| - | - | 0:00 | - | 52)66/11KV Sarakki MUSS F15 Feeder HT jump cut Affected Areas:S14:BTM Layout 2nd stage and surrounding areas.Changeover not arranged),confirmed by Shivarudra JE 9449844835 | 23:50hrs to 00:30hrs | 0:40 | Shivarudra JE 9449844835
TOTAL | Nil |  | 0:00 |  | 52 |  | 1900-01-04 04:49
Formulas:
Duration (in Hrs) = SUM(J6:[Duration (in Hrs), row above])

## (Load restriction)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions of Load Restriction by KPTCL (20-06-2020)
| Discription | Timings | Duration (in Hrs) | Confirmed By
KPTCL | - | - | 0:00 | -
Total | Nil |  | 0:00

## Accidents
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Accidents
BMAZ |  |  |  | BRAZ |  |  |  | CTAZ |  |  |  | Total
Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental
Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal
- | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## AE TO MD E-Mail Complaints
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
AE to MD and TA to MD E-mail pending complaints
Sl.No | Circle | Date | Issue | Docket No. | Time as per KERC | Tentative Date | Remarks
1 | SOUTH | 2020-05-26 | Frequent power cut | NS10827391 | 7 days | Not confirmed | mail recieved form AEE+J3:J11 As the above said your Complaint Docket number NS19539729 about frequent power supply in Duo heights Layot, due to heavy Rain & Wind there will be frequent Main supply failue from 220 kva station somanahalli interruption was occurred, and after power supply was normalised. For any power supply issues please contact our AEE 9449844670, & AE-9449840472same as forwarded to consumer awaiting for reply .
2 | SOUTH | 2020-05-26 | Frequent power cut | NS20913895 | 7 days | Not confirmed | Informed to AEE Sri.Jagadish.M.H 8277893186 and awaiting for reply
3 | SOUTH | 2020-05-28 | Excess bill | DS16532677 | 7 days | Not confirmed | informed to Ravindra.S.G AAO 8660627631and awaiting for reply
4 | SOUTH | 2020-05-28 | Tree Trimming | ES05966247 | 7 days | Not confirmed | informed to AEE Sri Ramaih S T 9449844665 told that he will discuss with AE and issue wil be attended by today
5 | EAST | 2020-05-31 | Serious Power Outages | NE09830039 | 7 days | Not confirmed | Informed to Kumar Nayak AEE 9449877171 and awaiting for reply
6 | WEST | 2020-06-01 | Frequent Power Cut and Fluctuations | NW07331189 | 7 days | Not confirmed | Informed to Eshwarappa AEE 9449844894 and awaiting for reply
7 | BRC | 2020-06-01 | Frequent Power Cut | NHK1880397 | 7 days | Not confirmed | Informed to Anil Kumar A.V AEE 9448279084 and awaiting for reply
8 | NORTH | 2020-06-01 | Tree trimming. | EN5443772 | 7 days | Not confirmed | Informed to Parashuram AEE 9449844655 and awaiting for reply
9 | SOUTH | 2020-06-03 | Uncleared debris and Deep trench with HT cables hanging dangerously after replacing switch box | NS1652858 | 7 days | Not confirmed | mail sent to AEE awaiting for reply

## BMAZ
Status of Pending Complaints Beyond Time Limit
BMAZ ZONE
Category | Category of Complaints | Sub Category | Duration | Pending Complaints Beyond Time Limit
|  |  |  | BMAZ SOUTH |  | BMAZ NORTH |  | Total
|  |  | Urban | South | West | East | North
A | FAILURE OF POWER SUPPLY | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | 16 | 3 | 0 | 14 | 33
|  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs | 0 | 0 | 0 | 0 | 0
|  | Line breakdown (pole broken) | 10 hrs | 0 | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 0 | 0 | 0 | 0 | 0
|  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 0 | 0 | 0 | 0 | 0
|  | Opening of neutral (High Voltage) | 1 hr | 3 | 2 | 4 | 2 | 11
C | METER COMPLAINTS | Inspect and check correctness | 7 days | 64 | 7 | 17 | 7 | 95 |  |  | cal
|  | Replaced slow, creeping or stuck meters | 10 days | 2 | 0 | 0 | 0 | 2
|  | Replaced burnt meters if cause not attributable to consumer | 7 days | 1 | 0 | 1 | 0 | 2
|  | Replaced burnt meters in all other cases | 24 hrs | 4 | 0 | 3 | 0 | 7
D | BILLING ISSUES | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 35 | 19 | 16 | 7 | 77
|  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 19 | 10 | 1 | 1 | 31
|  | Reconnection of supply following disconnection | On the same day | 1 | 0 | 3 | 0 | 4
E | SAFETY ISSUES | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 40 | 11 | 38 | 53 | 142
|  | Replacement of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 18 | 6 | 13 | 12 | 49 |  | c
|  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 4 | 3 | 9 | 5 | 21
|  | Tree trimming | 7 days | 56 | 28 | 16 | 50 | 150
F | Transformer FAILURE COMPLAINTS | Water Supply | 24 hrs | 0 | 0 | 0 | 0 | 0
|  | Domestic |  | 0 | 0 | 0 | 0 | 0
|  | Industry |  | 0 | 0 | 0 | 0 | 0
|  | Mixed load |  | 0 | 0 | 0 | 0 | 0
|  | Irrigation Pumpset(IP Set) |  | 0 | 0 | 0 | 0 | 0
G | THEFT | Theft | 1 Month | 6 | 5 | 25 | 17 | 53
|  | Hooking Under Nirantara Jyothi Yojane | 15 days | 1 | 0 | 2 | 0 | 3
H | ALLEGATIONS ON STAFF | Allegations on staff | 1 Month | 4 | 6 | 10 | 1 | 21
I | NEW CONNECTION/ ADDITIONAL LOAD | Release of supply where service is feasible from existing network | 1 month | 0 | 0 | 0 | 1 | 1
|  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 0 | 0 | 0 | 0 | 0
|  | IP sets | 30 days | 0 | 0 | 0 | 0 | 0
J | PHASE CONVERSION | Conversion of LT single phase to LT 3 phase | 30 days | 0 | 0 | 0 | 0 | 0
|  | Conversion from LT to HT and vice-versa | 30 days | 0 | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 15 | 5 | 21 | 0 | 41
|  | Change of category (Wrong Application Tariff) | 7 days | 0 | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES | Refund of deposits | 60 days | 0 | 0 | 1 | 0 | 1
|  | Issue of certificates | 1 day | 1 | 0 | 0 | 0 | 1
M | ADDITIONAL TC/ENHANCEMENT | Additional TC | 1 Month | 0 | 0 | 0 | 0 | 0
|  | TC Enhancement | 15 days | 0 | 0 | 0 | 1 | 1 | 181
N | GENERAL | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 30 | 10 | 17 | 10 | 67 | 176
Grand Total |  |  |  | 320 | 115 | 197 | 181 | 813

## BRAZ
Status of Pending Complaints Beyond Time Limit
BRAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | BRC | Ramanagar | Kolar | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transeformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 1 | 0 | 1
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 1 | 0 | 1
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 1 | 0 | 0 | 1
|  |  | Replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 1 | 0 | 1
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 2 | 1 | 0 | 3
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 1 | 0 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 11 | 13 | 8 | 32
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 10 | 2 | 7 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 3 | 1 | 0 | 4
|  |  | Tree trimming | 7 days | 7 days | 9 | 2 | 1 | 12
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 9 | 34 | 9 | 52
|  |  | Hooking Under Nirantara Jyothi Yojane | 15 days | 15 days | 2 | 4 | 0 | 6
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 0 | 4 | 2 | 6
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0 | 0 |  | `
M | ADDitIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 3 | 4 | 3 | 10
Grand Total | [5 empty] | 50 | 69 | 30 | 149
0
1083

## CTAZ
Status of Pending Complaints Beyond Time Limit
CTAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | Tumkur | Davangere | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0
|  |  | replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 1 | 1
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 0 | 0
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 25 | 13 | 38
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 10 | 9 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 5 | 5 | 10
|  |  | Tree trimming | 7 days | 7 days | 0 | 1 | 1
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 25 | 1 | 26
|  |  | Hooking Under Nirantara Jyoti Yojane | 15 days | 15 days | 7 | 1 | 8
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 3 | 1 | 4
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 8 | 6 | 14
Grand Total | [5 empty] | 83 | 38 | 121

## Draft summary New
Division/ Sub Division Wise Complaints of BMAZ ( 20-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BMAZ SOUTH | South | 2684 | Jayanagar | 845 | S1 | 228
[5 empty] | S2 | 82
[5 empty] | S5 | 35
[5 empty] | S6 | 85
[5 empty] | S9 | 26
[5 empty] | S14 | 163
[5 empty] | S15 | 118
[5 empty] | S18 | 108
|  |  | Kormangala | 670 | S3 | 64
[5 empty] | S4 | 130
[5 empty] | S7 | 424
[5 empty] | S16 | 52
|  |  | HSR | 1169 | S8 | 125
[5 empty] | S10 | 147
[5 empty] | S11 | 79
[5 empty] | S12 | 66
[5 empty] | S13 | 67
[5 empty] | S17 | 361
[5 empty] | S19 | 51
[5 empty] | S20 | 273
| West | 1089 | Rajajajinagar | 497 | N1 | 39
[5 empty] | N2 | 128
[5 empty] | N3 | 83
[5 empty] | N6 | 51
[5 empty] | N8 | 165
[5 empty] | N10 | 31
|  |  | R.R. Nagar | 236 | W1 | 14
[5 empty] | W2 | 68
[5 empty] | W6 | 93
[5 empty] | W8 | 11
[5 empty] | W7 | 50
|  |  | Kengeri | 356 | K1 | 86
[5 empty] | K2 | 88
[5 empty] | K3 | 133
[5 empty] | K4 | 49
Total |  | 3773 |  | 3773 |  | 3773
BMAZ NORTH | East | 1643 | Indiranagar | 271 | E3 | 38
[5 empty] | E6 | 99
[5 empty] | E10 | 50
[5 empty] | E11 | 84
|  |  | Shivajinagar | 1035 | E1 | 125
[5 empty] | E2 | 26
[5 empty] | E5 | 251
[5 empty] | E8 | 503
[5 empty] | E9 | 130
|  |  | Whitefield | 224 | E4 | 97
[5 empty] | E7 | 79
[5 empty] | E12 | 48
|  |  | Vidhanasoudha | 113 | W3 | 69
[5 empty] | W4 | 32
[5 empty] | W5 | 12
| North | 1838 | Jalahalli | 275 | C3 | 81
[5 empty] | C9 | 109
[5 empty] | N9 | 85
|  |  | Peenya | 385 | N4 | 111
[5 empty] | N5 | 146
[5 empty] | N7 | 128
|  |  | Malleswaram | 360 | C1 | 57
[5 empty] | C2 | 69
[5 empty] | C6 | 234
|  |  | Hebbal | 818 | C4 | 114
[5 empty] | C5 | 535
[5 empty] | C7 | 121
[5 empty] | C8 | 48
Total |  | 3481 |  | 3481 |  | 3481
Division/ Sub Division Wise Complaints of BRAZ ( 20-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BRAZ | BRC | 692 | Nelamanagala | 311 | DB1 | 194
[5 empty] | DB2 | 54
[5 empty] | NM1 | 60
[5 empty] | DPT | 3
|  |  | Hosakote | 381 | DH1 | 148
[5 empty] | VD1 | 58
[5 empty] | HK1 | 99
[5 empty] | AV1 | 64
[5 empty] | NG1 | 12
| Ramanagar Circle | 494 | Ramanagar | 69 | BD1 | 24
[5 empty] | CP1 | 19
[5 empty] | CP2 | 6
[5 empty] | BE1 | 0
[5 empty] | RM1 | 9
[5 empty] | RM2 | 11
|  |  | Magadi | 81 | MA1 | 26
[5 empty] | KD1 | 15
[5 empty] | TV1 | 40
|  |  | Kanakapura | 13 | KP1 | 4
[5 empty] | KP2 | 4
[5 empty] | HA1 | 2
[5 empty] | SA1 | 3
|  |  | Chandapura | 331 | AN1 | 34
[5 empty] | JN1 | 60
[5 empty] | CH1 | 111
[5 empty] | AT1 | 67
[5 empty] | VE1 | 59
| Kolar Circle | 118 | Kolar | 44 | KL1 | 33
[5 empty] | KL2 | 6
[5 empty] | SP1 | 5
|  |  | Chikkaballapura | 11 | BP1 | 1
[5 empty] | CB1 | 2
[5 empty] | CB2 | 1
[5 empty] | GB1 | 7
[5 empty] | GD1 | 0
|  |  | KGF | 51 | BG1 | 7
[5 empty] | KG1 | 15
[5 empty] | ML1 | 14
[5 empty] | MB1 | 14
[5 empty] | BM1 | 1
|  |  | Chinthamani | 12 | CM1 | 7
[5 empty] | CM2 | 3
[5 empty] | SG1 | 0
[5 empty] | SG2 | 2
Total |  | 1304 |  | 1304 |  | 1304
Division/ Sub Division Wise Complaints of CTAZ ( 20-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
CTAZ | TUMKUR | 264 | TUMKUR | 79 | TK1 | 33
[5 empty] | TK2 | 5
[5 empty] | TK3 | 3
[5 empty] | TK4 | 2
[5 empty] | KYT | 18
[5 empty] | GU1 | 12
[5 empty] | NT1 | 6
|  |  | KUNIGAL | 45 | KU1 | 30
[5 empty] | HLD | 10
[5 empty] | YD1 | 5
|  |  | TIPTUR | 53 | TP1 | 20
[5 empty] | TU1 | 23
[5 empty] | CN1 | 10
|  |  | MADHUGIRI | 87 | MG1 | 11
[5 empty] | SR1 | 36
[5 empty] | SR2 | 16
[5 empty] | KR1 | 17
[5 empty] | PG1 | 7
[5 empty] | KH1 | 0
| DAVANGERE | 206 | DAVANGERE | 147 | DV1 | 111
[5 empty] | DV2 | 12
[5 empty] | DV3 | 7
[5 empty] | AG1 | 6
[5 empty] | JL1 | 8
[5 empty] | CG1 | 2
[5 empty] | SB1 | 1
|  |  | HARIHARA | 12 | HR1 | 6
[5 empty] | NY1 | 0
[5 empty] | HN1 | 1
[5 empty] | TL1 | 0
[5 empty] | HH1 | 5
|  |  | CHITRADURGA | 30 | CD1 | 14
[5 empty] | CD2 | 1
[5 empty] | HL1 | 4
[5 empty] | SRP | 0
[5 empty] | HD1 | 11
|  |  | HIRIYURU | 17 | HY1 | 5
[5 empty] | CK1 | 6
[5 empty] | TLK | 6
[5 empty] | MK1 | 0
Total |  | 470 |  | 470 |  | 470
Total | [5 empty] | 9028

## Beyond Transformer Complaints
Beyond Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL

## Pending Transformer Complains
Pending Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
1 | Chandrappa | FHD1983568 | 2020-06-19 | 15:20 | CTAZ | DAVANAGERE | CHITRADURGA | HD1 ('R) | Bokkikkariya Hosadurga | IRRIGATION | Minor | 25 KVA Transformer failure, it will be replaced on 22-06-2020, confirmed by Thippeswamy AE 9449876361.
2 | Lokappa | FHD1243872 | 2020-06-19 | 15:27 | CTAZ | DAVANAGERE | CHITRADURGA | HD1 ('R) | Kondajji Hosadurga | IRRIGATION | Minor | 25 KVA Transformer failure, it will be replaced on 22-06-2020, confirmed by Thippeswamy AE 9449876361.