## Note
Date : 22-06-2020 Dear Sir/Madam, Please find the attached Status of Complaints Received & Pending details as on 21-06-2020
| a) | Page 1 | Complaints Status of Zones
| b) | Page 2 to 8 | Major Interruptions and Load Restriction Details
| c) | Page 9 | Accidents
| d) | Page 10 | Accidents and AE to MD and TA to MD E-Mail complaint status
| e) | Page 11 to 19 | Status of Pending Complaints Beyond Time Limit
| f) | Page 20 to 22 | Circle/Division/Sub Division Wise Complaints Details
| g) | Page 23 | Status of Pending Transformer Complaints Beyond Time Limit
| h) | Page 24 | Status of Pending Transformer Complaints
With Warm Regards
GM (CR)
94498 44778
BESCOM Helpline

## Abstract
Abstract Status of Complaints
Opening Balance | 1969
Complaints received on 21-06-2020 | 10686
Total | 12655
Cumulative Pending Complaints | 2024
Pending Complaints beyond time limit | 1214

## 21-06-2020(8AM)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Status of Complaints as on 21-06-2020 (00:00Hrs to 23:59Hrs) at 08:00am on 22-06-2020
| Category | Category of Complaints | ZONE | [14 empty] | TOTAL
|  |  | BMAZ |  |  |  |  | BRAZ |  |  |  |  | CTAZ
|  |  | OB | New Complaints on 21-06-2020 | Total | Disposed | Pending | OB | New Complaints on 21-06-2020 | Total | Disposed | Pending | OB | New Complaints on 21-06-2020 | Total | Disposed | Pending | OB | New Complaints on 21-06-2020 | Total | Disposed | Pending
| A | FAILURE OF POWER SUPPLY | 33 | 8052 | 8085 | 8046 | 39 | 24 | 1708 | 1732 | 1705 | 27 | 8 | 730 | 738 | 730 | 8 | 65 | 10490 | 10555 | 10481 | 74
| B | VOLTAGE COMPLAINTS | 26 | 39 | 65 | 28 | 37 | 3 | 2 | 5 | 3 | 2 | 0 | 3 | 3 | 3 | 0 | 29 | 44 | 73 | 34 | 39
| C | METER COMPLAINTS | 241 | 8 | 249 | 27 | 222 | 4 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 245 | 8 | 253 | 27 | 226
| D | BILLING ISSUES | 327 | 74 | 401 | 5 | 396 | 13 | 9 | 22 | 0 | 22 | 3 | 2 | 5 | 0 | 5 | 343 | 85 | 428 | 5 | 423
| E | SAFETY ISSUES | 583 | 22 | 605 | 56 | 549 | 90 | 1 | 91 | 2 | 89 | 80 | 3 | 83 | 1 | 82 | 753 | 26 | 779 | 59 | 720
0 | F | TRANSFORMER FAILURE COMPLAINTS | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 0 | 2 | 0 | 2 | 0 | 2 | 2 | 3 | 5 | 3 | 2
0 | G | THEFT | 66 | 1 | 67 | 0 | 67 | 72 | 0 | 72 | 0 | 72 | 43 | 0 | 43 | 0 | 43 | 181 | 1 | 182 | 0 | 182
| H | ALLEGATIONS ON STAFF | 27 | 0 | 27 | 1 | 26 | 8 | 0 | 8 | 0 | 8 | 7 | 0 | 7 | 0 | 7 | 42 | 0 | 42 | 1 | 41
| I | NEW CONNECTION/ ADDITIONAL LOAD | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| J | PHASE CONVERSION | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5 | 0 | 5
| K | TRANSFER OF OWNERSHIP AND CONVERSION | 58 | 2 | 60 | 0 | 60 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 59 | 2 | 61 | 0 | 61
| L | REFUND/ ISSUE OF CERTIFICATES | 20 | 0 | 20 | 0 | 20 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 22 | 0 | 22 | 0 | 22
| M | ADDITIONAL TC/ ENHANCEMENT | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| N | GENERAL | 178 | 25 | 203 | 12 | 191 | 21 | 1 | 22 | 6 | 16 | 20 | 1 | 21 | 3 | 18 | 219 | 27 | 246 | 21 | 225
| Grand Total |  | 1568 | 8223 | 9791 | 8175 | 1616 | 237 | 1724 | 1961 | 1719 | 242 | 164 | 739 | 903 | 737 | 166 | 1969 | 10686 | 12655 | 10631 | 2024

## KPTCL
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (21-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| 1)66/11KV Melekote MUSS Emergency Maintenance (Power Transformer structure painting work). Affected Areas:TK1,TK2 &TK3:Basaveshwar layout, Vidya Nagar,Upparahalli,maralur dinne,melekote village,Saraswathipura,Tumkur South, Bellavi, Saraswathipura,Tumkur South, Bellavi, Central Section, North Section Central Section, North Section and surrounding areas. (Changeover not arranged),confirmed by Manjula JE 9480813785. | 10:30hrs to 17:55hrs. | 7:25 | Manjula JE 9480813785
TOTAL

## BESCOM
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (21-06-2020)
| Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
BESCOM | - | - | 0:00 | - | 1)66/11KV Jayadeva MUSS F9 Feeder one bit faulty Affected Areas:S14:BTM layout 2nd stage and surrounding areas. (Changeover not arranged),confirmed by Shivarudra JE 9449844835. | 00:35hrs to 02:38hrs. | 2:03 | Shivarudra JE 9449844835
| - | - | 0:00 | - | 2)66/11KV Bagmane MUSS F13 Feeder faulty Affected Areas:S17:Vibhuthipura, Ramesh Nagar, Part of Vinayaka Nagar, Hatts of helicopter Division, Doddanakundi and surrounding areas. (Changeover not arranged),confirmed by Arvind JE 9449877000. | 01:30hrs to 02:05hrs. | 0:35 | Arvind JE 9449877000
| - | - | 0:00 | - | 3)66/11KV Peenya SRS MUSS F27 Feeder UG Cable fault Affected Areas:N4:Sampige road,Basappanagadde, Rajgopal Nagar and surrounding areas. (Changeover not arranged),confirmed by Aslam JE 9449844650. | 06:00hrs to 08:10hrs. | 2:10 | Aslam JE 9449844650
| - | - | 0:00 | - | 4)66/11KV Attur MUSS F1 Feeder faulty Affected Areas:C9:Defence colony, HMT layout,Vidyaranyapura and surrounding areas. (Changeover not arranged),confirmed by Vishalakshi JE 9449844624. | 06:30hrs to 07:35hrs. | 1:05 | Vishalakshi JE 9449844624
| - | - | 0:00 | - | 5)66/11KV Bagmane MUSS F11 Feeder faulty Affected Areas:S17:Vignan Nagar, Ramanjaneya layout,BasavaNagar and surrounding areas. (Changeover not arranged),confirmed by Aravind Nayak JE 9449877000. | 07:20hrs to 08:00hrs. | 0:40 | Aravind Nayak JE 9449877000
| - | - | 0:00 | - | 6)66/11KV Naganathpura MUSS F13 Feeder faulty Affected Areas:S20:Hosapalya, Bommanahalli, Part of Hosur road and surrounding areas. (Changeover not arranged),confirmed by Vijaykumar JE 9449840469. | 09:50hrs to 11:30hrs. | 1:40 | Vijaykumar JE 9449840469
| - | - | 0:00 | - | 7)66/11KV K&C Vally MUSS F8 Feeder faulty Affected Areas:S17:Yamlur,Shubhodaya layout, Marathahalli and surrounding areas. (Changeover not arranged),confirmed by Nagaraj JE 9449844715. | 11:10hrs to 12:10hrs. | 1:00 | Nagaraj JE 9449844715
| - | - | 0:00 | - | 8)66/11KV ITI MUSS F4 Feeder GOS kept open due to Lorry hit the Transformer Affected Areas:E10:Vijinapura, Jamia masjid road,Kasturi Nagar and surrounding areas. (Changeover not arranged),confirmed by Navaz AE 9449874265. | 11:15hrs to 13:10hrs. | 1:55 | Navaz AE 9449874265
| - | - | 0:00 | - | 9)66/11KV Nandini MUSS F4 Feeder 1st bit trunk Cable fault Affected Areas:C1:Srirampuram, LN Puram, Part of Rajaji Nagar 2nd stage, Devaiah Park, 2nd block Rajaji Nagar and surrounding areas. (Changeover not arranged),confirmed by Vishwaprasad AE 9449868872. | 11:20hrs to 12:15hrs. | 0:55 | Vishwaprasad AE 9449868872
| - | - | 0:00 | - | 10)66/11KV BSK MUSS F1 Feeder 250KVA Transformer LT wire twist Affected Areas:W1:Raghavendra block ,Sri Nagar and surrounding areas. (Changeover not arranged),confirmed by Umarani AE 9449870846. | 12:30hrs to 13:10hrs. | 0:40 | Umarani AE 9449870846
| - | - | 0:00 | - | 11)66/11KV SRS MUSS F21 Feeder faulty Affected Areas:N4:3rd phase, Kaveri Nagar, Vidanasoudha layout, laxmi Nagar and surrounding areas. (Changeover not arranged),confirmed by Raviteja.S JE 9449865515. | 14:30hrs to 17:30hrs. | 3:00 | Raviteja.S JE 9449865515
| - | - | 0:00 | - | 12)66/11KV Nandini MUSS F9 Feeder line over load Affected Areas:C1:Gandhigrama, E block Subramanya Nagar, and surrounding areas. (Changeover not arranged),confirmed by Ashok JE 9449844691. | 14:45hrs to 15:45hrs. | 1:00 | Ashok JE 9449844691
| - | - | 0:00 | - | 13)66/11KV IISC MUSS F8 Feeder tripped Affected Areas:C2:Water supply,Coconut avenue road, 10 th main,S P extn and surrounding areas. (Changeover not arranged),confirmed by Dinesh JE 9449844692. | 14:50hrs to 16:10hrs. | 1:20 | Dinesh JE 9449844692
| - | - | 0:00 | - | 14)66/11KV Sahakara Nagar MUSS F7 Feeder tripped Affected Areas:C8:AmruthaNagar, KashiNagar, bhuvaneshwariNagar, Varma layout, Amruthahally, Sriramapura, Telecom layout, Shivaram karantha Nagar, Jawaharlal Insiture and surrounding areas. (Changeover not arranged),confirmed by Mahadevaiah JE 9449865343. | 15:00hrs to 16:15hrs. | 1:15 | Mahadevaiah JE 9449865343
| - | - | 0:00 | - | 15)66/11KV Hebbal MUSS F8 Feeder HT jump cut Affected Areas:C4:Shivashankarappa block, Guddadahally, Cholanayakanagally, Gundareddy layout, Kupparaju Park, Amarajyothi layout, AnandaNagar 1st block, Seethappa layout, CIL layout, Dodamma layout, Hebbal and surrounding areas. (Changeover not arranged),confirmed by Ravi prakash JE 9449864998. | 15:00hrs to 16:15hrs. | 1:15 | Ravi prakash JE 9449864998
| - | - | 0:00 | - | 16)66/11KV Mathikere MUSS F2 Feeder faulty Affected Areas:C6:RKGarden, Sanjeevappa colony, LGHalli, Gowri apt and Anriya Apt and surrounding areas. (Changeover not arranged),confirmed by Lokesh babu JE 9449844694. | 15:10hrs to 16:45hrs. | 1:35 | Lokesh babu JE 9449844694
| - | - | 0:00 | - | 17)66/11KV Hoody MUSS F21 Feeder tripped Affected Areas:E7:Krishna Nagar,Chikka Devasandra,Vijaya Bank 8th cross,Ayyappa Nagar and surrounding areas. (Changeover not arranged),confirmed by Ayub Khan JE 9449874345. | 15:30hrs to 17:25hrs. | 1:55 | Ayub Khan JE 9449874345
| - | - | 0:00 | - | 18)66/11KV Vrushabhavathi MUSS F5 Feeder HT wire cut Affected Areas:W6:Nayanadahalli and surrounding areas. (Changeover not arranged),confirmed by Sathish JE 9449870855. | 15:40hrs to 17:00hrs. | 1:20 | Sathish JE 9449870855
| - | - | 0:00 | - | 19)66/11KV Banaswadi MUSS F17 Feeder 250KVA Transformer lead wire cut Affected Areas:E8:RS Palya and surrounding areas. (Changeover not arranged),confirmed by Shivana Gowda JE 9449869348. | 15:50hrs to 17:30hrs. | 1:40 | Shivana Gowda JE 9449869348
| - | - | 0:00 | - | 20)66/11KV Attur MUSS F9 Feeder faulty Affected Areas:C7:Yelahanka town and surrounding areas. (Changeover not arranged),confirmed by Sathish Babu JE 9449864905. | 16:00hrs to 17:30hrs. | 1:30 | Sathish Babu JE 9449864905
| - | - | 0:00 | - | 21)66/11KV Sahakara Nagar MUSS F22 Feeder HT UG Cable jointing work Affected Areas:C8:Jakkur and surrounding areas. (Changeover not arranged),confirmed by Mahadevaiah JE 9449865343 | 16:05hrs to 17:45hrs. | 1:40 | Mahadevaiah JE 9449865343
| - | - | 0:00 | - | 22)66/11KV BMTC MUSS F9 Feeder 250KVA Transformer kept open due to LT wire cut Affected Areas:S2:Vinayaka Nagar and surrounding areas. (Changeover not arranged),confirmed by Stanley Jones JE 9449840414. | 16:15hrs to 17:10hrs. | 0:55 | Stanley Jones JE 9449840414
| - | - | 0:00 | - | 23)66/11KV Padmanabh Nagar MUSS F12 Feeder HT jump cut Affected Areas:W8:Shastri Nagar and surrounding areas. (Changeover not arranged),confirmed by JE Muniraj 9449870871. | 16:20hrs to 17:10hrs. | 0:50 | JE Muniraj 9449870871
| - | - | 0:00 | - | 24)66/11KV Banaswadi MUSS F12 Feeder HT UG Cable fault Affected Areas:E8:Chikka Banaswadi, Veerabadra reddy layout, Jaijawan Nagar ,Diwan nursing home,Military Compound, Muniveeramma layout, Ayyappa Temple, 100ft road, Subbannapalya , RS aplaya, Kammanahalli mn road, ITC road, Venkateshblock, muneshwarablock, Uttam sagrroad and surrounding areas. (Changeover not arranged),confirmed by Shivana Gowda JE 9449869348. | 17:20hrs to 20:45hrs. | 3:25 | Shivana Gowda JE 9449869348
| - | - | 0:00 | - | 25)66/11KV Attur MUSS F9 Feeder 100KVA Transformer failure Affected Areas:C7:Kanaka Nagar, Judicial layout and surrounding areas. (Changeover not arranged),confirmed by Sathish Babu JE 9449864905. | 17:30hrs to 20:15hrs. | 2:45 | Sathish Babu JE 9449864905
| - | - | 0:00 | - | 26)66/11KV ITI MUSS F9 Feeder HT UG Cable fault Affected Areas:E12:B Narayanapura and surrounding areas. (Changeover not arranged),confirmed by Srinath JE 9449810248. | 18:10hrs to 20:30hrs. | 2:20 | Srinath JE 9449810248
| - | - | 0:00 | - | 27)66/11KV Remco MUSS F4 Feeder 250KVA Transformers lead wire cut Affected Areas:W6:B R pura and surrounding areas. (Changeover not arranged),confirmed by Manjuntha JE 9449870852. | 18:30hrs to 19:30hrs. | 1:00 | Manjuntha JE 9449870852
| - | - | 0:00 | - | 28)66/11KV Nelamanagala MUSS F28 Feeder faulty Affected Areas:NM1:Hosahalli palya, Islampura and surrounding areas. (Changeover not arranged),confirmed by Deepak AE 8277892552 . | 18:50hrs to 20:10hrs. | 1:20 | Deepak AE 8277892552
| - | - | 0:00 | - | 29)66/11KV Bagmane MUSS F11 Feeder faulty Affected Areas:S17:Vgnan Nagar, Basava Nagar and surrounding areas. (Changeover not arranged),confirmed by Arvind Nayak AE 9449877000. | 19:00hrs to 20:05hrs. | 1:05 | Arvind Nayak AE 9449877000
| - | - | 0:00 | - | 30)66/11KV Kempanahalli MUSS F6 Feeder faulty Affected Areas:KU1:Ippadi, Sige palya, Kempanahalli and surrounding areas. (Changeover not arranged),confirmed by Raju AE 9481326480 . | 19:10hrs to 21:10hrs. | 2:00 | Raju AE 9481326480
| - | - | 0:00 | - | 31)66/11KV Divyasree MUSS F5 & F6 Feeder line tripped due to rain Affected Areas:S7:AECS layout, Kundalahalli and surrounding areas. (Changeover not arranged),confirmed by Laxmikanthappa JE 9449844849. | 19:15hrs to 20:55hrs. | 1:40 | Laxmikanthappa JE 9449844849
| - | - | 0:00 | - | 32)66/11KV L&T South City MUSS F11 Feeder HT UG Cable damaged by Metro Affected Areas:S12:Kothanure dinne, clasic archades, meenakshi layout, BK Circle and surrounding areas. (Changeover not arranged),confirmed by Nagaraju M JE 9449810247. | 19:20hrs to 20:45hrs. | 1:25 | Nagaraju M JE 9449810247
| - | - | 0:00 | - | 33)66/11KV Melekote MUSS F1 Feeder tripped Affected Areas:TK2:Tumkur town , Sadashiva Nagar, Rajeev Gandhi Nagar, Banashankari and surrounding areas. (Changeover not arranged),confirmed by Nagaraj JE 9449844296. | 19:30hrs to 20:50hrs. | 1:20 | Nagaraj JE 9449844296
| - | - | 0:00 | - | 34)66/11KV Rajanakunte MUSS F5 & F8 Feeder tripped Affected Areas:C7:Marasandra, Sriramanahalli, Nelakunte, Haniyur, Chellahalli, Karlapura Itgalpura, Arkeree, Byrapura, Budamanahalli, Dibbur, Kakolu, Sonnenahalli and surrounding areas. (Changeover not arranged),confirmed by Umashankar JE 9449864909. | 19:45hrs to 21:50hrs. | 2:05 | Umashankar JE 9449864909
| - | - | 0:00 | - | 35)66/11KV Kanaswadi MUSS F9 Feeder faulty Affected Areas:DB2:Kanaswadi and surrounding areas. (Changeover not arranged),confirmed by Mani Nayak JE 9449844777. | 19:50hrs to 21:45hrs. | 1:55 | Mani Nayak JE 9449844777
| - | - | 0:00 | - | 36)66/11KV Alur MUSS F6 Feeder faulty Affected Areas:NM1:Domarhalli, Madanayakanahalli and surrounding areas. (Changeover not arranged),confirmed by ae suresh 9483696600. | 20:00hrs to 21:15hrs. | 1:15 | ae suresh 9483696600
| - | - | 0:00 | - | 37)66/11KV Devanahalli MUSS F10 & F17 Feeder faulty Affected Areas:DH1:Devanahalli and surrounding areas. (Changeover not arranged),confirmed by Sathish AE 9449871584. | 20:30hrs to 21:35hrs. | 1:05 | Sathish AE 9449871584
| - | - | 0:00 | - | 38)66/11KV Kadugodi MUSS F3 Feeder 250KVA Transformer faulty Affected Areas:HK1:Samethanahalli and surrounding areas. (Changeover not arranged),confirmed by Gangadhar AE 9449871175. | 21:00hrs to 22:15hrs. | 1:15 | Gangadhar AE 9449871175
| - | - | 0:00 | - | 39)66/11KV HAL MUSS F13 Feeder faulty Affected Areas:S17:Prakesh Reddy layout , Pragathi layout, Doddanakundi and surrounding areas. (Changeover not arranged),confirmed by Sannappa JE 9449844715. | 22:00hrs to 22:30hrs. | 0:30 | Sannappa JE 9449844715
| - | - | 0:00 | - | 40)66/11KV Kadubeesanahalli MUSS F4 Feeder faulty Affected Areas:S7:Munnekolal Village, Munnekolal, Venkateswara layout, Manjunatha layout, Shirdi Sai layout, Green Garden layout and surrounding areas. (Changeover not arranged),confirmed by Jayram Reddy JE 9449868159. | 22:10hrs to 23:35hrs. | 1:25 | Jayram Reddy JE 9449868159
| - | - | 0:00 | - | 41)66/11KV SRS MUSS F31 Feeder faulty Affected Areas:N7:Goraguntepalya and surrounding areas. (Changeover not arranged),confirmed by "Mahesh JE 8277892528 | 23:00hrs to 00:40hrs. | 1:40 | Mahesh JE 8277892528
TOTAL |  |  | 0:00 |  | 41 |  | 1900-01-01 13:28
Formulas:
Duration (in Hrs) = SUM(J6:[Duration (in Hrs), row above])

## (Load restriction)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions of Load Restriction by KPTCL (21-06-2020)
| Discription | Timings | Duration (in Hrs) | Confirmed By
KPTCL | 1)66/11KV BSK MUSS each Feeders 30 minutes load restriction due to over load. Affected Areas:W1,W2,W6,S9 & S15:Avalahalli, Kathriguppe, Shankarpura, Gandhibazar, New timber yard layout, BSK 2nd stage, Kathriguppe and surrounding areas. (Changeover not arranged),confirmed by Raghupathi JE 9448462043. | 13:30hrs to 14:48hrs. | 1:18 | Raghupathi JE 9448462043
| 2)66/11KV Subramanyapura MUSS each Feeders 30 minutes load restriction due to Incoming 66/11KV line over load. Affected Areas:S5, S12& S18:Isro layout, Vasanthapura Chikkalasandra, PP layout, Talaghatta purra and surrounding areas. (Changeover not arranged),confirmed by Mantesh JE 9448462041. | 13:38hrs to 15:15hrs. | 1:37 | Mantesh JE 9448462041
| 3)66/11KV ITI MUSS each Feeders 1 hour load restriction due to over load. Affected Areas:E4,E7,E10 & E11:K R Puram, R M Nagar, Akshay Nagar, Kaggadasapura,Ayyappa Nagar, Devasandra and Mahadevapura and surrounding areas. (Changeover not arranged),confirmed by Lakshmi JE 9448365138 . | 13:50hrs to 15:15hrs. | 1:25 | Lakshmi JE 9448365138
Total | 3 |  | 4:20

## Accidents
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Accidents
BMAZ |  |  |  | BRAZ |  |  |  | CTAZ |  |  |  | Total
Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental
Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal
- | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## AE TO MD E-Mail Complaints
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
AE to MD and TA to MD E-mail pending complaints
Sl.No | Circle | Date | Issue | Docket No. | Time as per KERC | Tentative Date | Remarks
1 | SOUTH | 2020-05-28 | Tree Trimming | ES05966247 | 7 days | Not confirmed | informed to AEE Sri Ramaih S T 9449844665 told that he will discuss with AE and issue wil be attended by today
2 | SOUTH | 2020-06-15 | Solar rooftop bill amount not received for 6 months | NS12223823 | 7 days | Not confirmed | Reminded to Suresh AAO 9449840846 and consumer details given said will check and revert back through consumer's trailing mail, awaiting for reply
3 | SOUTH | 2020-06-16 | Frequent power cut | NS18518847 | 7 days | Not confirmed | Report given by S18 Subdivision AEE same as been forwarded to consumer | Report given by S18 Subdivision AEE same as been forwarded to consumer
4 | RAMANAGARA | 2020-06-16 | Bill Discrepancy and Excess Billing | DCH1344791 | 24 hrs | Not confirmed | Informed to AAO Srinivas 9449865148 | Informed to AAO Srinivas 9449865148
5 | EAST | 2020-06-18 | Excess bill | DE10448528 | 24 hrs | Not confirmed | try to inform AAO 9902325688 is not respinding to calls | try to inform AAO 9902325688 is not respinding to calls
6 | NORTH | 2020-06-20 | Excess bill | DC09799710 | 24 hrs | Not confirmed | Email sent to AAO awaiting for reply | Email sent to AAO awaiting for reply
7 | BRC | 2020-06-21 | Meter reading not taken properly | DNM1655269 | 7 days | Not confirmed | Email sent to AAO awaiting for reply | Email sent to AAO awaiting for reply

## BMAZ
Status of Pending Complaints Beyond Time Limit
BMAZ ZONE
Category | Category of Complaints | Sub Category | Duration | Pending Complaints Beyond Time Limit
|  |  |  | BMAZ SOUTH |  | BMAZ NORTH |  | Total
|  |  | Urban | South | West | East | North
A | FAILURE OF POWER SUPPLY | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | 23 | 10 | 1 | 5 | 39
|  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs | 0 | 0 | 0 | 0 | 0
|  | Line breakdown (pole broken) | 10 hrs | 0 | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 0 | 0 | 0 | 0 | 0
|  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 0 | 1 | 0 | 0 | 1
|  | Opening of neutral (High Voltage) | 1 hr | 0 | 2 | 4 | 2 | 8
C | METER COMPLAINTS | Inspect and check correctness | 7 days | 75 | 9 | 28 | 7 | 119 |  |  | cal
|  | Replaced slow, creeping or stuck meters | 10 days | 3 | 0 | 0 | 0 | 3
|  | Replaced burnt meters if cause not attributable to consumer | 7 days | 2 | 0 | 1 | 0 | 3
|  | Replaced burnt meters in all other cases | 24 hrs | 5 | 0 | 3 | 0 | 8
D | BILLING ISSUES | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 53 | 23 | 31 | 7 | 114
|  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 38 | 13 | 2 | 1 | 54
|  | Reconnection of supply following disconnection | On the same day | 0 | 1 | 3 | 1 | 5
E | SAFETY ISSUES | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 33 | 11 | 38 | 40 | 122
|  | Replacement of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 19 | 6 | 12 | 11 | 48 |  | c
|  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 4 | 3 | 9 | 5 | 21
|  | Tree trimming | 7 days | 77 | 29 | 19 | 60 | 185
F | Transformer FAILURE COMPLAINTS | Water Supply | 24 hrs | 0 | 0 | 0 | 0 | 0
|  | Domestic |  | 0 | 0 | 0 | 0 | 0
|  | Industry |  | 0 | 0 | 0 | 0 | 0
|  | Mixed load |  | 0 | 0 | 0 | 0 | 0
|  | Irrigation Pumpset(IP Set) |  | 0 | 0 | 0 | 0 | 0
G | THEFT | Theft | 1 Month | 6 | 5 | 25 | 18 | 54
|  | Hooking Under Nirantara Jyothi Yojane | 15 days | 1 | 0 | 2 | 0 | 3
H | ALLEGATIONS ON STAFF | Allegations on staff | 1 Month | 3 | 6 | 10 | 1 | 20
I | NEW CONNECTION/ ADDITIONAL LOAD | Release of supply where service is feasible from existing network | 1 month | 0 | 0 | 0 | 1 | 1
|  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 0 | 0 | 0 | 0 | 0
|  | IP sets | 30 days | 0 | 0 | 0 | 0 | 0
J | PHASE CONVERSION | Conversion of LT single phase to LT 3 phase | 30 days | 0 | 0 | 0 | 0 | 0
|  | Conversion from LT to HT and vice-versa | 30 days | 0 | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 17 | 5 | 24 | 0 | 46
|  | Change of category (Wrong Application Tariff) | 7 days | 0 | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES | Refund of deposits | 60 days | 0 | 0 | 1 | 0 | 1
|  | Issue of certificates | 1 day | 1 | 0 | 0 | 2 | 3
M | ADDITIONAL TC/ENHANCEMENT | Additional TC | 1 Month | 0 | 0 | 0 | 0 | 0
|  | TC Enhancement | 15 days | 0 | 0 | 0 | 1 | 1 | 181
N | GENERAL | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 43 | 9 | 20 | 8 | 80 | 176
Grand Total |  |  |  | 403 | 133 | 233 | 170 | 939

## BRAZ
Status of Pending Complaints Beyond Time Limit
BRAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | BRC | Ramanagar | Kolar | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transeformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 1 | 0 | 0 | 1
|  |  | Replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 1 | 0 | 1
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 3 | 2 | 0 | 5
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 1 | 0 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 13 | 13 | 8 | 34
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 10 | 2 | 7 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 3 | 1 | 0 | 4
|  |  | Tree trimming | 7 days | 7 days | 9 | 1 | 1 | 11
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 9 | 34 | 9 | 52
|  |  | Hooking Under Nirantara Jyothi Yojane | 15 days | 15 days | 2 | 4 | 0 | 6
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 0 | 4 | 2 | 6
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0 | 0 |  | `
M | ADDitIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 5 | 4 | 3 | 12
Grand Total | [5 empty] | 55 | 67 | 30 | 152
0
1214

## CTAZ
Status of Pending Complaints Beyond Time Limit
CTAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | Tumkur | Davangere | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0
|  |  | replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 1 | 1
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 0 | 0
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 1 | 1
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 24 | 13 | 37
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 10 | 9 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 6 | 5 | 11
|  |  | Tree trimming | 7 days | 7 days | 0 | 1 | 1
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 26 | 1 | 27
|  |  | Hooking Under Nirantara Jyoti Yojane | 15 days | 15 days | 7 | 1 | 8
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 3 | 1 | 4
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 8 | 6 | 14
Grand Total | [5 empty] | 84 | 39 | 123

## Draft summary New
Division/ Sub Division Wise Complaints of BMAZ ( 20-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BMAZ SOUTH | South | 2962 | Jayanagar | 1499 | S1 | 233
[5 empty] | S2 | 124
[5 empty] | S5 | 157
[5 empty] | S6 | 152
[5 empty] | S9 | 197
[5 empty] | S14 | 130
[5 empty] | S15 | 332
[5 empty] | S18 | 174
|  |  | Kormangala | 340 | S3 | 50
[5 empty] | S4 | 40
[5 empty] | S7 | 241
[5 empty] | S16 | 9
|  |  | HSR | 1123 | S8 | 150
[5 empty] | S10 | 116
[5 empty] | S11 | 78
[5 empty] | S12 | 183
[5 empty] | S13 | 92
[5 empty] | S17 | 274
[5 empty] | S19 | 48
[5 empty] | S20 | 182
| West | 1890 | Rajajajinagar | 554 | N1 | 27
[5 empty] | N2 | 127
[5 empty] | N3 | 164
[5 empty] | N6 | 119
[5 empty] | N8 | 71
[5 empty] | N10 | 46
|  |  | R.R. Nagar | 1010 | W1 | 270
[5 empty] | W2 | 193
[5 empty] | W6 | 324
[5 empty] | W8 | 163
[5 empty] | W7 | 60
|  |  | Kengeri | 326 | K1 | 101
[5 empty] | K2 | 95
[5 empty] | K3 | 61
[5 empty] | K4 | 69
Total |  | 4852 |  | 4852 |  | 4852
BMAZ NORTH | East | 1850 | Indiranagar | 542 | E3 | 195
[5 empty] | E6 | 134
[5 empty] | E10 | 134
[5 empty] | E11 | 79
|  |  | Shivajinagar | 515 | E1 | 40
[5 empty] | E2 | 67
[5 empty] | E5 | 332
[5 empty] | E8 | 47
[5 empty] | E9 | 29
|  |  | Whitefield | 701 | E4 | 111
[5 empty] | E7 | 406
[5 empty] | E12 | 184
|  |  | Vidhanasoudha | 92 | W3 | 60
[5 empty] | W4 | 19
[5 empty] | W5 | 13
| North | 1521 | Jalahalli | 463 | C3 | 303
[5 empty] | C9 | 30
[5 empty] | N9 | 130
|  |  | Peenya | 419 | N4 | 154
[5 empty] | N5 | 203
[5 empty] | N7 | 62
|  |  | Malleswaram | 336 | C1 | 111
[5 empty] | C2 | 62
[5 empty] | C6 | 163
|  |  | Hebbal | 303 | C4 | 92
[5 empty] | C5 | 36
[5 empty] | C7 | 86
[5 empty] | C8 | 89
Total |  | 3371 |  | 3371 |  | 3371
Division/ Sub Division Wise Complaints of BRAZ ( 20-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BRAZ | BRC | 1121 | Nelamanagala | 587 | DB1 | 101
[5 empty] | DB2 | 38
[5 empty] | NM1 | 436
[5 empty] | DPT | 12
|  |  | Hosakote | 534 | DH1 | 49
[5 empty] | VD1 | 166
[5 empty] | HK1 | 33
[5 empty] | AV1 | 279
[5 empty] | NG1 | 7
| Ramanagar Circle | 489 | Ramanagar | 58 | BD1 | 17
[5 empty] | CP1 | 4
[5 empty] | CP2 | 0
[5 empty] | BE1 | 17
[5 empty] | RM1 | 15
[5 empty] | RM2 | 5
|  |  | Magadi | 191 | MA1 | 5
[5 empty] | KD1 | 13
[5 empty] | TV1 | 173
|  |  | Kanakapura | 192 | KP1 | 21
[5 empty] | KP2 | 69
[5 empty] | HA1 | 41
[5 empty] | SA1 | 61
|  |  | Chandapura | 48 | AN1 | 35
[5 empty] | JN1 | 6
[5 empty] | CH1 | 6
[5 empty] | AT1 | 1
[5 empty] | VE1 | 0
| Kolar Circle | 114 | Kolar | 32 | KL1 | 26
[5 empty] | KL2 | 6
[5 empty] | SP1 | 0
|  |  | Chikkaballapura | 12 | BP1 | 1
[5 empty] | CB1 | 4
[5 empty] | CB2 | 0
[5 empty] | GB1 | 6
[5 empty] | GD1 | 1
|  |  | KGF | 65 | BG1 | 2
[5 empty] | KG1 | 18
[5 empty] | ML1 | 1
[5 empty] | MB1 | 34
[5 empty] | BM1 | 10
|  |  | Chinthamani | 5 | CM1 | 2
[5 empty] | CM2 | 2
[5 empty] | SG1 | 0
[5 empty] | SG2 | 1
Total |  | 1724 |  | 1724 |  | 1724
Division/ Sub Division Wise Complaints of CTAZ ( 20-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
CTAZ | TUMKUR | 599 | TUMKUR | 359 | TK1 | 231
[5 empty] | TK2 | 80
[5 empty] | TK3 | 12
[5 empty] | TK4 | 11
[5 empty] | KYT | 5
[5 empty] | GU1 | 11
[5 empty] | NT1 | 9
|  |  | KUNIGAL | 119 | KU1 | 12
[5 empty] | HLD | 100
[5 empty] | YD1 | 7
|  |  | TIPTUR | 38 | TP1 | 20
[5 empty] | TU1 | 17
[5 empty] | CN1 | 1
|  |  | MADHUGIRI | 83 | MG1 | 8
[5 empty] | SR1 | 28
[5 empty] | SR2 | 28
[5 empty] | KR1 | 14
[5 empty] | PG1 | 5
[5 empty] | KH1 | 0
| DAVANGERE | 140 | DAVANGERE | 102 | DV1 | 85
[5 empty] | DV2 | 4
[5 empty] | DV3 | 4
[5 empty] | AG1 | 4
[5 empty] | JL1 | 0
[5 empty] | CG1 | 4
[5 empty] | SB1 | 1
|  |  | HARIHARA | 6 | HR1 | 5
[5 empty] | NY1 | 0
[5 empty] | HN1 | 0
[5 empty] | TL1 | 1
[5 empty] | HH1 | 0
|  |  | CHITRADURGA | 26 | CD1 | 15
[5 empty] | CD2 | 0
[5 empty] | HL1 | 7
[5 empty] | SRP | 0
[5 empty] | HD1 | 4
|  |  | HIRIYURU | 6 | HY1 | 4
[5 empty] | CK1 | 2
[5 empty] | TLK | 0
[5 empty] | MK1 | 0
Total |  | 739 |  | 739 |  | 739
Total | [5 empty] | 10686

## Beyond Transformer Complaints
Beyond Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL

## Pending Transformer Complains
Pending Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
1 | Chandrappa | FHD1983568 | 2020-06-19 | 15:20 | CTAZ | DAVANAGERE | CHITRADURGA | HD1 ('R) | Bokkikkariya Hosadurga | IRRIGATION | Minor | 25 KVA Transformer failure, it will be replaced on 22-06-2020, confirmed by Thippeswamy AE 9449876361.
2 | Lokappa | FHD1243872 | 2020-06-19 | 15:27 | CTAZ | DAVANAGERE | CHITRADURGA | HD1 ('R) | Kondajji Hosadurga | IRRIGATION | Minor | 25 KVA Transformer failure, it will be replaced on 22-06-2020, confirmed by Thippeswamy AE 9449876361.