## Note
Date : 23-06-2020 Dear Sir/Madam, Please find the attached Status of Complaints Received & Pending details as on 22-06-2020
| a) | Page 1 | Complaints Status of Zones
| b) | Page 2 to 8 | Major Interruptions and Load Restriction Details
| c) | Page 9 | Accidents
| d) | Page 10 | Accidents and AE to MD and TA to MD E-Mail complaint status
| e) | Page 11 to 19 | Status of Pending Complaints Beyond Time Limit
| f) | Page 20 to 22 | Circle/Division/Sub Division Wise Complaints Details
| g) | Page 23 | Status of Pending Transformer Complaints Beyond Time Limit
| h) | Page 24 | Status of Pending Transformer Complaints
With Warm Regards
GM (CR)
94498 44778
BESCOM Helpline

## Abstract
Abstract Status of Complaints
Opening Balance | 2024
Complaints received on 22-06-2020 | 7397
Total | 9421
Cumulative Pending Complaints | 1994
Pending Complaints beyond time limit | 1152

## 22-06-2020(8AM)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Status of Complaints as on 22-06-2020 (00:00Hrs to 23:59Hrs) at 08:00am on 23-06-2020
| Category | Category of Complaints | ZONE | [14 empty] | TOTAL
|  |  | BMAZ |  |  |  |  | BRAZ |  |  |  |  | CTAZ
|  |  | OB | New Complaints on 22-06-2020 | Total | Disposed | Pending | OB | New Complaints on 22-06-2020 | Total | Disposed | Pending | OB | New Complaints on 22-06-2020 | Total | Disposed | Pending | OB | New Complaints on 22-06-2020 | Total | Disposed | Pending
| A | FAILURE OF POWER SUPPLY | 39 | 5935 | 5974 | 5928 | 46 | 27 | 901 | 928 | 914 | 14 | 8 | 237 | 245 | 237 | 8 | 74 | 7073 | 7147 | 7079 | 68
| B | VOLTAGE COMPLAINTS | 37 | 35 | 72 | 44 | 28 | 2 | 6 | 8 | 5 | 3 | 0 | 1 | 1 | 1 | 0 | 39 | 42 | 81 | 50 | 31
| C | METER COMPLAINTS | 222 | 13 | 235 | 16 | 219 | 4 | 3 | 7 | 2 | 5 | 0 | 0 | 0 | 0 | 0 | 226 | 16 | 242 | 18 | 224
| D | BILLING ISSUES | 396 | 89 | 485 | 79 | 406 | 22 | 12 | 34 | 20 | 14 | 5 | 2 | 7 | 3 | 4 | 423 | 103 | 526 | 102 | 424
| E | SAFETY ISSUES | 549 | 29 | 578 | 56 | 522 | 89 | 0 | 89 | 3 | 86 | 82 | 2 | 84 | 6 | 78 | 720 | 31 | 751 | 65 | 686
0 | F | TRANSFORMER FAILURE COMPLAINTS | 0 | 11 | 11 | 11 | 0 | 0 | 57 | 57 | 55 | 2 | 2 | 25 | 27 | 27 | 0 | 2 | 93 | 95 | 93 | 2
0 | G | THEFT | 67 | 0 | 67 | 0 | 67 | 72 | 0 | 72 | 0 | 72 | 43 | 0 | 43 | 0 | 43 | 182 | 0 | 182 | 0 | 182
| H | ALLEGATIONS ON STAFF | 26 | 0 | 26 | 0 | 26 | 8 | 0 | 8 | 0 | 8 | 7 | 0 | 7 | 0 | 7 | 41 | 0 | 41 | 0 | 41
| I | NEW CONNECTION/ ADDITIONAL LOAD | 2 | 2 | 4 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 4 | 1 | 3
| J | PHASE CONVERSION | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5 | 0 | 5
| K | TRANSFER OF OWNERSHIP AND CONVERSION | 60 | 0 | 60 | 2 | 58 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 61 | 1 | 62 | 3 | 59
| L | REFUND/ ISSUE OF CERTIFICATES | 20 | 0 | 20 | 0 | 20 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 22 | 0 | 22 | 0 | 22
| M | ADDITIONAL TC/ ENHANCEMENT | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| N | GENERAL | 191 | 33 | 224 | 12 | 212 | 16 | 2 | 18 | 3 | 15 | 18 | 1 | 19 | 1 | 18 | 225 | 36 | 261 | 16 | 245
| Grand Total |  | 1616 | 6147 | 7763 | 6149 | 1614 | 242 | 982 | 1224 | 1003 | 221 | 166 | 268 | 434 | 275 | 159 | 2024 | 7397 | 9421 | 7427 | 1994

## KPTCL
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (22-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| - | 0 | 0:00 | - | 1)66/11KV Kachamaranahalli MUSS Incoming supply failure due to Sound at Divyshree MUSS Affected Areas:E4:Varthur, Whitefield and surrounding areas. (Changeover not arranged), confirmed by Keshav MUSS JE 8277891196. | 07:25 hrs to 07:50 hrs | 0:25 | Keshav MUSS JE 8277891196
TOTAL |  |  |  |  | 1 |  | 0:25

## BESCOM
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (22-06-2020)
| Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
BESCOM | - | - | 0:00 | - | 1)66/11KV SRS MUSS F31 Feeder faulty. Affected Areas:N7:Goraguntepalya and surrounding areas. (Changeover not arranged), confirmed by Mahesh JE 8277892528. | 23:00 hrs to 00:40 hrs | 1:40 | Mahesh JE 8277892528
| - | - | 0:00 | - | 2)66/11KV NGV MUSS F7 Feeder faulty. Affected Areas:S4:Kapila Block, NGV, Koramangala 8th block and surrounding areas. (Changeover not arranged), confirmed by Subhash JE 9449844716. | 01:10 hrs to 01:55 hrs | 0:45 | Subhash JE 9449844716
| - | - | 0:00 | - | 3)66/11KV Arehalli MUSS F9 Feeder LT AB cable twisted. Affected Areas:S15:Hosakere halli, Ittamadu, BSK 3rd stage and surrounding areas. (Changeover not arranged), confirmed by Dhanjaya JE 9880516254. | 07:00 hrs to 08:00 hrs | 1:00 | Dhanjaya JE 9880516254
| - | - | 0:00 | - | 4)66/11KV Sarakki MUSS F15 Feeder Tripped Affected Areas:S14:BTM 2nd stage, NS palya and surrounding areas. (Changeover not arranged), confirmed by Somshekhar JE 9449844835. | 08:45 hrs to 09:15 hrs | 0:30 | Somshekhar JE 9449844835
| - | - | 0:00 | - | 5)66/11KV Jayanagar MUSS F4 Feeder Pot head flash over Affected Areas:S1:Jayannagar 1st block, Byrasandra and surrounding areas. (Changeover not arranged), confirmed by Vasanth AE 9449840404. | 09:15 hrs to 11:55 hrs | 2:40 | Vasanth AE 9449840404
| - | - | 0:00 | - | 6)66/11KV BTM MUSS F13 Feeder loop kept open for Model sub division work Affected Areas:S19:Devarachikkanahalli, Ramesh Reddy Layout, Krishna Layout, Srinivas Reddy Layout and surrounding areas. ( 21-06-2020 Times of India page no 5 ) (Changeover not arranged),confirmed by Amith AE 9449841579. | 10:30 hrs to 18:30 hrs | 8:00 | Amith AE 9449841579
| - | - | 0:00 | - | 7)66/11KV NG Halli MUSS F11 Feeder 250 KVA No- 47 Transformer kept open for AB Cable work. Affected Areas:N5:HMT Layout and surrounding areas. (Changeover not arranged),confirmed by Kiran AE 9449865394. | 10:00 hrs to 17:30 hrs | 7:30 | Kiran AE 9449865394
| - | - | 0:00 | - | 8)66/11KV NG Halli MUSS F4 Feeder 250 KVA No- 96 Transformer kept open for AB Cable work Affected Areas:N5:Gruhalakshmi Layout and surrounding areas. (Changeover not arranged), confirmed by Kiran AE 9449865394. | 10:00 hrs to 17:30 hrs | 7:30 | Kiran AE 9449865394
| - | - | 0:00 | - | 9)66/11KV SRS MUSS F23 Feeder 250 KVA Transformer kept open for Maintenance work Affected Areas:N4:Manjnath Park, MEI colony and surrounding areas. (Changeover not arranged), confirmed by Anil AE 9449865398. | 10:15 hrs to 12:00 hrs | 1:45 | Anil AE 9449865398
BESCOM | - | - | 0:00 | - | 10)66/11KV Geddalahalli MUSS F5 Feeder GOS kept open for Model sub division work. Affected Areas:E8:Pooja garden, Guru Layout, Vinyak Layout and surrounding areas. (Changeover not arranged), confirmed by Naresh AE 9449869320. | 10:15 hrs to 19:45 hrs | 9:30 | Naresh AE 9449869320
| - | - | 0:00 | - | 11)66/11KV RR Nagar MUSS F11 Feeder 250 KVA No- 46, 52 Transformer kept open for LT AB Cable work. Affected Areas:W7:Kenchanahlli, Janapriya Layout and surrounding areas. (Changeover not arranged), confirmed by Raghavendra AE 9449870938. | 10:30 hrs to 17:30 hrs | 7:00 | Raghavendra AE 9449870938
| - | - | 0:00 | - | 12)66/11KV LR Bande MUSS F1 Feeder one bit kept open for Tree Trimming work. Affected Areas:C5:Kavalbyarasandra and surrounding areas. (Changeover not arranged), confirmed by Antharamu JE 9449810251. | 10:45 hrs to 13:15 hrs | 2:30 | Antharamu JE 9449810251
| - | - | 0:00 | - | 13)66/11KV RMV MUSS F5 Feeder line clear taken for Maintenance work. Affected Areas:C6:Mathikere, MSR Indl estate, Mathikere and surrounding areas. (Changeover not arranged), confirmed by Raghunath AE 9449864547. | 10:45 hrs to 13:10 hrs | 2:25 | Raghunath AE 9449864547
| - | - | 0:00 | - | 14)66/11KV Banasawadi MUSS F9 Feeder 250 KVA Transformer kept open for AB Cable work Affected Areas:E5:Kacharakanhalli, HBR Layout, Ramiah Layout and surrounding areas. (Changeover not arranged), confirmed by Ashok JE 9449873982. | 11:15 hrs to 17:30 hrs | 6:15 | Ashok JE 9449873982
| - | - | 0:00 | - | 15)66/11KV BSK MUSS F18 Feeder 250 KVA Transformer kept open for lugs Replacement work Affected Areas:W1:Nagendra block, Jalgermma temple, Raghavendra mutt and surrounding areas. (Changeover not arranged), confirmed by Shivram JE 9449870846. | 11:00 hrs to 13:15 hrs | 2:15 | Shivram JE 9449870846
| - | - | 0:00 | - | 16)66/11KV Sarakki MUSS F20 Feeder DTC kept open for Tree Trimming work by BBMP Affected Areas:S14:JP Nagar 2nd phase and surrounding areas. (Changeover not arranged), confirmed by Anand AE 9449840426. | 11:30 hrs to 15:20 hrs | 3:50 | Anand AE 9449840426
| - | - | 0:00 | - | 17)66/11KV KHB MUSS F9 & F10 Feeder Tree Trimming work Affected Areas:C7:Yelahanka New Town, BMS Hostel, 5th Phase Yelahanka New Town and surrounding areas. (Changeover not arranged), confirmed by Anand AE 9449864903. | 11:30 hrs to 13:05 hrs | 1:35 | Anand AE 9449864903
| - | - | 0:00 | - | 18)66/11KV Naganathapura MUSS F14 Feeder Tripped Affected Areas:S13:Singasandra and surrounding areas. (Changeover not arranged), confirmed by Mohan AE 9449841578. | 11:40 hrs to 13:15 hrs | 1:35 | Mohan AE 9449841578
| - | - | 0:00 | - | 19)66/11KV Jayadeva MUSS F5 Feeder 250 KVA Transformer kept open for LT AB Cable work Affected Areas:S1:Jayanagar 9 th block and surrounding areas. (Changeover not arranged), confirmed by Cheeranjeevi AE 9449840403. | 11:45 hrs to 17:20 hrs | 5:35 | Cheeranjeevi AE 9449840403
BESCOM | - | - | 0:00 | - | 20)66/11KV Chandra Layout MUSS F2 Feeder 2 Transformer kept open for Maintenance work Affected Areas:N2:Chnadra Layout, 80 feet road and surrounding areas. (Changeover not arranged), confirmed by Chetan JE 9449869190. | 12:00 hrs to 13:30 hrs | 1:30 | Chetan JE 9449869190
| - | - | 0:00 | - | 21)66/11KV EPIP MUSS F15 Feeder GOS kept open for LT AB Cable work Affected Areas:S7:BEML Layout, Dream medows Layout and surrounding areas. (Changeover not arranged), confirmed by Venktesh C D AE 9449840457. | 12:25 hrs to 15:15 hrs | 2:50 | Venktesh C D AE 9449840457
| - | - | 0:00 | - | 22)66/11KV Jakksandra MUSS F1 Feeder faulty Affected Areas:S20:Jakkasandra, Venktapura and surrounding areas. (Changeover not arranged), confirmed by Vinya kumar AE 9449844831. | 12:35 hrs to 13:25 hrs | 0:50 | Vinya kumar AE 9449844831
| - | - | 0:00 | - | 23)66/11KV Chandra layout MUSS F9 Feeder 11KV kept open for Bird fallen on line Affected Areas:N8:Chandra Layout 13th, Nagarbahavi and surrounding areas. (Changeover not arranged), confirmed by Channegowda AE 9449869442. | 12:40 hrs to 13:45 hrs | 1:05 | Channegowda AE 9449869442
| - | - | 0:00 | - | 24)66/11KV Arehalli MUSS F7 Feeder line clear taken for Tree Trimmng work Affected Areas:S15:Ittamadu and surrounding areas. (Changeover not arranged), confirmed by Rajshekhar AE 8277889657. | 12:30 hrs to 13:00 hrs | 0:30 | Rajshekhar AE 8277889657
| - | - | 0:00 | - | 25)66/11KV Amrajyothi MUSS F17 Feeder Tree Trimming work Affected Areas:S3:EG Pura Austin Town and surrounding areas. (Changeover not arranged), confirmed by NAgappa AEE 9449844663. | 12:45 hrs to 13:30 hrs | 0:45 | NAgappa AEE 9449844663
| - | - | 0:00 | - | 26)66/11KV Kadugodi MUSS F8 Feeder Pole repalcement work Affected Areas:E4:Immadihalli , Whitefield and surrounding areas. (Changeover not arranged), confirmed by Muniraju JE 9449874239. | 12:50 hrs to 14:30 hrs | 1:40 | Muniraju JE 9449874239
| - | - | 0:00 | - | 27)66/11KV Puttenahalli MUSS F1 Feeder 250KVA Transformer kept open due to Lead wire cut. Affected Areas:C7:Kattigenahalli, Yelahanka New Town and surrounding areas. (Changeover not arranged), confirmed by Govindarju AE 9449864908. | 13:10 hrs to 13:55 hrs | 0:45 | Govindarju AE 9449864908
| - | - | 0:00 | - | 28)66/11KV HAl MUSS F13 Feedere HT AB cable work. Affected Areas:S17:Doddanakundhi, Vasa Layout and surrounding areas. (Changeover not arranged), confirmed by Nagaraj JE 9449844715. | 13:00 hrs to 14:00 hrs | 1:00 | Nagaraj JE 9449844715
BESCOM | - | - | 0:00 | - | 29)66/11KV Austin Town MUSS F19 Feeder Maintenance work. Affected Areas:S3:Xavier Layout, Victoria Layout and surrounding areas. (Changeover not arranged), confirmed by Abhishek AE 9449840447 . | 13:15 hrs to 15:30 hrs | 2:15 | ABHISHEK AE 9449840447
| - | - | 0:00 | - | 30)66/11KV Leela MUSS F3 Feeder VL kept open for LT AB Cable work. Affected Areas:E6:Yelalmma street, Venkteshwara colony and surrounding areas. (Changeover not arranged), confirmed by Kusuma AE 9449874307. | 11:00 hrs to 18:00 hrs | 7:00 | Kusuma AE 9449874307
| - | - | 0:00 | - | 31)66/11KV Konadasapura MUSS F2 Feeder RMU kept open for Tree Trimming work. Affected Areas:E11:Medahalli, Padmeshwari Nagar, Kithgnoor and surrounding areas. (Changeover not arranged), confirmed by Trivenkumar AE 9449874694. | 13:15 hrs to 15:15 hrs | 2:00 | Trivenkumar AE 9449874694
| - | - | 0:00 | - | 32)66/11KV BMTC MUSS F12 Feeder pin Insulator flash over. Affected Areas:S2:Shanthi Nagar and surrounding areas. (Changeover not arranged), confirmed by Gurumurthy Y JE 9449844713. | 13:10 hrs to 15:15 hrs | 2:05 | Gurumurthy Y JE 9449844713
| - | - | 0:00 | - | 33)66/11KV B Station F4 Feeder New Transformer charging work. Affected Areas:E3:Jogu palya, Ulsoor and surrounding areas. (Changeover not arranged), confirmed by Santosh JE 9449874217. | 11:15 hrs to 19:40 hrs | 8:25 | Santosh JE 9449874217
| - | - | 0:00 | - | 34)66/11KV Sahakar Nagar MUSS F10 Feeder faulty. Affected Areas:C4:Kempapura, Hebbal and surrounding areas. (Changeover not arranged), confirmed by Mohemmad Ateeq AE 9449864998. | 14:10 hrs to 15:00 hrs | 0:50 | Mohemmad Ateeq AE 9449864998
| - | - | 0:00 | - | 35)66/11KV LR Bande MUSS F3 Feeder one loop kept open for Tree Trimming work. Affected Areas:E9:Kempapura, Dasarahalli and surrounding areas. (Changeover not arranged), confirmed by Diwakar AE 9449875060. | 11:00 hrs to 18:00 hrs | 7:00 | Diwakar AE 9449875060
| - | - | 0:00 | - | 36)66/11KV South City MUSS F2 Feeder Pole replacement work. Affected Areas:S12:Suncity Layout, JP Nagar 8th phase and surrounding areas. (Changeover not arranged), confirmed by AB Hemla Naik JE 9449840485. | 13:00 hrs to 18:30 hrs | 5:30 | AB Hemla Naik JE 9449840485
| - | - | 0:00 | - | 37)66/11KV Mathikere MUSS F3 Feeder 250KVA Transformer broken Pole replacement work . Affected Areas:C4:Nagashetty halli, Sanjay Nagar, RMV 2nd stage and surrounding areas. (Changeover not arranged), confirmed by Manjunath AE 9449864892. | 14:00 hrs to 16:45 hrs | 2:45 | Manjunath AE 9449864892
| - | - | 0:00 | - | 38)66/11KV Kadugodi MUSS F5 Feeder one loop kept open for spun Pole structure work. Affected Areas:E4:Channasandra, Kadugodi and surrounding areas. (Changeover not arranged), confirmed by Naveen AE 9449874205. | 14:00 hrs to 17:12 hrs | 3:12 | Naveen AE 9449874205
BESCOM | - | - | 0:00 | - | 39)66/11KV HAL MUSS F14 Feeder Sound at Transformer Affected Areas:S17:Mallesh palya and surrounding areas. (Changeover not arranged), confirmed by Rajesh Babu JE 9449877000 . | 15:00 hrs to 15:30 hrs | 0:30 | Rajesh Babu JE 9449877000
| - | - | 0:00 | - | 40)66/11KV Kadubeesanahally MUSS F9 Feeder RMU 11KV Pot head flashover Affected Areas:S7:Ashwath Nagar, Marathalli road and surrounding areas. (Changeover not arranged), confirmed by Vinayak JE 9449840462. | 15:00 hrs to 16:30 hrs | 1:30 | Vinayak JE 9449840462
| - | - | 0:00 | - | 41)66/11KV Hebbal MUSS F1 Feeder 500KVA Transformer LT AB Cable work Affected Areas:C4:Ganga Nagar and surrounding areas. (Changeover not arranged), confirmed by Puttaswamy AE-9449864894. | 14:30 hrs to 17:15 hrs | 2:45 | Puttaswamy AE-9449864894
| - | - | 0:00 | - | 42)66/11KV HSR MUSS F3 Feeder 250KVA Transformer LT AB Cable work Affected Areas:S20:HSR Layout, 1st Sector and surrounding areas. (Changeover not arranged), confirmed by Yatish AE 9449840476. | 14:30 hrs to 18:45 hrs | 4:15 | Yatish AE 9449840476
| - | - | 0:00 | - | 43)66/11KV Sahakar Nagar MUSS F22 Feeder GOS replacement work Affected Areas:C8:Jakkur, Telecom Layout and surrounding areas. (Changeover not arranged), confirmed by Shashidhar Reddy AE 9449864914. | 15:30 hrs to 17:45 hrs | 2:15 | Shashidhar Reddy AE 9449864914
| - | - | 0:00 | - | 44)66/11KV Vrushabhavathi MUSS F15 Feeder 11KV Reconductoring work Affected Areas:K1:Doddabele, Kengeri and surrounding areas. (Changeover not arranged), confirmed by Mahadev AE 9449870327. | 12:00 hrs to 19:15 hrs | 7:15 | Mahadev AE 9449870327
| - | - | 0:00 | - | 45)66/11KV Kadugodi MUSS F3 Feeder 250KVA Transformer failure Affected Areas:HK1:Samethanahalli and surrounding areas. (Changeover not arranged), confirmed by Gangadhar AE 9449871175. | 20:30 (21/06/2020) hrs to 21:20 hrs | 12:00 | Gangadhar AE 9449871175
| - | - | 0:00 | - | 46)66/11KV Divya Sri MUSS F10 Feeder LT AB Cable work Affected Areas:S7:Siddapura, Kundalahalli and surrounding areas. (Changeover not arranged), confirmed by Venktesh C D AE 9449840457. | 14:30 hrs to 17:15 hrs | 2:45 | Venktesh C D AE 9449840457
| - | - | 0:00 | - | 47)66/11KV Alur MUSS F6 Feeder faulty Affected Areas:NM1:Kammasandra, Madanayakanahalli and surrounding areas. (Changeover not arranged), confirmed by AE Suresh 9483696600. | 16:20 hrs to 17:30 hrs | 1:10 | AE Suresh 9483696600
| - | - | 0:00 | - | 48)66/11KV ITI MUSS F2 & F10 Feeder faulty due to rain. Affected Areas:E11:Nagappa Reddy Layout, SP Naidu Layout, Sir MV Nagar and surrounding areas. (Changeover not arranged), confirmed by Manjula AE 9449874263. | 16:50 hrs to 19:00 hrs | 2:10 | Manjula AE 9449874263
BESCOM | - | - | 0:00 | - | 49)66/11KV NRS MUSS F18 Feeder faulty. Affected Areas:N2:MRCR Layout, Tolgate Area, Ootigere, Thimmenahally, Govindaraja Nagar, Saraswathinagar and surrounding areas. (Changeover not arranged), confirmed by Chetan JE 9449869190. | 16:50 hrs to 18:10 hrs | 1:20 | Chetan JE 9449869190
| - | - | 0:00 | - | 50)66/11KV ITI MUSS F14 Feeder Tripped due to rain Affected Areas:E7:Ayyappa Nagar, Seegehalli, White city Layout, Mallappa Layout and surrounding areas. (Changeover not arranged), confirmed by Nagaraj JE 9449874692. | 17:10 hrs to 17:45 hrs | 0:35 | Nagaraj JE 9449874692
| - | - | 0:00 | - | 51)66/11KV Saffal MUSS F1 Feeder faulty due to rain. Affected Areas:E7:Sigehalli, KR Puram and surrounding areas. (Changeover not arranged), confirmed by Kumar JE 9449874253 . | 17:15 hrs to 18:00 hrs | 0:45 | Kumar JE 9449874253
| - | - | 0:00 | - | 52)66/11KV Nagpura MUSS F7 Feeder HT Jump cut Affected Areas:N3:Kamalanagar, Basaveshwara Nagar and surrounding areas. (Changeover not arranged), confirmed by Shankar Raj AE 9449870128. | 17:30 hrs to 18:42 hrs | 1:12 | Shankar Raj AE 9449870128
| - | - | 0:00 | - | 53)66/11KV Jayadeva MUSS F9 Feeder VL kept open due to HT Jump cut. Affected Areas:S14:BTM 2nd stage and surrounding areas. (Changeover not arranged), confirmed by Parashuram JE 9449844835. | 17:30 hrs to 19:05 hrs | 1:35 | Parashuram JE 9449844835
| - | - | 0:00 | - | 54)66/11KV Kadubisnahalli MUSS F13 Feeder faulty. Affected Areas:S7: SGR Dental College Road, Munekolala, Marathalli and surrounding areas. (Changeover not arranged), confirmed by Saibanna JE 9449868149. | 17:45 hrs to 19:00 hrs | 1:15 | Saibanna JE 9449868149
| - | - | 0:00 | - | 55)66/11KV Vijay Nagar MUSS F3 Feeder faulty. Affected Areas:N8:Kottegepalya, 1st Block, 2nd Block, 3rd Block, 5th Block, 6th Block, 7th Block, 8th Block & 11th Block of Nagarbhavi and surrounding areas. (Changeover not arranged), confirmed by Chennegowda AE 9449869427. | 17:45 hrs to 19:15 hrs | 1:30 | Chennegowda AE 9449869427
| - | - | 0:00 | - | 56)66/11KV Nelamangala MUSS F24 Feeder faulty. Affected Areas:NM1:Sondekoppa, Mallasandra and surrounding areas (Changeover not arranged), confirmed by Hemanth AE 8277892553. | 17:30 hrs to 19:50 hrs | 2:20 | Hemanth AE 8277892553
| - | - | 0:00 | - | 57)66/11KV HSR MUSS F21 Feeder HT Cable faulty Affected Areas:S20:Venkatapura, Jakkasandra, Teachers Colony and surrounding areas. (Changeover not arranged), confirmed by Vinaykumar AE 9632648465. | 18:10 hrs to 19:10 hrs | 1:00 | Vinaykumar AE 9632648465
| - | - | 0:00 | - | 58)66/11KV Kadubeesanahally MUSS F13 Feeder faulty. Affected Areas:S7:SGR Dental college road, Munekolala road and surrounding areas. (Changeover not arranged), confirmed by Vinay Kumar JE 9449840462 | 18:30 hrs to 19:35 hrs | 1:05 | Vinay Kumar JE 9449840462
BESCOM | - | - | 0:00 | - | 59)66/11KV Naganathpura MUSS F8 Feeder faulty. Affected Areas:S8:Singasansdra main road Hongasandra Manipal county road and surrounding areas. (Changeover not arranged), confirmed by Basavaraju JE 9449810245. | 18:45 hrs to 20:45 hrs | 2:00 | Basavaraju JE 9449810245
| - | - | 0:00 | - | 60)66/11KV ITI MUSS F1 Feeder line clear taken due to attending faulty Transformer Affected Areas: E11 Ramurthy Nagar, Anandapura, Akshya Nagar, Margondanahalli and surrounding areas. (Changeover not arranged), confirmed byTriven Kumar AE 9449874694 | 19:15 hrs to 19:40 hrs | 0:25 | Triven Kumar AE 9449874694
| - | - | 0:00 | - | 61)66/11KV Bandematta MUSS F4 Feeder faulty Affected Areas:K4:Kengeri Satellite Town, Sun City, Arundathi Nagar and surrounding area. (Changeover not arranged), confirmed by Chandrushekar AE 9449870336. | 19:05 hrs to 20:15 hrs | 1:10 | Chandrushekar AE 9449870336
| - | - | 0:00 | - | 62)66/11KV D Cross MUSS F15 Feeder faulty. Affected Areas:DB2:Kantankunte, Antharahalli, Thubgere and surrounding areas. (Changeover not arranged), confirmed by Munir JE 9449844792. | 19:00 hrs to 20:10 hrs | 1:10 | Munir JE 9449844792
| - | - | 0:00 | - | 63)66/11KV Sarjapura MUSS F13 Feeder faulty. Affected Areas:AT1:Sarjapura, B Hosahalli, Adigar Kallahalli and surrounding areas. (Changeover not arranged), confirmed by Suresh AE 9449866797. | 18:40 hrs to 20:00 hrs | 1:20 | Suresh AE 9449866797
| - | - | 0:00 | - | 64)66/11KV NRS MUSS F17 Feeder HT AB Cable faulty. Affected Areas:N3:12th main Shivanahalli near Doddamma temple Rajajinagar and surrounding areas. (Changeover not arranged), confirmed by Anand AE 9449870117. | 18:30 hrs to 20:30 hrs | 2:00 | Anand AE 9449870117
| - | - | 0:00 | - | 65)66/11KV BSK MUSS F20 Feeder Live wire cut. Affected Areas:S15:Srinivas Nagar BSK 3rd stage and surrounding areas. (Changeover not arranged), confirmed by Narendra Babu JE 9449867887. | 19:30 hrs to 20:30 hrs | 1:00 | Narendra Babu JE 9449867887
| - | - | 0:00 | - | 66)66/11KV Geddalahalli MUSS F11 Feeder Transformer fuse blown out. Affected Areas:E8: K Channasandra, Kalkere and surrounding areas. (Changeover not arranged), confirmed by Manjunath JE 9449869326. | 20:00 hrs to 21:15 hrs | 1:15 | Manjunath JE 9449869326
| - | - | 0:00 | - | 67)66/11KV Nelamangal MUSS F24 Feeder faulty. Affected Areas:NM1:Sondekoppa, Muslim Colony, Mallara Banavadi, Mallasandra and surrounding areas (Changeover not arranged), confirmed by Hemanth AE 8277892553. | 20:40 hrs to 21:35 hrs | 0:55 | Hemanth AE 8277892553
BESCOM | - | - | 0:00 | - | 68)66/11KV Melekote MUSS F10 Feeder faulty . Affected Areas:TK1:BG palya, Dibbur, Devraj Aras Layout, Chickpet and surrounding areas (Changeover not arranged), confirmed by Ashwath Narayan AE 9449844394. | 21:00 hrs to 22:30 hrs | 1:30 | Ashwath Narayan AE 9449844394
| - | - | 0:00 | - | 69)66/11KV BTM MUSS F4 Feeder 250KVA Transformer kept open due to LT AB Cable burnt out Affected Areas:S8:10th A main road, Sriram Nagar, Hongasandra and surrounding areas. (Changeover not arranged), confirmed by Badigar JE 9449810245. | 22:25 hrs to 23:30 hrs | 1:05 | Badigar JE 9449810245
| - | - | 0:00 | - | 70)66/11KV Geddalahalli MUSS F5 Feeder 250KVA Transformer open for LT Jump cut. Affected Areas:E8:Kalkere, Horamavu and surrounding areas. (Changeover not arranged), confirmed by Nagaraj JE 9449869326. | 22:30 hrs to 23:30 hrs | 1:00 | Nagaraj JE 9449869326
TOTAL |  |  | 0:00 |  | 70 |  | 1900-01-06 21:49
Formulas:
Duration (in Hrs) = SUM(J6:[Duration (in Hrs), row above])

## (Load restriction)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions of Load Restriction by KPTCL (22-06-2020)
| Discription | Timings | Duration (in Hrs) | Confirmed By
KPTCL | - | - | 0:00 | -
Total | Nil |  | 0:00

## Accidents
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Accidents
BMAZ |  |  |  | BRAZ |  |  |  | CTAZ |  |  |  | Total
Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental
Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal
- | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## AE TO MD E-Mail Complaints
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
AE to MD and TA to MD E-mail pending complaints
Sl.No | Circle | Date | Issue | Docket No. | Time as per KERC | Tentative Date | Remarks
1 | SOUTH | 2020-05-28 | Tree Trimming | ES05966247 | 7 days | Not confirmed | informed to AEE Sri Ramaih S T 9449844665 told that he will discuss with AE and issue wil be attended by today
2 | SOUTH | 2020-06-15 | Solar rooftop bill amount not received for 6 months | NS12223823 | 7 days | Not confirmed | Reminded to Suresh AAO 9449840846 and consumer details given said will check and revert back through consumer's trailing mail, awaiting for reply
3 | SOUTH | 2020-06-16 | Frequent power cut | NS18518847 | 7 days | Not confirmed | Report given by S18 Subdivision AEE same as been forwarded to consumer | Report given by S18 Subdivision AEE same as been forwarded to consumer
4 | RAMANAGARA | 2020-06-16 | Bill Discrepancy and Excess Billing | DCH1344791 | 24 hrs | Not confirmed | Informed to AAO Srinivas 9449865148 | Informed to AAO Srinivas 9449865148
5 | EAST | 2020-06-18 | Excess bill | DE10448528 | 24 hrs | Not confirmed | try to inform AAO 9902325688 is not respinding to calls | try to inform AAO 9902325688 is not respinding to calls
6 | NORTH | 2020-06-20 | Excess bill | DC09799710 | 24 hrs | Not confirmed | Email sent to AAO awaiting for reply | Email sent to AAO awaiting for reply
7 | BRC | 2020-06-21 | Meter reading not taken properly | DNM1655269 | 7 days | Not confirmed | Email sent to AAO awaiting for reply | Email sent to AAO awaiting for reply

## BMAZ
Status of Pending Complaints Beyond Time Limit
BMAZ ZONE
Category | Category of Complaints | Sub Category | Duration | Pending Complaints Beyond Time Limit
|  |  |  | BMAZ SOUTH |  | BMAZ NORTH |  | Total
|  |  | Urban | South | West | East | North
A | FAILURE OF POWER SUPPLY | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | 18 | 16 | 3 | 9 | 46
|  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs | 0 | 0 | 0 | 0 | 0
|  | Line breakdown (pole broken) | 10 hrs | 0 | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 0 | 0 | 0 | 0 | 0
|  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 0 | 0 | 0 | 0 | 0
|  | Opening of neutral (High Voltage) | 1 hr | 1 | 3 | 2 | 4 | 10
C | METER COMPLAINTS | Inspect and check correctness | 7 days | 66 | 7 | 28 | 6 | 107 |  |  | cal
|  | Replaced slow, creeping or stuck meters | 10 days | 3 | 0 | 0 | 0 | 3
|  | Replaced burnt meters if cause not attributable to consumer | 7 days | 2 | 0 | 1 | 0 | 3
|  | Replaced burnt meters in all other cases | 24 hrs | 4 | 0 | 3 | 0 | 7
D | BILLING ISSUES | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 53 | 19 | 41 | 7 | 120
|  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 38 | 12 | 1 | 1 | 52
|  | Reconnection of supply following disconnection | On the same day | 0 | 1 | 0 | 0 | 1
E | SAFETY ISSUES | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 31 | 12 | 35 | 41 | 119
|  | Replacement of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 17 | 5 | 12 | 11 | 45 |  | c
|  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 3 | 2 | 8 | 5 | 18
|  | Tree trimming | 7 days | 66 | 23 | 14 | 52 | 155
F | Transformer FAILURE COMPLAINTS | Water Supply | 24 hrs | 0 | 0 | 0 | 0 | 0
|  | Domestic |  | 0 | 0 | 0 | 0 | 0
|  | Industry |  | 0 | 0 | 0 | 0 | 0
|  | Mixed load |  | 0 | 0 | 0 | 0 | 0
|  | Irrigation Pumpset(IP Set) |  | 0 | 0 | 0 | 0 | 0
G | THEFT | Theft | 1 Month | 6 | 5 | 25 | 18 | 54
|  | Hooking Under Nirantara Jyothi Yojane | 15 days | 1 | 0 | 2 | 0 | 3
H | ALLEGATIONS ON STAFF | Allegations on staff | 1 Month | 2 | 5 | 8 | 1 | 16
I | NEW CONNECTION/ ADDITIONAL LOAD | Release of supply where service is feasible from existing network | 1 month | 0 | 0 | 0 | 1 | 1
|  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 0 | 0 | 0 | 0 | 0
|  | IP sets | 30 days | 0 | 0 | 0 | 0 | 0
J | PHASE CONVERSION | Conversion of LT single phase to LT 3 phase | 30 days | 0 | 0 | 0 | 0 | 0
|  | Conversion from LT to HT and vice-versa | 30 days | 0 | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 15 | 5 | 24 | 0 | 44
|  | Change of category (Wrong Application Tariff) | 7 days | 0 | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES | Refund of deposits | 60 days | 0 | 0 | 1 | 0 | 1
|  | Issue of certificates | 1 day | 1 | 0 | 0 | 2 | 3
M | ADDITIONAL TC/ENHANCEMENT | Additional TC | 1 Month | 0 | 0 | 0 | 0 | 0
|  | TC Enhancement | 15 days | 0 | 0 | 0 | 0 | 0 | 181
N | GENERAL | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 41 | 9 | 20 | 8 | 78 | 176
Grand Total |  |  |  | 368 | 124 | 228 | 166 | 886

## BRAZ
Status of Pending Complaints Beyond Time Limit
BRAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | BRC | Ramanagar | Kolar | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transeformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 1 | 0 | 0 | 1
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 1 | 0 | 2 | 3
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 1 | 0 | 0 | 1
|  |  | Replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 3 | 0 | 0 | 3
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 14 | 13 | 7 | 34
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 10 | 2 | 7 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 3 | 0 | 0 | 3
|  |  | Tree trimming | 7 days | 7 days | 9 | 1 | 1 | 11
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 9 | 35 | 9 | 53
|  |  | Hooking Under Nirantara Jyothi Yojane | 15 days | 15 days | 2 | 3 | 0 | 5
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 0 | 3 | 2 | 5
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0 | 0 |  | `
M | ADDitIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 4 | 4 | 3 | 11
Grand Total | [5 empty] | 57 | 61 | 31 | 149
0
1152

## CTAZ
Status of Pending Complaints Beyond Time Limit
CTAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | Tumkur | Davangere | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0
|  |  | replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 1 | 1
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 0 | 0
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 22 | 10 | 32
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 10 | 9 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 6 | 5 | 11
|  |  | Tree trimming | 7 days | 7 days | 0 | 1 | 1
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 27 | 2 | 29
|  |  | Hooking Under Nirantara Jyoti Yojane | 15 days | 15 days | 7 | 1 | 8
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 2 | 1 | 3
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 7 | 6 | 13
Grand Total | [5 empty] | 81 | 36 | 117

## Draft summary New
Division/ Sub Division Wise Complaints of BMAZ ( 22-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BMAZ SOUTH | South | 2103 | Jayanagar | 586 | S1 | 131
[5 empty] | S2 | 81
[5 empty] | S5 | 49
[5 empty] | S6 | 77
[5 empty] | S9 | 41
[5 empty] | S14 | 80
[5 empty] | S15 | 88
[5 empty] | S18 | 39
|  |  | Kormangala | 455 | S3 | 103
[5 empty] | S4 | 132
[5 empty] | S7 | 207
[5 empty] | S16 | 13
|  |  | HSR | 1062 | S8 | 148
[5 empty] | S10 | 101
[5 empty] | S11 | 88
[5 empty] | S12 | 118
[5 empty] | S13 | 177
[5 empty] | S17 | 185
[5 empty] | S19 | 102
[5 empty] | S20 | 143
| West | 1408 | Rajajajinagar | 541 | N1 | 56
[5 empty] | N2 | 127
[5 empty] | N3 | 130
[5 empty] | N6 | 60
[5 empty] | N8 | 147
[5 empty] | N10 | 21
|  |  | R.R. Nagar | 258 | W1 | 56
[5 empty] | W2 | 64
[5 empty] | W6 | 33
[5 empty] | W8 | 67
[5 empty] | W7 | 38
|  |  | Kengeri | 609 | K1 | 283
[5 empty] | K2 | 119
[5 empty] | K3 | 98
[5 empty] | K4 | 109
Total |  | 3511 |  | 3511 |  | 3511
BMAZ NORTH | East | 1638 | Indiranagar | 406 | E3 | 41
[5 empty] | E6 | 157
[5 empty] | E10 | 29
[5 empty] | E11 | 179
|  |  | Shivajinagar | 795 | E1 | 98
[5 empty] | E2 | 36
[5 empty] | E5 | 151
[5 empty] | E8 | 321
[5 empty] | E9 | 189
|  |  | Whitefield | 346 | E4 | 187
[5 empty] | E7 | 110
[5 empty] | E12 | 49
|  |  | Vidhanasoudha | 91 | W3 | 43
[5 empty] | W4 | 23
[5 empty] | W5 | 25
| North | 998 | Jalahalli | 179 | C3 | 43
[5 empty] | C9 | 64
[5 empty] | N9 | 72
|  |  | Peenya | 138 | N4 | 29
[5 empty] | N5 | 61
[5 empty] | N7 | 48
|  |  | Malleswaram | 138 | C1 | 38
[5 empty] | C2 | 41
[5 empty] | C6 | 59
|  |  | Hebbal | 543 | C4 | 143
[5 empty] | C5 | 113
[5 empty] | C7 | 167
[5 empty] | C8 | 120
Total |  | 2636 |  | 2636 |  | 2636
Division/ Sub Division Wise Complaints of BRAZ ( 22-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BRAZ | BRC | 566 | Nelamanagala | 341 | DB1 | 65
[5 empty] | DB2 | 67
[5 empty] | NM1 | 174
[5 empty] | DPT | 35
|  |  | Hosakote | 225 | DH1 | 56
[5 empty] | VD1 | 10
[5 empty] | HK1 | 96
[5 empty] | AV1 | 59
[5 empty] | NG1 | 4
| Ramanagar Circle | 301 | Ramanagar | 36 | BD1 | 13
[5 empty] | CP1 | 7
[5 empty] | CP2 | 3
[5 empty] | BE1 | 1
[5 empty] | RM1 | 9
[5 empty] | RM2 | 3
|  |  | Magadi | 49 | MA1 | 6
[5 empty] | KD1 | 6
[5 empty] | TV1 | 37
|  |  | Kanakapura | 19 | KP1 | 6
[5 empty] | KP2 | 1
[5 empty] | HA1 | 7
[5 empty] | SA1 | 5
|  |  | Chandapura | 197 | AN1 | 21
[5 empty] | JN1 | 40
[5 empty] | CH1 | 41
[5 empty] | AT1 | 50
[5 empty] | VE1 | 45
| Kolar Circle | 115 | Kolar | 19 | KL1 | 16
[5 empty] | KL2 | 2
[5 empty] | SP1 | 1
|  |  | Chikkaballapura | 25 | BP1 | 9
[5 empty] | CB1 | 3
[5 empty] | CB2 | 3
[5 empty] | GB1 | 9
[5 empty] | GD1 | 1
|  |  | KGF | 69 | BG1 | 14
[5 empty] | KG1 | 16
[5 empty] | ML1 | 17
[5 empty] | MB1 | 21
[5 empty] | BM1 | 1
|  |  | Chinthamani | 2 | CM1 | 2
[5 empty] | CM2 | 0
[5 empty] | SG1 | 0
[5 empty] | SG2 | 0
Total |  | 982 |  | 982 |  | 982
Division/ Sub Division Wise Complaints of CTAZ ( 22-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
CTAZ | TUMKUR | 202 | TUMKUR | 111 | TK1 | 56
[5 empty] | TK2 | 4
[5 empty] | TK3 | 8
[5 empty] | TK4 | 11
[5 empty] | KYT | 9
[5 empty] | GU1 | 14
[5 empty] | NT1 | 9
|  |  | KUNIGAL | 27 | KU1 | 18
[5 empty] | HLD | 7
[5 empty] | YD1 | 2
|  |  | TIPTUR | 23 | TP1 | 5
[5 empty] | TU1 | 10
[5 empty] | CN1 | 8
|  |  | MADHUGIRI | 41 | MG1 | 3
[5 empty] | SR1 | 13
[5 empty] | SR2 | 6
[5 empty] | KR1 | 15
[5 empty] | PG1 | 4
[5 empty] | KH1 | 0
| DAVANGERE | 66 | DAVANGERE | 36 | DV1 | 18
[5 empty] | DV2 | 4
[5 empty] | DV3 | 3
[5 empty] | AG1 | 3
[5 empty] | JL1 | 4
[5 empty] | CG1 | 4
[5 empty] | SB1 | 0
|  |  | HARIHARA | 4 | HR1 | 4
[5 empty] | NY1 | 0
[5 empty] | HN1 | 0
[5 empty] | TL1 | 0
[5 empty] | HH1 | 0
|  |  | CHITRADURGA | 18 | CD1 | 7
[5 empty] | CD2 | 1
[5 empty] | HL1 | 8
[5 empty] | SRP | 0
[5 empty] | HD1 | 2
|  |  | HIRIYURU | 8 | HY1 | 1
[5 empty] | CK1 | 4
[5 empty] | TLK | 2
[5 empty] | MK1 | 1
Total |  | 268 |  | 268 |  | 268
Total | [5 empty] | 7397

## Beyond Transformer Complaints
Beyond Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL

## Pending Transformer Complains
Pending Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
1 | Narayanaswamy | FML1739306 | 2020-06-22 | 12:41 | BRAZ | KOLAR | KGF | ML1 ('R) | Narayanswamy TC Malur | IRRIGATION | Major | 100KVA Transformer failured, it will be replaced on 23-06-2020, confirmed by Anjanappa JE 9449878059.
2 | Subramani | FML1275312 | 2020-06-22 | 12:50 | BRAZ | KOLAR | KGF | ML1 ('R) | Narayanappa TC Malur | IRRIGATION | Major | 25KVA Transformer failured, it will be replaced on 23-06-2020, confirmed by Anjanappa JE 9449878059.