## Note
Date : 24-06-2020 Dear Sir/Madam, Please find the attached Status of Complaints Received & Pending details as on 23-06-2020
| a) | Page 1 | Complaints Status of Zones
| b) | Page 2 to 8 | Major Interruptions and Load Restriction Details
| c) | Page 9 | Accidents
| d) | Page 10 | Accidents and AE to MD and TA to MD E-Mail complaint status
| e) | Page 11 to 19 | Status of Pending Complaints Beyond Time Limit
| f) | Page 20 to 22 | Circle/Division/Sub Division Wise Complaints Details
| g) | Page 23 | Status of Pending Transformer Complaints Beyond Time Limit
| h) | Page 24 | Status of Pending Transformer Complaints
With Warm Regards
GM (CR)
94498 44778
BESCOM Helpline

## Abstract
Abstract Status of Complaints
Opening Balance | 1994
Complaints received on 23-06-2020 | 6961
Total | 8955
Cumulative Pending Complaints | 1924
Pending Complaints beyond time limit | 1119

## 23-06-2020(8AM)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Status of Complaints as on 23-06-2020 (00:00Hrs to 23:59Hrs) at 08:00am on 24-06-2020
| Category | Category of Complaints | ZONE | [14 empty] | TOTAL
|  |  | BMAZ |  |  |  |  | BRAZ |  |  |  |  | CTAZ
|  |  | OB | New Complaints on 23-06-2020 | Total | Disposed | Pending | OB | New Complaints on 23-06-2020 | Total | Disposed | Pending | OB | New Complaints on 23-06-2020 | Total | Disposed | Pending | OB | New Complaints on 23-06-2020 | Total | Disposed | Pending
| A | FAILURE OF POWER SUPPLY | 46 | 5319 | 5365 | 5298 | 67 | 14 | 1093 | 1107 | 1093 | 14 | 8 | 262 | 270 | 262 | 8 | 68 | 6674 | 6742 | 6653 | 89
| B | VOLTAGE COMPLAINTS | 28 | 31 | 59 | 22 | 37 | 3 | 9 | 12 | 9 | 3 | 0 | 0 | 0 | 0 | 0 | 31 | 40 | 71 | 31 | 40
| C | METER COMPLAINTS | 219 | 8 | 227 | 7 | 220 | 5 | 1 | 6 | 3 | 3 | 0 | 1 | 1 | 0 | 1 | 224 | 10 | 234 | 10 | 224
| D | BILLING ISSUES | 406 | 99 | 505 | 151 | 354 | 14 | 8 | 22 | 16 | 6 | 4 | 2 | 6 | 1 | 5 | 424 | 109 | 533 | 168 | 365
| E | SAFETY ISSUES | 522 | 31 | 553 | 88 | 465 | 86 | 3 | 89 | 8 | 81 | 78 | 3 | 81 | 4 | 77 | 686 | 37 | 723 | 100 | 623
0 | F | TRANSFORMER FAILURE COMPLAINTS | 0 | 1 | 1 | 1 | 0 | 2 | 21 | 23 | 23 | 0 | 0 | 29 | 29 | 28 | 1 | 2 | 51 | 53 | 52 | 1
0 | G | THEFT | 67 | 0 | 67 | 0 | 67 | 72 | 0 | 72 | 0 | 72 | 43 | 1 | 44 | 0 | 44 | 182 | 1 | 183 | 0 | 183
| H | ALLEGATIONS ON STAFF | 26 | 0 | 26 | 0 | 26 | 8 | 0 | 8 | 0 | 8 | 7 | 0 | 7 | 0 | 7 | 41 | 0 | 41 | 0 | 41
| I | NEW CONNECTION/ ADDITIONAL LOAD | 3 | 0 | 3 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 | 0 | 3
| J | PHASE CONVERSION | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5 | 0 | 5
| K | TRANSFER OF OWNERSHIP AND CONVERSION | 58 | 2 | 60 | 0 | 60 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 59 | 2 | 61 | 0 | 61
| L | REFUND/ ISSUE OF CERTIFICATES | 20 | 1 | 21 | 0 | 21 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 22 | 1 | 23 | 0 | 23
| M | ADDITIONAL TC/ ENHANCEMENT | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| N | GENERAL | 212 | 33 | 245 | 13 | 232 | 15 | 1 | 16 | 1 | 15 | 18 | 2 | 20 | 3 | 17 | 245 | 36 | 281 | 17 | 264
| Grand Total |  | 1614 | 5525 | 7139 | 5580 | 1559 | 221 | 1136 | 1357 | 1153 | 204 | 159 | 300 | 459 | 298 | 161 | 1994 | 6961 | 8955 | 7031 | 1924

## KPTCL
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (23-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| - | 0 | 0:00 | - | - | 0 | 0:00 | -
TOTAL | - |  | 0:00 |  | - |  | 0:00

## BESCOM
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (23-06-2020)
| Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
BESCOM | 1)66/11KV BTM MUSS F8 Feeder VL kept open for Model sub division work ( Times of India 21-06-2020 page no 5) Affected Areas:S19:Sinivas reddy Layout, Muneswara Layout, Bommnahalli, Kodichikknahalli and surrounding area. (Changeover not arranged),confirmed by Amith AE 9449841579. | 10:30 hrs to 18:30 hrs | 8:00 | Amith AE 9449841579 | 1)66/11KV Naganathpura MUSS F18 Feeder faulty Affected Areas:S8:Gurumurthy Layout, Hongasandra and surrounding area. (Changeover not arranged),confirmed by Puttaswamy JE 9449810245. | 01:00 hrs to 02:10 hrs | 1:10 | Puttaswamy JE 9449810245
| - | - | 0:00 | - | 2)66/11KV BDA MUSS F10 Feeder faulty Affected Areas:S12:JP Nagar 8th phase, Jambusavari dinne and surrounding area. (Changeover not arranged),confirmed by Obalesh JE 9449844813. | 01:08 hrs to 01:50 hrs | 0:42 | Obalesh JE 9449844813
| - | - | 0:00 | - | 3)66/11KV Bande Mutt MUSS F4 Feeder faulty Affected Areas:K4:SKS white meadows, KST and surrounding area. (Changeover not arranged),confirmed by Chandrushekar JE 9449844807. | 17:00 hrs (22-06-2020)to 09:15 hrs(23-06-2020) | 16:15 | Chandrushekar JE 9449844807
| - | - | 0:00 | - | 4)66/11KV RR Nagar MUSS F6 Feeder Line faulty Affected Areas:S18:BDA 5th Stage, Bharath Layout, Thurahalli, PP Layout, Uttarahalli and surrounding area. (Changeover not arranged),confirmed by Narayan JE 9449867538. | 07:20 hrs to 10:05 hrs | 2:45 | Narayan JE 9449867538
| - | - | 0:00 | - | 5)66/11KV Nelamnagala MUSS F9 & F24 Feeder HT Jump cut Affected Areas:NM1:Mallarbanvadi, Kittanahalli, Nelamangala and surrounding area. (Changeover not arranged),confirmed by Venkataswamy JE 8660825486 . | 06:30 hrs to 10:00 hrs | 3:30 | Venkataswamy JE 8660825486
| - | - | 0:00 | - | 6)66/11KV Shobha MUSS F18 Feeder AB Cable burnt out Affected Areas:S11:Kasavanahalli, Church Road and surrounding area. (Changeover not arranged),confirmed by Nagaraj AE 9449841576 . | 09:00 hrs to 12:00 hrs | 3:00 | Nagaraj AE 9449841576
| - | - | 0:00 | - | 7)66/11KV Divyshree MUSS F6 Feeder OD kept open due to HT Cable damage Affected Areas:S7:AECS Layout and surrounding area. (Changeover not arranged),confirmed by Laxmikanthappa JE 9449844849. | 10:00 hrs to 18:30 hrs | 8:30 | Laxmikanthappa JE 9449844849
| - | - | 0:00 | - | 8)66/11KV National College MUSS F4 Feeder faulty Affected Areas:W2:Chamaraj pet and surrounding area. (Changeover not arranged),confirmed by Chethan AE 9449870534 . | 10:00 hrs to 11:45 hrs | 1:45 | Chethan AE 9449870534
| - | - | 0:00 | - | 9)66/11KV Naganathpura MUSS F2 Feeder 250KVA no 440 Transformer kept open for LT AB Cable work Affected Areas:S20:Bande palya, Mangamanapalya and surrounding area. (Changeover not arranged), confirmed by Manjunath AE 8277889660. | 10:00 hrs to 18:30 hrs | 8:30 | Manjunath AE 8277889660
BESCOM | - | - | 0:00 | - | 10)66/11KV Abbigere MUSS F9 Feeder 250 KVA Transformer kept open for Tree trimming work Affected Areas:C3:Kuvempu Nagar, Abbigere and surrounding area. (Changeover not arranged),confirmed by Venkatesh AE 9449864538 . | 10:30 hrs to 12:45 hrs | 2:15 | Venkatesh AE 9449864538
| - | - | 0:00 | - | 11)66/11KV IISC MUSS F4 Feeder faulty Affected Areas:C2:Malleshwaram, Sirur Park, Sheshadripuram and surrounding area. (Changeover not arranged),confirmed by Asif JE 9449864577. | 10:35 hrs to 11:50 hrs | 1:15 | Asif JE 9449864577
| - | - | 0:00 | - | 12)66/11KV Geddalahalli MUSS F5 Feeder LT AB Cable work Affected Areas:E8:Bho vaibhva Layout and surrounding area. (Changeover not arranged),confirmed by Madhushekar AE 9449869326. | 10:30 hrs to 18:15 hrs | 7:45 | Madhushekar AE 9449869326
| - | - | 0:00 | - | 13)66/11KV Banasawadi MUSS F18 Feeder VL kept open due to AB Cable faulty Affected Areas:E8:OMBR Layout, Banasawadi and surrounding area. (Changeover not arranged),confirmed by Vinay AE 9449869316. | 10:40 hrs to 12:00 hrs | 1:20 | Vinay AE 9449869316
| - | - | 0:00 | - | 14)66/11KV HAL MUSS F17 Feeder 250 KVA Transformer kept open due to LT Wire cut Affected Areas:S17:Ramesh Nagar, Vignan Nagar and surrounding area. (Changeover not arranged),confirmed by Yogaraj AE 9449877000. | 11:00 hrs to 12:15 hrs | 1:15 | Yogaraj AE 9449877000
| - | - | 0:00 | - | 15)66/11KV Banaswadi MUSS F1 Feeder Tripped Affected Areas:E8:Ashirwad Colony, Nandana Colony, Nisarga Colony, Vijayabank Colony, Horamavu agara, Banjara Layout and surrounding area. (Changeover not arranged),confirmed by Shivaraj JE 9449873981. | 11:10 hrs to 12:00 hrs | 0:50 | Shivaraj JE 9449873981
| - | - | 0:00 | - | 16)66/11KV Mathikere MUSS F5 Feeder 250 KVA Transformer kept open for Maintenance work Affected Areas:C6:Mohan kumar Nagar and surrounding area. (Changeover not arranged),confirmed by Lokesh Babu JE 9449844694 . | 11:00 hrs to 12:30 hrs | 1:30 | Lokesh Babu JE 9449844694
| - | - | 0:00 | - | 17)66/11KV ITI MUSS F8 Feeder Tree trimming work Affected Areas:E11:Santhi Layout, Ram murthy Nagar, Anadapura, Akshaya Nagar and surrounding area. (Changeover not arranged),confirmed by Manjunath JE 9449874336. | 11:20 hrs to 12:45 hrs | 1:25 | Manjunath JE 9449874336
| - | - | 0:00 | - | 18)66/11KV Arehalli MUSS F9 Feeder Jump replacement work Affected Areas:S15:Hosakerehalli, Ittamadu, Gurudatta Layout, T.G.Layout, Ramakrishna Layout and surrounding area. (Changeover not arranged),confirmed by Rajshekhar AE 9880516254. | 11:25 hrs to 12:00 hrs | 0:35 | Rajshekhar AE 9880516254
| - | - | 0:00 | - | 19)66/11KV GLSP MUSS F3 Feeder VL kept open for Pole erection work Affected Areas:S3:KR Garden, Vinayaka Nagar and surrounding area. (Changeover not arranged),confirmed by Manjunath JE 9449840444. | 11:30 hrs to 13:35 hrs | 2:05 | Manjunath JE 9449840444
BESCOM | - | - | 0:00 | - | 20)66/11KV Jayadeva MUSS F2 Feeder 250KVA Transformer kept open for Tree trimming work Affected Areas:S1:Tilak Nagar and surrounding area. (Changeover not arranged),confirmed by Cheeranjivi AE 9449840403. | 11:35 hrs to 13:30 hrs | 1:55 | Cheeranjivi AE 9449840403
| - | - | 0:00 | - | 21)66/11KV Anjanapura MUSS F7 Feeder GOS kept open for Tree trimming work Affected Areas:S12:JP Nagar 8th Phase, Tulasipura, Amruth Nagar and surrounding area. (Changeover not arranged),confirmed by Ravikumar AE 9449844813. | 11:40 hrs to 16:18 hrs | 4:38 | Ravikumar AE 9449844813
| - | - | 0:00 | - | 22)66/11KV Naganathpura MUSS F1 Feeder GOS kept open for Tree trimming work Affected Areas:S13:Basavapura, CK Nagar, Chikkathogur and surrounding area. (Changeover not arranged),confirmed by Shivakumar AE 9449840480. | 11:35 hrs to 13:40 hrs | 2:05 | Shivakumar AE 9449840480
| - | - | 0:00 | - | 23)66/11KV Jaya Nagar MUSS F5 Feeder loop kept open for Bus bar mainteannce work Affected Areas:S1:Jaya Nagar 3rd Block and surrounding area. (Changeover not arranged),confirmed by Nagaraj AE 9449840402 . | 11:40 hrs to 13:40 hrs | 2:00 | Nagaraj AE 9449840402
| - | - | 0:00 | - | 24)66/11KV Arehalli MUSS F5 Feeder 250KVA Transformer kept open for Tree trimming work Affected Areas:S18:Ramanjeneya Nagar and surrounding area. (Changeover not arranged),confirmed by Shivanshankar AE 9449844796. | 11:50 hrs to 13:50 hrs | 2:00 | Shivanshankar AE 9449844796
| - | - | 0:00 | - | 25)66/11KV D Cross MUSS F10 Feeder Maintenance work Affected Areas:DB1:Jogihalli, Huchappa pete, Narayanappa Layout and surrounding area. (Changeover not arranged),confirmed by Hanumanthe gowda AE 9449844769. | 11:30 hrs to 13:40 hrs | 2:10 | Hanumanthe gowda AE 9449844769
| - | - | 0:00 | - | 26)66/11KV Jayadeva MUSS F11 Feeder Transformer Bus bar work Affected Areas:S14:Mico Layout, BTM 2nd Stage and surrounding area. (Changeover not arranged), confirmed by Ranganath JE 9449844835. | 12:35 hrs to 13:40 hrs | 1:05 | Ranganath JE 9449844835
| - | - | 0:00 | - | 27)66/11KV ITI MUSS F4 Feeder GOS kept open for Tree trimming work Affected Areas:E10:Kasturi Nagar and surrounding area. (Changeover not arranged),confirmed by Nawaz AE 9449874691. | 12:45 hrs to 14:30 hrs | 1:45 | Nawaz AE 9449874691
| - | - | 0:00 | - | 28)66/11KV Hebbal MUSS F3 Feeder GOS kept open for AB Cable box work Affected Areas:C4:RT Nagar, Ganga nagar, Chamundi Nagar and surrounding area. (Changeover not arranged),confirmed by Puutswamy AE 9449864894. | 12:30 hrs to 18:40 hrs | 6:10 | Puutswamy AE 9449864894
BESCOM | - | - | 0:00 | - | 29)66/11KV Welcast MUSS F9 Feeder Line clear taken for GOS Fixing work Affected Areas:N5:MTS Colony, Muturaya swamy temple, Prashanth Nagar and surrounding area. (Changeover not arranged),confirmed by Dhanlaksmi AE 9449865418. | 12:50 hrs to 16:00 hrs | 3:10 | Dhanlaksmi AE 9449865418
| - | - | 0:00 | - | 30)66/11KV EPIP MUSS F17 Feeder VL kept open for New GOS Fixing work Affected Areas:S7:Chinnapanahalli and surrounding area. (Changeover not arranged),confirmed by Laxmikanthappa JE 9449844849. | 12:15 hrs to 16:50 hrs | 4:35 | Laxmikanthappa JE 9449844849
| - | - | 0:00 | - | 31)66/11KV Kadubeesanhalli MUSS F13 Feeder faulty Affected Areas:S7:SGR dental college, Panthur, CKB Layout, Munekolala and surrounding area. (Changeover not arranged),confirmed by Rajshekhar AE 9449840459. | 13:10 hrs to 14:46 hrs | 1:36 | Rajshekhar AE 9449840459
| - | - | 0:00 | - | 32)66/11KV Vrushabhavathi MUSS F15 Feeder VL kept open for RC work Affected Areas:K1:Doddbele, Kengeri and surrounding area. (Changeover not arranged),confirmed by Kempegowda JE 9449870354 . | 13:40 hrs to 18:40 hrs | 5:00 | Kempegowda JE 9449870354
| - | - | 0:00 | - | 33)66/11KV Chandra Layout MUSS F7 Feeder one loop kept open for Spun pole erection work Affected Areas:N8:Kalyan Nagar, Nagarabhavi 9th Block and surrounding area. (Changeover not arranged), confirmed by Chenne gowdru AE 9449869427 . | 14:00 hrs to 18:06 hrs | 4:06 | Chenne gowdru AE 9449869427
| - | - | 0:00 | - | 34)66/11KV HBR MUSS F12 Feeder one loop open for HT Cable work Affected Areas:E9:Balaji Layout, Hegde Nagar, Thanisandra and surrounding areas. (Changeover not arranged),confirmed by Diwakar AE 9449869309 . | 14:00 hrs to 19:00 hrs | 5:00 | Diwakar AE 9449869309
| - | - | 0:00 | - | 35)66/11KV Gokula MUSS F1 Feeder HT UG Cable work Affected Areas:C3:Gangamma Circle, Ramachandrapura, Gangamma temple, Jallahalli and surrounding area. (Changeover not arranged),confirmed by Rohith AE 9449864541. | 11:30 hrs to 16:59 hrs | 5:29 | Rohith AE 9449864541
| - | - | 0:00 | - | 36)66/11KV Somanahalli MUSS F3 Feeder HT Cable Jointing work Affected Areas:K3:Kaggalipura, Shivaji Layout, Somanahalli, Kanakapura main road and surrounding area. (Changeover not arranged),confirmed by Vijay Kumar AE 9449870350. | 14:30 hrs to 16:15 hrs | 1:45 | Vijay Kumar AE 9449870350
| - | - | 0:00 | - | 37)66/11KV LR Bande MUSS F12 Feeder HT Cable damage Affected Areas:C5:Manorayana palya, Kanaka Nagar, Sulthan palya and surrounding areas. (Changeover not arranged),confirmed by Chandra Nayak AE 9449864899. | 14:42 hrs to 17:20 hrs | 2:38 | Chandra Nayak AE 9449864899
| - | - | 0:00 | - | 38)66/11KV Kadubeesanhalli MUSS F13 Feeder 11KV Jump cut Affected Areas:S7:SGR dental college, Panthur, Ckb layout, Munekolala and surrounding area. (Changeover not arranged),confirmed by Vinayak JE 9449840462. | 15:00 hrs to 16:00 hrs | 1:00 | Vinayak JE 9449840462
BESCOM | - | - | 0:00 | - | 39)66/11KV Bagmane MUSS F9 Feeder Single phase Affected Areas:E12:Mahadevpura, Doddanekundi and surrounding area. (Changeover not arranged) ,confirmed by Srinath JE 9449810248. | 15:00 hrs to 16:00 hrs | 1:00 | Srinath JE 9449810248
| - | - | 0:00 | - | 40)66/11KV Pottery road MUSS F7 Feeder VL kept open for Tree trimming work Affected Areas:E5:Jai Bharathi Nagar, Maruthi Seva Nagar and surrounding area. (Changeover not arranged),confirmed by Naveen AE 9449874977. | 11:00 hrs to 17:00 hrs | 6:00 | Naveen AE 9449874977
| - | - | 0:00 | - | 41)66/11KV Kadugodi MUSS F16 Feeder one loop RMU work Affected Areas:E4:White Field, Hagdur, Vinayak Nagar and surrounding area. (Changeover not arranged), confirmed by Muniraju JE 9449874239. | 15:30 hrs to 17:20 hrs | 1:50 | Muniraju JE 9449874239
| - | - | 0:00 | - | 42)66/11KV Jayadeva MUSS F2 Feeder LT AB Cable work Affected Areas:S1:Thilak Nagar, Jaya Nagar 4th T Block and surrounding area. (Changeover not arranged), Confirmed by Chiranjivi AE 9449840403. | 15:30 hrs to 17:30 hrs | 2:00 | Chiranjivi AE 9449840403
| - | - | 0:00 | - | 43)66/11KV Attur MUSS F9 Feeder one loop kept open for L&T work Affected Areas:C7:Yelahanka New Town, Judicial Layout, Janatha Colony and surrounding areas. (Changeover not arranged),confirmed by Anand AE 9449864903. | 15:30 hrs to 17:15 hrs | 1:45 | Anand AE 9449864903
| - | - | 0:00 | - | 44.)66/11KV Jayadeva MUSS F15 Feeder Tripped Affected Areas:S14:BTM 2nd Stage and surrounding area. (Changeover not arranged),confirmed by Azamath Ulla Khan AE 9449844835. | 16:40 hrs to 17:09 hrs | 0:29 | Azamath Ulla Khan AE 9449844835
| - | - | 0:00 | - | 45)66/11KV Kadubisanahalli MUSS F13 Feeder Line clear taken due to HT Fuse blown out Affected Areas:S7:SGR Dental college road, Aswath Nagar and surrounding area. (Changeover not arranged), confirmed by Vinayak JE 9449840462. | 17:12 hrs to 18:00 hrs | 0:48 | Vinayak JE 9449840462
| - | - | 0:00 | - | 46)66/11KV Jayadev MUSS F14 Feeder faulty Affected Areas:S16:New Gurappana Palya, SG Palya and surrounding area. (Changeover not arranged), confirmed by Asha AE 9900724229. | 17:10 hrs to 17:50 hrs | 0:40 | Asha AE 9900724229
| - | - | 0:00 | - | 47)66/11KV Old Jigani MUSS F4, F9 & F28 Feeders line clear taken for New Feeders work Affected Areas:JN1:Anugraha village, Bommandahalli and surrounding areas. (Changeover not arranged), confirmed by Dinesh AE 9449871782. | 16:20 hrs to 18:00 hrs | 1:40 | Dinesh AE 9449871782
| - | - | 0:00 | - | 48)66/11KV Devangundi MUSS F1, F2, F3 Feeders Line clear taken for Line shifting work Affected Areas:HK1:Medimallasandra, Muthkur, Devangundi and surrounding areas. (Changeover not arranged),confirmed by Muniraju AE 9449871183 . | 12:00 hrs to 19:20 hrs | 7:20 | Muniraju AE 9449871183
BESCOM | - | - | 0:00 | - | 49)66/11KV D Cross MUSS F10 Feeder 11KV Maintenance work Affected Areas:DB1:Jogihalli, Huchappa pete, doddaballapur taluk and surrounding area. (Changeover not arranged),confirmed by Hanumanthe gowda AE 9449844769. | 12:00 hrs to 18:30 hrs | 6:30 | Hanumanthe gowda AE 9449844769
| - | - | 0:00 | - | 50)66/11KV Mathikere MUSS F2 Feeder HT Jump cut Affected Areas:C6:R.K Garden, Sanjeevappa Colony, L.G Halli and surrounding area. (Changeover not arranged),confirmed by Babu JE 9449844694. | 18:10 hrs to 18:45 hrs | 0:35 | Babu JE 9449844694
| - | - | 0:00 | - | 51)66/11KV Nandini MUSS F11 Feeder HT AB Cable work Affected Areas:N7:JC Nagar, Kurubarahalli and surrounding area. (Changeover not arranged),confirmed by Girish AE 9449844707 . | 15:30 hrs to 19:11 hrs | 3:41 | Girish AE 9449844707
| - | - | 0:00 | - | 52)66/11KV BSK MUSS F18 Feeder LT AB Cable work Affected Areas:W1,W6:New Timber Yard Layout, Sri Nagara, Ragavendra Block and surrounding areas. (Changeover not arranged),confirmed by Umarani AE 9449870846. | 17:30 hrs to 19:50 hrs | 2:20 | Umarani AE 9449870846
| - | - | 0:00 | - | 53)66/11KV NGEF MUSS F7 Feeder HT Jump cut Affected Areas:E6:Indira Nagar 2nd Stage, Kadirenapalya and surrounding area. (Changeover not arranged),confirmed by Prabhakar JE 9449874720. | 18:45 hrs to 19:45 hrs | 1:00 | Prabhakar JE 9449874720
| - | - | 0:00 | - | 54)66/11KV Chandra Layout MUSS F8 Feeder Last loop faulty Affected Areas:N2:Chandra Layout, Hosahalli, Vijay Nagar and surrounding area. (Changeover not arranged), confirmed by Chandrushekar AE 9449869137. | 19:00 hrs to 20:00 hrs | 1:00 | Chandrushekar AE 9449869137
| - | - | 0:00 | - | 55)66/11KV Anekal MUSS F5 Feeder Tree trimming work Affected Areas:AN1: Maruthi Layout, Viewers Colony, Narayanapura and surrounding areas. (Changeover not arranged),confirmed by Prasanna Kumar JE 9449866792 . | 18:30 hrs to 19:40 hrs | 1:10 | Prasanna Kumar JE 9449866792
| - | - | 0:00 | - | 56)66/11KV Telecom MUSS F3 Feeder Tripped Affected Areas:W3:Cheluvappa Garden, Telecom Layout, Muneeshwara temple, Mariyappana palya and surrounding area. (Changeover not arranged),confirmed by Rajashekar JE 9449844736. | 19:10 hrs to 19:50 hrs | 0:40 | Rajashekar JE 9449844736
| - | - | 0:00 | - | 57)66/11KV Malur MUSS F1, F2, F3, F6 & F8 Feeders Line clear taken for Reconductor work Affected Areas:ML1:Subhash Nagar, Adarsh Nagar and surrounding areas. (Changeover not arranged), confirmed by Divya AE 8971626228. | 11:00 hrs to 20:45 hrs | 9:45 | Divya AE 8971626228
| - | - | 0:00 | - | 58)66/11KV Budigere MUSS F9 & F10 Feeders faulty Affected Areas:DH1:Ramanahalli, Channahalli and surrounding areas (Changeover not arranged), confirmed by Karuna Kumar JE 9449871588. | 19:00 hrs to 20:15 hrs | 1:15 | Karuna Kumar JE 9449871588
BESCOM | - | - | 0:00 | - | 59)66/11KV Hebbal MUSS F4 Feeder VL Tripped Affected Areas:C4:Ganga Nagar and surrounding areas. (Changeover not arranged), confirmed by Puttaswamy AE 9449844696. | 20:40 hrs to 21:05 hrs | 0:25 | Puttaswamy AE 9449844696
| - | - | 0:00 | - | 60)66/11KV Mathikere MUSS F7 Feeder HT Jump cut Affected Areas:C6:SBM Colony, Mathikere, MRJ Colony, AK Colony, MK Nagar, Brindavan Nagar and surrounding areas. (Changeover not arranged), confirmed by Jaganath JE 9449844694 . | 20:50 hrs to 21:20 hrs | 0:30 | Jaganath JE 9449844694
| - | - | 0:00 | - | 61)66/11KV Abbigere MUSS F5 Feeder One loop faulty Affected Areas:C3:Valmiki Nagar, Singapura Layout, Abbigere and surrounding areas. (Changeover not arranged),confirmed by Venkatesh AE 9449844804. | 22:00 hrs to 23:05 hrs | 1:05 | Venkatesh AE 9449844804
| - | - | 0:00 | - | 62)66/11KV GLSP MUSS F3 Feeder UG Cable faulty Affected Areas:S3:Vinayaka Nagar, SR Layout, K R Garden, Wind tannel road, Murgesh palya and surrounding areas. (Changeover not arranged), confirmed by Ramalingappa JE 9449877177. | 23:00 hrs to 01:50 hrs | 2:50 | Ramalingappa JE 9449877177
TOTAL | 1 |  | 8:00 |  | 62 |  | 1900-01-06 12:47
Formulas:
Duration (in Hrs) = SUM(J6:[Duration (in Hrs), row above])

## (Load restriction)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions of Load Restriction by KPTCL (23-06-2020)
| Discription | Timings | Duration (in Hrs) | Confirmed By
KPTCL | 1)66/11KV D Cross MUSS each Feeders 1 hour Load restriction as per instruction given by SLDC Affected Areas:DB1 & DB2:Bestharpet, Kodigehalli, Chilenahalli and surrounding areas. (Changeover not arranged),confirmed by Kishor AE 9480823210. | 19:45 hrs to 21:45 hrs | 2:00 | Kishor AE 9480823210
| 2)66/11KV Devanahalli MUSS each Feeders 1 hour Load restriction as per instruction given by 220KV Doddaballapura Station Affected Areas:DH1:Devanahalli Town, Bommavara, Neelire, Uganavadi, T.G.Hosahalli, Neraganahalli, Solur, Savakanahalli, Lalgondanahalli, Janatha Colony, Hosakurubakunte, Hlikurubakunte, Athibele, Bestharpet, Kodigehalli, Chilenahalli and surrounding areas. (Changeover not arranged),confirmed by Lakshminarayana AE 9448998054. | 19:45 hrs to 21:45 hrs | 2:00 | Lakshminarayana AE 9448998054
| 3)66/11KV Rama Nagar MUSS each Feeders 45 minutes Load restriction Affected Areas:RM1 & RM2:Ghousia Nagar, Kothipura, Arkeshwara Colony, Beedi Workers Layout, Yarab Nagar, Mehaboob Nagar, Mothi Nagar, Balageri, Railway Station, Kumandhan mohalla, Thopkhan mohalla and surrounding areas. (Changeover not arranged),confirmed by Umesh Hitnal AEE 9448279088 . | 19:45 hrs to 22:10 hrs | 2:25 | Umesh Hitnal AEE 9448279088
| 4)66/11KV Jadigenahalli MUSS each Feeders 45 minutes Load restriction as per instruction given by 220KV Malur Station Affected Areas:HK1:Kattigenahalli, Bellahalli, Bommana bande, Kacharakanahalli and surrounding areas (Changeover not arranged),confirmed by Ragavendra JE 9379828458. | 19:45 hrs to 22:00 hrs | 2:15 | Ragavendra JE 9379828458
Total | 4 |  | 8:40

## Accidents
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Accidents
BMAZ |  |  |  | BRAZ |  |  |  | CTAZ |  |  |  | Total
Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental
Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal
- | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## AE TO MD E-Mail Complaints
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
AE to MD and TA to MD E-mail pending complaints
Sl.No | Circle | Date | Issue | Docket No. | Time as per KERC | Tentative Date | Remarks
1 | SOUTH | 2020-05-28 | Tree Trimming | ES05966247 | 7 days | Not confirmed | informed to AEE Sri Ramaih S T 9449844665 told that he will discuss with AE and issue wil be attended by today
2 | SOUTH | 2020-06-15 | Solar rooftop bill amount not received for 6 months | NS12223823 | 7 days | Not confirmed | Reminded to Suresh AAO 9449840846 and consumer details given said will check and revert back through consumer's trailing mail, awaiting for reply
3 | SOUTH | 2020-06-16 | Frequent power cut | NS18518847 | 7 days | Not confirmed | Report given by S18 Subdivision AEE same as been forwarded to consumer | Report given by S18 Subdivision AEE same as been forwarded to consumer
4 | RAMANAGARA | 2020-06-16 | Bill Discrepancy and Excess Billing | DCH1344791 | 24 hrs | Not confirmed | Informed to AAO Srinivas 9449865148 | Informed to AAO Srinivas 9449865148
5 | EAST | 2020-06-18 | Excess bill | DE10448528 | 24 hrs | Not confirmed | try to inform AAO 9902325688 is not respinding to calls | try to inform AAO 9902325688 is not respinding to calls
6 | NORTH | 2020-06-20 | Excess bill | DC09799710 | 24 hrs | Not confirmed | Email sent to AAO awaiting for reply | Email sent to AAO awaiting for reply
7 | BRC | 2020-06-21 | Meter reading not taken properly | DNM1655269 | 7 days | Not confirmed | Email sent to AAO awaiting for reply | Email sent to AAO awaiting for reply

## BMAZ
Status of Pending Complaints Beyond Time Limit
BMAZ ZONE
Category | Category of Complaints | Sub Category | Duration | Pending Complaints Beyond Time Limit
|  |  |  | BMAZ SOUTH |  | BMAZ NORTH |  | Total
|  |  | Urban | South | West | East | North
A | FAILURE OF POWER SUPPLY | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | 56 | 5 | 0 | 6 | 67
|  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs | 0 | 0 | 0 | 0 | 0
|  | Line breakdown (pole broken) | 10 hrs | 0 | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 0 | 0 | 0 | 0 | 0
|  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 0 | 0 | 0 | 0 | 0
|  | Opening of neutral (High Voltage) | 1 hr | 0 | 2 | 2 | 1 | 5
C | METER COMPLAINTS | Inspect and check correctness | 7 days | 72 | 5 | 34 | 9 | 120 |  |  | cal
|  | Replaced slow, creeping or stuck meters | 10 days | 3 | 0 | 0 | 0 | 3
|  | Replaced burnt meters if cause not attributable to consumer | 7 days | 2 | 0 | 1 | 0 | 3
|  | Replaced burnt meters in all other cases | 24 hrs | 4 | 0 | 3 | 0 | 7
D | BILLING ISSUES | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 28 | 15 | 47 | 4 | 94
|  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 20 | 11 | 2 | 1 | 34
|  | Reconnection of supply following disconnection | On the same day | 0 | 1 | 1 | 0 | 2
E | SAFETY ISSUES | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 33 | 11 | 34 | 28 | 106
|  | Replacement of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 17 | 5 | 12 | 8 | 42 |  | c
|  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 3 | 2 | 8 | 5 | 18
|  | Tree trimming | 7 days | 62 | 26 | 13 | 45 | 146
F | Transformer FAILURE COMPLAINTS | Water Supply | 24 hrs | 0 | 0 | 0 | 0 | 0
|  | Domestic |  | 0 | 0 | 0 | 0 | 0
|  | Industry |  | 0 | 0 | 0 | 0 | 0
|  | Mixed load |  | 0 | 0 | 0 | 0 | 0
|  | Irrigation Pumpset(IP Set) |  | 0 | 0 | 0 | 0 | 0
G | THEFT | Theft | 1 Month | 6 | 5 | 26 | 18 | 55
|  | Hooking Under Nirantara Jyothi Yojane | 15 days | 1 | 0 | 2 | 0 | 3
H | ALLEGATIONS ON STAFF | Allegations on staff | 1 Month | 3 | 6 | 10 | 1 | 20
I | NEW CONNECTION/ ADDITIONAL LOAD | Release of supply where service is feasible from existing network | 1 month | 0 | 0 | 0 | 1 | 1
|  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 0 | 0 | 0 | 0 | 0
|  | IP sets | 30 days | 0 | 0 | 0 | 0 | 0
J | PHASE CONVERSION | Conversion of LT single phase to LT 3 phase | 30 days | 0 | 0 | 0 | 0 | 0
|  | Conversion from LT to HT and vice-versa | 30 days | 0 | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 16 | 5 | 25 | 1 | 47
|  | Change of category (Wrong Application Tariff) | 7 days | 0 | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES | Refund of deposits | 60 days | 0 | 0 | 1 | 0 | 1
|  | Issue of certificates | 1 day | 1 | 0 | 0 | 2 | 3
M | ADDITIONAL TC/ENHANCEMENT | Additional TC | 1 Month | 0 | 0 | 0 | 0 | 0
|  | TC Enhancement | 15 days | 0 | 0 | 0 | 0 | 0 | 181
N | GENERAL | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 43 | 9 | 21 | 7 | 80 | 176
Grand Total |  |  |  | 370 | 108 | 242 | 137 | 857

## BRAZ
Status of Pending Complaints Beyond Time Limit
BRAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | BRC | Ramanagar | Kolar | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transeformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 1 | 0 | 0 | 1
|  |  | Replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 0 | 0 | 0
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 14 | 14 | 7 | 35
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 9 | 2 | 8 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 3 | 0 | 0 | 3
|  |  | Tree trimming | 7 days | 7 days | 7 | 1 | 0 | 8
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 9 | 35 | 9 | 53
|  |  | Hooking Under Nirantara Jyothi Yojane | 15 days | 15 days | 3 | 3 | 0 | 6
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 0 | 4 | 2 | 6
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 1 | 0 | 1
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0 | 0 |  | `
M | ADDitIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 4 | 4 | 3 | 11
Grand Total | [5 empty] | 50 | 64 | 29 | 143
0
1119

## CTAZ
Status of Pending Complaints Beyond Time Limit
CTAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | Tumkur | Davangere | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0
|  |  | replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 1 | 1
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 1 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 20 | 10 | 30
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 10 | 9 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 7 | 5 | 12
|  |  | Tree trimming | 7 days | 7 days | 0 | 1 | 1
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 27 | 2 | 29
|  |  | Hooking Under Nirantara Jyoti Yojane | 15 days | 15 days | 7 | 1 | 8
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 3 | 1 | 4
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 7 | 7 | 14
Grand Total | [5 empty] | 81 | 38 | 119

## Draft summary New
Division/ Sub Division Wise Complaints of BMAZ ( 23-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BMAZ SOUTH | South | 1914 | Jayanagar | 497 | S1 | 98
[5 empty] | S2 | 46
[5 empty] | S5 | 40
[5 empty] | S6 | 78
[5 empty] | S9 | 23
[5 empty] | S14 | 85
[5 empty] | S15 | 74
[5 empty] | S18 | 53
|  |  | Kormangala | 591 | S3 | 96
[5 empty] | S4 | 117
[5 empty] | S7 | 318
[5 empty] | S16 | 60
|  |  | HSR | 826 | S8 | 130
[5 empty] | S10 | 85
[5 empty] | S11 | 54
[5 empty] | S12 | 103
[5 empty] | S13 | 98
[5 empty] | S17 | 149
[5 empty] | S19 | 83
[5 empty] | S20 | 124
| West | 1093 | Rajajajinagar | 451 | N1 | 31
[5 empty] | N2 | 199
[5 empty] | N3 | 33
[5 empty] | N6 | 20
[5 empty] | N8 | 104
[5 empty] | N10 | 64
|  |  | R.R. Nagar | 282 | W1 | 44
[5 empty] | W2 | 113
[5 empty] | W6 | 73
[5 empty] | W8 | 19
[5 empty] | W7 | 33
|  |  | Kengeri | 360 | K1 | 166
[5 empty] | K2 | 31
[5 empty] | K3 | 121
[5 empty] | K4 | 42
Total |  | 3007 |  | 3007 |  | 3007
BMAZ NORTH | East | 1202 | Indiranagar | 218 | E3 | 34
[5 empty] | E6 | 67
[5 empty] | E10 | 35
[5 empty] | E11 | 82
|  |  | Shivajinagar | 648 | E1 | 85
[5 empty] | E2 | 34
[5 empty] | E5 | 133
[5 empty] | E8 | 231
[5 empty] | E9 | 165
|  |  | Whitefield | 229 | E4 | 94
[5 empty] | E7 | 88
[5 empty] | E12 | 47
|  |  | Vidhanasoudha | 107 | W3 | 60
[5 empty] | W4 | 32
[5 empty] | W5 | 15
| North | 1316 | Jalahalli | 259 | C3 | 114
[5 empty] | C9 | 94
[5 empty] | N9 | 51
|  |  | Peenya | 207 | N4 | 70
[5 empty] | N5 | 79
[5 empty] | N7 | 58
|  |  | Malleswaram | 230 | C1 | 20
[5 empty] | C2 | 90
[5 empty] | C6 | 120
|  |  | Hebbal | 620 | C4 | 254
[5 empty] | C5 | 135
[5 empty] | C7 | 128
[5 empty] | C8 | 103
Total |  | 2518 |  | 2518 |  | 2518
Division/ Sub Division Wise Complaints of BRAZ ( 23-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BRAZ | BRC | 676 | Nelamanagala | 308 | DB1 | 118
[5 empty] | DB2 | 83
[5 empty] | NM1 | 100
[5 empty] | DPT | 7
|  |  | Hosakote | 368 | DH1 | 115
[5 empty] | VD1 | 13
[5 empty] | HK1 | 191
[5 empty] | AV1 | 42
[5 empty] | NG1 | 7
| Ramanagar Circle | 295 | Ramanagar | 59 | BD1 | 9
[5 empty] | CP1 | 8
[5 empty] | CP2 | 2
[5 empty] | BE1 | 1
[5 empty] | RM1 | 36
[5 empty] | RM2 | 3
|  |  | Magadi | 47 | MA1 | 5
[5 empty] | KD1 | 5
[5 empty] | TV1 | 37
|  |  | Kanakapura | 11 | KP1 | 4
[5 empty] | KP2 | 2
[5 empty] | HA1 | 2
[5 empty] | SA1 | 3
|  |  | Chandapura | 178 | AN1 | 65
[5 empty] | JN1 | 56
[5 empty] | CH1 | 28
[5 empty] | AT1 | 17
[5 empty] | VE1 | 12
| Kolar Circle | 165 | Kolar | 37 | KL1 | 26
[5 empty] | KL2 | 8
[5 empty] | SP1 | 3
|  |  | Chikkaballapura | 22 | BP1 | 1
[5 empty] | CB1 | 12
[5 empty] | CB2 | 2
[5 empty] | GB1 | 6
[5 empty] | GD1 | 1
|  |  | KGF | 91 | BG1 | 19
[5 empty] | KG1 | 11
[5 empty] | ML1 | 46
[5 empty] | MB1 | 13
[5 empty] | BM1 | 2
|  |  | Chinthamani | 15 | CM1 | 12
[5 empty] | CM2 | 2
[5 empty] | SG1 | 0
[5 empty] | SG2 | 1
Total |  | 1136 |  | 1136 |  | 1136
Division/ Sub Division Wise Complaints of CTAZ ( 23-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
CTAZ | TUMKUR | 230 | TUMKUR | 104 | TK1 | 42
[5 empty] | TK2 | 12
[5 empty] | TK3 | 8
[5 empty] | TK4 | 9
[5 empty] | KYT | 15
[5 empty] | GU1 | 10
[5 empty] | NT1 | 8
|  |  | KUNIGAL | 19 | KU1 | 12
[5 empty] | HLD | 6
[5 empty] | YD1 | 1
|  |  | TIPTUR | 53 | TP1 | 18
[5 empty] | TU1 | 32
[5 empty] | CN1 | 3
|  |  | MADHUGIRI | 54 | MG1 | 23
[5 empty] | SR1 | 8
[5 empty] | SR2 | 9
[5 empty] | KR1 | 7
[5 empty] | PG1 | 7
[5 empty] | KH1 | 0
| DAVANGERE | 70 | DAVANGERE | 38 | DV1 | 22
[5 empty] | DV2 | 1
[5 empty] | DV3 | 2
[5 empty] | AG1 | 0
[5 empty] | JL1 | 2
[5 empty] | CG1 | 9
[5 empty] | SB1 | 2
|  |  | HARIHARA | 3 | HR1 | 3
[5 empty] | NY1 | 0
[5 empty] | HN1 | 0
[5 empty] | TL1 | 0
[5 empty] | HH1 | 0
|  |  | CHITRADURGA | 22 | CD1 | 20
[5 empty] | CD2 | 0
[5 empty] | HL1 | 0
[5 empty] | SRP | 0
[5 empty] | HD1 | 2
|  |  | HIRIYURU | 7 | HY1 | 1
[5 empty] | CK1 | 5
[5 empty] | TLK | 1
[5 empty] | MK1 | 0
Total |  | 300 |  | 300 |  | 300
Total | [5 empty] | 6961

## Beyond Transformer Complaints
Beyond Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL

## Pending Transformer Complains
Pending Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
1 | Prajwal | FSB1720221 | 2020-06-23 | 21:53 | CTAZ | DAVANAGERE | DAVANAGERE | SB1 ('R) | Basavapattana Santhebennur | WATER SUPPLY | Major | Transfomrer failure, it will be replaced on 24-06-2020, confimred by .