## Note
Date : 10-06-2020 Dear Sir/Madam, Please find the attached Status of Complaints Received & Pending details as on 09-06-2020
| a) | Page 1 | Complaints Status of Zones
| b) | Page 2 to 8 | Major Interruptions and Load Restriction Details
| c) | Page 9 | Accidents and AE to MD and TA to MD E-Mail complaint status
| d) | Page 10 to 18 | Status of Pending Complaints Beyond Time Limit
| e) | Page 19 to 21 | Circle/Division/Sub Division Wise Complaints Details
| f) | Page 22 | Status of Pending Transformer Complaints Beyond Time Limit
| g) | Page 23 | Status of Pending Transformer Complaints
With Warm Regards
GM (CR)
94498 44778
BESCOM Helpline

## Abstract
Abstract Status of Complaints
Opening Balance | 2753
Complaints received on 09-06-2020 | 8427
Total | 11180
Cumulative Pending Complaints | 2686
Pending Complaints beyond time limit | 1317

## 09-06-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Status of Complaints as on 09-06-2020 (00:00Hrs to 23:59Hrs) at 08:00am on 10-06-2020
| Category | Category of Complaints | ZONE | [14 empty] | TOTAL
|  |  | BMAZ |  |  |  |  | BRAZ |  |  |  |  | CTAZ
|  |  | OB | New Complaints on 09-06-2020 | Total | Disposed | Pending | OB | New Complaints on 09-06-2020 | Total | Disposed | Pending | OB | New Complaints on 09-06-2020 | Total | Disposed | Pending | OB | New Complaints on 09-06-2020 | Total | Disposed | Pending
| A | FAILURE OF POWER SUPPLY | 50 | 6211 | 6261 | 6215 | 46 | 25 | 1045 | 1070 | 1011 | 59 | 7 | 357 | 364 | 355 | 9 | 82 | 7613 | 7695 | 7581 | 114
| B | VOLTAGE COMPLAINTS | 75 | 46 | 121 | 67 | 54 | 2 | 5 | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 77 | 51 | 128 | 74 | 54
| C | METER COMPLAINTS | 214 | 60 | 274 | 27 | 247 | 6 | 4 | 10 | 4 | 6 | 2 | 1 | 3 | 0 | 3 | 222 | 65 | 287 | 31 | 256
| D | BILLING ISSUES | 786 | 357 | 1143 | 441 | 702 | 41 | 34 | 75 | 50 | 25 | 11 | 7 | 18 | 14 | 4 | 838 | 398 | 1236 | 505 | 731
| E | SAFETY ISSUES | 742 | 39 | 781 | 45 | 736 | 101 | 3 | 104 | 1 | 103 | 95 | 2 | 97 | 2 | 95 | 938 | 44 | 982 | 48 | 934
0 | F | TRANSFORMER FAILURE COMPLAINTS | 0 | 15 | 15 | 15 | 0 | 0 | 66 | 66 | 66 | 0 | 0 | 118 | 118 | 118 | 0 | 0 | 199 | 199 | 199 | 0
0 | G | THEFT | 74 | 0 | 74 | 0 | 74 | 66 | 2 | 68 | 0 | 68 | 53 | 0 | 53 | 0 | 53 | 193 | 2 | 195 | 0 | 195
| H | ALLEGATIONS ON STAFF | 27 | 0 | 27 | 0 | 27 | 7 | 0 | 7 | 0 | 7 | 5 | 0 | 5 | 0 | 5 | 39 | 0 | 39 | 0 | 39
| I | NEW CONNECTION/ ADDITIONAL LOAD | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| J | PHASE CONVERSION | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| K | TRANSFER OF OWNERSHIP AND CONVERSION | 67 | 6 | 73 | 0 | 73 | 4 | 0 | 4 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 71 | 6 | 77 | 2 | 75
| L | REFUND/ ISSUE OF CERTIFICATES | 35 | 4 | 39 | 0 | 39 | 3 | 0 | 3 | 0 | 3 | 1 | 0 | 1 | 0 | 1 | 39 | 4 | 43 | 0 | 43
| M | ADDITIONAL TC/ ENHANCEMENT | 2 | 0 | 2 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 | 0 | 3
| N | GENERAL | 215 | 35 | 250 | 50 | 200 | 14 | 6 | 20 | 1 | 19 | 18 | 4 | 22 | 3 | 19 | 247 | 45 | 292 | 54 | 238
| Grand Total |  | 2291 | 6773 | 9064 | 6860 | 2204 | 270 | 1165 | 1435 | 1142 | 293 | 192 | 489 | 681 | 492 | 189 | 2753 | 8427 | 11180 | 8494 | 2686

## KPTCL
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
KPTCL Major Interruptions (09-06-2020)
KPTCL | Scheduled | Sub Division | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| - | - | 0:00 | - | - | 0 | 0:00 | -
TOTAL | 0 |  | #REF! |  | 0 |  | 0:00

## BESCOM
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
BESCOM Major Interruptions Details (09-06-2020)
BESCOM | Scheduled | Sub Division | Circle | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| - | - | - | 0 | 0:00 | - | 1)66/11KV HSR MUSS F8 Feeder HT Jump cut. Affected Areas:S20:Hsr 1st sector, Agara and surrounding areas.(Changeover not arranged),confirmed by Manjunath JE 9449844831 | 00:00 Hrs to 00:45 Hrs | 0:45 | Manjunath JE 9449844831
| - | - | - | 0 | 0:00 | - | 2)66/11KV LR Bande MUSS F12 Feeder faulty. Affected Areas:C5:Kanaka nagar, V Nagenahalli, Seethappa layout, Bhuvaneshwari nagar, Patel muniyappa Layout, Babureddy Layout and surrounding areas.(Changeover not arranged),confirmed by Manju JE 9449810251 | 06:10 Hrs to 06:45 Hrs | 0:35 | Manju JE 9449810251
| - | - | - | 0 | 0:00 | - | 3)66/11KV Kadubeesanahalli MUSS F3 & F4 Feeder tripped. Affected Areas:S7:Gunjurpalya, Panathur dinne, Balagere,Munnekolal Village, Munnekolal, Venkateswara layout, Manjunatha layout, Shirdi Sai layout, Green Garden layout and surrounding areas.(Changeover not arranged),confirmed by Suresh JE 9901101797 | 06:10 Hrs to 06:35 Hrs | 0:25 | Suresh JE 9901101797
| - | - | - | 0 | 0:00 | - | 4)66/11KV RBI MUSS F4 Feeder HT Jump cut & last loop faulty. Affected Areas:S6:Srinidhi Layout, RBI layout,chunchaghatta main road and surrounding areas.(Changeover not arranged),confirmed by Rajesh JE 9449867699 | 06:10 Hrs to 08:00 Hrs | 1:50 | Rajesh JE 9449867699
| - | - | - | 0 | 0:00 | - | 5)66/11KV A Station F8 Feeder faulty. Affected Areas:C2:Sheshadripuram and surrounding areas.(Changeover not arranged),confirmed by Shivanna JE 9449844692 | 07:08 Hrs to 08:10 Hrs | 1:02 | Shivanna JE 9449844692
| - | - | - | 0 | 0:00 | - | 6)66/11KV National College MUSS F2 Feeder 250KVA Transformer fuse blown out. Affected Areas:W2:Vishweshwraiah Puram (VV Puram) and surrounding areas.(Changeover not arranged),confirmed by Hemanth AE-9449870535 | 07:15 Hrs to 08:10 Hrs | 0:55 | Hemanth AE-9449870535
| - | - | - | 0 | 0:00 | - | 7)66/11KV Kodigehalli MUSS F1 Feeder 100KVA Transformer faulty. Affected Areas:TV1:Chikka gollarahatti, Machohalli and surrounding areas.(Changeover not arranged),confirmed by Mmohan Kumar AE 9449873937 | 10PM (08/06/2020) Hrs to 09:30 Hrs | 11:30 | Mmohan Kumar AE 9449873937
| - | - | - | 0 | 0:00 | - | 8)66/11KV C Station F13 Feeder HT Jump cut. Affected Areas:E1: Chinnappa garden, Benson town and surrounding areas.(Changeover not arranged),confirmed by Gagaraju JE 9449874769 | 08:43 Hrs to 09:43 Hrs | 1:00 | Gagaraju JE 9449874769
| - | - | - | 0 | 0:00 | - | 9)66/11KV Jayadeva MUSS F8 Feeder HT Jump cut. Affected Areas:S1:Jaya Nagar 4th T Block,Krishnappa Garden ,Thilak Nagar, SRK Garden and surrounding areas.(Changeover not arranged),confirmed by Chiranjivi JE 9449840406 | 09:20 Hrs to 10:30 Hrs | 1:10 | Chiranjivi JE 9449840406
| - | - | - | 0 | 0:00 | - | 10)66/11KV HSR MUSS F5 Feeder faulty. Affected Areas:S11:Somasundrapalya, Haralur Road, Lake Dew Residency, Reliable layout, Royal Placid and surrounding areas.(Changeover not arranged),confirmed by Shivakumar JE-9449841577 | 09:30 Hrs to 10:45 Hrs | 1:15 | Shivakumar JE-9449841577
| - | - | - | 0 | 0:00 | - | 11)66/11KV Bagmane MUSS F13 Feeder faulty. Affected Areas:S17:Annasandra Palya, Lal Bahudur Shastri Nagar (LBS Nagar) and surrounding areas.(Changeover not arranged),confirmed by Girish AE 9449877000 | 09:45 Hrs to 10:45 Hrs | 1:00 | Girish AE 9449877000
| - | - | - | 0 | 0:00 | - | 12)66/11KV Nandini MUSS F5 Feeder LT AB Cable work. Affected Areas:N7:1st cross,2nd cros,,3rd cross, Mahalakshmi layout , Bus stand road and surrounding areas.(Changeover not arranged),confirmed by Girish AE-9449865458 | 10:10 Hrs to 17:40 Hrs | 7:30 | Girish AE-9449865458
| - | - | - | 0 | 0:00 | - | 13)66/11KV Nandini MUSS F5 Feeder LT AB Cable work. Affected Areas:N7:Mahalakshmi srinivasa temple back and surrounding areas.(Changeover not arranged),confirmed by Girish AE-9449865458 | 10:12 Hrs to 17:45 Hrs | 7:33 | Girish AE-9449865458
| - | - | - | 0 | 0:00 | - | 14)66/11KV Geddalahalli MUSS F11 Feeder GOS kept oepn for Model subdivision work. Affected Areas:E8:Kalkere road and surrounding areas.(Changeover not arranged),confirmed by Naresh AE-9449869320 | 10:20 Hrs to 16:30 Hrs | 6:10 | Naresh AE-9449869320
| - | - | - | 0 | 0:00 | - | 15)66/11KV Geddalahalli MUSS F5 Feeder 250KVA Transformer Model subdivision work. Affected Areas:E8:Nagaragiri Layout and surrounding areas.(Changeover not arranged),confirmed by Naresh AE-9449869320 | 10:20 Hrs to 18:10 Hrs | 7:50 | Naresh AE-9449869320
| - | - | - | 0 | 0:00 | - | 16)66/11KV MEI MUSS F4 Feeder 250KVA Transformer Maintenance work. Affected Areas:N5:Bhuvaneshwari Nagar,T Dasarahalli and surrounding areas.(Changeover not arranged),confirmed by Dhanalakshmi AE-9449865418 | 10:10 Hrs to 12:15 Hrs | 2:05 | Dhanalakshmi AE-9449865418
| - | - | - | 0 | 0:00 | - | 17)66/11KV Attur MUSS F1 & F7 Feeder line clear taken due to HT Jump cut. Affected Areas:C9:CB Halli, AMS layout, BEL, 1-7 Block, HMT1,2,3,4,5,7, 1EHCS layout, NTI layout, Vaishnavi layout, Aakashavani layout,Attur layout, Santhosh nagar, Muneshwara layout, Swagath layout and surrounding areas.(Changeover not arranged),confirmed by Shankaregowda AE-8277893930 | 10:30 Hrs to 12:00 Hrs | 1:30 | Shankaregowda AE-8277893930
| - | - | - | 0 | 0:00 | - | 18)66/11KV National College MUSS F11 Feeder one loop kept open for tree trimming work. Affected Areas:W2:Basavanagudi and surrounding areas.(Changeover not arranged),confirmed by Mayur AE-09449870536 | 10:45 Hrs to 12:45 Hrs | 2:00 | Mayur AE-09449870536
| - | - | - | 0 | 0:00 | - | 19)66/11KV National College MUSS F11 Feeder 250KVA Transformer Maintenance work. Affected Areas:W2:KR Road and surrounding areas.(Changeover not arranged),confirmed by Mayur AE-09449870536 | 10:45 Hrs to 12:30 Hrs | 1:45 | Mayur AE-09449870536
| - | - | - | 0 | 0:00 | - | 20)66/11KV Soldevanahalli MUSS F5 Feeder one kept open for pole straightening work. Affected Areas:N9:Chikkabanavara ,Gangamma temple road and surrounding areas.(Changeover not arranged),confirmed by Bharath AE-9449865452 | 10:45 Hrs to 12:30 Hrs | 1:45 | Bharath AE-9449865452
| - | - | - | 0 | 0:00 | - | 21)66/11KV NG Halli MUSS F4 Feeder 250KVA Transformer no.97 kept open for LT AB cable work. Affected Areas:N5:Gruhalakshmi layout and surrounding areas.(Changeover not arranged),confirmed by Kiran nAE-9449865394 | 11:15 Hrs to 15:30 Hrs | 4:15 | Kiran AE-9449865394
| - | - | - | 0 | 0:00 | - | 22)66/11KV HSR MUSS F10 Feeder V/L kpet open for LT AB cable work. Affected Areas:S20:Old M M Palya road ,Part of Yellukuntae , ITI layout , M M Palya (Right side) Hosapalya , Yellukuntae, Ambedkar Nagar. Hosur Main Road Bomahalli.and surrounding areas.(Changeover not arranged),confirmed by Manjunath AE 9986019913 | 11:00 Hrs to 12:40 Hrs | 1:40 | Manjunath AE 9986019913
| - | - | - | 0 | 0:00 | - | 23)66/11KV Jayadeva MUSS F2 Feeder Bande Transformer 250KVA kept open for LT AB cable work . Affected Areas:S1:4th T Blk , 28th Main , 35th Crs , East End Main And Surrounding Areas(Changeover not arranged),confirmed by Chiranjeevi AE 9449840403 | 11:00 Hrs to 17:30 Hrs | 6:30 | Chiranjeevi AE 9449840403
| - | - | - | 0 | 0:00 | - | 24)66/11KV Nimhans MUSS F10 Feeder 250KVA Transformer kept open for Maintenance work. Affected Areas:S1:Someshwara Nagar,Jaya Nagar 1st Block and surrounding areas.(Changeover not arranged),confirmed by Vasanth AE 9449840402 | 11:20 Hrs to 14:35 Hrs | 3:15 | Vasanth AE 9449840402
| - | - | - | 0 | 0:00 | - | 25)66/11KV Banasawadi MUSS F13 Feeder one bit open for tree trimming work. Affected Areas:E8:Banasawadi,OMBR Layout, Chikka Banasawadi,Dodda Banasawadi and surrounding areas.(Changeover not arranged),confirmed by Vinay AE-9449869316 | 11:20 Hrs to 12:40 Hrs | 1:20 | Vinay AE-9449869316
| - | - | - | 0 | 0:00 | - | 26)66/11KV Hoody MUSS F5 Feeder one loop kept open for Tree trimming work. Affected Areas:E12:Hoody,Rajpalya,and surrounding areas.(Changeover not arranged),confirmed by Shinde AE- 9449874269 | 11:20 Hrs to 12:40 Hrs | 1:20 | Shinde AE- 9449874269
| - | - | - | 0 | 0:00 | - | 27)66/11KV RBI MUSS F12 Feeder 250KVA Transformer no.210 kept open for LT AB cable work. Affected Areas:S6:Puttenahally palya , Wilson Garden Housing Society , 7th Phase and surrounding areas.(Changeover not arranged),confirmed by Venkatesh JE 8277892503 | 11:20 Hrs to 14:45 Hrs | 3:25 | Venkatesh JE 8277892503
| - | - | - | 0 | 0:00 | - | 28)66/11KV RMZ MUSS F3 Feeder 250KVA Transformer kept open for HT AB cable work. Affected Areas:S11:Bellandur 4th cross and surrounding areas.(Changeover not arranged),confirmed by Manjunath JE 24x7 - 9449868575 | 11:30 Hrs to 13:15 Hrs | 1:45 | Manjunath JE 24x7 - 9449868575
| - | - | - | 0 | 0:00 | - | 29)66/11KV St.Jhon Wood MUSS F8 Feeder RMU kept open for 500KVA Transformer replacement work . Affected Areas:S16:VP Rd , Old Madiwala , Venkateshwara layout , Sandhya Talkies and surrounding areas.(Changeover not arranged),confirmed by Gonibasappa AE 9480811280 | 11:30 Hrs to 13:05 Hrs | 1:35 | Gonibasappa AE 9480811280
| - | - | - | 0 | 0:00 | - | 30)66/11KV Vijay Nagar MUSS F4 Feeder one loop kept open for Tree trimming work. Affected Areas:N6:Kaveri Pura,Kamakshi palya,vrushabhavathi nagar and surrounding areas.(Changeover not arranged),confirmed by Siddaraju AE-9449870177 | 11:30 Hrs to 13:05 Hrs | 1:35 | Siddaraju AE-9449870177
| - | - | - | 0 | 0:00 | - | 31)66/11KV HAL MUSS F6 Feeder 11KV Maintenance work. Affected Areas:E6:Jheevan Bhima Nagar road,Jheevan Bheema police station,LIC Colony,Airport road,N.R.Clony,Sudhamanagar Slum,blind School. and surrounding areas.(Changeover not arranged),confirmed by Kusuma AE-9449874208 | 11:30 Hrs to 14:45 Hrs | 3:15 | Kusuma AE-9449874208
| - | - | - | 0 | 0:00 | - | 32)66/11KV Velankini MUSS F4 & F14 Feeders GOS kept open for LT AB cable work . Affected Areas:S8:G B Palya, Lakshmi layout , Ragavendra Layout , New MICO Layout, Vajpeyee Nagar & Hosur Main Road and surrounding areas.(Changeover not arranged),confirmed by Mahadev AE 9449840470 | 11:30 Hrs to 17:00 Hrs | 5:30 | Mahadev AE 9449840470
| - | - | - | 0 | 0:00 | - | 33)66/11KV ITI MUSS F10 Feeder 250KVA Transformer open for tree trimming work. Affected Areas:E11:Ramamurthy nagar,,Muninajappa layout,BDA layout and surrounding areas.(Changeover not arranged),confirmed by Indira JE 9449874263 | 11:45 Hrs to 14:30 Hrs | 2:45 | Indira JE 9449874263
| - | - | - | 0 | 0:00 | - | 34)66/11KV Nelmanagala MUSS F15 Feeder HT UG cable work. Affected Areas:NM1:Huskur, Railway gollahalli, Budihal and surrounding areas.(Changeover not arranged),confirmed by AE deepak 8277892552 | 11:30 Hrs to 14:00 Hrs | 2:30 | Deepak AE 8277892552
| - | - | - | 0 | 0:00 | - | 35)66/11KV Gokula MUSS F10 Feeder one loop open line Maintenance work & GOS Maintenance work. Affected Areas:C3:Chamundeshwari Layout and surrounding areas.(Changeover not arranged),confirmed by Rohith AE-9449864541 | 11:45 Hrs to 13:10 Hrs | 1:25 | Rohith AE-9449864541
| - | - | - | 0 | 0:00 | - | 36)66/11KV RBI MUSS F4 Feeder 250KVA Transformer kept open for LT AB cable work. Affected Areas:S6:Doctors colony, PNB nagar, Konankunte, Soudhamini choultry and surrounding areas. (Changeover not arranged),confirmed by 'Raghu JE 9449867699 | 12:00 Hrs to 14:30 Hrs | 2:30 | Raghu JE 9449867699
| - | - | - | 0 | 0:00 | - | 37)66/11KV LR Bande MUSS F12 Feeder one loop kept open for Tree trimming work. Affected Areas:C5:Kaveeri Nagar,LR Bande and surrounding areas.(Changeover not arranged),confirmed by Chndra nayak AE 9449810251 | 11:30 Hrs to 14:00 Hrs | 2:30 | Chndra nayak AE 9449810251
| - | - | - | 0 | 0:00 | - | 38)66/11KV Puttenahalli MUSS F1 Feeder faulty. Affected Areas:C7:Kattigenahalli,Yelahanka old town and surrounding areas.(Changeover not arranged),confirmed by Govindraju AE-9449864908 | 12:10 Hrs to 12:50 Hrs | 0:40 | Govindraju AE-9449864908
| - | - | - | 0 | 0:00 | - | 39)66/11KV NRS MUSS F25 Feeder 500KVA Transformer Maintenance work. Affected Areas:C1:Prakash Nagar and surrounding areas.(Changeover not arranged),confirmed by Bharathi AE-9449864485 | 12:00 Hrs to 13:10 Hrs | 1:10 | Bharathi AE-9449864485
| - | - | - | 0 | 0:00 | - | 40)66/11KV HSR MUSS F21 Feeder one bit kept open for tree trimming work. Affected Areas:S20:Venkatapura, Teachers Colony, koramangala 1st block and surrounding areas.(Changeover not arranged),confirmed by Vijay Kumar AE-9632648465 | 12:20 Hrs to 14:00 Hrs | 1:40 | Vijay Kumar AE-9632648465
| - | - | - | 0 | 0:00 | - | 41)66/11KV Kadugodi MUSS F8 Feeder faulty. Affected Areas:E4:White Field,Nagondanahalli and surrounding areas.(Changeover not arranged),confirmed by Pritham AE 9449844639 | 12:40 Hrs to 14:00 Hrs | 1:20 | Pritham AE 9449844639
| - | - | - | 0 | 0:00 | - | 42)66/11KV Vijay Nagar MUSS F16 Feeder one loop kept open for Tree trimming work. Affected Areas:N10:Pattagarepalya,Moodalapalya and surrounding areas.(Changeover not arranged),confirmed by Prakash AE-9449870039 | 12:45 Hrs to 15:30 Hrs | 2:45 | Prakash AE-9449870039
| - | - | - | 0 | 0:00 | - | 43)66/11KV RMV MUSS F9 Feeder line clear taken for HT AB cable work. Affected Areas:C4, &C9:Bhoopasandra,Kodigehalli ,Bhadrappa layout, Balaji layout, Amco layout, Maruthinagar,Tatanagar, GMR Kalyanamantapa, Lottegollahally, Devinagar, LKR nagarand surrounding areas. (Changeover not arranged),confirmed by Kiran AE-8073094698 | 12:45 Hrs to 16:28 Hrs | 3:43 | Kiran AE-8073094698
| - | - | - | 0 | 0:00 | - | 44)66/11KV NGV MUSS F11 Feeder V/L open Tree trimming work. Affected Areas:S4:6th block, 8th block and surrounding areas.(Changeover not arranged),confirmed by Vishwanath AE 9449844716 | 13:00 Hrs to 14:30 Hrs | 1:30 | Vishwanath AE 9449844716
| - | - | - | 0 | 0:00 | - | 45)66/11KV HBR MUSS F6 Feeder VL Kept open for LT Box Replacement work . Affected Areas:E9:APJ Abdul kalam road, Govindpura nagawara main road and surrounding areas.(Changeover not arranged),confirmed by Manjunath AE 9449875079 | 14:30 Hrs to 15:50 Hrs | 1:20 | Manjunath AE 9449875079
| - | - | - | 0 | 0:00 | - | 46)66/11KV Telecom MUSS F4 Feeder line clear taken for Bank 1 testing Work. Affected Areas:W3: jjr nagar, Padarayanapura, Goripalya and surrounding areas.(Changeover not arranged),confirmed by Prasanna AE 9449840364 | 14:35 Hrs to 16:25 Hrs | 1:50 | Prasanna AE 9449840364
| - | - | - | 0 | 0:00 | - | 47)66/11KV Banasavadi MUSS F17 Feeder line clear taken for Spun pole erection work. Affected Areas:E5: A block, Janakiram layout, Lingrajpuram and surrounding areas.(Changeover not arranged),confirmed by Nagarju JE 9449844728 | 15:00 Hrs to 16:35 Hrs | 1:35 | Nagarju JE 9449844728
| - | - | - | 0 | 0:00 | - | 48)66/11KV BDA MUSS F3 & F4 Feeder Line clear taken for 250KVA Transformer erection work. Affected Areas:S12:Talaghattapura, Mount garden,police station Road,Anjanapura and surrounding areas.(Changeover not arranged),confirmed by Ravikumar AE 9449844813 | 15:00 Hrs to 16:50 Hrs | 1:50 | Ravikumar AE 9449844813
| - | - | - | 0 | 0:00 | - | 49)66/11KV Jayanagar MUSS F3 Feeder faulty. Affected Areas:S1:Someshwar nagar, Siddhapura,1st block Jayanagar and surrounding areas.(Changeover not arranged),confirmed by Vasanth AE 9449840402 | 15:20 Hrs to 16:40 Hrs | 1:20 | Vasanth AE 9449840402
| - | - | - | 0 | 0:00 | - | 50)66/11KV ITI MUSS F8 Feeder faulty. Affected Areas:E12:Ashraya layout phase 2 Mahadevpura and surrounding areas.(Changeover not arranged),confirmed by Raghu AE 9449810248 | 15:30 Hrs to 17:40 Hrs | 2:10 | Raghu AE 9449810248
| - | - | - | 0 | 0:00 | - | 51)66/11KV Brundavanahalli MUSS F6 Feeder Line clear taken for AB Cable work Affected Areas:N4:Shambhavi nagar, Peenya 2nd stage, Hegganahalli and surrounding areas.(Changeover not arranged),confirmed by Nagaraju AE9449865396 | 16:00 Hrs to 18:05 Hrs | 2:05 | Nagaraju AE9449865396
| - | - | - | 0 | 0:00 | - | 52)66/11KV BTM MUSS F3 Feeder faulty. Affected Areas:S19:Thayappa garden,Devarachikkanahalli main road, Kodichikkanahalli and surrounding areas.(Changeover not arranged),confirmed by Amith AE 9449868508 | 16:20 Hrs to 17:30 Hrs | 1:10 | Amith AE 9449868508
| - | - | - | 0 | 0:00 | - | 53)66/11KV Kadugodi MUSS F12 Feeder 250KVA Transformer Kept open for LT Line maintenance work. Affected Areas:E4: Vinayaka layout, White field main road.and surrounding areas.(Changeover not arranged),confirmed by Pritham AE 9449844639 | 16:30 Hrs to 17:30 Hrs | 1:00 | Pritham AE 9449844639
| - | - | - | 0 | 0:00 | - | 54)66/11KV St Jhon Wood MUSS F1 Feeder VL Kept open due to Tree branches fallen on LT Line. Affected Areas:S14:BTM 1st stage, Part of BTM 2nd stage and surrounding areas.(Changeover not arranged),confirmed by Ranganath JE 9449844835 | 17:00 Hrs to 18:10 Hrs | 1:10 | Ranganath JE 9449844835
| - | - | - | 0 | 0:00 | - | 55)66/11KV HSR MUSS F10 Feeder OD Kept open for AB Cable work. Affected Areas:S20:Mangammanapalya, Muneshwara nagar, ITI Layout and surrounding areas.(Changeover not arranged),confirmed by Manjunath AE 8277889660 | 17:10 Hrs to 18:30 Hrs | 1:20 | Manjunath AE 8277889660
| - | - | - | 0 | 0:00 | - | 56)66/11KV Kadubeesanahalli MUSS F13 Feeder faulty. Affected Areas:S7: Veerappa reddy layout,Part of Maruthi nagar, Munnekolala and surrounding areas.(Changeover not arranged),confirmed by Rajashekar AE 9449868149 | 17:00 Hrs to 18:10 Hrs | 1:10 | Rajashekar AE 9449868149
| - | - | - | 0 | 0:00 | - | 57)66/11KV K&C Vally MUSS F8 Feeder HT Jump cut. Affected Areas:S17:Bandappa colony, yamalur, marathahalli and surrounding areas.(Changeover not arranged),confirmed by Gangadhar JE-9449844715 | 17:20 Hrs to 18:00 Hrs | 0:40 | Gangadhar JE-9449844715
| - | - | - | 0 | 0:00 | - | 58)66/11KV Sir MV MUSS F11 Feeder VL Kept open for Pole erection work. Affected Areas:K4:Ullal Upanagar Main road,Muddinapalya main road, Anjana nagar and surrounding areas.(Changeover not arranged),confirmed by Jagadeesh JE 9449870483 | 17:35 Hrs to 18:30 Hrs | 0:55 | Jagadeesh JE 9449870483
| - | - | - | 0 | 0:00 | - | 59)66/11KV Telecom MUSS F4 Feeder LT Fuse burnt out. Affected Areas:W3:Padarayanapura, Old Guddadahalli,Goripalya and surrounding areas.(Changeover not arranged),confirmed by Prasanna AE 9449840364 | 18:30 Hrs to 19:15 Hrs | 0:45 | Prasanna AE 9449840364
| - | - | - | 0 | 0:00 | - | 60)66/11KV Nelmanagala MUSS F9 Feeder Line clear taken due to HT Jump cut. Affected Areas:NM1:Sondekoppa, dasanapura hobli, Nelamangala and surrounding areas.(Changeover not arranged),confirmed by Hemanth AE 8277892553 | 19:00 Hrs to 20:05 Hrs | 1:05 | Hemanth AE 8277892553
| - | - | - | 0 | 0:00 | - | 61)66/11KV HAL MUSS F17 Feeder Line clear taken due to HT Jump cut. Affected Areas:S17:Basavanagar,Vinayaka nagar, HAL.and surrounding areas.(Changeover not arranged),confirmed by Aaravind Nayak JE 9449877000 | 19:30 Hrs to 20:30 Hrs | 1:00 | Aaravind Nayak JE 9449877000
| - | - | - | 0 | 0:00 | - | 62)66/11KV Elita MUSS F5 Feeder line clear taken due to tree branches fallen on LT Line. Affected Areas:S6: KR Layout, JP nagar 6th phase Puttenahalli and surrounding areas.(Changeover not arranged),confirmed by Raghu JE 9449844719 | 19:50 Hrs to 20:30 Hrs | 0:40 | Raghu JE 9449844719
| - | - | - | 0 | 0:00 | - | 63)66/11KV BSK MUSS F10 Feeder GOS Kept open for LT Wire cut. Affected Areas:S9:Monotype, Kaveri nagar, BSK 2nd stage and surrounding areas.(Changeover not arranged),confirmed by Rudrsh AE 9449844718 | 20:00 Hrs to 21:15 Hrs | 1:15 | Rudrsh AE 9449844718
[7 empty] | 64)66/11KV Sahakara nagar MUSS F9 Feeder 250KVA Transformer faulty . Affected Areas:C9:Sir MV Layout, Thindlu, and surrounding areas.(Changeover not arranged),confirmed by Gangadhar JE 9449865383 | 21:00 Hrs to 21:45 Hrs | 0:45 | Gangadhar JE 9449865383
| - | - | - | 0 | 0:00 | - | 65)66/11KV Banaswadi MUSS F17 Feeder 250KVA Transformer fuse burnt out. Affetced Areas: E5: St Thomas road, church street , BDA layout, Lingarajapuram and surrounding areas.(Changeover not arranged),confirmed by Mahadevappa AE 9449874970 | 23:15 Hrs to 00:15(10-06-2020) | 1:00 | Mahadevappa AE 9449874970
TOTAL | 0 |  |  |  | 0 |  | 65 |  | 1900-01-05 01:33
Formulas:
Duration (in Hrs) = SUM(H6:[Duration (in Hrs), row above])
Duration (in Hrs) = SUM(L6:[Duration (in Hrs), row above])

## Load Restriction
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Load Restriction Details (09-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By
| - | 0 | 0:00 | -
TOTAL | 0 |  | 0
Formulas:
Duration (in Hrs) = SUM([Duration (in Hrs), row above]:[Duration (in Hrs), row above])

## Accidents
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Accidents
BMAZ |  |  |  | BRAZ |  |  |  | CTAZ |  |  |  | Total
Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental
Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal
- | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## AE TO MD E-Mail Complaints
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
AE to MD and TA to MD E-mail pending complaints
Sl.No | Circle | Date | Issue | Docket No. | Time as per KERC | Tentative Date | Remarks
1 | SOUTH | 2020-05-26 | Frequent power cut | NS10827391 | 7 days | Not confirmed | mail recieved form AEE+J3:J11 As the above said your Complaint Docket number NS19539729 about frequent power supply in Duo heights Layot, due to heavy Rain & Wind there will be frequent Main supply failue from 220 kva station somanahalli interruption was occurred, and after power supply was normalised. For any power supply issues please contact our AEE 9449844670, & AE-9449840472same as forwarded to consumer awaiting for reply .
2 | SOUTH | 2020-05-26 | Frequent power cut | NS20913895 | 7 days | Not confirmed | Informed to AEE Sri.Jagadish.M.H 8277893186 and awaiting for reply
3 | SOUTH | 2020-05-28 | Excess bill | DS16532677 | 7 days | Not confirmed | informed to Ravindra.S.G AAO 8660627631and awaiting for reply
4 | SOUTH | 2020-05-28 | Tree Trimming | ES05966247 | 7 days | Not confirmed | informed to AEE Sri Ramaih S T 9449844665 told that he will discuss with AE and issue wil be attended by today
5 | EAST | 2020-05-31 | Serious Power Outages | NE09830039 | 7 days | Not confirmed | Informed to Kumar Nayak AEE 9449877171 and awaiting for reply
6 | WEST | 2020-06-01 | Frequent Power Cut and Fluctuations | NW07331189 | 7 days | Not confirmed | Informed to Eshwarappa AEE 9449844894 and awaiting for reply
7 | BRC | 2020-06-01 | Frequent Power Cut | NHK1880397 | 7 days | Not confirmed | Informed to Anil Kumar A.V AEE 9448279084 and awaiting for reply
8 | NORTH | 2020-06-01 | Tree trimming. | EN5443772 | 7 days | Not confirmed | Informed to Parashuram AEE 9449844655 and awaiting for reply
9 | SOUTH | 2020-06-03 | Uncleared debris and Deep trench with HT cables hanging dangerously after replacing switch box | NS1652858 | 7 days | Not confirmed | mail sent to AEE awaiting for reply

## BMAZ
Status of Pending Complaints Beyond Time Limit
BMAZ ZONE
Category | Category of Complaints | Sub Category | Duration | Pending Complaints Beyond Time Limit
|  |  |  | BMAZ SOUTH |  | BMAZ NORTH |  | Total
|  |  | Urban | South | West | East | North
A | FAILURE OF POWER SUPPLY | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | 12 | 21 | 4 | 9 | 46
|  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs | 0 | 0 | 0 | 0 | 0
|  | Line breakdown (pole broken) | 10 hrs | 0 | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 0 | 0 | 0 | 0 | 0
|  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 0 | 0 | 0 | 0 | 0
|  | Opening of neutral (High Voltage) | 1 hr | 5 | 0 | 5 | 4 | 14
C | METER COMPLAINTS | Inspect and check correctness | 7 days | 64 | 7 | 6 | 1 | 78 |  |  | cal
|  | Replaced slow, creeping or stuck meters | 10 days | 2 | 0 | 0 | 0 | 2
|  | Replaced burnt meters if cause not attributable to consumer | 7 days | 2 | 0 | 2 | 0 | 4
|  | Replaced burnt meters in all other cases | 24 hrs | 4 | 0 | 0 | 1 | 5
D | BILLING ISSUES | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 62 | 22 | 71 | 16 | 171
|  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 14 | 8 | 4 | 5 | 31
|  | Reconnection of supply following disconnection | On the same day | 3 | 1 | 0 | 3 | 7
E | SAFETY ISSUES | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 56 | 19 | 52 | 55 | 182
|  | Replacement of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 19 | 7 | 9 | 10 | 45 |  | c
|  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 7 | 1 | 8 | 4 | 20
|  | Tree trimming | 7 days | 59 | 59 | 46 | 31 | 195
F | Transformer FAILURE COMPLAINTS | Water Supply | 24 hrs | 0 | 0 | 0 | 0 | 0
|  | Domestic |  | 0 | 0 | 0 | 0 | 0
|  | Industry |  | 0 | 0 | 0 | 0 | 0
|  | Mixed load |  | 0 | 0 | 0 | 0 | 0
|  | Irrigation Pumpset(IP Set) |  | 0 | 0 | 0 | 0 | 0
G | THEFT | Theft | 1 Month | 10 | 7 | 26 | 16 | 59
|  | Hooking Under Nirantara Jyothi Yojane | 15 days | 2 | 0 | 2 | 0 | 4
H | ALLEGATIONS ON STAFF | Allegations on staff | 1 Month | 6 | 6 | 11 | 1 | 24
I | NEW CONNECTION/ ADDITIONAL LOAD | Release of supply where service is feasible from existing network | 1 month | 0 | 0 | 0 | 1 | 1
|  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 0 | 0 | 0 | 0 | 0
|  | IP sets | 30 days | 0 | 0 | 0 | 0 | 0
J | PHASE CONVERSION | Conversion of LT single phase to LT 3 phase | 30 days | 0 | 0 | 0 | 0 | 0
|  | Conversion from LT to HT and vice-versa | 30 days | 0 | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 31 | 4 | 13 | 1 | 49
|  | Change of category (Wrong Application Tariff) | 7 days | 0 | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES | Refund of deposits | 60 days | 0 | 0 | 0 | 0 | 0
|  | Issue of certificates | 1 day | 2 | 1 | 1 | 0 | 4
M | ADDITIONAL TC/ENHANCEMENT | Additional TC | 1 Month | 1 | 0 | 0 | 0 | 1
|  | TC Enhancement | 15 days | 0 | 0 | 0 | 0 | 0 | 181
N | GENERAL | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 55 | 6 | 16 | 9 | 86 | 176
Grand Total |  |  |  | 416 | 169 | 276 | 167 | 1028

## BRAZ
Status of Pending Complaints Beyond Time Limit
BRAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | BRC | Ramanagar | Kolar | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transeformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 1 | 0 | 1
|  |  | Replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 1 | 0 | 1
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 2 | 0 | 1 | 3
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 0 | 1 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 9 | 16 | 13 | 38
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 9 | 3 | 7 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 4 | 1 | 1 | 6
|  |  | Tree trimming | 7 days | 7 days | 5 | 6 | 3 | 14
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 7 | 33 | 8 | 48
|  |  | Hooking Under Nirantara Jyothi Yojane | 15 days | 15 days | 1 | 4 | 2 | 7
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 0 | 4 | 2 | 6
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 1 | 1 |  | `
M | ADDitIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 2 | 2 | 3 | 7
Grand Total | [5 empty] | 39 | 71 | 42 | 152
0
1317

## CTAZ
Status of Pending Complaints Beyond Time Limit
CTAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | Tumkur | Davangere | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 1 | 1
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0
|  |  | replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 0 | 0
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 0 | 0
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 21 | 15 | 36
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 11 | 10 | 21
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 8 | 5 | 13
|  |  | Tree trimming | 7 days | 7 days | 2 | 1 | 3
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 25 | 8 | 33
|  |  | Hooking Under Nirantara Jyoti Yojane | 15 days | 15 days | 7 | 3 | 10
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 3 | 1 | 4
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 9 | 7 | 16
Grand Total | [5 empty] | 86 | 51 | 137

## Draft summary New
Division/ Sub Division Wise Complaints of BMAZ ( 09-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BMAZ SOUTH | South | 2541 | Jayanagar | 877 | S1 | 353
[5 empty] | S2 | 72
[5 empty] | S5 | 78
[5 empty] | S6 | 122
[5 empty] | S9 | 96
[5 empty] | S14 | 70
[5 empty] | S15 | 29
[5 empty] | S18 | 57
|  |  | Kormangala | 431 | S3 | 77
[5 empty] | S4 | 131
[5 empty] | S7 | 165
[5 empty] | S16 | 58
|  |  | HSR | 1233 | S8 | 278
[5 empty] | S10 | 85
[5 empty] | S11 | 141
[5 empty] | S12 | 112
[5 empty] | S13 | 153
[5 empty] | S17 | 181
[5 empty] | S19 | 74
[5 empty] | S20 | 209
| West | 1037 | Rajajajinagar | 488 | N1 | 33
[5 empty] | N2 | 138
[5 empty] | N3 | 88
[5 empty] | N6 | 84
[5 empty] | N8 | 74
[5 empty] | N10 | 71
|  |  | R.R. Nagar | 245 | W1 | 35
[5 empty] | W2 | 78
[5 empty] | W6 | 56
[5 empty] | W8 | 35
[5 empty] | W7 | 41
|  |  | Kengeri | 304 | K1 | 170
[5 empty] | K2 | 38
[5 empty] | K3 | 39
[5 empty] | K4 | 57
Total |  | 3578 |  | 3578 |  | 3578
BMAZ NORTH | East | 1861 | Indiranagar | 357 | E3 | 38
[5 empty] | E6 | 121
[5 empty] | E10 | 55
[5 empty] | E11 | 143
|  |  | Shivajinagar | 867 | E1 | 100
[5 empty] | E2 | 28
[5 empty] | E5 | 229
[5 empty] | E8 | 300
[5 empty] | E9 | 210
|  |  | Whitefield | 422 | E4 | 162
[5 empty] | E7 | 106
[5 empty] | E12 | 154
|  |  | Vidhanasoudha | 215 | W3 | 175
[5 empty] | W4 | 23
[5 empty] | W5 | 17
| North | 1334 | Jalahalli | 419 | C3 | 39
[5 empty] | C9 | 285
[5 empty] | N9 | 95
|  |  | Peenya | 317 | N4 | 148
[5 empty] | N5 | 67
[5 empty] | N7 | 102
|  |  | Malleswaram | 174 | C1 | 44
[5 empty] | C2 | 74
[5 empty] | C6 | 56
|  |  | Hebbal | 424 | C4 | 101
[5 empty] | C5 | 91
[5 empty] | C7 | 171
[5 empty] | C8 | 61
Total |  | 3195 |  | 3195 |  | 3195
Division/ Sub Division Wise Complaints of BRAZ ( 09-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BRAZ | BRC | 623 | Nelamanagala | 273 | DB1 | 32
[5 empty] | DB2 | 42
[5 empty] | NM1 | 185
[5 empty] | DPT | 14
|  |  | Hosakote | 350 | DH1 | 78
[5 empty] | VD1 | 24
[5 empty] | HK1 | 170
[5 empty] | AV1 | 71
[5 empty] | NG1 | 7
| Ramanagar Circle | 391 | Ramanagar | 53 | BD1 | 22
[5 empty] | CP1 | 4
[5 empty] | CP2 | 0
[5 empty] | BE1 | 0
[5 empty] | RM1 | 19
[5 empty] | RM2 | 8
|  |  | Magadi | 98 | MA1 | 7
[5 empty] | KD1 | 14
[5 empty] | TV1 | 77
|  |  | Kanakapura | 9 | KP1 | 3
[5 empty] | KP2 | 2
[5 empty] | HA1 | 1
[5 empty] | SA1 | 3
|  |  | Chandapura | 231 | AN1 | 20
[5 empty] | JN1 | 35
[5 empty] | CH1 | 76
[5 empty] | AT1 | 58
[5 empty] | VE1 | 42
| Kolar Circle | 151 | Kolar | 43 | KL1 | 24
[5 empty] | KL2 | 7
[5 empty] | SP1 | 12
|  |  | Chikkaballapura | 22 | BP1 | 5
[5 empty] | CB1 | 6
[5 empty] | CB2 | 1
[5 empty] | GB1 | 10
[5 empty] | GD1 | 0
|  |  | KGF | 72 | BG1 | 6
[5 empty] | KG1 | 22
[5 empty] | ML1 | 29
[5 empty] | MB1 | 13
[5 empty] | BM1 | 2
|  |  | Chinthamani | 14 | CM1 | 6
[5 empty] | CM2 | 5
[5 empty] | SG1 | 2
[5 empty] | SG2 | 1
Total |  | 1165 |  | 1165 |  | 1165
Division/ Sub Division Wise Complaints of CTAZ ( 09-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
CTAZ | TUMKUR | 272 | TUMKUR | 111 | TK1 | 31
[5 empty] | TK2 | 12
[5 empty] | TK3 | 16
[5 empty] | TK4 | 12
[5 empty] | KYT | 4
[5 empty] | GU1 | 19
[5 empty] | NT1 | 17
|  |  | KUNIGAL | 37 | KU1 | 21
[5 empty] | HLD | 3
[5 empty] | YD1 | 13
|  |  | TIPTUR | 49 | TP1 | 18
[5 empty] | TU1 | 23
[5 empty] | CN1 | 8
|  |  | MADHUGIRI | 75 | MG1 | 11
[5 empty] | SR1 | 8
[5 empty] | SR2 | 21
[5 empty] | KR1 | 21
[5 empty] | PG1 | 14
[5 empty] | KH1 | 0
| DAVANGERE | 217 | DAVANGERE | 138 | DV1 | 97
[5 empty] | DV2 | 7
[5 empty] | DV3 | 5
[5 empty] | AG1 | 4
[5 empty] | JL1 | 13
[5 empty] | CG1 | 8
[5 empty] | SB1 | 4
|  |  | HARIHARA | 14 | HR1 | 11
[5 empty] | NY1 | 2
[5 empty] | HN1 | 0
[5 empty] | TL1 | 0
[5 empty] | HH1 | 1
|  |  | CHITRADURGA | 35 | CD1 | 15
[5 empty] | CD2 | 11
[5 empty] | HL1 | 5
[5 empty] | SRP | 3
[5 empty] | HD1 | 1
|  |  | HIRIYURU | 30 | HY1 | 13
[5 empty] | CK1 | 13
[5 empty] | TLK | 1
[5 empty] | MK1 | 3
Total |  | 489 |  | 489 |  | 489
Total | [5 empty] | 8427

## Beyond Transformer Complaints
Beyond Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL

## Pending Transformer Complains
Pending Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL