## Note
Date : 15-06-2020 Dear Sir/Madam, Please find the attached Status of Complaints Received & Pending details as on 14-06-2020
| a) | Page 1 | Complaints Status of Zones
| b) | Page 2 to 7 | Major Interruptions and Load Restriction Details
| c) | Page 8 | Accidents
| d) | Page 9 | Accidents and AE to MD and TA to MD E-Mail complaint status
| e) | Page 10 to 18 | Status of Pending Complaints Beyond Time Limit
| f) | Page 19 to 21 | Circle/Division/Sub Division Wise Complaints Details
| g) | Page 22 | Status of Pending Transformer Complaints Beyond Time Limit
| h) | Page 23 | Status of Pending Transformer Complaints
With Warm Regards
GM (CR)
94498 44778
BESCOM Helpline

## Abstract
Abstract Status of Complaints
Opening Balance | 3091
Complaints received on 14-06-2020 | 10686
Total | 13777
Cumulative Pending Complaints | 3280
Pending Complaints beyond time limit | 1555

## 14-06-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Status of Complaints as on 14-06-2020 (00:00Hrs to 23:59Hrs) at 08:00am on 15-06-2020
| Category | Category of Complaints | ZONE | [14 empty] | TOTAL
|  |  | BMAZ |  |  |  |  | BRAZ |  |  |  |  | CTAZ
|  |  | OB | New Complaints on 14-06-2020 | Total | Disposed | Pending | OB | New Complaints on 14-06-2020 | Total | Disposed | Pending | OB | New Complaints on 14-06-2020 | Total | Disposed | Pending | OB | New Complaints on 14-06-2020 | Total | Disposed | Pending
| A | FAILURE OF POWER SUPPLY | 44 | 7842 | 7886 | 7819 | 67 | 28 | 1928 | 1956 | 1869 | 87 | 15 | 451 | 466 | 458 | 8 | 87 | 10221 | 10308 | 10146 | 162
| B | VOLTAGE COMPLAINTS | 60 | 61 | 121 | 45 | 76 | 5 | 24 | 29 | 20 | 9 | 0 | 0 | 0 | 0 | 0 | 65 | 85 | 150 | 65 | 85
| C | METER COMPLAINTS | 239 | 31 | 270 | 35 | 235 | 8 | 1 | 9 | 0 | 9 | 4 | 1 | 5 | 0 | 5 | 251 | 33 | 284 | 35 | 249
| D | BILLING ISSUES | 937 | 180 | 1117 | 43 | 1074 | 56 | 24 | 80 | 0 | 80 | 13 | 6 | 19 | 0 | 19 | 1006 | 210 | 1216 | 43 | 1173
| E | SAFETY ISSUES | 799 | 78 | 877 | 46 | 831 | 102 | 8 | 110 | 6 | 104 | 91 | 3 | 94 | 6 | 88 | 992 | 89 | 1081 | 58 | 1023
0 | F | TRANSFORMER FAILURE COMPLAINTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 6 | 1 | 0 | 7 | 7 | 6 | 1
0 | G | THEFT | 73 | 0 | 73 | 0 | 73 | 70 | 0 | 70 | 0 | 70 | 53 | 3 | 56 | 0 | 56 | 196 | 3 | 199 | 0 | 199
| H | ALLEGATIONS ON STAFF | 30 | 0 | 30 | 0 | 30 | 7 | 0 | 7 | 0 | 7 | 6 | 0 | 6 | 0 | 6 | 43 | 0 | 43 | 0 | 43
| I | NEW CONNECTION/ ADDITIONAL LOAD | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| J | PHASE CONVERSION | 4 | 1 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 5 | 0 | 5
| K | TRANSFER OF OWNERSHIP AND CONVERSION | 71 | 0 | 71 | 21 | 50 | 4 | 1 | 5 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 75 | 1 | 76 | 22 | 54
| L | REFUND/ ISSUE OF CERTIFICATES | 37 | 1 | 38 | 9 | 29 | 4 | 0 | 4 | 0 | 4 | 1 | 0 | 1 | 0 | 1 | 42 | 1 | 43 | 9 | 34
| M | ADDITIONAL TC/ ENHANCEMENT | 2 | 0 | 2 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 | 0 | 3
| N | GENERAL | 289 | 28 | 317 | 106 | 211 | 18 | 6 | 24 | 6 | 18 | 18 | 1 | 19 | 1 | 18 | 325 | 35 | 360 | 113 | 247
| Grand Total |  | 2587 | 8222 | 10809 | 8124 | 2685 | 303 | 1992 | 2295 | 1902 | 393 | 201 | 472 | 673 | 471 | 202 | 3091 | 10686 | 13777 | 10497 | 3280

## KPTCL
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
KPTCL Major Interruptions (14-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| - | - | 0:00 | - | 1)66/11KV HBR MUSS Incomming failure due to DPR Tripped. Affected Areas:E5, E8 & E9:Hennur Main Road, Lingarajapuram, Kariyanapalya, Janakiram Layout, Hegde nagar, K.Narayan pura, N.N.Halli, Balaji layout, Railway mens layout, BDS layout, Central Excise and surrounding areas.(Changeover not arranged),confirmed by Doddanna MUSS JE 25437386/9480830133. | 10:20 Hrs to 10:44 Hrs | 0:24 | Doddanna MUSS JE 25437386 9480830133
| - | - | 0:00 | - | 2)66/11KV Chandapura MUSS Incoming supply failure. Affected Areas:CH1& VE1:Neralur village, Reliable lavenduela, Old Chandapura Bommasandra grama, Heelalige and surrounding areas.(Changeover not arranged),confirmed by Suresh AE 9449872371 | 13:16 Hrs to 14:00 Hrs | 0:44 | Suresh AE 9449872371
| - | - | 0:00 | - | 3)66/11KV NGV MUSS Incoming supply failure. Affected Areas:S2 & S4:Shanthi nagar, Koramangala,6th Block, 8th block, Adugodi and surrounding areas.(Changeover not arranged),confirmed by Abhi JE MUSS 9448382033 | 18:20 Hrs to 18:40 Hrs | 0:20 | Abhi JE MUSS 9448382033
| - | - | 0:00 | - | 4)66/11KV Turuvekere MUSS Incoming supply failure due to Turuvekere to 220KV KB Cross Line Jump cut. Affected Areas:TU1 & TP1: Tandaga, Dabbegatta , Near police station, Mayasandra. Dandina shivara,Tandga, Nonavinakere and surrounding areas.(Changeover not arranged),confirmed by Srinivas AE MUSS 9448494065 | 19:30 Hrs to 23:00 Hrs | 3:30 | Srinivas AE MUSS 9448494065
TOTAL | Nil |  | 0:00 |  | 4 |  | 4:58

## BESCOM
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
BESCOM Major Interruptions Details (14-06-2020)
BESCOM | Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| - | - | 0:00 | - | 1)66/11KV HSR MUSS F17 Feeder HT Jump cut. Affected Areas:S20:HSR 2nd Sector and surrounding areas.(Changeover not arranged),confirmed by Balaji JE 9449844831. | 00:40 Hrs to 01:22 Hrs | 0:42 | Balaji JE 9449844831
| - | - | 0:00 | - | 2)66/11KV ITI MUSS F10 Feeder 250 KVA no-184 Hoysala nagar 14th cross Transformer failure. Affected Areas:E11:Hoysalanagar 8th main Ramamurthy nagar and surrounding areas.(Changeover not arranged),confirmed by Manjula AE 9449874210. | 01:20 Hrs to 10:10 Hrs | 8:50 | Manjula AE 9449874210
| - | - | 0:00 | - | 3)66/11KV NGV MUSS F11 Feeder tripped due to tree fallen on line. Affected Areas:S4:Rajendra nagar, L R Nagar, Ambedkarnagar, Koramangala village, 8th blk and surrounding areas.(Changeover not arranged),confirmed by Mahesh JE 9449844716 | 06:15 Hrs to 07:15 Hrs | 1:00 | Mahesh JE 9449844716
| - | - | 0:00 | - | 4)66/11KV Divya Sri MUSS F5 Feeder Faulty. Affected Areas:S7:AECS Layout, Kundalahalli and surrounding areas.(Changeover not arranged),confirmed by Sathish JE 9449844849 | 07:04 Hrs to 07:30 Hrs | 0:26 | Sathish JE 9449844849
| - | - | 0:00 | - | 5)66/11KV Remco MUSS F4 Feeder tripped. Affected Areas:W6:Bapuji Nagar, Byatarayanapura and surrounding areas.(Changeover not arranged),confirmed by Arun JE 9449844741 | 07:10 Hrs to 07:50 Hrs | 0:40 | Arun JE 9449844741
| - | - | 0:00 | - | 6)66/11KV HSR MUSS F21 Feeder tripped Affected Areas:S20:Venkatapura, Jakkasandra, Teachers Colony, Koramangala 1st Block and surrounding areas.(Changeover not arranged),confirmed by Balaji JE 9449844831 | 07:55 Hrs to 08:15 Hrs | 0:20 | Balaji JE 9449844831
| - | - | 0:00 | - | 7)66/11KV Banasawadi MUSS F4 Feeder Faulty. Affected Areas:E8:Horamavu, Hoyasalnagar, Brindavan layout, Jayanthi nagar, NRI layout, Andra colony and surrounding areas.(Changeover not arranged),confirmed by Usman JE 9449869326 | 07:50 Hrs to 10:15 Hrs | 2:25 | Usman JE 9449869326
| - | - | 0:00 | - | 8)66/11KV HMT MUSS F7 Feeder tripped due to pole damage. Affected Areas:K2:Andrahalli, Thigalara Palya and surrounding areas.(Changeover not arranged),confirmed by Rangaswamy JE 9449870347 | 08:30 Hrs to 09:05 Hrs | 0:35 | Rangaswamy JE 9449870347
| - | - | 0:00 | - | 9)66/11KV K & C Valley MUSS F8 Feeder HT Jump cut. Affected Areas:S17:Yemlur and surrounding areas.(Changeover not arranged),confirmed by Gangadar JE 9449844715 | 08:30 Hrs to 09:12 Hrs | 0:42 | Gangadar JE 9449844715
| - | - | 0:00 | - | 10')66/11KV Nagpura MUSS F1 Feeder HT Jump cut. Affected Areas:N3:Manjunath Nagar, Mahaganapathi Nagar, Bhovi colony and surrounding areas.(Changeover not arranged),confirmed by Shankar Raj AE 9449870128 | 08:42 Hrs to 09:45 Hrs | 1:03 | Shankar Raj AE 9449870128
| - | - | 0:00 | - | 11)66/11KV ITI MUSS F5 Feeder Faulty due to HT Jump cut. Affected Areas:E10:Uday nagar, A. Narayanapura, MEG lyt, Konappa reddy layout, CWD road,and surrounding areas.(Changeover not arranged),confirmed by Basavaraju MUSS JE 25610447 9448365138 | 10:30 Hrs to 11:10 Hrs | 0:40 | Basavaraju MUSS JE 25610447 9448365138
| - | - | 0:00 | - | 12)66/11KV ITI MUSS F10 Feeder 250KVA Transformer failure. Affected Areas:E11:Hoysalanagar 8th main Ramamurthy nagar and surrounding areas.(Changeover not arranged),confirmed by Usman JE 9449874328 | 10:30 Hrs to 17:50 Hrs | 7:20 | Usman JE 9449874328
| - | - | 0:00 | - | 13)66/11KV ITI MUSS F9 F15 Feeder line clear taken due to HT cable Faulty. Affected Areas:E12:Mahadevapura R.H.B Colony,Chinnappa Layout, Doddanekundi, Vnekatesh Layout, Mahadeva Pura, Ring roadand surrounding areas.(Changeover not arranged),confirmed by Madaiah JE 9449874715 | 10:30 Hrs to 11:30 Hrs | 1:00 | Madaiah JE 9449874715
| - | - | 0:00 | - | 14)66/11KV NRS MUSS F30 Feeder HT line maintenance work. Affected Areas:W3:Arfath nagar old guddadahalli kp agrahara bhuvaneshwari nagar magadi main road and surrounding areas.(Changeover not arranged),confirmed by Gangaraju JE 9449844736 | 11:00 Hrs to 12:20 Hrs | 1:20 | Gangaraju JE 9449844736
| - | - | 0:00 | - | 15)66/11KV Rajanukunte MUSS F8 Feeder Faulty. Affected Areas:C7:Itgalpura, Arkeree, Byrapura, Budamanahalli, Dibbur, Kakolu, Siganayakanahalli, Rajankunte and surrounding areas. (Changeover not arranged),confirmed by Venkatesh JE 9449864909 | 11:10 Hrs to 11:40 Hrs | 0:30 | Venkatesh JE 9449864909
| - | - | 0:00 | - | 16)66/11KV Jayanagar MUSS F4 Feeder HT Jump cut . Affected Areas:S1:Jayanagar 3rd Block ,Someshwara Nagar and surrounding areas.(Changeover not arranged),confirmed by Suresh JE 9449840402 | 11:15 Hrs to 12:15 Hrs | 1:00 | Suresh JE 9449840402
| - | - | 0:00 | - | 17)66/11KV Chandra Layout F4 Feeder Faulty. Affected Areas:N2:Service Road, Vijayanagar, RPC Layout, 3rd Main to 6th Main. and surrounding areas.(Changeover not arranged),confirmed by Naveen JE 9449869138 | 11:30 Hrs to 12:15 Hrs | 0:45 | Naveen JE 9449869138
| - | - | 0:00 | - | 18)66/11KV Vijayanagar MUSS F7 Feeder Faulty. Affected Areas:N6:Meenakshi nagar, Kavery nagar,swayam prabha road,Gaddi muddanna road,Kare kallu area,Kamakshipalya main road,Nanjappa floor mills area,Manivills Garden,Maruthi nagar,Sannakki bayalu,Arali mara roads and surrounding areas.(Changeover not arranged),confirmed by Yogesh JE 23486458 | 11:30 Hrs to 12:10 Hrs | 0:40 | Yogesh JE 23486458
| - | - | 0:00 | - | 19)66/11KV BMTC MUSS F12 Feeder Faulty. Affected Areas:S2:Berlie Street, Eagle street, Hosur Main Road,N-Street Shanthi nagar and surrounding areas.(Changeover not arranged),confirmed by Babu JE 9449844713 | 12:30 Hrs to 13:00 Hrs | 0:30 | Babu JE 9449844713
| - | - | 0:00 | - | 20)66/11KV HAL MUSS F17 Feeder line clear taken for pole replacement work. Affected Areas:S17:Vibhutipura Main Road Ramesh Nagar HAL Annasandrapalya and surrounding areas.(Changeover not arranged),confirmed by Prashanth AE 9449840453 | 12:30 Hrs to 14:00 Hrs | 1:30 | Prashanth AE 9449840453
| - | - | 0:00 | - | 21)66/11KV Apparel park MUSS F11 Feeder line clear taken for GOS Maintenance work. Affected Areas:DB1:Muthi,railway station,srinagar and surrounding areas.(Changeover not arranged),confirmed by Hanumanthegowda AE 9449844769 | 11:30 Hrs to 17:55 Hrs | 6:25 | Hanumanthegowda AE 9449844769
| - | - | 0:00 | - | 22)66/11KV Sarjapura MUSS F8 & F13 Feeder Faulty. Affected Areas:AT1:Bidraguppe , D Hosahalli village and surrounding areas.(Changeover not arranged),confirmed by Suresh AE 9449866797 | 12:40 Hrs to 14:45 Hrs | 2:05 | Suresh AE 9449866797
| - | - | 0:00 | - | 23)66/11KV KIDAB MUSS F7 Feeder line clear taken for tree trimming work. Affected Areas:DH1:Aradeshanahalli and surrounding areas.(Changeover not arranged),confirmed by Satish AE 9449871584 | 12:00 Hrs to 17:40 Hrs | 5:40 | Satish AE 9449871584
| - | - | 0:00 | - | 24)66/11KV Yarandahalli MUSS F3 Feeder HT Jump cut. Affected Areas:CH1:RK Town Ship, Yarandahalli and surrounding areas.(Changeover not arranged),confirmed by Prathap JE 8197828677 | 13:13 Hrs to 14:10 Hrs | 0:57 | Prathap JE 8197828677
| - | - | 0:00 | - | 25)66/11KV Hulimangala MUSS F2 Feeder Faulty. Affected Areas:JN1:podu village, hulimangala village and surrounding areas.(Changeover not arranged),confirmed by Manjunath MUSS JE 9480815795 | 13:22 Hrs to 15:24 Hrs | 2:02 | Manjunath MUSS JE 9480815795
| - | - | 0:00 | - | 26)66/11KV Banasawadi MUSS F4 Feeder VL Kept open due to tree branches fallen on LT Line. Affected Areas:E8:10th main road, NRI Layout and surrounding areas.(Changeover not arranged),confirmed by Suresh JE 9449874263 | 14:20 Hrs to 15:10 Hrs | 0:50 | Suresh JE 9449874263
| - | - | 0:00 | - | 27)66/11KV Kachamaranahalli MUSS F7 Feeder VL Tripped. Affected Areas:S7: Lakshmi Layout, Munnekolala, Gandhi nagar and surrounding areas.(Changeover not arranged),confirmed by Murali AE 9449868159 | 14:34 Hrs to 15:57 Hrs | 1:23 | Murali AE 9449868159
| - | - | 0:00 | - | 28')66/11KV Naganathpura MUSS F8 Feeder GOS Kept open for tree trimming work. Affected Areas:S8:Subash nagar, Hongasandra and surrounding areas.(Changeover not arranged),confirmed by Mahadeva AE 9449810245 | 14:15 Hrs to 15:30 Hrs | 1:15 | Mahadeva AE 9449810245
| - | - | 0:00 | - | 29)66/11KV BMTC MUSS F12 Feeder VL Faulty. Affected Areas:S2:Lakshmi rd Shanthi nagar and surrounding areas.(Changeover not arranged),confirmed by Lakshminarayan JE 9449866156 | 14:40 Hrs to 15:30 Hrs | 0:50 | Lakshminarayan JE 9449866156
| - | - | 0:00 | - | 30')66/11KV Gollahalli MUSS F10 Feeder VL kept open due to tree fallen LT Line. Affected Areas:S10:Bettadasanapura and surrounding areas.(Changeover not arranged),confirmed by Nirupalli JE 8277892509 | 14:50 Hrs to 15:30 Hrs | 0:40 | Nirupalli JE 8277892509
| - | - | 0:00 | - | 31)66/11KV Divyashree MUSS F9 Feeder 250KVA Transformer Kept open due to safety purpose. Affected Areas:S7:Saibaba layout, Green garden layout, Munekollala and surrounding areas.(Changeover not arranged),confirmed by Jayaram Reedy JE 9449868137 | 15:16 Hrs to 16:00 Hrs | 0:44 | Jayaram Reedy JE 9449868137
| - | - | 0:00 | - | 32)66/11KV Manyatha MUSS F15 Feeder Faulty. Affected Areas:C4:Kempapura, Hebbala and surrounding areas.(Changeover not arranged),confirmed by Narayan JE 9449864998 | 15:15 Hrs to 16:00 Hrs | 0:45 | Narayan JE 9449864998
| - | - | 0:00 | - | 33)66/11KV NG Halli MUSS F6 & F8 Feeder Faulty. Affected Areas:K2: Balaji nagar Thigalarapalya main road Peenya 2nd stage and surrounding areas.(Changeover not arranged),confirmed by Narayan JE 9449870347 | 15:30 Hrs to 17:10 Hrs | 1:40 | Narayan JE 9449870347
| - | - | 0:00 | - | 34')66/11KV Somahalli MUSS F4 Feeder Faulty. Affected Areas:K3:Basappa palya, Kanakapura main road, Kaggalipura and surrounding areas.(Changeover not arranged),confirmed by Anand JE 9449866749 | 16:00 Hrs to 17:15 Hrs | 1:15 | Anand JE 9449866749
| - | - | 0:00 | - | 35)66/11KV Anjanapura MUSS F10 Feeder Transformer LT Fuse burnt out. Affected Areas:S12:JP nagar 8th phase and surrounding areas.(Changeover not arranged),confirmed by Obalesh JE 9449840483 | 16:15 Hrs to 17:55 Hrs | 1:40 | Obalesh JE 9449840483
| - | - | 0:00 | - | 36)66/11KV Isro Layout MUSS F8 Feeder line clear taken due to HT Jump cut. Affected Areas:S5:Chandra nagar kumaraswamy layout, Isro layout and surrounding areas.(Changeover not arranged),confirmed by Rajesh AE9449874328 | 16:30 Hrs to 17:00 Hrs | 0:30 | Rajesh AE9449874328
| - | - | 0:00 | - | 37)66/11KV ITI MUSS F10 Feeder Last bit Faulty. Affected Areas:E11:Part of Hoysala nagar,Sir MV Nagar, Ramurthy nagar and surrounding areas.(Changeover not arranged),confirmed by Usman JE 9449874328 | 17:30 Hrs to 19:55 Hrs | 2:25 | Usman JE 9449874328
| - | - | 0:00 | - | 38)66/11KV Chandra Layout MUSS F2 & F18 Feeder Faulty. Affected Areas:N2 & N10: Anubhava Nagar,Shivananda nagar, GKW Layout Moodalapalya and surrounding areas.(Changeover not arranged),confirmed by Jagannath JE 9449869140 | 17:50 Hrs to 18:40 Hrs | 0:50 | Jagannath JE 9449869140
| - | - | 0:00 | - | 39)66/11KV Shobha City MUSS F7 Feeder 250KVA Transformer Replacement work. Affected Areas:E9:Kempegowda Layout, N-Nagenahalli, Thanisandra.and surrounding areas.(Changeover not arranged),confirmed by Rangswamy AE 9449844834 | 17:30 Hrs to 20:10 Hrs | 2:40 | Rangswamy AE 9449844834
| - | - | 0:00 | - | 40)66/11KV Kadubeesanahalli MUSS F7 Feeder line clear taken due to HT Jump cut. Affected Areas:S7: Ashwath nagar, Marathahalli and surrounding areas.(Changeover not arranged),confirmed by Vishwantah JE 9449868149 | 18:00 Hrs to 18:45 Hrs | 0:45 | Vishwantah JE 9449868149
| - | - | 0:00 | - | 41)66/11KV Naganathapura MUSS F4 Feeder RMU Faulty. Affected Areas:S13:Shiva reddy layout,Naganathapura, Hosa road and surrounding areas.(Changeover not arranged),confirmed by Madapp a AE 9449840480 | 18:00 Hrs to 23:00 Hrs | 5:00 | Madapp a AE 9449840480
| - | - | 0:00 | - | 42)66/11KV Devanagudndhi MUSS F2 & F3 Feeder Faulty. Affected Areas:HK1:Naduvathi Villege, Muthkur village, Anugondanahalli and surrounding areas.(Changeover not arranged),confirmed by Muniraju JE 9449871183 | 18:35 Hrs to 20:00 Hrs | 1:25 | Muniraju JE 9449871183
| - | - | 0:00 | - | 43)66/11KV Somahalli MUSS F4 & F8 Feeder Faulty. Affected Areas:K3: Kanakapura main road, Kaggalipurand surroundingareas.(Changeover not arranged),confirmed by Thimmarayappa JE 9449870532 | 19:00 Hrs to 20:05 Hrs | 1:05 | Thimmarayappa JE 9449870532
| - | - | 0:00 | - | 44)11KV Gollahalli MUSS F11 Feeder VL kept open due to LT Wire cut. Affected Areas:S10: Ganga block, Sri sai shakthi layout, Bettadasanapura and surrounding areas. (Changeover not arranged),confirmed by Somesh JE 9449840473 | 19:00 Hrs to 20:45 Hrs | 1:45 | Somesh JE 9449840473
| - | - | 0:00 | - | 45)66/11KV NG Halli MUSS F8 Feeder Tripped. Affected Areas:K2:Valmiki nagar, Chakra nagar main, Andrahalli and surrounding areas.(Changeover not arranged),confirmed by Narayan JE 9449870347 | 19:28 Hrs to 19:41 Hrs | 0:13 | Narayan JE 9449870347
| - | - | 0:00 | - | 46)66/11KV Vrushabhavathi MUSS F5 Feeder VL trippped. Affected Areas:W6:Nayandana halli , vinayaka layout,metro layout,pantharapalya.and surrounding areas.(Changeover not arranged),confirmed by Satish JE 9449870855 | 21:50 Hrs to 23:15 Hrs | 1:25 | Satish JE 9449870855
| - | - | 0:00 | - | 47)66/11KV Leela MUSS F1 Feeder loop cable Faulty. Affected Areas:E6:Thippasandra,geethanjali layout,Jeevanbheemanagar.and surrounding areas.(Changeover not arranged),confirmed by Devaraj JE 9449874307 | 22:05 Hrs to 23:55 Hrs | 1:50 | Devaraj JE 9449874307
| - | - | 0:00 | - | 48)66/11KV BSK MUSS F6 Feeder line clear taken due to tree fallen on line. Affected Areas:S15:Hosakerehalli , Bsk 3rd stage and surrounding areas.(Changeover not arranged),confirmed by Nandish JE 9880516254 | 22:40 Hrs to 23:40 Hrs | 1:00 | Nandish JE 9880516254
| - | - | 0:00 | - | 49)66/11KV RMV MUSS F8 Feeder faulty. Affected Areas:C2:Malleshwaram and surrounding areas.(Changeover not arranged),confirmed by Kiran JE 9449864733. | 23:00 Hrs to 02:00 Hrs | 3:00 | Kiran JE 9449864733
TOTAL | Nil |  | 0 |  | 49 |  | 1900-01-02 12:02
Formulas:
Duration (in Hrs) = SUM(F6:[Duration (in Hrs), row above])
Duration (in Hrs) = SUM(J6:[Duration (in Hrs), row above])

## Load Restriction
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Load Restriction Details (14-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By
| - | - | 0:00 | -
TOTAL | Nil |  | 0
Formulas:
Duration (in Hrs) = SUM([Duration (in Hrs), row above]:[Duration (in Hrs), row above])

## Accidents
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Accidents
BMAZ |  |  |  |  | BRAZ |  |  |  | CTAZ |  |  |  | Total
Departmental |  | Non-Departmental |  |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental
Fatal | Non- Fatal | Fatal |  | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal
- | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## AE TO MD E-Mail Complaints
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
AE to MD and TA to MD E-mail pending complaints
Sl.No | Circle | Date | Issue | Docket No. | Time as per KERC | Tentative Date | Remarks
1 | SOUTH | 2020-05-26 | Frequent power cut | NS10827391 | 7 days | Not confirmed | mail recieved form AEE+J3:J11 As the above said your Complaint Docket number NS19539729 about frequent power supply in Duo heights Layot, due to heavy Rain & Wind there will be frequent Main supply failue from 220 kva station somanahalli interruption was occurred, and after power supply was normalised. For any power supply issues please contact our AEE 9449844670, & AE-9449840472same as forwarded to consumer awaiting for reply .
2 | SOUTH | 2020-05-26 | Frequent power cut | NS20913895 | 7 days | Not confirmed | Informed to AEE Sri.Jagadish.M.H 8277893186 and awaiting for reply
3 | SOUTH | 2020-05-28 | Excess bill | DS16532677 | 7 days | Not confirmed | informed to Ravindra.S.G AAO 8660627631and awaiting for reply
4 | SOUTH | 2020-05-28 | Tree Trimming | ES05966247 | 7 days | Not confirmed | informed to AEE Sri Ramaih S T 9449844665 told that he will discuss with AE and issue wil be attended by today
5 | EAST | 2020-05-31 | Serious Power Outages | NE09830039 | 7 days | Not confirmed | Informed to Kumar Nayak AEE 9449877171 and awaiting for reply
6 | WEST | 2020-06-01 | Frequent Power Cut and Fluctuations | NW07331189 | 7 days | Not confirmed | Informed to Eshwarappa AEE 9449844894 and awaiting for reply
7 | BRC | 2020-06-01 | Frequent Power Cut | NHK1880397 | 7 days | Not confirmed | Informed to Anil Kumar A.V AEE 9448279084 and awaiting for reply
8 | NORTH | 2020-06-01 | Tree trimming. | EN5443772 | 7 days | Not confirmed | Informed to Parashuram AEE 9449844655 and awaiting for reply
9 | SOUTH | 2020-06-03 | Uncleared debris and Deep trench with HT cables hanging dangerously after replacing switch box | NS1652858 | 7 days | Not confirmed | mail sent to AEE awaiting for reply

## BMAZ
Status of Pending Complaints Beyond Time Limit
BMAZ ZONE
Category | Category of Complaints | Sub Category | Duration | Pending Complaints Beyond Time Limit
|  |  |  | BMAZ SOUTH |  | BMAZ NORTH |  | Total
|  |  | Urban | South | West | East | North
A | FAILURE OF POWER SUPPLY | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | 15 | 8 | 3 | 38 | 64
|  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs | 1 | 0 | 1 | 1 | 3
|  | Line breakdown (pole broken) | 10 hrs | 0 | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 0 | 0 | 0 | 0 | 0
|  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 0 | 0 | 0 | 0 | 0
|  | Opening of neutral (High Voltage) | 1 hr | 7 | 0 | 10 | 6 | 23
C | METER COMPLAINTS | Inspect and check correctness | 7 days | 45 | 9 | 13 | 4 | 71 |  |  | cal
|  | Replaced slow, creeping or stuck meters | 10 days | 1 | 0 | 0 | 0 | 1
|  | Replaced burnt meters if cause not attributable to consumer | 7 days | 2 | 0 | 1 | 0 | 3
|  | Replaced burnt meters in all other cases | 24 hrs | 5 | 0 | 1 | 1 | 7
D | BILLING ISSUES | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 122 | 48 | 117 | 52 | 339
|  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 18 | 25 | 21 | 6 | 70
|  | Reconnection of supply following disconnection | On the same day | 5 | 5 | 2 | 2 | 14
E | SAFETY ISSUES | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 50 | 17 | 45 | 56 | 168
|  | Replacement of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 18 | 7 | 16 | 13 | 54 |  | c
|  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 6 | 1 | 9 | 5 | 21
|  | Tree trimming | 7 days | 62 | 59 | 38 | 29 | 188
F | Transformer FAILURE COMPLAINTS | Water Supply | 24 hrs | 0 | 0 | 0 | 0 | 0
|  | Domestic |  | 0 | 0 | 0 | 0 | 0
|  | Industry |  | 0 | 0 | 0 | 0 | 0
|  | Mixed load |  | 0 | 0 | 0 | 0 | 0
|  | Irrigation Pumpset(IP Set) |  | 0 | 0 | 0 | 0 | 0
G | THEFT | Theft | 1 Month | 10 | 7 | 26 | 16 | 59
|  | Hooking Under Nirantara Jyothi Yojane | 15 days | 2 | 0 | 2 | 0 | 4
H | ALLEGATIONS ON STAFF | Allegations on staff | 1 Month | 6 | 6 | 11 | 1 | 24
I | NEW CONNECTION/ ADDITIONAL LOAD | Release of supply where service is feasible from existing network | 1 month | 0 | 0 | 0 | 1 | 1
|  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 0 | 0 | 0 | 0 | 0
|  | IP sets | 30 days | 0 | 0 | 0 | 0 | 0
J | PHASE CONVERSION | Conversion of LT single phase to LT 3 phase | 30 days | 0 | 0 | 0 | 0 | 0
|  | Conversion from LT to HT and vice-versa | 30 days | 0 | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 15 | 5 | 13 | 2 | 35
|  | Change of category (Wrong Application Tariff) | 7 days | 0 | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES | Refund of deposits | 60 days | 0 | 0 | 1 | 0 | 1
|  | Issue of certificates | 1 day | 0 | 0 | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT | Additional TC | 1 Month | 1 | 0 | 0 | 0 | 1
|  | TC Enhancement | 15 days | 0 | 0 | 0 | 0 | 0 | 181
N | GENERAL | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 43 | 10 | 17 | 13 | 83 | 176
Grand Total |  |  |  | 434 | 207 | 347 | 246 | 1234

## BRAZ
Status of Pending Complaints Beyond Time Limit
BRAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | BRC | Ramanagar | Kolar | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transeformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 1 | 0 | 1
|  |  | Replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 5 | 18 | 4 | 27
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 1 | 0 | 0 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 11 | 16 | 10 | 37
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 8 | 3 | 8 | 19
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 4 | 1 | 2 | 7
|  |  | Tree trimming | 7 days | 7 days | 7 | 4 | 3 | 14
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 9 | 33 | 8 | 50
|  |  | Hooking Under Nirantara Jyothi Yojane | 15 days | 15 days | 1 | 4 | 2 | 7
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 0 | 4 | 2 | 6
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 1 | 0 | 1
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0 | 0 |  | `
M | ADDitIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 2 | 3 | 3 | 8
Grand Total | [5 empty] | 48 | 88 | 42 | 178
0
1555

## CTAZ
Status of Pending Complaints Beyond Time Limit
CTAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | Tumkur | Davangere | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 1 | 1
|  |  | replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0
|  |  | replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 3 | 3
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 0 | 0
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 21 | 14 | 35
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 11 | 9 | 20
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 7 | 4 | 11
|  |  | Tree trimming | 7 days | 7 days | 3 | 4 | 7
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 26 | 9 | 35
|  |  | Hooking Under Nirantara Jyoti Yojane | 15 days | 15 days | 8 | 4 | 12
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 3 | 1 | 4
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 9 | 6 | 15
Grand Total | [5 empty] | 88 | 55 | 143

## Draft summary New
Division/ Sub Division Wise Complaints of BMAZ ( 14-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BMAZ SOUTH | South | 3123 | Jayanagar | 1081 | S1 | 271
[5 empty] | S2 | 131
[5 empty] | S5 | 178
[5 empty] | S6 | 59
[5 empty] | S9 | 66
[5 empty] | S14 | 206
[5 empty] | S15 | 94
[5 empty] | S18 | 76
|  |  | Kormangala | 503 | S3 | 99
[5 empty] | S4 | 187
[5 empty] | S7 | 153
[5 empty] | S16 | 64
|  |  | HSR | 1539 | S8 | 111
[5 empty] | S10 | 217
[5 empty] | S11 | 74
[5 empty] | S12 | 211
[5 empty] | S13 | 425
[5 empty] | S17 | 213
[5 empty] | S19 | 42
[5 empty] | S20 | 246
| West | 1657 | Rajajajinagar | 502 | N1 | 34
[5 empty] | N2 | 210
[5 empty] | N3 | 90
[5 empty] | N6 | 75
[5 empty] | N8 | 52
[5 empty] | N10 | 41
|  |  | R.R. Nagar | 269 | W1 | 18
[5 empty] | W2 | 89
[5 empty] | W6 | 78
[5 empty] | W8 | 39
[5 empty] | W7 | 45
|  |  | Kengeri | 886 | K1 | 222
[5 empty] | K2 | 321
[5 empty] | K3 | 288
[5 empty] | K4 | 55
Total |  | 4780 |  | 4780 |  | 4780
BMAZ NORTH | East | 2383 | Indiranagar | 985 | E3 | 12
[5 empty] | E6 | 133
[5 empty] | E10 | 68
[5 empty] | E11 | 772
|  |  | Shivajinagar | 750 | E1 | 84
[5 empty] | E2 | 43
[5 empty] | E5 | 80
[5 empty] | E8 | 271
[5 empty] | E9 | 272
|  |  | Whitefield | 504 | E4 | 183
[5 empty] | E7 | 153
[5 empty] | E12 | 168
|  |  | Vidhanasoudha | 144 | W3 | 89
[5 empty] | W4 | 27
[5 empty] | W5 | 28
| North | 1059 | Jalahalli | 171 | C3 | 32
[5 empty] | C9 | 48
[5 empty] | N9 | 91
|  |  | Peenya | 233 | N4 | 93
[5 empty] | N5 | 114
[5 empty] | N7 | 26
|  |  | Malleswaram | 191 | C1 | 28
[5 empty] | C2 | 102
[5 empty] | C6 | 61
|  |  | Hebbal | 464 | C4 | 96
[5 empty] | C5 | 74
[5 empty] | C7 | 223
[5 empty] | C8 | 71
Total |  | 3442 |  | 3442 |  | 3442
Division/ Sub Division Wise Complaints of BRAZ ( 14-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BRAZ | BRC | 929 | Nelamanagala | 474 | DB1 | 183
[5 empty] | DB2 | 51
[5 empty] | NM1 | 214
[5 empty] | DPT | 26
|  |  | Hosakote | 455 | DH1 | 116
[5 empty] | VD1 | 35
[5 empty] | HK1 | 220
[5 empty] | AV1 | 74
[5 empty] | NG1 | 10
| Ramanagar Circle | 884 | Ramanagar | 84 | BD1 | 22
[5 empty] | CP1 | 13
[5 empty] | CP2 | 10
[5 empty] | BE1 | 0
[5 empty] | RM1 | 29
[5 empty] | RM2 | 10
|  |  | Magadi | 142 | MA1 | 14
[5 empty] | KD1 | 4
[5 empty] | TV1 | 124
|  |  | Kanakapura | 67 | KP1 | 19
[5 empty] | KP2 | 6
[5 empty] | HA1 | 42
[5 empty] | SA1 | 0
|  |  | Chandapura | 591 | AN1 | 82
[5 empty] | JN1 | 173
[5 empty] | CH1 | 152
[5 empty] | AT1 | 87
[5 empty] | VE1 | 97
| Kolar Circle | 179 | Kolar | 66 | KL1 | 52
[5 empty] | KL2 | 13
[5 empty] | SP1 | 1
|  |  | Chikkaballapura | 29 | BP1 | 2
[5 empty] | CB1 | 10
[5 empty] | CB2 | 7
[5 empty] | GB1 | 10
[5 empty] | GD1 | 0
|  |  | KGF | 77 | BG1 | 5
[5 empty] | KG1 | 9
[5 empty] | ML1 | 48
[5 empty] | MB1 | 14
[5 empty] | BM1 | 1
|  |  | Chinthamani | 7 | CM1 | 5
[5 empty] | CM2 | 1
[5 empty] | SG1 | 0
[5 empty] | SG2 | 1
Total |  | 1992 |  | 1992 |  | 1992
Division/ Sub Division Wise Complaints of CTAZ ( 14-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
CTAZ | TUMKUR | 360 | TUMKUR | 79 | TK1 | 24
[5 empty] | TK2 | 10
[5 empty] | TK3 | 4
[5 empty] | TK4 | 8
[5 empty] | KYT | 8
[5 empty] | GU1 | 19
[5 empty] | NT1 | 6
|  |  | KUNIGAL | 40 | KU1 | 29
[5 empty] | HLD | 6
[5 empty] | YD1 | 5
|  |  | TIPTUR | 183 | TP1 | 48
[5 empty] | TU1 | 132
[5 empty] | CN1 | 3
|  |  | MADHUGIRI | 58 | MG1 | 8
[5 empty] | SR1 | 8
[5 empty] | SR2 | 17
[5 empty] | KR1 | 12
[5 empty] | PG1 | 13
[5 empty] | KH1 | 0
| DAVANGERE | 112 | DAVANGERE | 50 | DV1 | 27
[5 empty] | DV2 | 3
[5 empty] | DV3 | 7
[5 empty] | AG1 | 4
[5 empty] | JL1 | 3
[5 empty] | CG1 | 4
[5 empty] | SB1 | 2
|  |  | HARIHARA | 22 | HR1 | 13
[5 empty] | NY1 | 0
[5 empty] | HN1 | 6
[5 empty] | TL1 | 0
[5 empty] | HH1 | 3
|  |  | CHITRADURGA | 25 | CD1 | 10
[5 empty] | CD2 | 6
[5 empty] | HL1 | 6
[5 empty] | SRP | 0
[5 empty] | HD1 | 3
|  |  | HIRIYURU | 15 | HY1 | 9
[5 empty] | CK1 | 3
[5 empty] | TLK | 2
[5 empty] | MK1 | 1
Total |  | 472 |  | 472 |  | 472
Total | [5 empty] | 10686

## Beyond Transformer Complaints
Beyond Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL

## Pending Transformer Complains
Pending Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
1 | Vidhyadar | FCD1850976 | 2020-06-14 | 17:20 | CTAZ | DAVANAGERE | CHITRADURGA | CD1 ('R) | J C hally, Gollarahatti Chitradurga | IRRIGATION | Major | 63 KVA Transformer failure, it will be replaced on 15-06-2020, confirmed by Vijay AE 9113987300.