## Note
Date : 16-06-2020 Dear Sir/Madam, Please find the attached Status of Complaints Received & Pending details as on 15-06-2020
| a) | Page 1 | Complaints Status of Zones
| b) | Page 2 to 7 | Major Interruptions and Load Restriction Details
| c) | Page 8 | Accidents
| d) | Page 9 | Accidents and AE to MD and TA to MD E-Mail complaint status
| e) | Page 10 to 18 | Status of Pending Complaints Beyond Time Limit
| f) | Page 19 to 21 | Circle/Division/Sub Division Wise Complaints Details
| g) | Page 22 | Status of Pending Transformer Complaints Beyond Time Limit
| h) | Page 23 | Status of Pending Transformer Complaints
With Warm Regards
GM (CR)
94498 44778
BESCOM Helpline

## Abstract
Abstract Status of Complaints
Opening Balance | 3280
Complaints received on 15-06-2020 | 9947
Total | 13227
Cumulative Pending Complaints | 3173
Pending Complaints beyond time limit | 1698

## 15-06-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Status of Complaints as on 15-06-2020 (00:00Hrs to 23:59Hrs) at 08:00am on 16-06-2020
| Category | Category of Complaints | ZONE | [14 empty] | TOTAL
|  |  | BMAZ |  |  |  |  | BRAZ |  |  |  |  | CTAZ
|  |  | OB | New Complaints on 15-06-2020 | Total | Disposed | Pending | OB | New Complaints on 15-06-2020 | Total | Disposed | Pending | OB | New Complaints on 15-06-2020 | Total | Disposed | Pending | OB | New Complaints on 15-06-2020 | Total | Disposed | Pending
| A | FAILURE OF POWER SUPPLY | 67 | 7539 | 7606 | 7466 | 140 | 87 | 1426 | 1513 | 1475 | 38 | 8 | 332 | 340 | 316 | 24 | 162 | 9297 | 9459 | 9257 | 202
| B | VOLTAGE COMPLAINTS | 76 | 41 | 117 | 73 | 44 | 9 | 9 | 18 | 11 | 7 | 0 | 1 | 1 | 1 | 0 | 85 | 51 | 136 | 85 | 51
| C | METER COMPLAINTS | 235 | 47 | 282 | 21 | 261 | 9 | 2 | 11 | 5 | 6 | 5 | 4 | 9 | 3 | 6 | 249 | 53 | 302 | 29 | 273
| D | BILLING ISSUES | 1074 | 265 | 1339 | 380 | 959 | 80 | 35 | 115 | 72 | 43 | 19 | 8 | 27 | 14 | 13 | 1173 | 308 | 1481 | 466 | 1015
| E | SAFETY ISSUES | 831 | 71 | 902 | 76 | 826 | 104 | 8 | 112 | 14 | 98 | 88 | 4 | 92 | 4 | 88 | 1023 | 83 | 1106 | 94 | 1012
0 | F | TRANSFORMER FAILURE COMPLAINTS | 0 | 14 | 14 | 14 | 0 | 0 | 42 | 42 | 41 | 1 | 1 | 33 | 34 | 34 | 0 | 1 | 89 | 90 | 89 | 1
0 | G | THEFT | 73 | 1 | 74 | 1 | 73 | 70 | 1 | 71 | 0 | 71 | 56 | 0 | 56 | 0 | 56 | 199 | 2 | 201 | 1 | 200
| H | ALLEGATIONS ON STAFF | 30 | 0 | 30 | 0 | 30 | 7 | 0 | 7 | 0 | 7 | 6 | 0 | 6 | 0 | 6 | 43 | 0 | 43 | 0 | 43
| I | NEW CONNECTION/ ADDITIONAL LOAD | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2
| J | PHASE CONVERSION | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 5 | 0 | 5
| K | TRANSFER OF OWNERSHIP AND CONVERSION | 50 | 6 | 56 | 2 | 54 | 4 | 1 | 5 | 4 | 1 | 0 | 1 | 1 | 0 | 1 | 54 | 8 | 62 | 6 | 56
| L | REFUND/ ISSUE OF CERTIFICATES | 29 | 3 | 32 | 0 | 32 | 4 | 0 | 4 | 1 | 3 | 1 | 0 | 1 | 0 | 1 | 34 | 3 | 37 | 1 | 36
| M | ADDITIONAL TC/ ENHANCEMENT | 2 | 0 | 2 | 0 | 2 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 | 1 | 2
| N | GENERAL | 211 | 40 | 251 | 17 | 234 | 18 | 12 | 30 | 7 | 23 | 18 | 1 | 19 | 1 | 18 | 247 | 53 | 300 | 25 | 275
| Grand Total |  | 2685 | 8027 | 10712 | 8050 | 2662 | 393 | 1536 | 1929 | 1631 | 298 | 202 | 384 | 586 | 373 | 213 | 3280 | 9947 | 13227 | 10054 | 3173

## KPTCL
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (15-06-2020)
KPTCL | Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
| - | - | 0:00 | - | - | - | 0:00 | -
TOTAL | Nil |  | 0:00 |  | Nil |  | 0:00

## BESCOM
BENGALURU ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions Details (15-06-2020)
| Scheduled | Timings | Duration (in Hrs) | Confirmed By | Unscheduled | Timings | Duration (in Hrs) | Confirmed By
BESCOM | - | - | 0:00 | - | 1)66/11KV RMV MUSS F8 Feeder faulty Affected Areas:C2:Malleshwaram , swimmingpool extention,coconut avenue road and surrounding areas. (Changeover not arranged),confirmed by Manjunath JE 9449844692. | 23:00hrs to 02:00hrs. | 3:00 | Manjunath JE 9449844692
| - | - | 0:00 | - | 2)66/11KV ITI MUSS F10 Feeder LT fuse burnt and load change over work Affected Areas:E11:Hoysala nagar, Ramamurthy and surrounding areas. (Changeover not arranged),confirmed by Usman JE 9449874263 . | 06:40hrs to 16:30hrs. | 9:50 | Usman JE 9449874263
| - | - | 0:00 | - | 3)66/11KV Vrushabhavathi MUSS F15 Feeder AB Cable burnt out , Pot head flash over Affected Areas:K1:Sriram layout,Doddabele colony, maramma temple road, Kengeri and surrounding areas. (Changeover not arranged),confirmed by Mahadeva AE 9449870382. | 06:50hrs to 12:35hrs. | 5:45 | Mahadeva AE 9449870382
| - | - | 0:00 | - | 4)66/11KV Somanahalli MUSS F8 Feeder faulty Affected Areas:K3:Somanahalli village Kanakapura main road Kaggalipura and surrounding areas. (Changeover not arranged),confirmed by Vijaya Kumara AE 9449866749. | 07:00hrs to 08:30hrs. | 1:30 | Vijaya Kumara AE 9449866749
| - | - | 0:00 | - | 5)66/11KV Kadubeesanahlli MUSS F4 Feeder 250KVA Transformer failure Affected Areas:S7:Shirdi sai nagar, Munnekolala and surrounding areas. (Changeover not arranged),confirmed by Murali AE 9449840458. | 07:30hrs to 12:30hrs. | 5:00 | Murali AE 9449840458
| - | - | 0:00 | - | 6)66/11KV Puttenahalli MUSS F1 Feeder HT jump cut Affected Areas:C7:Muneshwara block, Bagalur main road, Yalahanka old town and surrounding areas. (Changeover not arranged),confirmed by Govindaraju AE 9449844698. | 07:10hrs to 08:10hrs. | 1:00 | Govindaraju AE 9449844698
| - | - | 0:00 | - | 7)66/11KV HAL MUSS F13 Feeder line clear taken for LT wire cut Affected Areas:S17:Nisarga layout, Doddananekkundhi, Marathalli and surrounding areas. (Changeover not arranged),confirmed by Hanumaiah JE 9449844715. | 09:00hrs to 10:10hrs. | 1:10 | Hanumaiah JE 9449844715
| - | - | 0:00 | - | 8)66/11KV Jayanagar MUSS F4 Feeder OD kept open for Busbar Maintenance work Affected Areas:S1:LIC colony, jayanagar 3rd block,Part of 4th block Jayanagar and surrounding areas. (Changeover not arranged),confirmed by Vasanth JE 9449840402. | 10:30hrs to 12:50hrs. | 2:20 | Vasanth JE 9449840402
| - | - | 0:00 | - | 9)66/11KV NG halli F5 LT AB Cable 250KVA Transformer open LT AB Cable work Affected Areas:N5:Gruhalakshmi layout,Chokkasandra and surrounding areas. (Changeover not arranged),confirmed by Kiran AE 9449865394. | 11:20hrs to 17:30hrs. | 6:10 | Kiran AE 9449865394
| - | - | 0:00 | - | 10)66/11KV Jayadeva MUSS F9 , F20 Feeder's line clear taken for Tree trimming work Affected Areas:S14:Part of BTM 1st stage, MCHS colony,BTM 2nd stage and surrounding areas. (Changeover not arranged),confirmed by Anil JE 9449844835. | 11:20hrs to 12:50hrs. | 1:30 | Anil JE 9449844835
| - | - | 0:00 | - | 11)66/11KV HSR MUSS F6,F10 Feeder's line clear taken for UG Cable faulty Affected Areas:S20:Hosapalya, Mangammanapalya, ITI layout and surrounding areas. (Changeover not arranged),confirmed by Basavaraju JE 9448494009. | 11:30hrs to 13:05hrs. | 1:35 | Basavaraju JE 9448494009
| - | - | 0:00 | - | 12)66/11KV Naganathpura MUSS F21 Feeeder line clear taken for GOS Replacement work Affected Areas:S13:Parappana agrahara,AECS layout kudlu singasandra and surrounding areas. (Changeover not arranged),confirmed by Mohan AE 9449841578. | 11:30hrs to 11:55hrs. | 0:25 | Mohan AE 9449841578
| - | - | 0:00 | - | 13)66/11KV HBR MUSS F9 Feeder 250KVA Transformer kept open for Tree trimming work Affected Areas:E9:Nagavara main road, Thanisandra and surrounding areas. (Changeover not arranged),confirmed by Rangaswamy AE 9449875057. | 11:30hrs to 13:10hrs. | 1:40 | Rangaswamy AE 9449875057
| - | - | 0:00 | - | 14)66/11KV Brigade MUSS F14 Feeder RMU kept open for Spacer Instalation work Affected Areas:E12:Ashraya layout, Doddanekundi, Mahadevapura and surrounding areas. (Changeover not arranged),confirmed by Veersh JE 9449810248. | 11:30hrs to 12:45hrs. | 1:15 | Veersh JE 9449810248
| - | - | 0:00 | - | 15)66/11KV RMZ MUSS F12 Feeder faulty Affected Areas:S11:Srinivasa residency munireddy garden,kaikondrahalli bellandur and surrounding areas. (Changeover not arranged),confirmed by Ramesh JE 9449868575. | 12:00hrs to 13:10hrs. | 1:10 | Ramesh JE 9449868575
| - | - | 0:00 | - | 16)66/11KV IISC MUSS F7 Feeder GOS kept open for 11KV Bus-bar Maintenance work Affected Areas:C1:Srirampuram, Gayathri nagar and surrounding areas. (Changeover not arranged),confirmed by Shakuntala AE 9449864490. | 12:00hrs to 13:05hrs. | 1:05 | Shakuntala AE 9449864490
| - | - | 0:00 | - | 17)66/11KV ITI MUSS F6 Feeder line clear taken for LT wire cut Affected Areas:E7:Jai bhuvaneshwari layout 5th a cross cambridge college TC Palya and surrounding areas. (Changeover not arranged),confirmed by Balaji Babu JE 9448321173. | 12:10hrs to 13:10hrs. | 1:00 | Balaji Babu JE 9448321173
| - | - | 0:00 | - | 18)66/11KV Naganathpura MUSS F6 , F18 Feeder's VL kept open for AB Cable work Affected Areas:S8:Srinivasa reddy layout hongasandra and surrounding areas. (Changeover not arranged),confirmed by Somashekar JE 9449810245. | 12:10hrs to 16:15hrs. | 4:05 | Somashekar JE 9449810245
| - | - | 0:00 | - | 19)66/11KV RR Nagar MUSS F15 Feeder VL kept open for AB Cable work Affected Areas:W7:BDA layout, 2nd block, Dwaraka nagar, RR nagar and surrounding areas. (Changeover not arranged),confirmed by Mutturaju AE 8277892545. | 12:10hrs to 15:20hrs. | 3:10 | Mutturaju AE 8277892545
| - | - | 0:00 | - | 20)66/11KV Kadugodi MUSS F8 Feeder GOS kept open for AB Cable work Affected Areas:E4:Vinayaka nagar, Nagondanahalli,Whitefield and surrounding areas. (Changeover not arranged),confirmed by Pritham AE 9449844639. | 12:20hrs to 13:35hrs. | 1:15 | Pritham AE 9449844639
| - | - | 0:00 | - | 21)66/11KV Adugodi MUSS F9 Feeder LT fuse burnt out Affected Areas:S16:Bhavani nagar, SG Palya, BTM 1st stage and surrounding areas. (Changeover not arranged),confirmed by Asha AE 9480811280. | 12:20hrs to 13:15hrs. | 0:55 | Asha AE 9480811280
| - | - | 0:00 | - | 22)66/11KV Naganathpura MUSS F4 Feeder VL kept open for UG Cable work Affected Areas:S13:Doctors layout, Naganathapura and surrounding areas. (Changeover not arranged),confirmed by Madappa AE 9449840480. | 12:30hrs to 13:30hrs. | 1:00 | Madappa AE 9449840480
| - | - | 0:00 | - | 23)66/11KV HBR MUSS F8 Feeder GOS kept open for Tree trimming work Affected Areas:E9:Munivenkatappa layout, JMJ Hospetal road, Govindapura and surrounding areas. (Changeover not arranged),confirmed by Gangadhar JE 9449869323. | 12:30hrs to 14:00hrs. | 1:30 | Gangadhar JE 9449869323
| - | - | 0:00 | - | 24)66/11KV Nandini MUSS F3 Feeder VL faulty Affected Areas:N7:Shankar nagar, Nandini layout and surrounding areas. (Changeover not arranged),confirmed by Dinesh AE 9449865461. | 12:40hrs to 14:25hrs. | 1:45 | Dinesh AE 9449865461
| - | - | 0:00 | - | 25)66/11KV Banasavadi MUSS F4 Feeder Fauly Affected Areas:E8:Brundavan layout, Horamavu, Babusapalya and surrounding areas. (Changeover not arranged),confirmed by Dwaraka JE 9449869318. | 12:50hrs to 14:25hrs. | 1:35 | Dwaraka JE 9449869318
| - | - | 0:00 | - | 26)66/11KV GLSP MUSS F1 Feeder 250KVA Transformer Replacement work Affected Areas:S3:Thimmareddy lane, old airport road,Murugeshpalya and surrounding areas. (Changeover not arranged),confirmed by Nagendra JE 9449877177. | 13:00hrs to 13:50hrs. | 0:50 | Nagendra JE 9449877177
| - | - | 0:00 | - | 27)66/11KV BMTC MUSS F4 Feeder 250KVA Transformer Replacement work Affected Areas:S2:Sudhama nagar wilson garden and surrounding areas. (Changeover not arranged),confirmed by Krishnaiah JE 8277892501. | 13:05hrs to 14:45hrs. | 1:40 | Krishnaiah JE 8277892501
| - | - | 0:00 | - | 28)66/11KV RMV MUSS F3 Feeder VL kept open for LT line Maintenance work Affected Areas:C4:Nagashettyhalli, Sanjay nagar and surrounding areas. (Changeover not arranged),confirmed by Manjunath AE 9449864892. | 13:10hrs to 15:00hrs. | 1:50 | Manjunath AE 9449864892
| - | - | 0:00 | - | 29)66/11KV Welcast MUSS F1 Feeder line clear taken for PT Replacemnet work Affected Areas:N5:Raviondar nagar, Santhosh nagar, Selection corner and surrounding areas. (Changeover not arranged),confirmed by Venugopal AE 9449865590. | 13:10hrs to 15:25hrs. | 2:15 | Venugopal AE 9449865590
| - | - | 0:00 | - | 30)66/11KV HSR MUSS F18 Feeder HT fuse blown out Affected Areas:S20:HSR 2nd sector, Agara and surrounding areas. (Changeover not arranged),confirmed by Yatsih AE 9449840476. | 14:30hrs to 15:55hrs. | 1:25 | Yatsih AE 9449840476
| - | - | 0:00 | - | 31)66/11KV EPIP MUSS F12 Feeder tripped Affected Areas:E4:Borewell road, Whitefield and surrounding areas. (Changeover not arranged),confirmed by Prteetham AE 9449844639. | 14:35hrs to 16:15hrs. | 1:40 | Prteetham AE 9449844639
| - | - | 0:00 | - | 32)66/11KV HAL MUSS F13 Feeder 11 KV wire cut Affected Areas:S17:Doddanakundhi , Marathahlli and surrounding areas. (Changeover not arranged),confirmed by Mohan JE 9449844715. | 14:45hrs to 16:20hrs. | 1:35 | Mohan JE 9449844715
| - | - | 0:00 | - | 33)66/11KV RMZ MUSS F3 Feeder faulty Affected Areas:S11:Bellandur and surrounding areas. (Changeover not arranged),confirmed by Lakshminarayan Reddy AE 9449868575. | 15:00hrs to 16:00hrs. | 1:00 | Lakshminarayan Reddy AE 9449868575
| - | - | 0:00 | - | 34)66/11KV LR Bande MUSS F3 Feeder Tree trimming work Affected Areas:E9:Dasarahalli,Marthi layout,Bhuvaneshwari nagara,Nagawara ,Coffee Board layout and surrounding areas. (Changeover not arranged),confirmed by Kempegowda JE 9449869360. | 15:05hrs to 16:35hrs. | 1:30 | Kempegowda JE 9449869360
| - | - | 0:00 | - | 35)66/11KV Gollahalli MUSS F10 Feeder one loop kept open for New Pole replacement work Affected Areas:S10:Basavanapura, Church road and surrounding areas. (Changeover not arranged),confirmed by Bheemanna AE 8277892509. | 15:00hrs to 17:30hrs. | 2:30 | Bheemanna AE 8277892509
| - | - | 0:00 | - | 36)66/11KV Naganathapura MUSS F4 Feeder GOS kept open for Model sub division work Affected Areas:S13:Sai baba layout, Meenkashi layout, Sarjapura road, Hosa road and surrounding areas. (Changeover not arranged),confirmed by Madappa AE 9449840480. | 15:20hrs to 18:15hrs. | 2:55 | Madappa AE 9449840480
| - | - | 0:00 | - | 37)66/11KV HBR MUSS F9 Feeder line clear taken for Tree trimming work Affected Areas:E9:HBR 4th, 5th block,Thanisandra, RK hegde nagar, hennur main road and surrounding areas. (Changeover not arranged),confirmed by Rangswamy AE 9449875057. | 15:35hrs to 18:45hrs. | 3:10 | Rangswamy AE 9449875057
| - | - | 0:00 | - | 38)66/11KV Pottary road MUSS F16 Feeder VL kept open for Maintenance work Affected Areas:E5:Jeevanahalli, Jai bharath nagar, Byappana Halli,Saty nagar and surrounding areas. (Changeover not arranged),confirmed by Veeresh JE 9449874979. | 15:45hrs to 17:00hrs. | 1:15 | Veeresh JE 9449874979
| - | - | 0:00 | - | 39)66/11KV Jayadeva MUSS F5 Feeder 500 KVA Transformer kept open for AB Cable work Affected Areas:S1:Jayanagar 9th block, T block and surrounding areas. (Changeover not arranged),confirmed by Prakash JE 9449840406. | 16:00hrs to 18:40hrs. | 2:40 | Prakash JE 9449840406
| - | - | 0:00 | - | 40)66/11KV Alur MUSS F5 Feeder GOS kept open for 25KVA Transformer erection work Affected Areas:NM1:Arekyathanahalli and surrounding areas. (Changeover not arranged),confirmed by Suresh AE 9483696600. | 15:30hrs to 17:45hrs. | 2:15 | Suresh AE 9483696600
| - | - | 0:00 | - | 41)66/11KV Tavarekere MUSS F8 Feeder Reconducting work Affected Areas:NM1:Bettahalli and surrounding areas. (Changeover not arranged),confirmed by Suresh AE 9483696600. | 15:45hrs to 20:15hrs. | 4:30 | Suresh AE 9483696600
| - | - | 0:00 | - | 42)66/11KV Anjanapura MUSS F10 Feeder line clear taken Tree trimming work Affected Areas:S12:Anjanapura, Thalaghttapura, JP nagar 8th , 9th phase and surrounding areas. (Changeover not arranged),confirmed by Ravikumar AE 9449840482. | 16:30hrs to 17:25hrs. | 0:55 | Ravikumar AE 9449840482
| - | - | 0:00 | - | 43)66/11KV Remco MUSS F1 Feeder UG Cable work Affected Areas:N2:Binny layout, Attigupe, Mico layout, Venkateshwara layout, RPC layout and surrounding areas. (Changeover not arranged),confirmed by Santosh AE 9449869136. | 16:40hrs to 18:30hrs. | 1:50 | Santosh AE 9449869136
| - | - | 0:00 | - | 44)66/11KV LR Bande MUSS F5 Feeder one bit kept open for LT lead wire cut Affected Areas:C5:Kushal nagar, Gandhi nagar and surrounding areas. (Changeover not arranged),confirmed by Akaamma AE 9901939604. | 17:00hrs to 18:35hrs. | 1:35 | Akaamma AE 9901939604
| - | - | 0:00 | - | 45)66/11KV RBI MUSS F1 Feeder 250 KVA Transformer kept open for LT AB Cable work Affected Areas:S6:JP nagar 7th phase, Eshwara layout and surrounding areas. (Changeover not arranged),confirmed by Krishniah AE 9449840425. | 16:00hrs to 18:20hrs. | 2:20 | Krishniah AE 9449840425
| - | - | 0:00 | - | 46)66/11KV Audugodi MUSS F6 Feeder VL tripped Affected Areas:S4:Police Qtrs, 7th block, Adugodi, 8th block and surrounding areas. (Changeover not arranged),confirmed by Ramswamy JE 9449844716. | 18:30hrs to 19:40hrs. | 1:10 | Ramswamy JE 9449844716
| - | - | 0:00 | - | 47)66/11KV Banasawadi MUSS F21 Feeder RMU tripped Affected Areas:E8:Banjara layout, Trinity Enclave and surrounding areas. (Changeover not arranged),confirmed by Prasanna JE 9449869326. | 18:40hrs to 19:30hrs. | 0:50 | Prasanna JE 9449869326
| - | - | 0:00 | - | 48)66/11KV Jayanagar MUSS F9 Feeder tripped Affected Areas:S1:Someshwara nagar, Jayanagar and surrounding areas. (Changeover not arranged),confirmed by Kumar JE 9449840402. | 18:40hrs to 20:00hrs. | 1:20 | Kumar JE 9449840402
| - | - | 0:00 | - | 49)66/11KV GLSP MUSS F1 Feeder loop Cable faulty Affected Areas:S3:SR layout, PR layout , Murgesh aplaya and surrounding areas. (Changeover not arranged),confirmed by Sunder JE 9449877177. | 19:00hrs to 21:00hrs. | 2:00 | Sunder JE 9449877177
| - | - | 0:00 | - | 50)66/11KV C staion F22 Feeder single phase Affected Areas:E1:Srk garden Benson town and surrounding areas. (Changeover not arranged),confirmed by Shivaji rao AE 9449874769. | 19:15hrs to 20:15hrs. | 1:00 | Shivaji rao AE 9449874769
| - | - | 0:00 | - | 51)66/11KV Somanahalli MUSS F8 Feeder faulty Affected Areas:K3:Jammanakunte, Kaggalipura and surrounding areas. (Changeover not arranged),confirmed by Satyamurthy JE 9449866749. | 19:15hrs to 20:50hrs. | 1:35 | Satyamurthy JE 9449866749
| - | - | 0:00 | - | 52)66/11KV HAL MUSS F13 Feeder spark 250KVA Transformer Affected Areas:S17:Doddnakundhi, Marathahahlli and surrounding areas. (Changeover not arranged),confirmed by Gangadhariah JE 9449844715. | 20:00hrs to 21:30hrs. | 1:30 | Gangadhariah JE 9449844715
| - | - | 0:00 | - | 53)66/11KV Kumbalagodu MUSS F3 , F9 Feeder 11KV line faulty Affected Areas:K1:Kumbalagodu and surrounding areas. (Changeover not arranged),confirmed by Nagesh JE 9449870351. | 20:30hrs to 21:35hrs. | 1:05 | Nagesh JE 9449870351
| - | - | 0:00 | - | 54)66/11KV BTM MUSS F4 Feeder one bit faulty Affected Areas:S8:Hongasandra, Pragathi layout and surrounding areas. (Changeover not arranged),confirmed by Chandan JE 9449810245. | 21:30hrs to 22:45hrs. | 1:15 | Chandan JE 9449810245
| - | - | 0:00 | - | 55)66/11KV South city MUSS F14 Feeder bushing problem Affected Areas:S14:JP nagar 2nd phase and surrounding areas. (Changeover not arranged),confirmed by Krishna JE 9449867660. | 21:25hrs to 22:45hrs. | 1:20 | Krishna JE 9449867660
| - | - | 0:00 | - | 56)66/11KV Geddalahalli MUSS F5 Feeder 250KVA Transformer lead burnt out Affected Areas:E8:K Channasandra, Kalkere and surrounding areas. (Changeover not arranged),confirmed by Madhu JE 9449869326. | 22:10hrs to 22:45hrs. | 0:35 | Madhu JE 9449869326
| - | - | 0:00 | - | 57)66/11KV BTM MUSS F13 Feeder tripped Affected Areas:S19:Bilekahalli, Devara Chikkanahalli and surrounding areas. (Changeover not arranged),confirmed by Dananjay JE 9449841580. | 22:25hrs to 22:45hrs. | 0:20 | Dananjay JE 9449841580
| - | - | 0:00 | - | 58)66/11KV Yaragunte MUSS F14 Feeder line faulty Affected Areas:DV1,DV2,DV3:Yeragunta Ashok nagar,avaragolla, karur,doddabudiyala and surrounding areas. (Changeover not arranged),confirmed by Tippeswamy JE 9449875484. | 22:30hrs to 23:30hrs. | 1:00 | Tippeswamy JE 9449875484
TOTAL | Nil |  | 0:00 |  | 58 |  | 1900-01-03 19:20
Formulas:
Duration (in Hrs) = SUM(J6:[Duration (in Hrs), row above])

## (Load restriction)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Major Interruptions of Load Restriction by KPTCL (15-06-2020)
| Discription | Timings | Duration (in Hrs) | Confirmed By
KPTCL | - | - | 0:00 | -
Total | Nil |  | 0:00

## Accidents
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Accidents
BMAZ |  |  |  | BRAZ |  |  |  | CTAZ |  |  |  | Total
Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental |  | Departmental |  | Non-Departmental
Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non- Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal | Fatal | Non-Fatal
- | - | 1 | - | - | - | - | - | - | - | - | - | - | - | 1 | -
Note:A 35 yer old construction labourer allegedly died of electrocution after coming in contact with a live wire while working at an under construction bridge for a stormwater drain in Ittamadu,Subramanyapura on Sunday night.The deceased,Surjadas,is a native of odisha.The police said through it was sunday,their constructor, Biplab Biswas, forced them to work late in the night to finish the work. The police have booked Biplab Biswas for death due to negligence.

## AE TO MD E-Mail Complaints
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
AE to MD and TA to MD E-mail pending complaints
Sl.No | Circle | Date | Issue | Docket No. | Time as per KERC | Tentative Date | Remarks
1 | SOUTH | 2020-05-26 | Frequent power cut | NS10827391 | 7 days | Not confirmed | mail recieved form AEE+J3:J11 As the above said your Complaint Docket number NS19539729 about frequent power supply in Duo heights Layot, due to heavy Rain & Wind there will be frequent Main supply failue from 220 kva station somanahalli interruption was occurred, and after power supply was normalised. For any power supply issues please contact our AEE 9449844670, & AE-9449840472same as forwarded to consumer awaiting for reply .
2 | SOUTH | 2020-05-26 | Frequent power cut | NS20913895 | 7 days | Not confirmed | Informed to AEE Sri.Jagadish.M.H 8277893186 and awaiting for reply
3 | SOUTH | 2020-05-28 | Excess bill | DS16532677 | 7 days | Not confirmed | informed to Ravindra.S.G AAO 8660627631and awaiting for reply
4 | SOUTH | 2020-05-28 | Tree Trimming | ES05966247 | 7 days | Not confirmed | informed to AEE Sri Ramaih S T 9449844665 told that he will discuss with AE and issue wil be attended by today
5 | EAST | 2020-05-31 | Serious Power Outages | NE09830039 | 7 days | Not confirmed | Informed to Kumar Nayak AEE 9449877171 and awaiting for reply
6 | WEST | 2020-06-01 | Frequent Power Cut and Fluctuations | NW07331189 | 7 days | Not confirmed | Informed to Eshwarappa AEE 9449844894 and awaiting for reply
7 | BRC | 2020-06-01 | Frequent Power Cut | NHK1880397 | 7 days | Not confirmed | Informed to Anil Kumar A.V AEE 9448279084 and awaiting for reply
8 | NORTH | 2020-06-01 | Tree trimming. | EN5443772 | 7 days | Not confirmed | Informed to Parashuram AEE 9449844655 and awaiting for reply
9 | SOUTH | 2020-06-03 | Uncleared debris and Deep trench with HT cables hanging dangerously after replacing switch box | NS1652858 | 7 days | Not confirmed | mail sent to AEE awaiting for reply

## BMAZ
Status of Pending Complaints Beyond Time Limit
BMAZ ZONE
Category | Category of Complaints | Sub Category | Duration | Pending Complaints Beyond Time Limit
|  |  |  | BMAZ SOUTH |  | BMAZ NORTH |  | Total
|  |  | Urban | South | West | East | North
A | FAILURE OF POWER SUPPLY | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | 73 | 13 | 3 | 51 | 140
|  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs | 0 | 0 | 0 | 0 | 0
|  | Line breakdown (pole broken) | 10 hrs | 0 | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 0 | 0 | 0 | 0 | 0
|  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 0 | 0 | 0 | 0 | 0
|  | Opening of neutral (High Voltage) | 1 hr | 2 | 0 | 2 | 2 | 6
C | METER COMPLAINTS | Inspect and check correctness | 7 days | 56 | 11 | 20 | 7 | 94 |  |  |  | cal
|  | Replaced slow, creeping or stuck meters | 10 days | 2 | 0 | 0 | 0 | 2
|  | Replaced burnt meters if cause not attributable to consumer | 7 days | 3 | 0 | 1 | 0 | 4
|  | Replaced burnt meters in all other cases | 24 hrs | 3 | 0 | 1 | 1 | 5
D | BILLING ISSUES | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 113 | 50 | 70 | 46 | 279
|  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 42 | 39 | 19 | 10 | 110
|  | Reconnection of supply following disconnection | On the same day | 2 | 4 | 1 | 3 | 10
E | SAFETY ISSUES | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 45 | 17 | 45 | 55 | 162
|  | Replacement of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 27 | 17 | 24 | 21 | 89 |  |  | c
|  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 8 | 5 | 12 | 13 | 38
|  | Tree trimming | 7 days | 71 | 64 | 41 | 37 | 213
F | Transformer FAILURE COMPLAINTS | Water Supply | 24 hrs | 0 | 0 | 0 | 0 | 0
|  | Domestic |  | 0 | 0 | 0 | 0 | 0
|  | Industry |  | 0 | 0 | 0 | 0 | 0
|  | Mixed load |  | 0 | 0 | 0 | 0 | 0
|  | Irrigation Pumpset(IP Set) |  | 0 | 0 | 0 | 0 | 0
G | THEFT | Theft | 1 Month | 10 | 7 | 26 | 16 | 59
|  | Hooking Under Nirantara Jyothi Yojane | 15 days | 2 | 0 | 2 | 0 | 4
H | ALLEGATIONS ON STAFF | Allegations on staff | 1 Month | 6 | 6 | 11 | 1 | 24
I | NEW CONNECTION/ ADDITIONAL LOAD | Release of supply where service is feasible from existing network | 1 month | 0 | 0 | 0 | 1 | 1
|  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 0 | 0 | 0 | 0 | 0
|  | IP sets | 30 days | 0 | 0 | 0 | 0 | 0
J | PHASE CONVERSION | Conversion of LT single phase to LT 3 phase | 30 days | 0 | 0 | 0 | 0 | 0
|  | Conversion from LT to HT and vice-versa | 30 days | 0 | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 17 | 6 | 14 | 1 | 38
|  | Change of category (Wrong Application Tariff) | 7 days | 0 | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES | Refund of deposits | 60 days | 0 | 0 | 0 | 0 | 0
|  | Issue of certificates | 1 day | 0 | 0 | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT | Additional TC | 1 Month | 1 | 0 | 0 | 0 | 1
|  | TC Enhancement | 15 days | 0 | 0 | 0 | 1 | 1 | 181
N | GENERAL | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 55 | 11 | 22 | 14 | 102 | 176
Grand Total |  |  |  | 538 | 250 | 314 | 280 | 1382 |  | 150 | 167

## BRAZ
Status of Pending Complaints Beyond Time Limit
BRAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | BRC | Ramanagar | Kolar | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transeformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 4 | 1 | 0 | 5
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 2 | 1 | 3
|  |  | Replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0 | 0
|  |  | Replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 1 | 1 | 7 | 9
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 0 | 1 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 0 | 0 | 0
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 10 | 15 | 10 | 35
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 11 | 3 | 9 | 23
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 3 | 2 | 2 | 7
|  |  | Tree trimming | 7 days | 7 days | 5 | 3 | 3 | 11
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 9 | 33 | 8 | 50
|  |  | Hooking Under Nirantara Jyothi Yojane | 15 days | 15 days | 1 | 4 | 2 | 7
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 0 | 4 | 2 | 6
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 1 | 1
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0 | 0 |  | `
M | ADDitIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 2 | 4 | 3 | 9
Grand Total | [5 empty] | 46 | 72 | 49 | 167
1
1698

## CTAZ
Status of Pending Complaints Beyond Time Limit
CTAZ ZONE
Category | Category of Complaints |  | Sub Category | Duration |  | Pending Complaints Beyond Time Limit
|  |  |  | Urban | Rural | Tumkur | Davangere | Total
A | FAILURE OF POWER SUPPLY | Urban | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | 6hrs | - | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) | 6hrs |  | 0 | 0 | 0
|  |  | Line breakdown (pole broken) | 10 hrs |  | 0 | 0 | 0
|  | Rural | Fuse off Call (Single Phase/Grounding/Spark at Transformer/Spark at pole/Wire Snapping or Cut) | - | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (Grounding at pole or TC /Spark in line due to Tree branches touching the lines) |  | 24 hrs | 0 | 0 | 0
|  |  | Line breakdown (pole broken) |  | 24 hrs | 0 | 0 | 0
B | VOLTAGE COMPLAINTS |  | Voltage variations where no expansion or enhancement of network is involved (Voltage Fluctuations/Flickering) | 7 days | 7 days | 0 | 0 | 0
|  |  | Voltage variations where up-gradation of distribution system is required (Low Voltage For Long Period) | 120 days | 120 days | 0 | 0 | 0
|  |  | Opening of neutral (High Voltage) | 1 hr | 1 hr | 0 | 0 | 0
C | METER COMPLAINTS |  | Inspect and check correctness | 7 days | 7 days | 0 | 1 | 1
|  |  | replaced slow, creeping or stuck meters | 10 days | 10 days | 0 | 0 | 0
|  |  | replaced burnt meters if cause not attributable to consumer | 7 days | 7 days | 0 | 0 | 0
|  |  | replaced burnt meters in all other cases | 24 hrs | 24 hrs | 0 | 0 | 0
D | BILLING ISSUES |  | Where field report is not required (Arrears/Excess Billing/ECS/Online Payment/Printing of Bill) | 24 hrs | 24 hrs | 0 | 0 | 0
|  |  | Where field report is required (Bill not received/Meter not read by MR/Wrongreading taken by MR) | 7 days | 7 days | 0 | 1 | 1
|  |  | Reconnection of supply following disconnection | On the same day | 24 hrs | 0 | 1 | 1
E | SAFETY ISSUES |  | Straightening of bent pole (Grounding /Return supply in neutral) | 3 days | 3 days | 22 | 13 | 35
|  |  | Replacedment of damaged pole (Wire Sagging/Providing intermediate pole) | 15 days | 15 days | 13 | 10 | 23
|  |  | Shifting of Poles (Line passing close to the Building/Shifting of Transformer Center) | 15 days | 15 days | 9 | 6 | 15
|  |  | Tree trimming | 7 days | 7 days | 3 | 4 | 7
F | TRANSFORMER FAILURE COMPLAINTS | Urban | Water Supply | 24 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
|  | Rural | Water Supply | 72 hrs |  | 0 | 0 | 0
|  |  | Domestic |  |  | 0 | 0 | 0
|  |  | Industry |  |  | 0 | 0 | 0
|  |  | Mixed load |  |  | 0 | 0 | 0
|  |  | Irrigation Pumpset(IP Set) |  |  | 0 | 0 | 0
G | THEFT |  | Theft | 1 Month | 1 Month | 26 | 9 | 35
|  |  | Hooking Under Nirantara Jyoti Yojane | 15 days | 15 days | 8 | 4 | 12
H | ALLEGATIONS ON STAFF |  | Allegations on staff | 1 Month | 1 Month | 3 | 1 | 4
I | NEW CONNECTION/ ADDITIONAL LOAD |  | Release of supply where service is feasible from existing network | 1 month | 1 month | 0 | 0 | 0
|  |  | Release of supply where network expansion/ enhancement required for providing connection | 45 days | 45 days | 0 | 0 | 0
|  |  | IP sets | 30 days | 30 days | 0 | 0 | 0
J | PHASE CONVERSION |  | Conversion of LT single phase to LT three phase | 30 days | 30 days | 0 | 0 | 0
|  |  | Conversion from LT to HT and vice-versa | 30 days | 30 days | 0 | 0 | 0
K | TRANSFER OF OWNERSHIP AND CONVERSION |  | Title transfer of ownership (Name Transfer/Change of Address) | 7 days | 7 days | 0 | 0 | 0
|  |  | Change of category (Wrong Application Tariff) | 7 days | 7 days | 0 | 0 | 0
L | REFUND/ ISSUE OF CERTIFICATES |  | Refund of deposits | 60 days | 60 days | 0 | 0 | 0
|  |  | Issue of certificates | 1 day | 1 day | 0 | 0 | 0
M | ADDITIONAL TC/ENHANCEMENT |  | Additional TC | 1 Month | 1 Month | 0 | 0 | 0
|  |  | TC Enhancement | 15 days | 15 days | 0 | 0 | 0
N | GENERAL |  | Any complaint not covered specifically in the above (Billing Complaints due to Server Problem/Frequent Power Cut) | 7 days | 7 days | 9 | 6 | 15
Grand Total | [5 empty] | 93 | 56 | 149

## Draft summary New
Division/ Sub Division Wise Complaints of BMAZ ( 15-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BMAZ SOUTH | South | 3150 | Jayanagar | 956 | S1 | 235
[5 empty] | S2 | 109
[5 empty] | S5 | 46
[5 empty] | S6 | 108
[5 empty] | S9 | 60
[5 empty] | S14 | 211
[5 empty] | S15 | 125
[5 empty] | S18 | 62
|  |  | Kormangala | 503 | S3 | 112
[5 empty] | S4 | 97
[5 empty] | S7 | 240
[5 empty] | S16 | 54
|  |  | HSR | 1691 | S8 | 352
[5 empty] | S10 | 210
[5 empty] | S11 | 188
[5 empty] | S12 | 186
[5 empty] | S13 | 220
[5 empty] | S17 | 263
[5 empty] | S19 | 63
[5 empty] | S20 | 209
| West | 1089 | Rajajajinagar | 297 | N1 | 36
[5 empty] | N2 | 103
[5 empty] | N3 | 63
[5 empty] | N6 | 35
[5 empty] | N8 | 38
[5 empty] | N10 | 22
|  |  | R.R. Nagar | 276 | W1 | 22
[5 empty] | W2 | 55
[5 empty] | W6 | 73
[5 empty] | W8 | 23
[5 empty] | W7 | 103
|  |  | Kengeri | 516 | K1 | 217
[5 empty] | K2 | 81
[5 empty] | K3 | 152
[5 empty] | K4 | 66
Total |  | 4239 |  | 4239 |  | 4239
BMAZ NORTH | East | 2224 | Indiranagar | 518 | E3 | 254
[5 empty] | E6 | 114
[5 empty] | E10 | 131
[5 empty] | E11 | 19
|  |  | Shivajinagar | 617 | E1 | 106
[5 empty] | E2 | 79
[5 empty] | E5 | 310
[5 empty] | E8 | 79
[5 empty] | E9 | 43
|  |  | Whitefield | 1021 | E4 | 122
[5 empty] | E7 | 304
[5 empty] | E12 | 595
|  |  | Vidhanasoudha | 68 | W3 | 24
[5 empty] | W4 | 26
[5 empty] | W5 | 18
| North | 1564 | Jalahalli | 328 | C3 | 69
[5 empty] | C9 | 143
[5 empty] | N9 | 116
|  |  | Peenya | 207 | N4 | 68
[5 empty] | N5 | 75
[5 empty] | N7 | 64
|  |  | Malleswaram | 558 | C1 | 190
[5 empty] | C2 | 192
[5 empty] | C6 | 176
|  |  | Hebbal | 471 | C4 | 133
[5 empty] | C5 | 96
[5 empty] | C7 | 84
[5 empty] | C8 | 158
Total |  | 3788 |  | 3788 |  | 3788
Division/ Sub Division Wise Complaints of BRAZ ( 15-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
BRAZ | BRC | 739 | Nelamanagala | 383 | DB1 | 144
[5 empty] | DB2 | 51
[5 empty] | NM1 | 173
[5 empty] | DPT | 15
|  |  | Hosakote | 356 | DH1 | 85
[5 empty] | VD1 | 100
[5 empty] | HK1 | 30
[5 empty] | AV1 | 138
[5 empty] | NG1 | 3
| Ramanagar Circle | 597 | Ramanagar | 78 | BD1 | 24
[5 empty] | CP1 | 5
[5 empty] | CP2 | 2
[5 empty] | BE1 | 21
[5 empty] | RM1 | 19
[5 empty] | RM2 | 7
|  |  | Magadi | 105 | MA1 | 8
[5 empty] | KD1 | 9
[5 empty] | TV1 | 88
|  |  | Kanakapura | 272 | KP1 | 33
[5 empty] | KP2 | 99
[5 empty] | HA1 | 65
[5 empty] | SA1 | 75
|  |  | Chandapura | 142 | AN1 | 119
[5 empty] | JN1 | 13
[5 empty] | CH1 | 3
[5 empty] | AT1 | 5
[5 empty] | VE1 | 2
| Kolar Circle | 200 | Kolar | 66 | KL1 | 42
[5 empty] | KL2 | 11
[5 empty] | SP1 | 13
|  |  | Chikkaballapura | 36 | BP1 | 6
[5 empty] | CB1 | 6
[5 empty] | CB2 | 3
[5 empty] | GB1 | 20
[5 empty] | GD1 | 1
|  |  | KGF | 87 | BG1 | 12
[5 empty] | KG1 | 18
[5 empty] | ML1 | 0
[5 empty] | MB1 | 49
[5 empty] | BM1 | 8
|  |  | Chinthamani | 11 | CM1 | 5
[5 empty] | CM2 | 2
[5 empty] | SG1 | 0
[5 empty] | SG2 | 4
Total |  | 1536 |  | 1536 |  | 1536
Division/ Sub Division Wise Complaints of CTAZ ( 15-06-2020 )
ZONE | CIRCLE | Total Complaints | DIVISION | Total Complaints | Sub Division Code | Total Complaints
CTAZ | TUMKUR | 197 | TUMKUR | 76 | TK1 | 20
[5 empty] | TK2 | 2
[5 empty] | TK3 | 5
[5 empty] | TK4 | 10
[5 empty] | KYT | 6
[5 empty] | GU1 | 29
[5 empty] | NT1 | 4
|  |  | KUNIGAL | 20 | KU1 | 3
[5 empty] | HLD | 14
[5 empty] | YD1 | 3
|  |  | TIPTUR | 43 | TP1 | 17
[5 empty] | TU1 | 19
[5 empty] | CN1 | 7
|  |  | MADHUGIRI | 58 | MG1 | 7
[5 empty] | SR1 | 15
[5 empty] | SR2 | 5
[5 empty] | KR1 | 17
[5 empty] | PG1 | 13
[5 empty] | KH1 | 1
| DAVANGERE | 187 | DAVANGERE | 109 | DV1 | 74
[5 empty] | DV2 | 6
[5 empty] | DV3 | 8
[5 empty] | AG1 | 7
[5 empty] | JL1 | 1
[5 empty] | CG1 | 9
[5 empty] | SB1 | 4
|  |  | HARIHARA | 21 | HR1 | 20
[5 empty] | NY1 | 0
[5 empty] | HN1 | 1
[5 empty] | TL1 | 0
[5 empty] | HH1 | 0
|  |  | CHITRADURGA | 36 | CD1 | 14
[5 empty] | CD2 | 3
[5 empty] | HL1 | 10
[5 empty] | SRP | 0
[5 empty] | HD1 | 9
|  |  | HIRIYURU | 21 | HY1 | 14
[5 empty] | CK1 | 3
[5 empty] | TLK | 1
[5 empty] | MK1 | 3
Total |  | 384 |  | 384 |  | 384
Total | [5 empty] | 9947

## Beyond Transformer Complaints
Beyond Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
NIL

## Pending Transformer Complains
Pending Transformer Failure Complaints
Sl.No | Name of Consumer | Docket No | Date of Complaints Received | Time | Zone | CIRCLE | Division | Sub Division | Address | Nature of complaint | Major Minor | Remarks
1 | Ashok | FNM1661244 | 2020-06-15 | 10:35 | BRAZ | BRC | NELAMANGALA | NM1 ('R) | G G Halli Kere Nelamanagala | MIXED LOAD | Minor | 63 KVA Transformer failure, it will be replaced on 16-06-2020, confirmed by Suresh AE 9483696600.