## 18-11-2020 to 17-12-2020
Sl. No. | From | To | LC Duration | Reasons for LC | 66/11 KV MUSS | Total Load Affected (In MW) | Areas affected | Status
1 | 18/11/2020 9:00:00 AM | 17/12/2020 5:00:00 PM | 30 days | To take up balance work of foundation, tower erection and stringing between 5/0 (near Mylasandra) to 15/0 (HSR LILO point) for the conversion of existing 220 kV DC Somanahalli -HSR Line to 220 -220 KV MC line as the MC evacuation scheme line from 400/220 kV Mylasandra S/s | 220 kV Somanahalli - Hoody Line, 220/66 kV HSR, Naganathapura and Hoody S/s | NIL | NIL | There are chances of intermittent power supply to the areas fed from HSR, Naganathapura and Hoody substations, in case of any emergency problems/faults if arises.