## Jan 19 Anx-1
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Annexure -I Form-I
RELIABILITY INDICES FOR DISTRICT HEAD QUARTERS IN BESCOM FOR JANUARY'2019 OF FY 2018-19
Sl. No | Name of the District Head Quarters | Total No. of 11 KV Feeders | Total No. of Feeders affected | Outage due to Incoming Supply Failure(In Hrs) | Cummulative Outage due to Incoming Supply Failure( in Hrs) | Outage at 11 KV Level (in Hrs) |  |  | Reliability for Jan-2019 |  |  |  | Reliability for cummulative period From Apr-2018 |  |  |  | SAIFI & SAIDI of feeders for Jan-2019
[6 empty] | Scheduled Outage | Unscheduled Outage | Total | Sum of outage duration of all feeders (in Hr:mm:ss) | Outage duration per feeder(in Hrs/Fdr) | Feeder Reliability Index at 11 KV feeder in % | Reliability of supply of power to consumers in % | Cummulative outage duration of all feeders (In Hrs) | Cummulative outage duration of all feeders (In Hrs/Feeder) | Cummulative feeder Relaibility Index @ 11 KV feeder level in % | Cummulative Relaibility of supply of Power to consumers | Total No. of Feeders Interruption | Total No of consumers | Sum of outage duration of all feeders (in Hrs) | SAIFI | SAIDI |  |  |  |  | 227.2353
1 | 2 | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16 | 17 | 18 | 18 | 19=17/3 | 20=18/3
1 | Davangere | 35 | 32 | 1:55 | 44:29 | 294:33 | 64:41 | 359:14 | 361:09 | 10.3188 | 98.6204 | 98.6131 | 4265:53 | 121.8825 | 98.3577 | 98.3404 | 521 | 157116 | 361.1567 | 14.8857 | 10.3188 | 30 | 30 | 1012 | 157116 | 361.1567 | 28.9143 | 10.3188
2 | Chitradurga | 11 | 11 | 4:25 | 34:42 | 74:42 | 49:34 | 124:16 | 128:41 | 11.6985 | 98.4816 | 98.4276 | 2186:04 | 198.7333 | 97.3369 | 97.2939 | 815 | 42244 | 128.6833 | 74.0909 | 11.6985
3 | Tumkur | 30 | 30 | 10:00 | 135:04 | 285:00 | 110:00 | 395:00 | 405:00 | 13.5 | 98.2303 | 98.1855 | 4281:48 | 142.7267 | 98.1179 | 98.0566 | 605 | 98569 | 405 | 20.1667 | 13.5
4 | BMAZ South | 755 | 595 | 245:13 | 1894:28 | 2409:08 | 1561:24 | 3970:32 | 4215:45 | 5.5838 | 99.2931 | 99.2495 | 2863.3827 | 91.0214 | 98.7948 | 98.7606 | 6837 | 2550724 | 4215.75 | 9.0556 | 5.5838
5 | BMAZ North | 677 | 613 | 357:21 | 2055:09 | 3015:33 | 1750:03 | 4765:36 | 5122:57 | 7.5671 | 99.0539 | 98.9829 | 2846.5072 | 100.9102 | 98.6673 | 98.626 | 5246 | 2660325 | 5122.9544 | 7.7489 | 7.5671
4 | BMAZ | 1432 | 1208 | 602:34 | 3949:37 | 5424:41 | 3311:27 | 8736:08 | 9338:42 | 6.5214 | 99.18 | 99.1235 | 5709.8898 | 95.6965 | 98.7345 | 98.6969 | 12083 | 5211049 | 9338.7044 | 8.4378 | 6.5214
5 | Ramanagara | 4 | 4 | 0:37 | 34:42 | 26:49 | 12:01 | 38:50 | 39:27 | 9.8625 | 98.6951 | 98.6744 | 450:18 | 112.575 | 98.5852 | 98.4671 | 93 | 38824 | 39.45 | 23.25 | 9.8625
6 | Kolar | 17 | 17 | 48:35 | 312:28 | 150:58 | 84:53 | 235:51 | 284:26 | 16.7314 | 98.1353 | 97.7512 | 4463:59 | 262.5874 | 96.6747 | 96.4245 | 525 | 51231 | 284.4333 | 30.8824 | 16.7314
7 | CBPura | 9 | 9 | 20:25 | 254:35 | 148:29 | 35:55 | 184:24 | 204:49 | 22.7574 | 97.2461 | 96.9412 | 2121:54 | 235.7667 | 97.1748 | 96.7897 | 294 | 55862 | 204.8167 | 32.6667 | 22.7574
* Feeder Reliabilty Index at 11kv feeder level = {[Total No of 11kv Feeders x 24 hrs x No. of days in the Month] - [outage duration of all 11kv feeders during the month in hrs as in column 8]} x 100 / [Total No of 11kv Feeders x 24 hrs x No. of days in the month]
**Reliabilty of supply of power to consumers= {[Total No of Feeders x 24 hrs x No. of days in the Month] - [Sum of outage duration including outage in higher voltages along with 11kv Outage during the month in hrs as in column 9]} x 100 / [Total No of Feeders x 24 hrs x No. of days in the Month]
* Cummulative Feeder Reliabilty Index at 11kv feeder level = {[Total No of 11kv Feeders x 24 hrs x No. of days in the year from Apr-09 to current month] - [outage duration of all 11kv feeders during the year in hrs as in column 14} x 100 / [Total No of
**Cummulative Reliabilty of supply of power to consumers= {[Total No of Feeders x 24 hrs x No. of days in the year from Apr-09 to current month] - [Sum of outage duration including outage in higher voltages along with 11kv Outage during the month in hrs a
Note :1. Four new feeders added in BMAZ North - each feeder in EPIP, KHR and two feeders in Brigade station.
2. There was a maintainence work in 66/11KV Tamaka ,Vemgal ,Dalasanuru , Kyalanuru , Somayajalahalli stations, hence Incoming Supply Failure is more in Kolar division. However, change over has been arranged & hence less interruptions affected to consumers.
3. There was a maintainence work in 66/11kV Tubagere, D.Cross stations, hence Incoming Supply Failure is more in Doddaballapura Taluk. However, change over has been arranged & hence less interruptions affected to consumers.

## Jan 19 ANX11
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Annexure -II Form-II
RELIABILITY INDICES FOR TOWNS AND CITIES IN BESCOM FOR JANUARY-2018 OF FY 2018-19
Sl. No | Name of the Towns & Cities | Total No. of 11 KV Feeders | Total No. of Feeders affected | Outage due to Incoming Supply Failure(In Hrs) | Cumulative Outage due to Incoming Supply Failure ( in Hrs) | Outage at 11 KV Level(in Hrs) |  |  | Reliability for Jan-2019 |  |  |  | Reliability for Cummulative period From Apr-2018 |  |  |  | SAIFI & SAIDI of feeders for Jan-2019
[6 empty] | Scheduled Outage | Unscheduled Outage | Total | Sum of outage duration of all feeders (in Hr:mm:ss) | Outage duration per feeder(in Hrs/Fdr) | Feeder Reliability Index at 11 KV feeder in % | Reliability of supply of power to consumers in % | Cummulative outage duration of all feeders (In Hrs) | Cummulative outage duration of all feeders (In Hrs/Feeder) | Cummulative feeder Relaibility Index @ 11 KV feeder level in % | Cummulative Relaibility of supply of Power to consumers | Total No. of Feeder Interruptions | Total No. of Consumer | Sum of outage duration of all feeders (in Hrs) | SAIFI | SAIDI
1 | 2a | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16 | 17 | 18 | 18 | 19=17/3 | 20=18/3
1 | Jagalur | 1 | 1 | 4:30 | 54:10 | 10:33 | 2:36 | 13:09 | 17:39 | 17.65 | 98.2325 | 97.6277 | 214:55 | 214.9167 | 97.8111 | 97.0736 | 29 | 7666 | 17.65 | 29 | 17.65
2 | Channagiri | 1 | 1 | 7:30 | 218:30 | 12:18 | 0:27 | 12:45 | 20:15 | 20.25 | 98.2863 | 97.2782 | 497:54 | 497.9 | 96.1955 | 93.2203 | 38 | 7989 | 20.25 | 38 | 20.25
3 | Harihara | 11 | 11 | 1:05 | 19:40 | 110:13 | 12:28 | 122:41 | 123:46 | 11.2515 | 98.5009 | 98.4877 | 1664:14 | 151.2939 | 97.9642 | 97.9399 | 273 | 14402 | 123.7667 | 24.8182 | 11.2515
4 | Honnali | 2 | 2 | 1:10 | 14:43 | 34:20 | 2:20 | 36:40 | 37:50 | 18.9167 | 97.5358 | 97.4574 | 378:43 | 189.3583 | 97.5218 | 97.4216 | 78 | 12996 | 37.8333 | 39 | 18.9167
5 | Harapanahalli | 4 | 4 | 1:05 | 6:09 | 22:45 | 6:20 | 29:05 | 30:10 | 7.5417 | 99.0227 | 98.9863 | 532:59 | 133.2458 | 98.2066 | 98.1857 | 72 | 3931 | 30.1667 | 18 | 7.5417
6 | Holalkere | 1 | 1 | 1:35 | 17:03 | 13:22 | 9:44 | 23:06 | 24:41 | 24.6833 | 96.8952 | 96.6823 | 291:06 | 291.1 | 96.2684 | 96.0362 | 83 | 4636 | 24.6833 | 83 | 24.6833
7 | Hosadurga | 2 | 2 | 2:45 | 39:00 | 25:19 | 21:36 | 46:55 | 49:40 | 24.8333 | 96.847 | 96.6622 | 573:26 | 286.7167 | 96.3614 | 96.0959 | 147 | 11625 | 49.6667 | 73.5 | 24.8333
8 | Hiriyur | 3 | 3 | 15:48 | 75:30 | 50:38 | 10:31 | 61:09 | 76:57 | 25.6522 | 97.2603 | 96.5521 | 685:11 | 228.3947 | 97.2327 | 96.8901 | 155 | 3495 | 76.9567 | 51.6667 | 25.6522
9 | Challakere | 5 | 5 | 16:25 | 78:24 | 59:11 | 8:14 | 67:25 | 83:50 | 16.7664 | 98.1877 | 97.7465 | 1005:37 | 201.1246 | 97.4749 | 97.2614 | 191 | 17818 | 83.8318 | 38.2 | 16.7664
10 | Molakalmuru | 1 | 1 | 9:44 | 46:28 | 7:03 | 1:03 | 8:06 | 17:50 | 17.8275 | 98.9113 | 97.6038 | 226:37 | 226.6129 | 97.547 | 96.9143 | 33 | 896 | 17.8275 | 33 | 17.8275
11 | Tumkur | 6 | 6 | 19:00 | 146:52 | 131:00 | 71:42 | 202:42 | 221:42 | 36.95 | 95.4592 | 95.0336 | 1968:54 | 328.1486 | 95.8651 | 95.5317 | 353 | 25893 | 221.7 | 58.8333 | 36.95
12 | Tiptur | 11 | 11 | 45:09 | 284:21 | 243:11 | 43:19 | 286:30 | 331:39 | 30.1493 | 96.4993 | 95.9477 | 3793:20 | 344.8481 | 95.6563 | 95.3044 | 353 | 33646 | 331.6426 | 32.0909 | 30.1493
13 | Madhugiri | 8 | 8 | 39:00 | 459:58 | 132:15 | 24:25 | 156:40 | 195:40 | 24.4575 | 97.3679 | 96.7127 | 2707:35 | 338.4488 | 96.1744 | 95.3915 | 407 | 47990 | 195.66 | 50.875 | 24.4575
14 | Srinivaspura | 4 | 4 | 10:05 | 44:15 | 34:10 | 13:05 | 47:15 | 57:20 | 14.3333 | 98.4123 | 98.0735 | 1194:30 | 298.625 | 96.0844 | 95.9338 | 164 | 12331 | 57.3333 | 41 | 14.3333
15 | KGF | 30 | 30 | 7:12 | 29:01 | 338:50 | 96:30 | 435:20 | 442:32 | 14.7511 | 98.0496 | 98.0173 | 7348:04 | 244.9356 | 96.678 | 96.6648 | 998 | 99066 | 442.5333 | 33.2667 | 14.7511
16 | CB Pura | 11 | 11 | 37:50 | 585:00 | 111:01 | 32:51 | 143:52 | 181:42 | 16.5182 | 98.2421 | 97.7798 | 2152:06 | 195.6455 | 98.0601 | 97.336 | 233 | 40470 | 181.7 | 21.1818 | 16.5182
17 | Chintamani | 15 | 15 | 6:45 | 162:32 | 133:13 | 51:28 | 184:41 | 191:26 | 12.7622 | 98.3451 | 98.2846 | 3803:25 | 253.5611 | 96.6949 | 96.5474 | 259 | 37305 | 191.4333 | 17.2667 | 12.7622
18 | Devanahalli | 60 | 60 | 147:08 | 1730:04 | 585:54 | 576:56 | 1162:50 | 1309:58 | 21.8328 | 97.3951 | 97.0655 | 16247:19 | 270.7886 | 96.7054 | 96.3128 | 209 | 66640 | 1309.9667 | 3.4833 | 21.8328
19 | Hosakote | 61 | 61 | 186:53 | 2650:36 | 668:30 | 355:30 | 1024:00 | 1210:53 | 19.8505 | 97.7437 | 97.3319 | 17662:46 | 289.5534 | 96.649 | 96.0573 | 188 | 66443 | 1210.8833 | 3.082 | 19.8505
20 | Nelamangala | 63 | 63 | 58:17 | 867:29 | 760:09 | 358:23 | 1118:32 | 1176:49 | 18.6796 | 97.6136 | 97.4893 | 14072:31 | 223.3733 | 97.1459 | 96.9584 | 102 | 109352 | 1176.8167 | 1.619 | 18.6796
21 | Doddaballapura | 53 | 53 | 197:48 | 1054:26 | 454:12 | 404:47 | 858:59 | 1056:47 | 19.9393 | 97.8216 | 97.32 | 13153:40 | 248.1824 | 96.8915 | 96.6206 | 133 | 87096 | 1056.7833 | 2.5094 | 19.9393
22 | Bangalore south | 20 | 20 | 11:56 | 538:56 | 340:23 | 78:20 | 418:43 | 430:39 | 21.5325 | 97.186 | 97.1058 | 5178:24 | 258.92 | 96.8413 | 96.4744 | 524 | 6185 | 430.65 | 26.2 | 21.5325
23 | Magadi | 12 | 12 | 74:50 | 625:51 | 275:58 | 62:40 | 338:38 | 413:28 | 34.4556 | 96.2071 | 95.3689 | 2973:44 | 247.8111 | 97.3358 | 96.6257 | 255 | 38386 | 413.4667 | 21.25 | 34.4556
24 | Anekal | 127 | 127 | 494:33 | 5174:41 | 2473:09 | 913:57 | 3387:06 | 3881:39 | 30.5642 | 96.4153 | 95.8919 | 1352.3715 | 255.5663 | 97.0749 | 96.5201 | 3500 | 237684 | 3881.65 | 27.5591 | 30.5642
25 | Ramanagara | 35 | 35 | 0:54 | 119:39 | 314:23 | 107:26 | 421:49 | 422:43 | 12.0776 | 98.3801 | 98.3767 | 6163:31 | 176.1005 | 97.6487 | 97.6021 | 915 | 5641 | 422.7167 | 26.1429 | 12.0776
26 | Channapatna | 7 | 7 | 3:14 | 278:07 | 94:15 | 17:22 | 111:37 | 114:51 | 16.4071 | 97.8568 | 97.7947 | 1808:39 | 258.3786 | 97.0228 | 96.4818 | 659 | 34999 | 114.85 | 94.1429 | 16.4071
27 | Kanakapura | 22 | 22 | 5:29 | 75:59 | 242:00 | 78:01 | 320:01 | 325:30 | 14.7955 | 98.0449 | 98.0114 | 3695:09 | 167.9614 | 97.76 | 97.7129 | 1941 | 19886 | 325.5 | 88.2273 | 14.7955
|  | 576 | 576 | 58.6524 | #REF! | 319.9269 | 140.0839 | 11040:16 | 518.6633 | 21.611 | 97.4238 | 97.0953 | 6580.2245 | 274.176 | #REF! | 96.2667 |  |  |  |  | 0
* Feeder Reliabilty Index at 11kv feeder level = {[Total No of 11kv Feeders x 24 hrs x No. of days in the Month] - [outage duration of all 11kv feeders during the month in hrs as in column 8]} x 100 / [Total No of 11kv Feeders x 24 hrs x No. of days in in a month) | [20 empty] | #DIV/0!
* Cummulative Feeder Reliabilty Index at 11kv feeder level = {[Total No of 11kv Feeders x 24 hrs x No. of days in the year from Apr-09 to current month] - [outage duration of all 11kv feeders during the year in hrs as in column 13} x 100 / [Total No of 11kv Feeders x 24 hrs x No. of days in the year from Apr-09 to current month) | [20 empty] | #DIV/0!
**Cummulative Reliabilty of supply of power to consumers= {[Total No of Feeders x 24 hrs x No. of days in the year from Apr-09 to current month] - [Sum of outage duration including outage in higher voltages along with 11kv Outage during the month in hrs a | [20 empty] | #DIV/0!
#DIV/0!
#DIV/0!
Note: 1. In Devanahalli division, 4 feeders were newly added in the month of Feb-18.

## Jan 19- ANX111
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
Annexure -III Form-III
RELIABILITY INDICES FOR RURAL AREAS IN BESCOM FOR JANUARY-2019 OF FY 2018-19
Sl. No | Name of the Division | Total No. of 11 KV Feeders | Total No. of Feeders affected | Outage due to Incoming Supply Failure (In Hrs) | Cummulative Outage due to Incoming Supply Failure ( in Hrs) | Outage at 11 KV Level(in Hrs) |  |  | Reliability for Jan-2019 |  |  |  | Reliability for cummulative period From Apr-2018 |  |  |  | SAIFI & SAIDI of feeders for Jan-2019
[6 empty] | Scheduled Outage | Unscheduled Outage | Total | Sum of outage duration of all feeders (in Hr:mm:ss) | Outage duration per feeder (in Hrs/Fdr) | Feeder Reliability Index at 11 KV feeder in % | Reliability of supply of power to consumers in % | Cummulative outage duration of all feeders (In Hrs) | Cummulative outage duration of all feeders (In Hrs/Feeder) | Cummulative feeder relaibility Index @ 11 KV feeder level in % | Cummulative relaibility of supply of Power to consumers | Total No. of Feeders Interruption | Total No. of Consumers | Sum of outage duration of all feeders (in Hrs) | SAIFI | SAIDI
1 | 2a | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16 | 17 | 18 | 18 | 19=17/3 | 20=18/3
1 | Davanagere | 269 | 267 | 224:47 | 2304:04 | 4789:41 | 1125:48 | 5915:29 | 6140:16 | 17.1197 | 97.0443 | 96.9319 | 3573.3911 | 318.8156 | 95.7755 | 95.6588 | 11141 | 264196 | 6140.2733 | 41.4164 | 22.8263
2 | Harihara | 197 | 197 | 15:15 | 131:00 | 4289:33 | 1055:18 | 5344:51 | 5360:06 | 20.4065 | 96.3533 | 96.3429 | 3009.1097 | 366.592 | 95.0173 | 95.0083 | 6369 | 207717 | 5360.1 | 32.3299 | 27.2086
3 | Chitradurga | 178 | 178 | 80:21 | 677:18 | 1383:04 | 2493:36 | 3876:40 | 3957:01 | 16.6728 | 97.0727 | 97.012 | 2085.668 | 281.2137 | 96.2226 | 96.1708 | 13075 | 218511 | 3957.0167 | 73.4551 | 22.2304
4 | Hiriyur | 212 | 212 | 130:40 | 470:05 | 2550:18 | 1096:56 | 3647:14 | 3777:54 | 13.3652 | 97.6876 | 97.6048 | 2462.7183 | 278.7983 | 96.2339 | 96.2037 | 5316 | 247369 | 3777.9069 | 25.0755 | 17.8203
5 | Tumkur | 305 | 305 | 60:00 | 909:00 | 3472:00 | 3365:00 | 6837:00 | 6897:00 | 16.9598 | 96.987 | 96.9606 | 3227.2608 | 253.9484 | 96.5827 | 96.5421 | 8532 | 2622465 | 6897 | 27.9738 | 22.6131
6 | Tiptur | 194 | 194 | 51:00 | 595:00 | 2156:00 | 3856:00 | 6012:00 | 6063:00 | 23.4394 | 95.8347 | 95.7994 | 2592.9711 | 320.7799 | 95.6738 | 95.6321 | 6523 | 204762 | 6063 | 33.6237 | 31.2526
7 | Madhugiri | 307 | 307 | 64:00 | 1143:07 | 3156:00 | 1756:00 | 4912:00 | 4976:00 | 12.1564 | 97.8495 | 97.8214 | 3416.1009 | 267.0567 | 96.4143 | 96.3636 | 6894 | 400356 | 4976 | 22.456 | 16.2085
8 | Kunigal | 105 | 105 | 32:00 | 408:35 | 1825:00 | 1105:00 | 2930:00 | 2962:00 | 21.1571 | 96.2494 | 96.2084 | 1616.6201 | 369.5132 | 95.0215 | 94.9685 | 2954 | 45623 | 2962 | 28.1333 | 28.2095
9 | Kolar | 152 | 152 | 1481:14 | 5945:38 | 1448:24 | 3822:46 | 5271:10 | 6752:24 | 33.3178 | 95.3389 | 94.0291 | 2390.7882 | 377.4929 | 95.3925 | 94.8598 | 3987 | 149058 | 6752.4 | 26.2303 | 44.4237
10 | KGF | 196 | 183 | 18:20 | 143:28 | 1952:01 | 3889:10 | 5841:11 | 5859:31 | 22.4216 | 95.9944 | 95.9818 | 2865.7097 | 350.9032 | 95.2319 | 95.2219 | 4779 | 292779 | 5859.5167 | 24.3827 | 29.8955
11 | CB Pura | 194 | 194 | 844:30 | 8833:16 | 1425:24 | 884:02 | 2309:26 | 3153:56 | 12.193 | 98.4 | 97.8149 | 1788.184 | 221.2186 | 97.6078 | 96.9878 | 3893 | 204822 | 3153.9333 | 20.067 | 16.2574
12 | Chintamani | 147 | 147 | 30:05 | 360:37 | 1479:04 | 614:36 | 2093:40 | 2123:45 | 10.8355 | 98.0857 | 98.0582 | 1292.1097 | 210.9567 | 97.1609 | 97.1275 | 1279 | 193270 | 2123.75 | 8.7007 | 14.4473
13 | Devanahalli | 33 | 33 | 15:28 | 788:46 | 328:40 | 343:13 | 671:53 | 687:21 | 15.6216 | 97.2634 | 97.2004 | 10637:46 | 322.3566 | 95.9361 | 95.6106 | 55 | 36850 | 687.35 | 1.6667 | 20.8288
14 | Hosakote | 32 | 32 | 106:57 | 1068:20 | 86:30 | 102:07 | 188:37 | 295:34 | 6.9273 | 99.2078 | 98.7585 | 6854:30 | 214.2031 | 97.5379 | 97.0833 | 95 | 26828 | 295.5667 | 2.9688 | 9.2365
15 | Nelamangala | 15 | 15 | 19:48 | 174:17 | 204:41 | 44:14 | 248:55 | 268:43 | 13.4358 | 97.7696 | 97.5921 | 3239:19 | 215.9544 | 97.2177 | 97.0594 | 31 | 23709 | 268.7167 | 2.0667 | 17.9144
16 | Doddaballapura | 39 | 39 | 190:32 | 973:24 | 164:11 | 220:36 | 384:47 | 575:19 | 11.0638 | 98.6739 | 98.0172 | 7881:53 | 202.0996 | 97.588 | 97.2481 | 119 | 61014 | 575.3167 | 3.0513 | 14.7517
17 | Magadi | 42 | 42 | 24:52 | 271:48 | 208:33 | 267:10 | 475:43 | 500:35 | 8.939 | 98.4776 | 98.398 | 11478:21 | 273.294 | 96.3668 | 96.2787 | 1885 | 52468 | 500.5833 | 44.881 | 11.9187
18 | Chandapura | 19 | 19 | 17:18 | 99:23 | 165:38 | 124:17 | 289:55 | 307:13 | 12.127 | 97.9491 | 97.8267 | 4105:44 | 216.0912 | 97.1288 | 97.0576 | 392 | 45111 | 307.2167 | 20.6316 | 16.1693
19 | Ramanagara | 39 | 39 | 19:09 | 116:35 | 401:50 | 456:35 | 858:25 | 877:34 | 16.8764 | 97.0416 | 96.9756 | 11748:34 | 301.2453 | 95.9388 | 95.8981 | 3176 | 37447 | 877.5736 | 81.4359 | 22.5019
20 | Channapatna | 47 | 47 | 15:38 | 300:29 | 359:50 | 248:54 | 608:44 | 624:22 | 9.9633 | 98.2592 | 98.2145 | 15832:17 | 336.8571 | 95.5002 | 95.4132 | 4725 | 52035 | 624.3667 | 100.5319 | 13.2844
21 | Kanakapura | 110 | 110 | 45:24 | 256:54 | 2536:27 | 691:36 | 3228:03 | 3273:27 | 22.319 | 96.0557 | 96.0002 | 1240.4577 | 270.6453 | 96.3465 | 96.3147 | 1154 | 101838 | 3273.45 | 10.4909 | 29.7586
|  | 2245 | 2230 | 135.8764 | #REF! | 1089.9961 | 954.8781 | 2044.8742 | 2180.7506 | 17.4849 | 97.0618 | 96.8665 | 27427.6286 | 293.213 | #REF! | 96.0074 |  |  |  | 0
* Feeder Reliabilty Index at 11kv feeder level = {[Total No of 11kv Feeders x 24 hrs x No. of days in the Month] - [outage duration of all 11kv feeders during the month in hrs as in column 8]} x 100 / [Total No of 11kv Feeders x 24 hrs x No. of days in | [19 empty] | #DIV/0!
#DIV/0!
**Reliabilty of supply of power to consumers= {[Total No of Feeders x 24 hrs x No. of days in the Month] - [Sum of outage duration including outage in higher voltages along with 11kv Outage during the month in hrs as in column 9]} x 100 / [Total No of Fee | [19 empty] | #DIV/0!
#DIV/0!
#DIV/0!
* Cummulative Feeder Reliabilty Index at 11kv feeder level = {[Total No of 11kv Feeders x 24 hrs x No. of days in the year from Apr-09 to current month] - [outage duration of all 11kv feeders during the year in hrs as in column 13} x 100 / [Total No of | [19 empty] | #DIV/0!
#DIV/0!
**Cummulative Reliabilty of supply of power to consumers= {[Total No of Feeders x 24 hrs x No. of days in the year from Apr-09 to current month] - [Sum of outage duration including outage in higher voltages along with 11kv Outage during the month in hrs a | [19 empty] | #DIV/0!
#DIV/0!
Note :
1. In Kolar Division- 1 No. new feeder [F6- Dimbal (Agri) feeder is newly added in Somayajalahalli muss, srinivaspura sub-dvn in Jan-2019]. 2. In KGF Division - 2 Nos. new feeders [Nangli -F17- G.Marandahalli feeder and Masti Muss: F14- Alahalli feeder are added during Jan-19] 3. In Chintamani Division - 2Nos. of new feeders [ Feeder F-15 Gudihalli and F-16 Byranayakanahalli feeders are Charged During the month of Jan-2019]