## Annexure 1
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
A. RELIABILITY INDICES FOR DISTRICT HEAD QUARTERS IN BESCOM FOR THE MONTH OF MARCH-2019 OF FY 2018-19
ANX-I
Sl. No | Name of the District Head Quarters | Total No. of 11 KV Feeders | Total No. of Feeders affected | Outage due to Incoming Supply Failure (In Hrs) | Cumulative Outage due to Incoming Supply Failure ( in Hrs) for FY… | Outage at 11 KV Level (in Hrs) |  |  | Reliability for the month |  |  |  | Reliability for cumulative period FY 2018-19 |  |  |  | SAIFI & SAIDI of feeders for Mar-19
[6 empty] | Scheduled Outage | Unscheduled Outage | Total | Sum of outage duration of all feeders (in Hrs) | Outage duration per feeder (in Hrs/ Fdr) | Feeder Reliability Index at 11 KV feeder 11 in % | Reliability of supply of power to consumers in % | Cumulative outage duration of all feeders (In Hrs) for FY -18-19 | Cumulative outage duration of all feeders (In Hrs/ Feeder) | Cumulative feeder relaibility Index @ 11 KV feeder level in % | Cumulative relaibility of supply of Power to consumers | Total No. of Feeders Interruption | Total number of consmers connected with the feeder | Sum of outage duration of all feeders (in Hrs) | SAIFI | SAIDI
1 | 2 | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16 | 17 | 18 | 19 | 20 | 21
1 | Davangere | 35 | 32 | 3:59 | 67:43 | 275:13 | 86:55 | 362:08 | 366:07 | 10:28 | 98.6093 | 98.4622 | 4274:26 | 122:08 | 98.6059 | 99.9564 | 741 | 157116 | 366.12 | 23.1562 | 11.4413
2 | Chitradurga | 11 | 11 | 2:45 | 51:47 | 74:31 | 49:01 | 123:32 | 126:17 | 11:29 | 98.4906 | 98.4569 | 2651:48 | 241:04 | 97.248 | 99.7498 | 815 | 42244 | 126.28 | 74.0909 | 11.48
3 | Tumkur | 30 | 30 | 10:00 | 181:04 | 278:00 | 121:00 | 399:00 | 409:00 | 13:38 | 98.2124 | 98.1676 | 6122:39 | 204:05 | 97.6702 | 99.9223 | 495 | 98569 | 409 | 16.5 | 13.6333
4 | BMAZ, North | 677 | 626 | 1028:30 | 4201:02 | 4608:09 | 3195:37 | 7803:46 | 8832:16 | 13:03 | 99.94 | 99.93 | 3392.2089 | 120:15 | 99.93 | 99.29 | 6217 | 2640974 | 8832.25 | 9.9313 | 14.109
5 | BMAZ, South | 704 | 604 | 311:39 | 3169:38 | 3947:08 | 5868:08 | 9815:16 | 10126:55 | 13:15 | 98.2732 | 98.2184 | 3506.8142 | 110:10 | 99.7769 | 98.7424 | 7614 | 2560163 | 10126.92 | 12.606 | 16.7664
5 | Ramanagara | 4 | 4 | 3:57 | 553:55 | 43:59 | 30:17 | 74:16 | 78:13 | 19.5542 | 97.5045 | 97.3718 | 5875:11 | 1468.7959 | 84.8137 | 83.2329 | 168 | 38682 | 78.2167 | 42 | 20
6 | Kolar | 17 | 17 | 5:51 | 1600:12 | 109:34 | 227:31 | 337:05 | 342:56 | 20.1725 | 97.3349 | 97.2886 | 11059:24 | 650.5529 | 93.6481 | 92.5736 | 654 | 64658 | 342.9333 | 38.4706 | 20
7 | CBPura | 9 | 9 | 13:05 | 48:05 | 106:30 | 42:40 | 149:10 | 162:15 | 18.0279 | 97.7723 | 97.5769 | 189:11 | 21.0205 | 99.821 | 99.76 | 297 | 55868 | 162.2508 | 33 | 18.0279
Assistant General Manager(Elec)-3 | [6 empty] | Chief General Manager(Elec) | [8 empty] | Deputy General Manager(Elec)
Operations-3, BESCOM | [6 empty] | Operations, BESCOM | [8 empty] | Operations-3,BESCOM

## Annexure II
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
A. RELIABILITY INDICES FOR TOWN AND CITIES BESCOM FOR THE MONTH OF MARCH-2019 OF FY 2018-19
ANX-II
Sl. No | Name of the District Head Quarters | Total No. of 11 KV Feeders | Total No. of Feeders affected | Outage due to Incoming Supply Failure (In Hrs) | Cumulative Outage due to Incoming Supply Failure ( in Hrs) for FY… | Outage at 11 KV Level (in Hrs) |  |  | Reliability for the month |  |  |  | Reliability for cumulative period FY 18-19 |  |  |  | SAIFI & SAIDI of feeders for Mar-19
[6 empty] | Scheduled Outage | Unscheduled Outage | Total | Sum of outage duration of all feeders (in Hrs) | Outage duration per feeder (in Hrs/ Fdr) | Feeder Reliability Index at 11 KV feeder 11 in % | Reliability of supply of power to consumers in % | Cumulative outage duration of all feeders (In Hrs) for FY -18-19 | Cumulative outage duration of all feeders (In Hrs/ Feeder) | Cumulative feeder relaibility Index @ 11 KV feeder level in % | Cumulative relaibility of supply of Power to consumers | Total No. of Feeders Interruption | Total number of consmers connected with the feeder | Sum of outage duration of all feeders (in Hrs) | SAIFI | SAIDI
1 | 2 | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16 | 17 |  | 18 | 19 | 20
1 | Jagalur | 1 | 1 | 11:55 | 69:10 | 17:39 | 1:33 | 19:12 | 31:07 | 31:07 | 97.4194 | 95.8177 | 262:16 | 262:16 | 97.0061 | 97.0061 | 42 | 7711 | 31.12 | 42 | 31.12
2 | Channagiri | 1 | 1 | 31:20 | 255:30 | 19:27 | 0:51 | 20:18 | 51:38 | 51:38 | 97.2715 | 93.06 | 584:48 | 584:48 | 93.3242 | 93.3242 | 42 | 7989 | 51.38 | 42 | 51.38
3 | Harihara | 11 | 11 | 2:53 | 24:48 | 247:59 | 13:42 | 261:41 | 264:34 | 24:03 | 96.8025 | 96.7673 | 975:13 | 88:39 | 98.9879 | 99.908 | 413 | 14402 | 264.57 | 37.5455 | 24.0518
4 | Honnali Town | 2 | 2 | 2:15 | 18:10 | 60:40 | 3:15 | 63:55 | 66:10 | 33:05 | 95.7045 | 95.5533 | 336:49 | 168:24 | 98.0775 | 99.0388 | 90 | 12996 | 66.17 | 45 | 33.085
5 | Harapanahalli | 4 | 4 | 0:55 | 7:34 | 15:45 | 6:25 | 22:10 | 23:05 | 5:46 | 99.2552 | 99.2244 | 283:05 | 70:46 | 99.1921 | 99.798 | 71 | 3931 | 23.08 | 17.75 | 5.77
6 | Holalkere | 1 | 1 | 2:05 | 21:18 | 13:21 | 9:41 | 23:02 | 25:07 | 25:07 | 96.9041 | 96.6241 | 351:05 | 351:05 | 95.9922 | 95.9922 | 83 | 4636 | 25.12 | 83 | 25.12
7 | Hosadurga | 2 | 2 | 2:40 | 44:55 | 25:17 | 21:30 | 46:47 | 49:27 | 24:44 | 96.856 | 96.6767 | 468:10 | 234:05 | 97.3279 | 98.6639 | 143 | 11625 | 49.45 | 71.5 | 24.725
8 | Hiriyur | 3 | 3 | 23:43 | 118:58 | 11:04 | 9:05 | 20:09 | 43:52 | 14:37 | 99.0972 | 98.0349 | 453:18 | 151:06 | 98.2751 | 99.425 | 120 | 3495 | 43.85 | 40 | 14.6167
9 | Challakere | 5 | 5 | 24:37 | 123:33 | 36:42 | 11:16 | 47:58 | 72:35 | 14:31 | 98.7106 | 98.0487 | 518:01 | 103:36 | 98.8173 | 99.7635 | 186 | 17818 | 72.58 | 37.2 | 14.516
10 | Molakalmuru | 1 | 1 | 14:35 | 73:13 | 8:02 | 1:11 | 9:13 | 23:48 | 23:48 | 98.7612 | 96.8 | 265:07 | 265:07 | 96.9736 | 96.9736 | 26 | 896 | 23.8 | 26 | 23.8
11 | Tumkur | 6 | 6 | 19:20 | 191:20 | 105:00 | 93:36 | 198:36 | 217:56 | 36:19 | 95.1 | 95.03 | 3385:22 | 564:14 | 92.77 | 96.99 | 345 | 345 | 217.9 | 57.5 | 36.3167
12 | Tiptur | 11 | 11 | 15:55 | 308:22 | 299:00 | 163:00 | 462:00 | 477:55 | 43:27 | 93.97 | 93.71 | 5299:19 | 481:45 | 94.04 | 97.61 | 903 | 903 | 477.9 | 82.0909 | 43.4455
13 | Madhugiri | 8 | 8 | 41:18 | 524:34 | 173:00 | 51:00 | 224:00 | 265:18 | 33:10 | 95.13 | 94.17 | 2805:42 | 350:43 | 95.21 | 96.2 | 303 | 303 | 265.3 | 37.875 | 33.1625
14 | Srinivaspura | 4 | 4 | 6:28 | 57:28 | 44:35 | 6:35 | 51:10 | 57:38 | 14:24 | 98.2807 | 98.0634 | 1373:23 | 343:21 | 96.2445 | 96.0805 | 173 | 12320 | 57.6 | 43.25 | 14.4
15 | KGF | 30 | 30 | 6:38 | 42:43 | 441:20 | 395:20 | 836:40 | 843:18 | 28:07 | 96.2515 | 96.2218 | 9111:27 | 303:43 | 96.5492 | 96.5329 | 1092 | 99066 | 843.3 | 36.4 | 28.11
16 | CB Pura | 11 | 11 | 23:10 | 625:15 | 80:05 | 30:40 | 110:45 | 133:55 | 12:10 | 98.6467 | 98.3637 | 2383:43 | 216:42 | 98.1751 | 97.5262 | 176 | 40470 | 133.92 | 16 | 12.1745
17 | Chintamani | 15 | 15 | 7:25 | 175:47 | 142:28 | 46:33 | 189:01 | 196:26 | 13:06 | 98.3063 | 98.2398 | 4341:13 | 289:25 | 96.83 | 96.6962 | 198 | 35925 | 196.43 | 13.2 | 13.0953
18 | Devanahalli | 60 | 60 | 115:31 | 2147:21 | 829:41 | 795:37 | 1625:18 | 1740:49 | 29:01 | 96.3591 | 96.1003 | 20506:03 | 341:46 | 96.5071 | 96.0985 | 219 | 66640 | 1740.82 | 3.65 | 29.0137
19 | Hosakote | 61 | 61 | 134:15 | 2894:39 | 807:20 | 226:23 | 1033:44 | 1167:59 | 19:09 | 97.7223 | 97.4264 | 20041:25 | 328:33 | 96.7912 | 96.2495 | 150 | 66443 | 1167.97 | 2.459 | 19.147
20 | Nelamangala | 63 | 63 | 159:32 | 1089:08 | 1188:35 | 451:08 | 1639:44 | 1799:16 | 28:34 | 96.5017 | 96.1613 | 16344:07 | 259:26 | 97.2358 | 97.0385 | 128 | 139043 | 1799.25 | 2.0317 | 28.5595
21 | Doddaballapura | 53 | 53 | 108:26 | 1204:08 | 588:19 | 544:27 | 1132:46 | 1241:12 | 23:25 | 97.1273 | 96.8523 | 15513:32 | 292:42 | 96.9179 | 96.6586 | 90 | 64472 | 1241.2 | 1.6981 | 23.4189
22 | Bangalore south | 20 | 20 | 102:34 | 702:15 | 153:53 | 326:02 | 479:55 | 582:29 | 29:07 | 96.7748 | 96.0855 | 5959:55 | 298:00 | 96.999 | 96.5982 | 621 | 36282 | 582.48 | 31.05 | 29.124
23 | Magadi | 12 | 12 | 53:21 | 717:32 | 221:11 | 51:24 | 272:35 | 325:56 | 27:10 | 96.9469 | 96.3493 | 3541:18 | 295:06 | 97.3138 | 96.6312 | 364 | 26660 | 325.93 | 30.3333 | 27.1608
24 | Anekal | 127 | 127 | 442:30 | 6238:52 | 2431:16 | 817:13 | 3248:29 | 3690:59 | 29:04 | 96.562 | 96.0937 | 1559.2035 | 294:39 | 97.1972 | 96.6364 | 4395 | 239663 | 3690.98 | 34.6063 | 29.0628
25 | Ramanagara | 35 | 35 | 8:55 | 129:21 | 507:17 | 97:17 | 604:34 | 613:29 | 17:32 | 97.6783 | 97.6441 | 7285:46 | 208:10 | 97.6659 | 97.6237 | 947 | 5667 | 613.48 | 27.0571 | 17.528
26 | Channapatna | 7 | 7 | 19:41 | 308:19 | 136:03 | 24:20 | 160:23 | 180:04 | 25:43 | 96.9204 | 96.5425 | 2196:27 | 313:47 | 96.9209 | 96.4181 | 659 | 33104 | 180.07 | 94.1429 | 25.7243
27 | Kanakapura | 22 | 22 | 15:19 | 97:08 | 207:36 | 42:10 | 249:46 | 265:05 | 12:03 | 98.4741 | 98.3805 | 4191:12 | 190:31 | 97.8756 | 97.8252 | 412 | 19434 | 265.08 | 18.7273 | 12.0491
28

## ANX-III
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
A. RELIABILITY INDICES FOR RURAL AREAS OF BESCOM FOR THE MONTH OF MARCH-2019 OF FY 2018-19
ANX-III
Sl. No | Name of the District Head Quarters | Total No. of 11 KV Feeders | Total No. of Feeders affected | Outage due to Incoming Supply Failure (In Hrs) | Cumulative Outage due to Incoming Supply Failure ( in Hrs) for FY… | Outage at 11 KV Level (in Hrs) |  |  | Reliability for the month |  |  |  | Reliability for cumulative period FY 2018-19 |  |  |  | SAIFI & SAIDI of feeders for Mar-19
[6 empty] | Scheduled Outage | Unscheduled Outage | Total | Sum of outage duration of all feeders (in Hrs) | Outage duration per feeder (in Hrs/ Fdr) | Feeder Reliability Index at 11 KV feeder 11 in % | Reliability of supply of power to consumers in % | Cumulative outage duration of all feeders (In Hrs) for FY -18-19 | Cumulative outage duration of all feeders (In Hrs/ Feeder) | Cumulative feeder relaibility Index @ 11 KV feeder level in % | Cumulative relaibility of supply of Power to consumers | Total No. of Feeders Interruption | Total number of consmers connected with the feeder | Sum of outage duration of all feeders (in Hrs) | SAIFI | SAIDI
1 | 2 | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16 | 17 |  | 18 | 19 | 20
1 | Davanagere | 271 | 269 | 434:53 | 3169:31 | 5077:07 | 1348:32 | 6425:39 | 6860:32 | 25:19 | 96.8131 | 96.5721 | 4793.1206 | 424:29 | 95.1543 | 99.982 | 12178.0104 | 267162 | 6860.53 | 45.2714 | 25.5038
2 | Harihara | 197 | 197 | 27:23 | 333:05 | 4529:46 | 1380:38 | 5910:24 | 5937:47 | 30:08 | 95.9675 | 95.9488 | 4065.2465 | 495:16 | 94.3464 | 99.9713 | 6936 | 207717 | 5937.78 | 35.2081 | 30.141
3 | Chitradurga | 178 | 178 | 101:20 | 920:48 | 1380:06 | 2485:00 | 3865:06 | 3966:26 | 22:17 | 97.0814 | 97.0049 | 2686.8257 | 362:16 | 95.8645 | 99.9768 | 12717 | 218511 | 3966.43 | 71.4438 | 22.2833
4 | Hiriyur | 213 | 213 | 196:01 | 913:34 | 4105:00 | 721:00 | 4826:00 | 4956:03 | 23:16 | 96.9547 | 96.8726 | 3176.1548 | 357:53 | 95.9147 | 99.9808 | 6109 | 248901 | 4956.033 | 28.6808 | 23.2678
5 | Tumkur | 305 | 305 | 75:00 | 1112:00 | 3356:00 | 2968:00 | 6324:00 | 6399:00 | 20:59 | 97.2131 | 97.1801 | 4481.8197 | 352:40 | 95.9741 | 99.9868 | 7235 | 2622465 | 6399 | 23.7213 | 20.9803
6 | Tiptur | 194 | 194 | 55:00 | 760:00 | 2359:00 | 4127:00 | 6486:00 | 6541:00 | 33:43 | 95.5063 | 95.4682 | 3515.728 | 434:56 | 95.035 | 99.9744 | 6523 | 204762 | 6541 | 33.6237 | 33.7165
7 | Madhugiri | 307 | 307 | 71:30 | 1356:37 | 3125:00 | 1864:00 | 4989:00 | 1935:30 | 6:18 | 97.8158 | 99.1526 | 2813.0787 | 219:55 | 97.4896 | 99.9918 | 6894 | 400356 | 1935.5 | 22.456 | 6.3046
8 | Kunigal | 105 | 105 | 39:00 | 517:35 | 2086:00 | 1356:00 | 3442:00 | 3481:00 | 33:09 | 95.594 | 95.544 | 2448.413 | 559:38 | 93.6114 | 99.9392 | 2954 | 45623 | 3481 | 28.1333 | 33.1524
9 | Kolar | 155 | 155 | 405:09 | 8022:17 | 1527:18 | 2996:51 | 4524:09 | 4929:18 | 23.8515 | 96.0769 | 95.7255 | 2971.466 | 460.098 | 95.3386 | 94.7477 | 4073 | 149044 | 4929.3003 | 26.2774 | 31.8019
10 | KGF | 197 | 183 | 16:35 | 174:17 | 2316:30 | 3672:20 | 5988:50 | 6005:25 | 22.8633 | 95.914 | 95.9026 | 3750.9857 | 456.9729 | 94.7935 | 94.7834 | 5293 | 292779 | 6005.4175 | 26.868 | 30.4844
11 | CB Pura | 194 | 194 | 621:20 | 11555:36 | 1536:20 | 774:10 | 2310:30 | 2931:50 | 11.3344 | 98.3992 | 97.9687 | 2184.0806 | 270.1955 | 97.5955 | 96.9156 | 3894 | 204799 | 2931.8342 | 20.0722 | 15.1125
12 | Chintamani | 147 | 147 | 20:04 | 439:11 | 1422:03 | 489:16 | 1911:19 | 1931:23 | 9.854 | 98.2524 | 98.2341 | 1546.15 | 252.4327 | 97.1525 | 97.1183 | 1459 | 190311 | 1931.3842 | 9.9252 | 13.1387
13 | Devanahalli | 33 | 33 | 108:34 | 1147:47 | 605:34 | 441:08 | 1046:42 | 1155:16 | 26.2561 | 95.7368 | 95.2946 | 13974:51 | 423.4803 | 95.5628 | 95.1657 | 1467 | 36850 | 1155.2667 | 44.4545 | 35.0081
14 | Hosakote | 32 | 32 | 71:15 | 1532:29 | 160:05 | 64:32 | 224:37 | 295:52 | 6.9344 | 99.0565 | 98.7573 | 7928:42 | 247.7719 | 97.7182 | 97.1716 | 425 | 26828 | 295.8667 | 13.2812 | 9.2458
15 | Nelamangala | 15 | 15 | 78:50 | 310:01 | 153:05 | 79:15 | 232:20 | 311:10 | 15.5583 | 97.9182 | 97.2118 | 4189:02 | 279.2689 | 97.0479 | 96.812 | 32 | 16170 | 311.1667 | 2.1333 | 20.7444
16 | Doddaballapura | 39 | 39 | 28:05 | 1078:17 | 239:54 | 486:15 | 726:09 | 754:14 | 14.5045 | 97.4974 | 97.4006 | 10138:26 | 259.9598 | 97.348 | 97.0324 | 101 | 60914 | 754.2333 | 2.5897 | 19.3393
17 | Magadi | 42 | 42 | 16:55 | 336:14 | 225:35 | 355:13 | 580:48 | 597:43 | 10.6735 | 98.1413 | 98.0872 | 14109:18 | 335.9357 | 96.2565 | 96.1651 | 1287 | 52468 | 597.7167 | 30.6429 | 14.2313
18 | Chandapura | 19 | 19 | 20:21 | 167:58 | 109:27 | 57:35 | 167:02 | 187:23 | 7.3967 | 98.8184 | 98.6744 | 4915:26 | 258.707 | 97.1476 | 97.0467 | 305 | 44202 | 187.3833 | 16.0526 | 9.8623
19 | Ramanagara | 39 | 39 | 17:16 | 154:38 | 671:50 | 456:35 | 1128:25 | 1145:41 | 22.0325 | 96.111 | 96.0515 | 14445:01 | 370.3852 | 95.8171 | 95.7719 | 4284 | 34616 | 1145.6903 | 109.8462 | 29.3767
20 | Channapatna | 47 | 47 | 19:38 | 388:17 | 496:20 | 737:51 | 1234:11 | 1253:49 | 20.0077 | 96.4705 | 96.4144 | 18678:43 | 397.4195 | 95.5576 | 95.4632 | 2657 | 55557 | 1253.8167 | 56.5319 | 26.677
21 | Kanakapura | 110 | 110 | 15:05 | 316:22 | 1598:16 | 434:46 | 2033:02 | 2048:07 | 13.9644 | 97.5158 | 97.4974 | 1561.257 | 340.6379 | 96.1443 | 96.1114 | 2883 | 103670 | 2048.1167 | 26.2091 | 18.6192