## Annexure 1
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
A. RELIABILITY INDICES FOR DISTRICT HEAD QUARTERS IN BESCOM FOR THE MONTH OF JUNE-2019 OF FY 2019-20
ANX-I
Sl. No | Name of the District Head Quarters | Total No. of 11 KV Feeders | Total No. of Feeders affected | Outage due to Incoming Supply Failure (In Hrs) | Cumulative Outage due to Incoming Supply Failure ( in Hrs) for FY 19-20 | Outage at 11 KV Level (in Hrs) |  |  | Reliability for the month |  |  |  | Reliability for cumulative period FY 19-20 |  |  |  | SAIFI & SAIDI of feeders for JUNE-19
[6 empty] | Scheduled Outage | Unscheduled Outage | Total | Sum of outage duration of all feeders (in Hrs) | Outage duration per feeder (in Hrs/ Fdr) | Feeder Reliability Index at 11 KV feeder 11 in % | Reliability of supply of power to consumers in % | Cumulative outage duration of all feeders (In Hrs) for FY -19-20 | Cumulative outage duration of all feeders (In Hrs/ Feeder) | Cumulative feeder relaibility Index @ 11 KV feeder level in % | Cumulative relaibility of supply of Power to consumers | Total No. of Feeders Interruption | Total number of consmers connected with the feeder | Sum of outage duration of all feeders (in Hrs) | SAIFI | SAIDI
1 | 2 | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16 | 17 | 18 | 19 | 20=17/4 | 21=18/4
1 | Davangere | 36 | 33 | 7:53 | 13:53 | 420:34 | 206:16 | 626:50 | 640:43 | 17:48 | 97.5816 | 97.5281 | 1586:06 | 44:04 | 98.0003 | 97.9827 | 1103 | 157114 | 640.72 | 33.4242 | 19.4158 | 24:00 | 0.71667 | 60
2 | Chitradurga | 11 | 11 | 1:45 | 6:45 | 106:25 | 78:21 | 184:46 | 191:31 | 17:25 | 97.6671 | 97.5819 | 562:10 | 51:06 | 97.6881 | 97.66 | 903 | 42244 | 191.52 | 82.0909 | 17.4109 | 24:00 | 0.51667 | 60
3 | Tumkur | 30 | 30 | 10:00 | 34:23 | 412:31 | 255:13 | 667:44 | 702:07 | 23:24 | 96.9087 | 96.7494 | 1618:42 | 53:57 | 97.5819 | 97.5294 | 697 | 98569 | 702.12 | 23.2333 | 23.404 | 24:00 | 0.11667 | 60
4 | BMAZ, North | 679 | 626 | 515:16 | 1520:20 | 2361:08 | 4016:22 | 6377:30 | 7897:50 | 11:38 | 98.6955 | 98.3845 | 21458:37 | 31:36 | 98.6555 | 98.553 | 10119 | 2624414 | 7897.83 | 16.1645 | 12.6163 | 24:00 | 0.83333 | 60
5 | BMAZ, South | 775 | 581 | 476:15 | 1097:21 | 2878:25 | 3006:28 | 5884:53 | 6982:14 | 9:01 | 98.9454 | 98.7487 | 1229.2409 | 38:04 | 98.3218 | 98.257 | 11147 | 2570861 | 6982.23 | 19.1859 | 12.0176 | 24:00 | 0.23333 | 60
5 | Ramanagara | 4 | 4 | 1:20 | 5:00 | 13:25 | 7:40 | 21:05 | 26:05 | 6:31 | 99.2679 | 99.0943 | 93:37 | 23:24 | 98.9856 | 98.9284 | 3 | 169870 | 26.08 | 0.75 | 6.52 | 24:00 | 0.083333 | 60
6 | Kolar | 17 | 17 | 4:57 | 19:52 | 268:22 | 535:22 | 803:44 | 823:36 | 48:27 | 93.4336 | 93.2712 | 1877:37 | 110:27 | 94.9964 | 94.9429 | 805 | 51239 | 823.6 | 47.3529 | 48.4471 | 24:00 | 0.6 | 60
7 | CBPura | 9 | 9 | 22:05 | 98:06 | 166:30 | 112:35 | 279:05 | 377:11 | 41:55 | 95.6932 | 94.1793 | 873:14 | 97:02 | 96.0565 | 95.5574 | 550 | 55869 | 314.37 | 61.1111 | 34.93 | 24:00 | 0.36667 | 60
1: NOTE: Total 09 nos of New Feeders were added during the month of JUNE-2019 in BMAZ, South. 07 nos of feeders (F10, F11, F12, F2, F4, F7, F8) emanating from 66/11 KV Muss Shree Gandada Kavalu & 02 nos of feeders (F14, F15) emanating from 66/11 KV Muss Vrishabhavathi. | [16 empty] | 60
1: Assitant General Manager-3(Elec); Unscheduled Outage 7: Chief General Manager(Elec) | [8 empty] | Deputy General Manager(Elec) | [7 empty] | 60
1: Operations-3, BESCOM; Unscheduled Outage 7: Operations, BESCOM | [8 empty] | Operations-3,BESCOM | [7 empty] | 60

## Annexure II
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
B. RELIABILITY INDICES FOR TOWNS AND CITIES BESCOM FOR THE MONTH OF JUNE-2019 OF FY 2019-20
ANX-II
Sl. No | Name of the TOWNS & CITIES | Total No. of 11 KV Feeders | Total No. of Feeders affected | Outage due to Incoming Supply Failure (In Hrs) | Cumulative Outage due to Incoming Supply Failure ( in Hrs) for FY… | Outage at 11 KV Level (in Hrs) |  |  | Reliability for the month |  |  |  | Reliability for cumulative period FY 19-20 |  |  |  | SAIFI & SAIDI of feeders for JUNE-19
[6 empty] | Scheduled Outage | Unscheduled Outage | Total | Sum of outage duration of all feeders (in Hrs) | Outage duration per feeder (in Hrs/ Fdr) | Feeder Reliability Index at 11 KV feeder 11 in % | Reliability of supply of power to consumers in % | Cumulative outage duration of all feeders (In Hrs) for FY -19-20 | Cumulative outage duration of all feeders (In Hrs/ Feeder) | Cumulative feeder relaibility Index @ 11 KV feeder level in % | Cumulative relaibility of supply of Power to consumers | Total No. of Feeders Interruption | Total number of consmers connected with the feeder | Sum of outage duration of all feeders (in Hrs) | SAIFI | SAIDI
1 | 2 | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16 | 17 | 18 | 19 | 20=17/4 | 21=18/4
1 | Jagalur | 1 | 1 | 1:45 | 21:40 | 23:21 | 11:27 | 34:48 | 36:33 | 36:33 | 95.1667 | 94.9236 | 75:07 | 75:07 | 97.5527 | 96.5606 | 31 | 7782 | 36.55 | 31 | 36.55 | 24:00 |  | 0.55 | 146:58 | 1 | 1 | 1 | 1 | 1 | 1
2 | Channagiri | 1 | 1 | 2:05 | 30:00 | 21:00 | 3:18 | 24:18 | 26:23 | 26:23 | 96.625 | 96.3356 | 90:57 | 90:57 | 97.2092 | 95.8356 | 92 | 8134 | 26.38 | 92 | 26.38 | 24:00 |  | 0.38333 | 285:43 | 1 | 1 | 1 | 1 | 1 | 1
3 | Harihara | 11 | 11 | 2:15 | 7:55 | 56:58 | 40:06 | 97:04 | 99:19 | 9:02 | 98.7744 | 98.746 | 546:39 | 49:42 | 97.7575 | 97.7246 | 441 | 14402 | 99.32 | 40.0909 | 9.0291 | 24:00 |  | 0.31667 | 169:27 | 11 | 11 | 11 | 11 | 11 | 11
4 | Honnali | 2 | 2 | 1:00 | 3:25 | 18:15 | 6:00 | 24:15 | 25:15 | 12:38 | 98.316 | 98.2465 | 71:15 | 35:38 | 98.447 | 98.3688 | 86 | 12996 | 25.25 | 43 | 12.625 | 24:00 |  | 0.25 |  | 2 | 2 | 2 | 2 | 2 | 2
5 | Harapanahalli | 4 | 4 | 0:25 | 2:30 | 57:25 | 51:20 | 108:45 | 109:10 | 27:17 | 96.224 | 96.2095 | 197:35 | 49:24 | 97.7669 | 97.7383 | 86 | 3931 | 109.17 | 21.5 | 27.2925 | 24:00 |  | 0.16667 | 401:01 | 4 | 4 | 4 | 4 | 4 | 4
6 | Holalkere | 1 | 1 | 1:55 | 5:45 | 16:15 | 12:21 | 28:36 | 30:31 | 30:31 | 96.0278 | 95.7616 | 91:00 | 91:00 | 96.0966 | 95.8333 | 95 | 4636 | 30.51 | 95 | 30.51 | 24:00 |  | 0.51667 | 991:10 | 1 | 1 | 1 | 1 | 1 | 1
7 | Hosadurga | 2 | 2 | 2:10 | 6:25 | 31:05 | 26:50 | 57:55 | 60:05 | 30:02 | 95.978 | 95.8275 | 179:04 | 89:32 | 96.0474 | 95.9005 | 171 | 11625 | 60.08 | 85.5 | 30.04 | 24:00 |  | 0.083333 | 577:27 | 2 | 2 | 2 | 2 | 2 | 2
8 | Hiriyur | 3 | 3 | 5:22 | 11:19 | 52:19 | 25:27 | 77:46 | 83:08 | 27:43 | 96.3997 | 96.1514 | 174:45 | 58:15 | 97.5056 | 97.3328 | 226 | 3495 | 83.12 | 75.3333 | 27.7067 | 24:00 |  | 0.11667 |  | 3 | 3 | 3 | 3 | 3 | 3
9 | Challakere | 5 | 5 | 5:34 | 11:45 | 75:07 | 54:05 | 129:12 | 134:46 | 26:57 | 96.4111 | 96.2564 | 368:34 | 73:43 | 96.7324 | 96.6248 | 460 | 17818 | 134.77 | 92 | 26.954 | 24:00 |  | 0.76667 |  | 5 | 5 | 5 | 5 | 5 | 5
10 | Molakalmuru | 1 | 1 | 3:18 | 6:58 | 14:42 | 14:32 | 29:14 | 32:32 | 32:32 | 95.9398 | 95.4815 | 79:21 | 79:21 | 96.6857 | 96.3668 | 106 | 896 | 32.53 | 106 | 32.53 | 24:00 |  | 0.53333 |  | 1 | 1 | 1 | 1 | 1 | 1
11 | Tumkur | 6 | 6 | 19:00 | 50:43 | 145:33 | 89:30 | 235:03 | 254:03 | 42:20 | 94.559 | 94.1192 | 649:37 | 108:16 | 95.4296 | 95.0426 | 353 | 25893 | 254.05 | 58.8333 | 42.3417 | 24:00 |  | 0.05 | [5 empty] | 6 | 6
12 | Tiptur | 11 | 11 | 27:00 | 75:36 | 342:08 | 336:20 | 678:28 | 705:28 | 64:08 | 91.4336 | 91.0927 | 1419:46 | 129:04 | 94.4049 | 94.0902 | 903 | 33646 | 705.45 | 82.0909 | 64.1318 | 24:00 |  | 0.45 | [5 empty] | 11 | 11
13 | Madhugiri | 8 | 8 | 39:00 | 107:45 | 251:00 | 118:00 | 369:00 | 408:00 | 51:00 | 93.5938 | 92.9167 | 1122:19 | 140:17 | 94.1932 | 93.5765 | 492 | 47990 | 408 | 61.5 | 51 | 24:00 |  | 0 | [5 empty] | 8 | 8
14 | Srinivaspura | 4 | 4 | 11:25 | 22:35 | 40:45 | 78:05 | 118:50 | 130:15 | 32:34 | 95.8738 | 95.4774 | 482:35 | 120:39 | 94.7344 | 94.4759 | 291 | 12339 | 130.25 | 72.75 | 32.5625 | 24:00 | 52.75 | 0.25 |  | 4 | 4 | 4 | 4 | 4 | 4
15 | KGF | 30 | 30 | 6:03 | 9:47 | 755:30 | 218:20 | 973:50 | 979:53 | 32:40 | 95.4915 | 95.4635 | 2938:27 | 97:57 | 95.5301 | 95.5152 | 1467 | 99066 | 979.833 | 48.9 | 32.6611 | 24:00 | 47.8667 | 0.88333 |  | 30 | 30 | 30 | 30 | 30 | 30
16 | CB Pura | 11 | 11 | 22:15 | 65:00 | 60:33 | 154:25 | 214:58 | 237:13 | 21:34 | 97.2858 | 97.0048 | 788:22 | 71:40 | 96.989 | 96.7184 | 715 | 41122 | 237.22 | 65 | 21.5655 | 24:00 | 33.3636 | 0.21667 |  | 11 | 11 | 11 | 11 | 11 | 11
17 | Chintamani | 15 | 15 | 6:40 | 20:59 | 326:32 | 206:28 | 533:00 | 539:40 | 35:59 | 95.0648 | 95.0031 | 1471:54 | 98:08 | 95.5711 | 95.507 | 605 | 37305 | 539.67 | 40.3333 | 35.978 | 24:00 | 28.8 | 0.66667 |  | 15 | 15 | 15 | 15 | 15 | 15
18 | Devanahalli | 60 | 60 | 46:10 | 393:07 | 2269:56 | 5445:15 | 7715:11 | 7761:21 | 129:21 | 82.1408 | 82.0339 | 1038.7069 | 415:29 | 81.2761 | 80.9761 | 305 | 66640 | 7761.35 | 5.0833 | 129.3558 | 24:00 | 1.6833 | 0.35 |  | 60 | 60 | 60 | 60 | 60 | 60
19 | Hosakote | 61 | 61 | 55:43 | 254:08 | 972:44 | 906:57 | 1879:41 | 1935:24 | 31:44 | 95.7202 | 95.5934 | 6132:05 | 100:32 | 95.5879 | 95.3972 | 199 | 66443 | 1935.4 | 3.2623 | 31.7279 | 24:00 | 1.2623 | 0.4 |  | 61 | 61 | 61 | 61 | 61 | 61
20 | Nelamangala | 66 | 66 | 29:18 | 67:04 | 1369:42 | 912:41 | 2282:23 | 2311:41 | 35:02 | 95.197 | 95.1353 | 5362:41 | 81:15 | 96.3262 | 96.2796 | 62 | 109399 | 2311.68 | 0.93939 | 35.0255 | 24:00 | 0.93939 | 0.68333 |  | 66 | 66 | 66 | 66 | 66 | 66
21 | Doddaballapura | 54 | 54 | 40:17 | 303:29 | 945:49 | 2313:19 | 3259:08 | 3299:25 | 61:06 | 91.6175 | 91.5138 | 6492:27 | 120:14 | 94.7523 | 94.4949 | 128 | 86649 | 3299.41 | 2.3704 | 61.1002 | 24:00 | 2.4151 | 0.41667 |  | 54 | 54 | 53 | 53 | 53 | 53
22 | Bangalore south | 20 | 20 | 149:18 | 384:03 | 296:13 | 315:43 | 611:56 | 761:14 | 38:04 | 95.7505 | 94.7137 | 2382:06 | 119:06 | 95.4257 | 94.5465 | 1389 | 6390 | 761.233 | 69.45 | 38.0617 | 24:00 | 0 | 0.23333 |  | 20 | 20 | 20 | 20 | 20 | 20
23 | Magadi | 11 | 11 | 62:32 | 96:29 | 283:13 | 246:51 | 530:04 | 592:36 | 53:52 | 93.3072 | 92.5177 | 1437:44 | 130:42 | 94.417 | 94.0154 | 483 | 38386 | 1222.68 | 43.9091 | 111.1527 | 24:00 | 29.3333 | 0.68333 |  | 12 | 12 | 12 | 12 | 12 | 12
24 | Anekal | 127 | 127 | 800:08 | 2099:59 | 3339:46 | 2748:02 | 6087:48 | 6887:56 | 54:14 | 93.3423 | 92.4673 | 16742:51 | 131:50 | 94.7208 | 93.9637 | 6583 | 239573 | 6887.93 | 51.8346 | 54.2357 | 24:00 | 38.1102 | 0.93333 |  | 127 | 127 | 127 | 127 | 127 | 127
25 | Ramanagara | 35 | 35 | 17:51 | 35:03 | 313:53 | 432:53 | 746:46 | 764:37 | 21:51 | 97.0366 | 96.9658 | 2104:36 | 60:08 | 97.2926 | 97.2467 | 1431 | 5752 | 764.62 | 40.8857 | 21.8463 | 24:00 | 28.8286 | 0.61667 |  | 35 | 35 | 35 | 35 | 35 | 35
26 | Channapatna | 7 | 7 | 10:31 | 31:33 | 378:31 | 94:30 | 473:01 | 483:32 | 69:05 | 90.6147 | 90.4061 | 902:29 | 128:56 | 94.3032 | 94.0968 | 659 | 35208 | 483.53 | 94.1429 | 69.0757 | 24:00 | 94.1429 | 0.53333 |  | 7 | 7 | 7 | 7 | 7 | 7
27 | Kanakapura | 22 | 22 | 5:10 | 21:30 | 241:20 | 79:17 | 320:37 | 325:47 | 14:48 | 97.9759 | 97.9433 | 983:21 | 44:42 | 97.9981 | 97.9534 | 1941 | 20114 | 325.78 | 88.2273 | 14.8082 | 24:00 | 88.2273 | 0.78333 |  | 22 | 22 | 22 | 22 | 22 | 22
NOTE: 01 no. of New Feeder (IF8-KR puram) was added during the month of JUNE-2019 in Hoskote Division, One feeder of Bangalore South, Balaji layout feeder has been shifted to Kengeri (BMAZ).
01. Reliability Index of Devanahalli has reduced as 05 nos of feeders (F12, F14 of 66/11 KV Muss Budhigere and F18, F20, F29 of 66/11 KV Muss Devenahalli) were faulty due to cable fault, since the load change over was done, no load was affected.
02. In Magadi town from the month of April-2019 out of 12 feeders 01 feeder is converted into NJY feeder i.e. F1-Ajjanahalli feeder from V.G. doddi MUSS

## ANX-III
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
C. RELIABILITY INDICES FOR RURAL AREAS BESCOM FOR THE MONTH OF JUNE-19 OF FY 2019-20
ANX-III
Sl. No | Name of the DIVISION | Total No. of 11 KV Feeders | Total No. of Feeders affected | Outage due to Incoming Supply Failure (In Hrs) | Cumulative Outage due to Incoming Supply Failure ( in Hrs) for FY… | Outage at 11 KV Level (in Hrs) |  |  | Reliability for the month |  |  |  | Reliability for cumulative period FY 19-20 |  |  |  | SAIFI & SAIDI of feeders for JUNE-19
[6 empty] | Scheduled Outage | Unscheduled Outage | Total | Sum of outage duration of all feeders (in Hrs) | Outage duration per feeder (in Hrs/ Fdr) | Feeder Reliability Index at 11 KV feeder 11 in % | Reliability of supply of power to consumers in % | Cumulative outage duration of all feeders (In Hrs) for FY -19-20 | Cumulative outage duration of all feeders (In Hrs/ Feeder) | Cumulative feeder relaibility Index @ 11 KV feeder level in % | Cumulative relaibility of supply of Power to consumers | Total No. of Feeders Interruption | Total number of consmers connected with the feeder | Sum of outage duration of all feeders (in Hrs) | SAIFI | SAIDI
1 | 2 | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16 | 17 | 18 | 19 | 20=17/4 | 21=18/4
1 | Davanagere | 276 | 274 | 125:40 | 738:22 | 6699:29 | 7256:50 | 13956:19 | 14081:59 | 51:01 | 92.9769 | 92.9137 | 1369.8732 | 119:07 | 94.6683 | 94.5458 | 19656 | 275157 | 11172.18 | 71.7372 | 40.7744 | 24:00 | 276 | 274 | 276 | 274 |  | 276 | 274 | 276 | 274
2 | Harihara | 197 | 197 | 15:15 | 53:35 | 5846:27 | 7107:45 | 12954:12 | 12969:27 | 65:50 | 90.867 | 90.8563 | 1249.7944 | 152:16 | 93.0409 | 93.0284 | 12523 | 207717 | 8878.85 | 63.5685 | 45.0703 | 24:00 | 197 | 197 | 197 | 197 |  | 197 | 197 | 197 | 197
3 | Chitradurga | 178 | 178 | 103:20 | 321:55 | 1896:18 | 2948:22 | 4844:40 | 4948:00 | 27:48 | 96.2198 | 96.1392 | 14644:22 | 82:16 | 96.3158 | 96.233 | 14500 | 218511 | 4977.02 | 81.4607 | 27.9608 | 24:00 | 178 | 178 | 178 | 178 |  | 178 | 178 | 178 | 178
4 | Hiriyur | 215 | 215 | 25:48 | 57:12 | 6248:45 | 6111:59 | 12360:44 | 12386:32 | 57:37 | 92.015 | 91.9984 | 1337.9206 | 149:21 | 93.1738 | 93.1617 | 14568 | 256461 | 12058.7 | 67.7581 | 56.087 | 24:00 | 215 | 215 | 215 | 215 |  | 215 | 215 | 215 | 215
5 | Tumkur | 322 | 322 | 60:00 | 180:00 | 6069:15 | 15574:03 | 21643:18 | 21703:18 | 67:24 | 90.6646 | 90.6387 | 1590.0759 | 118:31 | 94.5991 | 94.5735 | 7586 | 2622465 | 9621.52 | 23.559 | 29.8805 | 24:00 | 322 | 322 | 322 | 322 |  | 312 | 312 | 322 | 322
6 | Tiptur | 205 | 205 | 45:00 | 147:00 | 3422:00 | 9606:59 | 13028:59 | 13073:59 | 63:47 | 91.1728 | 91.1423 | 1385.8345 | 162:15 | 92.6041 | 92.5712 | 6235 | 204762 | 14714.03 | 30.4146 | 71.7758 | 24:00 | 205 | 205 | 194 | 194 | -11 | 194 | 194 | 194 | 194
7 | Madhugiri | 322 | 322 | 54:00 | 182:00 | 7310:00 | 9847:00 | 17157:00 | 17211:00 | 53:27 | 92.5996 | 92.5763 | 1501.6302 | 111:55 | 94.9012 | 94.8753 | 7015 | 400356 | 7841.58 | 21.7857 | 24.3527 | 24:00 | 322 | 322 | 307 | 307 | -15 | 307 | 307 | 307 | 307
8 | Kunigal | 109 | 109 | 35:00 | 99:00 | 1661:00 | 6209:00 | 7870:00 | 7905:00 | 72:31 | 89.972 | 89.9274 | 15632:48 | 143:25 | 93.4747 | 93.4331 | 2865 | 45623 | 4797.78 | 26.2844 | 44.0163 | 24:00 | 109 | 109 | 105 | 105 | -4 | 105 | 105 | 105 | 105
9 | Kolar | 164 | 164 | 758:13 | 1837:52 | 2339:33 | 6332:41 | 8672:14 | 9430:27 | 57:30 | 92.6556 | 92.0135 | 1092.7667 | 159:55 | 93.1909 | 92.6778 | 7360 | 149064 | 10591.1167 | 44.878 | 64.58 | 24:00 | 164 | 164 | 160 | 160 |  | 155 | 155 | 160 | 160
10 | KGF | 197 | 183 | 34:07 | 42:07 | 4182:20 | 7092:30 | 11274:50 | 11308:57 | 57:24 | 92.051 | 92.027 | 1323.4472 | 161:14 | 92.6274 | 92.6176 | 9954 | 292779 | 13896.25 | 54.3934 | 75.9358 | 24:00 | 197 | 183 | 197 | 183 |  | 197 | 183 | 197 | 183
11 | CB Pura | 194 | 194 | 466:00 | 1358:05 | 2482:35 | 3550:12 | 6032:47 | 6498:47 | 33:30 | 95.681 | 95.3474 | 17471:29 | 90:04 | 96.1969 | 95.8764 | 9903 | 210616 | 7435.5667 | 51.0464 | 38.3277 | 24:00 | 194 | 194 | 194 | 194 |  | 194 | 194 | 194 | 194
12 | Chintamani | 147 | 147 | 16:45 | 59:04 | 1335:04 | 3149:02 | 4484:06 | 4500:51 | 30:37 | 95.7633 | 95.7475 | 13083:12 | 89:00 | 95.9432 | 95.9248 | 3819 | 193270 | 5342.1167 | 25.9796 | 36.3409 | 24:00 | 147 | 147 | 147 | 147 |  | 147 | 147 | 147 | 147
13 | Devanahalli | 33 | 33 | 36:10 | 86:16 | 2227:35 | 1253:36 | 3481:11 | 3517:21 | 106:35 | 85.3486 | 85.1963 | 10275:53 | 311:23 | 85.8619 | 85.7422 | 125 | 36850 | 3773.2 | 3.7879 | 114.3394 | 24:00 | 33 | 33 | 33 | 33 |  | 33 | 33 | 33 | 33
14 | Hosakote | 32 | 32 | 35:50 | 125:21 | 290:10 | 691:48 | 981:58 | 1017:48 | 31:48 | 95.738 | 95.5825 | 2534:48 | 79:13 | 96.5524 | 96.3731 | 53 | 26828 | 966.15 | 1.6562 | 30.1922 | 24:00 | 32 | 32 | 32 | 32 |  | 32 | 32 | 32 | 32
15 | Nelamangala | 17 | 17 | 44:00 | 66:16 | 353:49 | 621:52 | 975:41 | 1019:41 | 59:59 | 92.0287 | 91.6693 | 2051:43 | 120:41 | 94.6524 | 94.4739 | 14 | 24522 | 521.5833 | 0.82353 | 30.6814 | 24:00 | 17 | 17 | 17 | 17 |  | 17 | 17 | 17 | 17
16 | Doddaballapura | 40 | 40 | 25:04 | 184:26 | 481:09 | 2430:11 | 2911:20 | 2936:24 | 73:25 | 89.8912 | 89.8042 | 6645:33 | 166:08 | 92.604 | 92.3929 | 55 | 61577 | 1894.4167 | 1.375 | 47.3604 | 24:00 | 40 | 40 | 40 | 40 |  | 40 | 40 | 40 | 40
17 | Magadi | 42 | 42 | 34:50 | 54:59 | 526:21 | 606:23 | 1132:44 | 1167:34 | 27:48 | 96.2542 | 96.139 | 3439:52 | 81:54 | 96.3099 | 96.2499 | 3343 | 52468 | 1146.05 | 79.5952 | 27.2869 | 24:00 | 42 | 42 | 42 | 42 |  | 42 | 42 | 42 | 42
18 | Chandapura | 19 | 19 | 14:26 | 36:10 | 225:55 | 112:08 | 338:03 | 352:29 | 18:33 | 97.5289 | 97.4234 | 1108:52 | 58:22 | 97.4149 | 97.3278 | 537 | 45792 | 509.7 | 28.2632 | 26.8263 | 24:00 | 19 | 19 | 19 | 19 |  | 19 | 19 | 19 | 19
19 | Ramanagara | 39 | 39 | 23:43 | 58:00 | 671:50 | 456:35 | 1128:25 | 1152:08 | 29:33 | 95.9814 | 95.8969 | 3422:36 | 87:46 | 96.0498 | 95.9817 | 5361 | 38182 | 1149.0903 | 137.4615 | 29.4639 | 24:00 | 39 | 39 | 39 | 39 |  | 39 | 39 | 39 | 39
20 | Channapatna | 47 | 47 | 34:05 | 102:15 | 410:27 | 902:14 | 1312:41 | 1346:46 | 28:39 | 96.1209 | 96.0202 | 5174:35 | 110:06 | 95.0585 | 94.9589 | 4965 | 52689 | 2410.25 | 105.6383 | 51.2819 | 24:00 | 47 | 47 | 47 | 47 |  | 47 | 47 | 47 | 47
21 | Kanakapura | 110 | 110 | 29:12 | 75:51 | 1901:45 | 1649:28 | 3551:13 | 3580:25 | 32:33 | 95.5161 | 95.4793 | 10703:03 | 97:18 | 95.5764 | 95.5449 | 1287 | 101838 | 3577.6667 | 11.7 | 32.5242 | 24:00 | 110 | 110 | 110 | 110 |  | 110 | 110 | 110 | 110
NOTE:
1. 04 Nos of feeders added in Kolar division. F13 (Shillangare), F15 (Tata Power), F16 (Kondamari), F14 (Sriya) emanating from 66/11 KV Muss Tamaka, Vemagal, Srinivasapura, Tamaka respectively
2. 04 nos of new feeders added in Kunigal division. F2, F4 from tippur station, F4 from Santhemavatur muss, F13 from Kunigal Muss.
3. 11 nos of new feeder added in Tiptur division. F10, F17, F20, F19 emanating from 66/11 KV Muss, Mayasandra, F11, F12, F13 emanating from 66/11 KV Muss, Kadehalli and F11, F12, F13, F14 emanating from 66/11 KV Muss, Huliyar.
4. 15 nos of new feeder added in Madugiri Division. F11, F12 emanating from 66/11 KV Muss, Y.N. Hosakote. F07, F08, F09, F10 emanating from 66/11 KV Muss, Tavarekere. F10, F13 emanating from 66/11 KV Muss, C.B.Gere. F07, F09 emanating from 66/11 KV Muss, P.N Halli. F11, F12, F10, F09 emanating from 66/11 KV Muss, Huliyar & F7 emanating from 66/11 KV Muss Pulmaghatta.
5. Reliability Index of Devanahalli has reduced as 05 nos of feeders (F12, F14 of 66/11 KV Muss Budhigere and F18, F20, F29 of 66/11 KV Muss Devenahalli) were faulty due to cable fault, since the load change over was done, no load was affected.
6. Reliability Index of Dodaballapura has reduced as 05 nos of feeders (F12, F14 of 66/11 KV Muss Budhigere and F18, F20, F29 of 66/11 KV Muss Devenahalli) were faulty due to cable fault, since the load change over was done, no load was affected.