## M.I Gen & lines-31-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-31
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
2 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
3 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021)
4 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U4 | 15:39 (12.07.2021) |  | O/O BTL LATER ON RSD (17.07.2021)
6 | RTPS: U7 | 01:22 (13.07.2021) |  | O/O DUE TO VALVE PROBLEM LATER ON RSD (17.07.2021)
7 | RTPS: U8 | 05:16 (18.07.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U1 | 10:30 (19.07.2021) |  | O/O RESERVED SHUTDOWN
9 | RTPS: U3 | 01:49 (17.07.2021) |  | O/O FLAME FAILURE LATER ON RSD (19.07.2021)
10 | YTPS: U2 | 13:53 (21.07.2021) |  | O/O RESERVED SHUTDOWN
11 | UPCL: U1 | 00:22 (24.07.2021) |  | O/O RESERVED SHUTDOWN
12 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON RSD
13 | RTPS: U6 | 01:49 (01.08.2021) |  | O/O RESERVED SHUTDOWN DUE TO LOW DEMAND
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400KV-KAIGA - NARENDRA-2 | 01:17 (21.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
3 | ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
4 | 400kV GTR-Kaiaga#2 | 15:29 (29.07.2021) |  | Tripped
5 | 220kV Kustagi-Lingsur line | 19:10 (31.07.2021) | 19:33 (31.07.2021) | Tripped | CHARGED
6 | 400kV , 500MVA, ICT-3 @Hoody | 10:14 (31.07.2021) | 23:06 (31.07.2021) | O/O on LC | CHARGED
7 | 400kV Kolar-Mylsandra line | 11:23 (31.07.2021) | 14:52 (31.07.2021) | O/O on LC | CHARGED
8 | 220kV RTPS-Lingsur #2 line | 00:56 (31.07.2021) | 12:16 (31.07.2021) | Tripped | CHARGED
9 | 400KV-Guttur- NARENDRA-2 | 02:51 (31.07.2021) | 07:14 (31.07.2021) | O/O on O/V | CHARGED
10 | 400kV UPCL-Hassan #1 line | 00:41 (31.07.2021) | 06:33 (31.07.2021) | O/O on O/V | CHARGED
11
12
13
14
15
18
19
20
21
22
23
24
25
26
27
28