## M.I Gen & lines-01-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-01
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVED SHUTDOWN
3 | RTPS: U7 | 22:41 (12.05.2021) |  | O/O RESERVED SHUTDOWN
4 | RTPS: U4 | 12:17 (15.05.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U5 | 11:02 (15.05.2021) |  | O/O RESERVED SHUTDOWN
6 | RTPS: U8 | 10:17 (06.06.2021) |  | O/O RESERVED SHUTDOWN
7 | BTPS: U2 | 18:54 (07.06.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U1 | 11:04 (08.06.2021) |  | O/O RESERVED SHUTDOWN
9 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400kV Guttur-NRN#2 | 03:03 (17.06.2021) | 09:24 (01.07.2021) | O/O on O/V | CHARGED
3 | 400KV-NELAMANGALA - HASSAN | 18:36 (28.06.2021) |  | Tripped | R-N FAULT
4 | 220KV-KAIGA - KADRA-1 | 14:58 (01.07.2021) | 18:02 (01.07.2021) | O/O on L/C | CHARGED
5 | 400KV-KAIGA - GUTTUR-2 | 21:36 (01.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
6 | 220kV Lingasugur-RTPS | 02:37 (01.07.2021) | 03:06 (01.07.2021) | Tripped | CHARGED
7 | 220kV Kemar-Bjpe#1 | 10:19 (01.07.2021) | 12:00 (01.07.2021) | O/O on L/C | CHARGED
8 | 220kV Hiriyur-Hiriyur(PGCIL)#2 | 11:12 (01.07.2021) | 17:22 (01.07.2021) | O/O on L/C | CHARGED
9 | 220kV Hiriyur-G B Noor | 14:22 (01.07.2021) | 16:35 (01.07.2021) | Tripped | CHARGED
10 | 220kV Kadra-Kodasally | 15:03 (01.07.2021) | 17:51 (01.07.2021) | O/O on L/C | CHARGED
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29