## M.I Gen & lines-01-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-01
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U2 | 12:50 (18.10.2021) |  | O/O ASH EVACUATION WORK,LATER ON COAL SHORTAGE
2 | RTPS: U1 | 21:28 (31.10.2021) |  | O/O BOILER TUBE LEAKAGE
3 | RTPS: U8 | 06:49 (30.10.2021) |  | O/O BOILER TUBE LEAKAGE
4 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
5 | YTPS: U1 | 16:54 (29.10.2021) |  | O/O BOILER TUBE LEAKAGE
6 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
7 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220KV-AMBEWADI - PONDA-1 | 17:21 (25.10.2021) |  | Tripped
4 | 400kv Guttur-NAR | 02:06 (30.10.2021) |  | o/o on OV
5 | 400kv Kaiga-Guttur- 2 | 22:34 (30.10.2021) |  | o/o on OV
6 | 400KV-BTPS - HIRIYUR-2 | 22:23 (31.10.2021) | 09:08 (01.11.2021) | o/o on OV | CHARGED
7 | 220kV NRN-Ghataprabha | 07:43 (01.11.2021) | 12:10 (01.11.2021) | Tripped | CHARGED
8 | 220kV G B Noor-Hiriyur#1 | 09:45 (01.11.2021) | 17:36 (01.11.2021) | O/O on L/C | CHARGED
9 | 220kV BGM-Chikkodi | 15:42 (01.11.2021) | 17:10 (01.11.2021) | O/O on L/C | CHARGED
10 | 220kV Hubli-NPH#1 | 16:05 (01.11.2021) | 16:33 (01.11.2021) | Tripped | CHARGED
11 | 220kV Kemar-Kavoor | 15:42 (01.11.2021) | 16:10 (01.11.2021) | Tripped | CHARGED
12 | 220kV Kemar-Bajpe | 16:06 (01.11.2021) | 17:44 (01.11.2021) | O/O on L/C | CHARGED
13 | 220kV SGGS-Sirsi#1 | 14:00 (01.11.2021) | 16:50 (01.11.2021) | Tripped | CHARGED
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32