## M.I Gen & lines-02-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-02
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U1 | 20:33 (22.09.2021) |  | O/O BOILER TUBE LEAKAGE, LATER ON COAL SHORTAGE
3 | RTPS: U5 | 16:00 (24.09.2021) |  | O/O BOILER TUBE LEAKAGE, LATER ON COAL SHORTAGE
| RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
4 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
5 | BTPS: U2 | 05:05 (02.10.2021) |  | O/O DUE TO ELECTRICAL SIDE PROBLEM
6 | YTPS: U2 | 01:52 (28.09.2021) |  | O/O
7 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
8 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220KV-NARENDRA - MAHALINGAPURA-2 | 12:55 (19.09.2021) |  | Tripped
4 | 220kV Kavoor-MSEZ#2 | 10:37 (30.09.2021) | 12:10 (02.10.2021) | Tripped | CHARGED
5 | 220kV RTPS-Mallat | 19:42 (30.09.2021) | 13:45 (02.10.2021) | Tripped | CHARGED
6 | 400kVV NLM-Hassan | 19:06 (01.10.2021) | 16:10 (02.10.2021) | Tripped | CHARGED
7 | 220kV MRS-SMG-Shanthigram line | 20:39 (01.10.2021) | 18:22 (02.10.2021) | Tripped | CHARGED
8 | 220kV ML pura-Narendra #1 &2 | 17:45 (01.10.2021) | 12:45 (02.10.2021) | Tripped | CHARGED
9 | 220kV Haveri-Guttur line | 18:29 (01.10.2021) | 09:45 (02.10.2021) | Tripped | CHARGED
10 | 220kV Kudagi- V matti line | 11:52 (01.10.2021) | 10:10 (02.10.2021) | Tripped | CHARGED
11 | 220kV Sedam-Shapura line | 04:42 (01.10.2021) | 08:50 (02.10.2021) | Tripped | CHARGED
12 | 400KV-GUTTUR - HIRIYUR-2 | 04:31 (02.10.2021) | 05:14 (02.10.2021) | Tripped | CHARGED
13 | 400KV-RTPS - BTPS-1 | 05:05 (02.10.2021) | 09:25 (02.10.2021) | Tripped | CHARGED
14 | 400KV-DONI - GUTTUR-1 | 10:55 (02.10.2021) | 16:57 (02.10.2021) | Tripped | CHARGED
15 | 400KV-GUTTUR - BTPS-1 | 11:11 (02.10.2021) | 19:36 (02.10.2021) | Tripped | CHARGED
16 | 400KV-KAIGA - GUTTUR-1 | 14:34 (02.10.2021) | 15:45 (02.10.2021) | Tripped | CHARGED
17 | 220kV Kushtagi-Lingapur | 12:50 (02.10.2021) | 22:10 (02.10.2021) | Tripped | CHARGED
18 | 220kV Doni-Halvarthy | 02:25 (02.10.2021) | 11:44 (02.10.2021) | Tripped | CHARGED
19 | 220kV Savadatti-M L Pura | 02:20 (02.10.2021) | 18:27 (02.10.2021) | Tripped | CHARGED
20 | 220kV Hiriyur-Guttur#2 | 04:31 (02.10.2021) | 05:14 (02.10.2021) | Tripped | CHARGED
21 | 220kV STRP-SMG | 13:10 (02.10.2021) |  | Tripped
22 | 220kV Sirsi-Hubli#2 | 12:02 (02.10.2021) | 13:14 (02.10.2021) | Tripped | CHARGED
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51