## M.I Gen & lines-02-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-02
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
4 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS:U1 | 02:39 (18.11.2021) |  | O/O BOILER TUBE LEAKAGE
7 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
8 | RTPS: U6 | 12:14 (20.11.2021) |  | O/O RESERVE SHUTDOWN
9 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN
10 | BTPS: U1 | 13:14 (25.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-KAIGA - NARENDRA-2 | 02:00 (02.12.2021) | 08:33 (02.12.2021) | O/O on OV | CHARGED
4 | 220KV-NARENDRA - GHATPRABHA-1 | 06:30 (02.12.2021) |  | Tripped
5 | 400KV-BIDADI - SOMANAHALLI-1 | 09:07 (02.12.2021) | 09:37 (02.12.2021) | Tripped | CHARGED
6 | 400KV-GUTTUR - BTPS-1 | 11:48 (02.12.2021) | 17:00 (02.12.2021) | Tripped | CHARGED
7 | 400KV-BTPS - HIRIYUR-2 | 21:12 (02.12.2021) |  | O/O on OV
8 | 400KV-KAIGA - GUTTUR-2 | 22:44 (02.12.2021) |  | O/O on OV
9 | 220kV Hootgally-Vajamangala | 11:30 (02.12.2021) | 13:15 (02.12.2021) | O/O on L/C | CHARGED
10 | 220kV M K Hubli-NRN#2 | 12:35 (02.12.2021) | 16:15 (02.12.2021) | O/O on L/C | CHARGED
11 | 220kV Lingasugur-B Bagewadi#2 | 13:30 (02.12.2021) | 14:13 (02.12.2021) | O/O on L/C | CHARGED
12 | 220kV NLM- K B Cross | 13:46 (02.12.2021) | 18:10 (02.12.2021) | Tripped | CHARGED
13 | 220kC Dabaspet-Kadur | 17:07 (02.12.2021) | 19:10 (02.12.2021) | Tripped | CHARGED
14 | 220kC NRN-Ambewadi#1 | 23:50 (02.12.2021) | 02:22 (03.12.2021) | Tripped
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32