## M.I Gen & lines-03-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-03
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
2 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
3 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021)
4 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U4 | 15:39 (12.07.2021) |  | O/O BTL LATER ON RSD (17.07.2021)
6 | RTPS: U7 | 01:22 (13.07.2021) |  | O/O DUE TO VALVE PROBLEM LATER ON RSD (17.07.2021)
7 | RTPS: U8 | 05:16 (18.07.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U1 | 10:30 (19.07.2021) |  | O/O RESERVED SHUTDOWN
9 | RTPS: U3 | 01:49 (17.07.2021) |  | O/O FLAME FAILURE LATER ON RSD (19.07.2021)
10 | YTPS: U2 | 13:53 (21.07.2021) | 02:09 (04.08.2021) | O/O RESERVED SHUTDOWN
11 | UPCL: U1 | 00:22 (24.07.2021) |  | O/O RESERVED SHUTDOWN
12 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON RSD
13 | RTPS: U6 | 01:49 (01.08.2021) |  | O/O RESERVED SHUTDOWN DUE TO LOW DEMAND
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400KV-KAIGA - NARENDRA-2 | 01:17 (21.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
3 | ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
4 | 400kV GTR-Kaiaga#2 | 15:29 (29.07.2021) | 18:20 (03.08.2021) | Tripped ON O/V | CHARGED
5 | 220kV RTPS-Mallat | 21:17 (02.08.2021) |  | Tripped
6 | 220kV Kushalnagar-Bastipura | 10:01 (03.08.2021) | 17:38 (03.08.2021) | O/O on L/C | CHARGED
7 | 220kV UPCL-Kemar#1 | 10:18 (03.08.2021) | 18:40 (03.08.2021) | O/O on L/C | CHARGED
8 | 220kV Varahi-SMG#1 | 10:13 (03.08.2021) | 11:48 (03.08.2021) | O/O on L/C | CHARGED
9 | 220kV NRN-Kanbargi | 11:25 (03.08.2021) | 15:31 (03.08.2021) | O/O on L/C | CHARGED
10 | 220kV SGS-S'koppa | 13:22 (03.08.2021) | 15:12 (03.08.2021) | Tripped | CHARGED
11 | 400kV NLM-Hiriyur#2 | 01:02 (03.08.2021) | 18:34 (03.08.2021) | Tripped | CHARGED
12 | 220kV GB NOOR-Hiriyur#1 | 19:33 (03.08.2021) |  | Tripped
13 | 400kV GTR-Kaiga#2 | 23:52 (03.08.2021) |  | Tripped
14
15
18
19
20
21
22
23
24
25
26
27
28