## M.I Gen & lines-03-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-03
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U1 | 20:33 (22.09.2021) |  | O/O BOILER TUBE LEAKAGE, LATER ON COAL SHORTAGE
3 | RTPS: U5 | 16:00 (24.09.2021) |  | O/O BOILER TUBE LEAKAGE, LATER ON COAL SHORTAGE
| RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
4 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
5 | BTPS: U2 | 05:05 (02.10.2021) |  | O/O DUE TO ELECTRICAL SIDE PROBLEM
6 | YTPS: U2 | 01:52 (28.09.2021) |  | O/O
7 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
8 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220KV-NARENDRA - MAHALINGAPURA-2 | 12:55 (19.09.2021) | 18:25 (01.10.2021) | Tripped | CHARGED
4 | 220kV STRP-SMG | 13:10 (02.10.2021) | 18:30 (03.10.2021) | Tripped | CHARGED
5 | 400KV-GUTTUR - BTPS-1 | 12:36 (03.10.2021) | 19:47 (03.10.2021) | Tripped | CHARGED
6 | 400KV-NELAMANGALA - HASSAN-1 | 12:43 (03.10.2021) | 15:05 (03.10.2021) | Tripped | CHARGED
7 | 220KV-YERRAANDAHALLI - HOSUR-1 | 13:02 (03.10.2021) | 20:12 (03.10.2021) | Tripped | CHARGED
8 | 220KV-AMBEWADI - PONDA-1 | 13:41 (03.10.2021) | 14:35 (03.10.2021) | Tripped | CHARGED
9 | 400KV-KAIGA - GUTTUR-1 | 16:48 (03.10.2021) | 17:26 (03.10.2021) | Tripped | CHARGED
10 | 400KV/220KV DONI-ICT - 2 | 13:02 (03.10.2021) | 15:54 (03.10.2021) | Tripped | CHARGED
11 | 400KV-NARENDRA - GUTTUR-2 | 00:03 (03.10.2021) |  | O/O on O/V
12 | 400KV-NELAMANGALA - HASSAN-1 | 16:02 (03.10.2021) |  | Tripped
13 | 220kV Varahi-SMG#2 | 01:42 (03.10.2021) | 15:15 (03.10.2021) | Tripped | CHARGED
14 | 220kV V'Vathi-Tataguni | 11:11 (03.10.2021) | 11:32 (03.10.2021) | Tripped | CHARGED
15 | 220kV NRN-Hubli#2 | 12:05 (03.10.2021) | 15:17 (03.10.2021) | Tripped | CHARGED
16 | 220kV S'koppa-Ranebennur | 12:17 (03.10.2021) | 15:50 (03.10.2021) | Tripped | CHARGED
17 | 220kV NRN-Hubli#1 | 13:48 (03.10.2021) | 20:19 (03.10.2021) | Tripped | CHARGED
18 | 220kV SGS-Sirsi#2 | 16:37 (03.10.2021) |  | Tripped
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51