## M.I Gen & lines-03-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-03
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 21:28 (31.10.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U8 | 06:49 (30.10.2021) | 14:28 (03.11.2021) | O/O BOILER TUBE LEAKAGE
3 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
4 | YTPS: U1 | 16:54 (29.10.2021) |  | O/O BOILER TUBE LEAKAGE
5 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
6 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
7 | RTPS: U3 | 17:05 (03.11.2021) |  | O/O COAL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220KV-AMBEWADI - PONDA-1 | 17:21 (25.10.2021) |  | Tripped
4 | 400kv Guttur-NAR#2 | 22:14 (01.11.2021) |  | o/o on OV
5 | 400kv Kaiga-Guttur- 2 | 09:30 (02.11.2021) | 11:30 (03.11.2021) | Tripped | CHARGED
6 | 220kV SGS-S'koppa line | 11:56 (02.11.2021) | 16:40 (03.11.2021) | Tripped | CHARGED
7 | 220kV Lingasugur-RTPS#1 | 01:00 (03.11.2021) | 10:16 (03.11.2021) | Tripped | CHARGED
8 | 220kV Kemar-Bajpe#1 | 05:52 (03.11.2021) | 10:37 (03.11.2021) | O/O on L/C | CHARGED
9 | 220kV GTR-Chitradurga | 14:17 (03.11.2021) | 19:20 (03.11.2021) | Tripped | CHARGED
10 | 220kV Vrahi-Kemar#1&#2 | 15:54 (03.11.2021) | 17:04 (03.11.2021) | Tripped | CHARGED
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32