## M.I Gen & lines-04-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-04
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 21:28 (31.10.2021) |  | O/O BOILER TUBE LEAKAGE
2 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
3 | YTPS: U1 | 16:54 (29.10.2021) |  | O/O BOILER TUBE LEAKAGE
4 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
5 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
6 | RTPS: U3 | 17:05 (03.11.2021) |  | O/O COAL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220KV-AMBEWADI - PONDA-1 | 17:21 (25.10.2021) |  | Tripped
4 | 400kv Guttur-NAR#2 | 22:14 (01.11.2021) |  | o/o on OV
5 | 220kV Kemar -Varahai #1&2 line | 14:53 (04.11.2021) | 18:28 (04.11.2021) | Tripped | CHARGED
6 | 220kV Kavoor-Kemar #3 line | 17:23 (04.11.2021) | 18:05 (04.11.2021) | Tripped | CHARGED
7 | 220kV Lingasur-Sindharnoor line | 15:58 (04.11.2021) | 19:25 (04.11.2021) | O/O on LC | CHARGED
8 | 220kV SMG-STRP line | 11:30 (04.11.2021) | 17:30 (04.11.2021) | O/O on LC | CHARGED
9 | 400kv Guttur-Kaiga#2 line | 20:18 (04.11.2021) |  | o/o on OV
10 | 400kV NLM-Hiriyur #2 | 21:59 (04.11.2021) |  | o/o on OV
11 | 400kV BTPS-Hiriyur #1 | 22:15 (04.11.2021) |  | o/o on OV
12 | 220kV Lingapura-RTPS line | 11:41 (04.11.2021) | 14:38 (04.11.2021) | Tripped | CHARGED
13 | 400kV UPCL -Hassan #1 line | 02:07 (04.11.2021) | 19:25 (04.11.2021) | o/o on OV | CHARGED
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32