## M.I Gen & lines-04-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-04
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
4 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS:U1 | 02:39 (18.11.2021) |  | O/O BOILER TUBE LEAKAGE
7 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
8 | RTPS: U6 | 12:14 (20.11.2021) |  | O/O RESERVE SHUTDOWN
9 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-KAIGA - GUTTUR-2 | 20:44 (03.12.2021) |  | Tripped
4 | 400kv BTPS-Hiriyur-2 | 00:11 (04.12.2021) | 06:10 (04.12.2021) | o/o on OV | CHARGED
5 | 400kv NEL-Hiriyur-2 | 03:34 (04.12.2021) | 08:26 (04.12.2021) | Tripped | CHARGED
6 | 400kv BTPS-RTPS | 05:28 (04.12.2021) | 13:48 (04.12.2021) | Tripped | CHARGED
7 | 400kv sedam-RTPS-1 | 06:00 (04.12.2021) | 06:29 (04.12.2021) | Tripped | CHARGED
8 | 220kv Kadkola-K'pet | 08:28 (04.12.2021) |  | o/o on LC
9 | 500mva ICT-3 @Hoody | 10:26 (04.12.2021) | 17:39 (04.12.2021) | o/o on LC | CHARGED
10 | 220kv L'Pura -BTPS | 12:02 (04.12.2021) | 18:36 (04.12.2021) | Tripped | CHARGED
11 | 220kv SGS-SMG-3 | 12:50 (04.12.2021) | 13:39 (04.12.2021) | Tripped | CHARGED
12 | ICT-3 @ mylasandra | 13:27 (04.12.2021) | 18:19 (04.12.2021) | o/o on LC | CHARGED
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32