## M.I Gen & lines-05-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-05
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVED SHUTDOWN
3 | RTPS: U8 | 10:17 (06.06.2021) |  | O/O RESERVED SHUTDOWN
4 | BTPS: U2 | 18:54 (07.06.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U1 | 11:04 (08.06.2021) |  | O/O RESERVED SHUTDOWN
6 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
7 | UPCL:U1 | 13:33 (02.07.2021) | 01:52 (06.07.2021) | O/O STEAM LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400KV-NELAMANGALA - HASSAN | 18:36 (28.06.2021) |  | Tripped | R-N FAULT
3 | 400KV-KAIGA - GUTTUR-2 | 21:36 (01.07.2021) | 10:10 (05.07.2021) | O/O on O/V | CHARGED
4 | 220kV Honnalli-DVG | 09:10 (03.07.2021) | 13:10 (05.07.2021) | Tripped | CHARGED
5 | 400KV-NARENDRA - GUTTUR-2 | 18:49 (04.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
6 | 220kV Bidnal-Hubli#1 | 10:56 (05.07.2021) | 19:35 (05.07.2021) | O/O on L/C | CHARGED
7 | 220kV Ambewadi-NPH#1 | 12:12 (05.07.2021) | 14:24 (05.07.2021) | O/O on L/C | CHARGED
8 | 220kV Ambewadi-Xeldom | 12:31 (05.07.2021) | 13:54 (05.07.2021) | Tripped | CHARGED
9 | 220kV RTPS-Shahpur | 21:12 (05.07.2021) | 21:17 (05.07.2021) | Tripped | CHARGED
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29