## M.I Gen & lines-05-09-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-09-05
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U5 | 13:11 (30.08.2021) |  | O/O BOILER TUBE LEAKAGE
3 | RTPS: U3 | 16:44 (04.09.2021) | 02:20 (06.09.2021) | O/O RESERVE SHUT DOWN
4 | RTPS: U8 | 16:07 (04.09.2021) |  | O/O RESERVE SHUT DOWN
5 | BTPS; U3 | 10:45 (05.09.2021) | 15:36 (05.09.2021) | O/O ECONOMISERFLOW LOW
6 | BTPS: U2 | 16:09 (04.09.2021) |  | O/O RESERVE SHUT DOWN
7 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O FLAME FAILURE
8 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
9 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV/220KV UPCL-ICT - 2 | 09:26 (02.09.2021) | 13:54 (05.09.2021) | O/O on L/C | CHARGED
4 | 400KV-HOODY - DEVANAHALLI-2 | 10:19 (05.09.2021) | 15:49 (05.09.2021) | O/O on L/C | CHARGED
5 | 400KV-DONI - MUNIRABAD-1 | 20:49 (05.09.2021) |  | Tripped
6 | 400KV/220KV HOODY-ICT - 1 | 12:21 (05.09.2021) | 13:36 (05.09.2021) | Tripped | CHARGED
7 | 400KV-UPCL - HASSAN-1 | 01:14 (05.09.2021) |  | O/O on O/V | KEPT ON OVER VOLTAGE
8 | 400KV-NELAMANGALA - HIRIYUR-2 | 04:45 (05.09.2021) | 07:40 (05.09.2021) | O/O on O/V | CHARGED
9 | 400KV-NARENDRA - GUTTUR-2 | 17:22 (05.09.2021) |  | O/O on O/V | KEPT ON OVER VOLTAGE
10
11
12
13
14
15
18
19
20
21
22
23
24
25
26
27
28