## M.I Gen & lines-06-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-06
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
2 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
3 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021)
4 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U4 | 15:39 (12.07.2021) | 19:54 (06.08.2021) | O/O BTL LATER ON RSD (17.07.2021)
6 | RTPS: U7 | 01:22 (13.07.2021) |  | O/O DUE TO VALVE PROBLEM LATER ON RSD (17.07.2021)
7 | RTPS: U8 | 05:16 (18.07.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U3 | 01:49 (17.07.2021) |  | O/O FLAME FAILURE LATER ON RSD (19.07.2021)
9 | YTPS: U2 | 20:14 (05.08.2021) |  | O/O OIL LEAKAGE
10 | UPCL: U1 | 00:22 (24.07.2021) |  | O/O RESERVED SHUTDOWN
11 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON RSD
12 | RTPS: U1 | 07:38 (06.08.2021) | 21:34 (06.08.2021) | O/O BOILER SIDE PROBLEM
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) | . | Tripped
3 | 400kV GTR-Kaiga#2 | 23:52 (03.08.2021) | 10:28 (06.08.2021) | Tripped | CHARGED
4 | 220KV-KAIGA - KODASALLY-1 | 10:19 (06.08.2021) | 11:40 (06.08.2021) | Tripped | CHARGED
5 | 400kV RTPS-BTPS | 02:03 (06.08.2021) | 20:25 (06.08.2021) | Tripped | CHARGED
6 | ICT-2 @ UPCL | 09:15 (06.08.2021) | 16:06 (06.08.2021) | O/O on L/C | CHARGED
7 | 220kV Madhugiri-V Pura | 10:19 (06.08.2021) | 11:40 (06.08.2021) | O/O on L/C | CHARGED
8 | 220kV Madhugiri-V'pura | 09:50 (06.08.2021) | 18:35 (06.08.2021) | O/O on L/C | CHARGED
9 | 220kV Savadatti-M L Pura | 13:47 (06.08.2021) | 14:24 (06.08.2021) | Tripped | CHARGED
10 | 220kV NRN-Hubli#1 | 13:28 (06.08.2021) | 16:12 (06.08.2021) | Tripped | CHARGED
11 | 220kV Madhugiri-Hiriyur | 14:11 (06.08.2021) |  | Tripped
12 | 220kV Shahpur-Sedam | 20:37 (06.08.2021) | 06:14 (07.08.2021) | O/O on O/V | CHARGED
13 | 400kV NRN-Guttur#2 | 21:28 (06.08.2021) |  | O/O on O/V
14
15
18
19
20
21
22
23
24
25
26
27
28