## M.I Gen & lines-06-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-06
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) | 04:07 (06.12.2021) | O/O RESERVE SHUTDOWN
4 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS:U1 | 02:39 (18.11.2021) | 05:01 (06.12.2021) | O/O BOILER TUBE LEAKAGE
7 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
8 | YTPS: U2 | 14:55 (04.12.2021) |  | O/O FURNACE PRESSURE LOW
9 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-KAIGA - GUTTUR-2 | 20:44 (03.12.2021) |  | Tripped
4 | 220kv Kadkola-K'pet | 08:28 (04.12.2021) |  | o/o on LC
5 | 400KV-NELAMANGALA - HASSAN-1 | 20:55 (05.12.2021) | 09:32 (06.12.2021) | Tripped | CHARGED
6 | 400KV-GUTTUR - BTPS-1 | 06:31 (05.12.2021) | 08:02 (06.12.2021) | Tripped | CHARGED
7 | 400KV-NARENDRA - GUTTUR-2 | 00:40 (06.12.2021) |  | O/O on O/V
8 | 220kV Nittur-NLM | 06:23 (06.12.2021) | 09:51 (06.12.2021) | Tripped | CHARGED
9 | 220kV Hubli-NPH#2 | 12:54 (06.12.2021) | 17:35 (06.12.2021) | Tripped | CHARGED
10 | 220kV Sharavathy-SMG#3 | 14:25 (06.12.2021) | 15:48 (06.12.2021) | Tripped | CHARGED
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32