## M.I Gen & lines-07-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-07
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
2 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
3 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021)
4 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U7 | 01:22 (13.07.2021) |  | O/O DUE TO VALVE PROBLEM LATER ON RSD (17.07.2021)
6 | RTPS: U8 | 05:16 (18.07.2021) |  | O/O RESERVED SHUTDOWN
7 | RTPS: U3 | 01:49 (17.07.2021) |  | O/O FLAME FAILURE LATER ON RSD (19.07.2021)
8 | YTPS: U2 | 20:14 (05.08.2021) | 21:45 (07.08.2021) | O/O OIL LEAKAGE/LIGHTED UP @(16:33) 07.08.2021
9 | UPCL: U1 | 00:22 (24.07.2021) |  | O/O RESERVED SHUTDOWN
10 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) | . | Tripped
3 | 220kV Madhugiri-Hiriyur | 14:11 (06.08.2021) | 17:52 (07.08.2021) | Tripped | CHARGED
4 | 400kV NRN-Guttur#2 | 21:28 (06.08.2021) |  | O/O on O/V
5 | 400kV Kaiga-Guttur#2 | 02:33 (07.08.2021) |  | O/O on O/V
6 | 400kV RTPS-BTPS | 09:53 (07.08.2021) | 19:28 (07.08.2021) | O/o on LC | CHARGED
7 | 220kV Madhugiri-Tumkur(PGCIL)#1 | 10:32 (07.08.2021) | 17:35 (07.08.2021) | O/o on LC | CHARGED
8 | 220kV Madhugiri-KIADB Vasanthnarasapur | 11:40 (07.08.2021) | 17:39 (07.08.2021) | O/o on LC | CHARGED
9 | 400kV BPS-Jindal#4 | 11:18 (07.08.2021) | 17:50 (07.08.2021) | O/o on LC | CHARGED
10 | 500MVA ICT#1 @ NLM | 11:12 (07.08.2021) | 16:50 (07.08.2021) | O/o on LC | CHARGED
11 | 220kV Hubli -Narendra#1 | 11:26 (07.08.2021) | 16:15 (07.08.2021) | Tripped | CHARGED
12 | 220kV Hasan-Hasan(PGCIL) | 12:15 (07.08.2021) | 13:41 (07.08.2021) | Tripped | CHARGED
13 | 220kV HSN-CML | 12:15 (07.08.2021) | 13:41 (07.08.2021) | Tripped | CHARGED
14 | 220kV Kodasally-Kaiga | 12:24 (07.08.2021) | 16:20 (07.08.2021) | O/o on LC | CHARGED
15 | 220kV Hubli-NPH#2 | 12:27 (07.08.2021) | 19:16 (07.08.2021) | Tripped | CHARGED
18 | 220kV Hoody-Manyatha | 15:53 (07.08.2021) | 17:40 (07.08.2021) | Tripped | CHARGED
19 | 220kV Sedum-Shahpur | 16:30 (07.08.2021) | 16:38 (07.08.2021) | Tripped | CHARGED
20
21
22
23
24
25
26
27
28