## M.I Gen & lines-07-09-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-09-07
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U3 | 21:30 (07.09.2021) |  | O/O RESERVE SHUTDOWN
3 | RTPS: U6 | 21:54 (07.09.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U8 | 16:07 (04.09.2021) |  | O/O RESERVE SHUT DOWN
5 | BTPS: U1 | 23:43 (06.09.2021) |  | O/O LOW DEMAND
6 | BTPS: U2 | 16:32 (04.09.2021) |  | O/O RESERVE SHUT DOWN
7 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O FLAME FAILURE
8 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
9 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-UPCL - HASSAN-1 | 01:14 (05.09.2021) | 10:10 (07.09.2021) | O/O on O/V | CHARGED
4 | 400KV-NARENDRA - GUTTUR-2 | 17:22 (05.09.2021) |  | O/O on O/V | KEPT ON OVER VOLTAGE
5 | 220kV SGS-TGP | 23:56 (06.09.2021) | 15:30 (07.09.2021) | O/O onL/C | CHARGED
6 | 400KV-NELAMANGALA - TALGUPPA-1 | 23:56 (06.09.2021) | 07:47 (07.09.2021) | O/O on O/V | CHARGED
7 | 400KV-KAIGA - GUTTUR-2 | 02:14 (07.09.2021) | 12:58 (07.09.2021) | O/O on O/V | CHARGED
8 | 400kV NLM-Hassan | 01:13 (07.09.2021) | 11:33 (07.09.2021) | Tripped | CHARGED
9 | 400kV Guttur-Kaiga#2 | 02:14 (07.09.2021) | 12:58 (07.09.2021) | O/O on O/V | CHARGED
10 | 220kV UPCL-Kemar#1 | 09:35 (07.09.2021) | 20:22 (07.09.2021) | O/O on L/C | CHARGED
11 | 220kV Hoody-HSR | 10:28 (07.09.2021) | 16:08 (07.09.2021) | O/O on L/C | CHARGED
12 | 220kV NRN-Hubli#2 | 11:24 (07.09.2021) | 14:40 (07.09.2021) | O/O on L/C | CHARGED
13 | 220kV SGS-SMG#4 | 11:29 (07.09.2021) | 13:28 (07.09.2021) | O/O on L/C | CHARGED
14 | 220kV NRN-Hubli#1 | 15:56 (07.09.2021) | 20:05 (07.09.2021) | Tripped | CHARGED
15
18
19
20
21
22
23
24
25
26
27
28