## M.I Gen & lines-07-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-07
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U1 | 20:33 (22.09.2021) |  | O/O BOILER TUBE LEAKAGE, LATER ON COAL SHORTAGE
3 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
4 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
5 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
6 | BTPS: U2 | 05:05 (02.10.2021) |  | O/O DUE TO ELECTRICAL SIDE PROBLEM
7 | YTPS: U2 | 01:52 (28.09.2021) |  | O/O
8 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
9 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-NARENDRA - GUTTUR-2 | 00:03 (03.10.2021) |  | O/O on O/V
4 | 220kV Lingapur-Kushtagi | 23:07 (04.10.2021) | 13:10 (07.10.2021) | Tripped | CHARGED
5 | 400KV-NELAMANGALA - TALGUPPA-1 | 04:48 (06.10.2021) | 18:40 (07.10.2021) | Tripped | CHARGED
6 | 400KV-KAIGA - GUTTUR-2 | 23:33 (06.10.2021) | 08:05 (07.10.2021) | O/O on O/V | CHARGED
7 | 400KV-RTPS - BTPS-1 | 03:38 (07.10.2021) | 13:23 (07.10.2021) | Tripped | CHARGED
8 | 220kV Kudachi-ML Pura | 03:21 (07.10.2021) |  | Tripped
9 | 220kV Lingasugur-RTPS#1 | 03:58 (07.10.2021) | 11:38 (07.10.2021) | O/O on L/C | CHARGED
10 | 220kV Kushtagi-Lingapur | 08:35 (07.10.2021) | 13:43 (07.10.2021) | O/O on L/C | CHARGED
11 | 220kV Hubli-Sirsi#1&#2 | 09:48 (07.10.2021) | 15:51 (07.10.2021) | O/O on L/C | CHARGED
12 | 220kV Kemar-Varahi#1 | 12:19 (07.10.2021) | 15:00 (07.10.2021) | Tripped | CHARGED
13 | 220kV Hiryur-Thalak | 12:47 (07.10.2021) | 18:10 (07.10.2021) | Tripped | CHARGED
14 | 220kV SGS-SMG | 13:25 (07.10.2021) | 13:44 (07.10.2021) | Tripped | CHARGED
15 | 220kV Bidnal-NPH | 14:19 (07.10.2021) | 14:45 (07.10.2021) | Tripped | CHARGED
16 | 220kV Chintamani-Kolar#1 | 15:13 (07.10.2021) | 18:15 (07.10.2021) | Tripped | CHARGED
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51