## M.I Gen & lines-08-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-08
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | RTPS: U2 | 20:41 (11.05.2021) | 15:59 (08.07.2021) | O/O RESERVED SHUTDOWN
3 | RTPS: U8 | 20:41 (08.07.2021) | 23:20 (08.07.2021) | O/O
4 | BTPS: U2 | 18:54 (07.06.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U1 | 11:04 (08.06.2021) |  | O/O RESERVED SHUTDOWN
6 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
7 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BOILER TUBE LEAKAGE
8 | RTPS:U6 | 13:54 (06.07.2021) |  | O/O BOILER TUBE LEAKAGE
9 | RTPS:U7 | 10:03 (06.07.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 220kV RTPS-Sedam#2 | 04:42 (08.07.2021) | 05:05 (08.07.2021) | Tripped | CHARGED
3 | 220kV RTPS-Lingasugur#1 | 05:11 (08.07.2021) | 05:45 (08.07.2021) | Tripped | CHARGED
4 | 220kV Belgaum-NRN#2 | 05:31 (08.07.2021) | 05:58 (08.07.2021) | Tripped | CHARGED
5 | 220kV Bidnal-Harthi#1 | 10:35 (08.07.2021) | 13:22 (08.07.2021) | O/O on L/C | CHARGED
6 | 315MVA ICT-2 @ BTPS | 11:03 (08.07.2021) | 16:03 (08.07.2021) | O/O on L/C | CHARGED
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29