## M.I Gen & lines-08-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-08
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
2 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
3 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021) LATER ON TECHNICAL PROB
4 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U7 | 01:22 (13.07.2021) | 03:09 (08.08.2021) | O/O DUE TO VALVE PROBLEM LATER ON RSD (17.07.2021)
6 | RTPS: U8 | 05:16 (18.07.2021) | 10:57 (08.08.2021) | O/O RESERVED SHUTDOWN
7 | RTPS: U8 | 22:02 (08.08.2021) | 01:32 (09.08.2021) | O/O LOSS OF OIL
7 | RTPS: U3 | 01:49 (17.07.2021) | 21:39 (07.08.2021) | O/O FLAME FAILURE LATER ON RSD (19.07.2021)
9 | UPCL: U1 | 00:22 (24.07.2021) |  | O/O RESERVED SHUTDOWN
10 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) | . | Tripped
3 | 400kV NRN-Guttur#2 | 21:28 (06.08.2021) |  | O/O on O/V
4 | 400kV Kaiga-Guttur#2 | 02:33 (07.08.2021) |  | O/O on O/V
5 | 220kV NRN-Bidnal | 06:59 (08.08.2021) | 13:05 (08.08.2021) | Tripped | CHARGED
6 | 220kV Belgaum-NRN#1 | 11:15 (08.08.2021) | 13:16 (08.08.2021) | O/O on L/C | CHARGED
7 | 220kV Ambewadi-Ponda#2 | 11:18 (08.08.2021) | 13:11 (08.08.2021) | Tripped | CHARGED
8 | 220kV Bidnal-NPH | 11:27 (08.08.2021) | 12:17 (08.08.2021) | Tripped | CHARGED
9 | 220kV SGS-Sirsi#2 | 11:45 (08.08.2021) | 13:36 (08.08.2021) | Tripped | CHARGED
10 | 220kV Ambewadi-NPH#2 | 11:45 (08.08.2021) | 12:09 (08.08.2021) | O/O on L/C | CHARGED
11 | 220kV STRP-TGP | 14:00 (08.08.2021) | 20:41 (08.08.2021) | Tripped | CHARGED
12 | 220kV SGS-S'KOPPA | 14:15 (08.08.2021) | 18:10 (08.08.2021) | Tripped | CHARGED
13 | 220kV NLM-Magadi | 16:57 (08.08.2021) | 23:19 (08.08.2021) | Tripped | CHARGED
14 | 220kV Gopalpura-s'grama | 18:10 (08.08.2021) | 22:28 (08.08.2021) | Tripped | CHARGED
15 | 220kV ADPH-Bagalkote | 21:25 (08.08.2021) | 23:15 (08.08.2021) | Tripped | CHARGED
18
19
20
21
22
23
24
25
26
27
28