## M.I Gen & lines-08-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-08
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U1 | 20:33 (22.09.2021) | 20:33 (08.10.2021) | O/O BOILER TUBE LEAKAGE, LATER ON COAL SHORTAGE
3 | RTPS: U5 | 20:33 (08.10.2021) |  | O/O BOILER TUBE LEAKAGE
4 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
5 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
6 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
7 | BTPS: U2 | 05:05 (02.10.2021) |  | O/O DUE TO ELECTRICAL SIDE PROBLEM
8 | YTPS: U2 | 01:52 (28.09.2021) |  | O/O
9 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
10 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-NARENDRA - GUTTUR-2 | 00:03 (03.10.2021) | 11:31 (08.10.2021) | O/O on O/V | CHARGED
4 | 220kV Kudachi-ML Pura | 03:21 (07.10.2021) |  | Tripped
5 | 400kv hiriyur-BTPS-2 | 00:29 (08.10.2021) | 07:17 (08.10.2021) | O/O on O/V | CHARGED
6 | 220kv Guttur-Davangere-2 | 09:14 (08.10.2021) | 13:15 (08.10.2021) | o/o on LC | CHARGED
7 | 220kv VPH-SMg-3 | 09:20 (08.10.2021) | 13:51 (08.10.2021) | o/o on LC | CHARGED
8 | 220kv A'wadi-NAR-1 | 11:28 (08.10.2021) | 12:40 (08.10.2021) | o/o on LC | CHARGED
9 | 220kV NLM- A'Palya | 11:23 (08.10.2021) |  | o/o on LC
10 | 220kv Dvg-Guttur-3 | 13:40 (08.10.2021) | 15:58 (08.10.2021) | o/o on LC | CHARGED
11 | 220kv Guttur-Davangere-2 | 20:59 (08.10.2021) |  | Tripped
12 | 400kv Hiriyur-BTPS-2 | 22:44 (08.10.2021) |  | O/O on O/V
13 | 400kv NAR-Guttur-2 | 22:52 (08.10.2021) |  | O/O on O/V
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51