## M.I Gen & lines-08-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-08
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 21:28 (31.10.2021) |  | O/O BOILER TUBE LEAKAGE
2 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
3 | YTPS: U1 | 16:54 (29.10.2021) |  | O/O BOILER TUBE LEAKAGE
4 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
5 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
6 | RTPS: U3 | 17:05 (03.11.2021) |  | O/O COAL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220KV-AMBEWADI - PONDA-1 | 17:21 (25.10.2021) |  | Tripped
4 | 400kv Guttur-NAR#2 | 22:14 (01.11.2021) |  | o/o on OV
5 | 400KV-GUTTUR - HIRIYUR-2 | 09:48 (08.11.2021) | 17:45 (08.11.2021) | O/O on L/C | CHARGED
6 | 220KV-KOLAR_ T GOLLAHALLI-2 | 10:50 (08.11.2021) | 17:27 (08.11.2021) | O/O on L/C | CHARGED
7 | 220KV-YERRAANDAHALLI - HOSUR-1 | 11:05 (08.11.2021) | 14:15 (08.11.2021) | O/O on L/C | CHARGED
8 | 400KV/220KV TALGUPPA-ICT - 1 | 10:18 (08.11.2021) | 18:38 (08.11.2021) | O/O on L/C | CHARGED
9 | 400KV-KAIGA - GUTTUR-2 | 00:16 (08.11.2021) | 08:16 (08.11.2021) | O/O on O/V | CHARGED
10 | 400kV BTPS-Hiriyur#2 | 01:36 (08.11.2021) | 07:50 (08.11.2021) | O/O on O/V | CHARGED
11 | 220kV Hubli-Sirsi#1 | 09:58 (08.11.2021) | 14:02 (08.11.2021) | O/O on L/C | CHARGED
12 | 220kV HSR-Koramangala | 12:11 (08.11.2021) | 16:50 (08.11.2021) | Tripped | CHARGED
13 | 220kV Nimhans-Koramangala | 12:15 (08.11.2021) | 17:10 (08.11.2021) | Tripped | CHARGED
14 | 220kV NPH-Hubli#1 | 15:03 (08.11.2021) | 15:46 (08.11.2021) | Tripped | CHARGED
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32