## M.I Gen & lines-08-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-08
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
6 | YTPS: U2 | 14:55 (04.12.2021) |  | O/O FURNACE PRESSURE LOW
7 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-KAIGA - GUTTUR-2 | 20:44 (03.12.2021) | 17:01 (08.12.2021) | Tripped | CHARGED
4 | 220kv Kadkola-K'pet | 08:28 (04.12.2021) |  | O/O on LC (10 days)
5 | 400KV-NARENDRA - GUTTUR-2 | 00:40 (06.12.2021) |  | O/O on O/V
6 | 400kV RTPS-Mehaboobnagar | 09:46 (07.12.2021) | 16:37 (08.12.2021) | O/O on L/C | CHARGED
7 | 400KV-KAIGA - GUTTUR-1 | 10:14 (07.12.2021) | 16:56 (07.12.2021) | O/O on L/C | CHARGED
8 | 400KV-NELAMANGALA - TALGUPPA-1 | 14:39 (08.12.2021) |  | Tripped
9 | 400KV-NELAMANGALA - HASSAN-1 | 15:33 (08.12.2021) |  | Tripped
10 | 220kV BTPS-L'pura | 08:07 (08.12.2021) | 13:34 (08.12.2021) | O/O on L/C | CHARGED
11 | 500MVA ICT-2 @ Dhoni | 10:55 (08.12.2021) | 18:03 (08.12.2021) | O/O on L/C | CHARGED
12 | 220kV Magadi-NLM | 11:07 (08.12.2021) | 16:19 (08.12.2021) | O/O on L/C | CHARGED
13 | 400kV BPS-Jaalur#1 | 11:24 (08.12.2021) | 16:11 (08.12.2021) | O/O on L/C | CHARGED
14 | 220kV Kemar-Bajpe#1 | 10:56 (08.12.2021) | 13:26 (08.12.2021) | O/O on L/C | CHARGED
15 | 220kV Kemar-Puttur#2 | 13:21 (08.12.2021) | 14:56 (08.12.2021) | O/O on L/C | CHARGED
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32