## M.I Gen & lines-09-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-09
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 23:54 (10.07.2021) | 10:13 (09.08.2021) | O/O RESERVED SHUTDOWN
2 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
3 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021) LATER ON TECHNICAL PROB
4 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
5 | UPCL: U1 | 00:22 (24.07.2021) |  | O/O RESERVED SHUTDOWN
6 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) | . | Tripped
3 | 400kV NRN-Guttur#2 | 21:28 (06.08.2021) |  | O/O on O/V
4 | 400kV Kaiga-Guttur#2 | 02:33 (07.08.2021) | 11:33 (09.08.2021) | O/O on O/V | CHARGED
5 | 400KV-RTPS - BTPS-1 | 10:29 (09.08.2021) | 19:55 (09.08.2021) | O/O on L/C | CHARGED
6 | 220KV-AMBEWADI - XELDEM-1 | 11:29 (09.08.2021) | 12:42 (09.08.2021) | Tripped | CHARGED
7 | 400KV-NELAMANGALA- TALGUPPA-1 | 03:07 (09.08.2021) | 09:01 (09.08.2021) | O/O on O/V | CHARGED
8 | 220kV S'hally-Mylsandra | 09:54 (09.08.2021) | 18:05 (09.08.2021) | Tripped | CHARGED
9 | 220kV L'pura-JSW#2 | 09:06 (09.08.2021) | 14:14 (09.08.2021) | O/O on L/C | CHARGED
10 | 220kV Kodasally-NPH | 09:58 (09.08.2021) | 10:40 (09.08.2021) | Tripped | CHARGED
11 | 220kV Ranebennr-Guttur | 09:55 (09.08.2021) | 18:56 (09.08.2021) | O/O on L/C | CHARGED
12 | 220kV Bidnal-NPH | 12:48 (09.08.2021) | 17:50 (09.08.2021) | Tripped | CHARGED
13 | 220kV Kemar-Varahi#1 | 11:27 (09.08.2021) | 15:17 (09.08.2021) | O/O on L/C | CHARGED
14 | 220kV Kemar-Varahi#2 | 12:32 (09.08.2021) | 15:18 (09.08.2021) | O/O on L/C | CHARGED
15 | 220kV SGS-SMG#4 | 11:31 (09.08.2021) | 14:31 (09.08.2021) | Tripped | CHARGED
18 | 220kV SGS-S'koppa | 11:33 (09.08.2021) | 12:28 (09.08.2021) | Tripped | CHARGED
19 | 220kV Guttur-Haveri#2 | 20:34 (09.08.2021) | 20:43 (09.08.2021) | Tripped | CHARGED
20 | 220kV RTPS-Sedam | 21:35 (09.08.2021) |  | Tripped
21
22
23
24
25
26
27
28