## M.I Gen & lines-09-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-09
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
6 | YTPS: U2 | 14:55 (04.12.2021) |  | O/O FURNACE PRESSURE LOW
7 | RTPS: U1 | 22:25 (04.12.2021) |  | O/OBOILER TUBE LEAKAGE
8 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220kv Kadkola-K'pet | 08:28 (04.12.2021) |  | O/O on LC (10 days)
4 | 400KV-NARENDRA - GUTTUR-2 | 00:40 (06.12.2021) |  | O/O on O/V
5 | 400KV-NELAMANGALA - TALGUPPA-1 | 14:39 (08.12.2021) | 17:32 (09.12.2021) | Tripped | CHARGED
6 | 400KV-NELAMANGALA - HASSAN-1 | 15:33 (08.12.2021) | 15:05 (09.12.2021) | Tripped | CHARGED
7 | 220kV Ambewadi-Ponda | 13:42 (09.12.2021) | 09:41 (10.12.2021) | Tripped | CHARGED
8 | 220kV VPH-Kemar#2 | 10:40 (09.12.2021) | 12:35 (09.12.2021) | O/O on L/C | CHARGED
9 | 220kV Ranebennr-Shiralkoppa | 10:58 (09.12.2021) | 15:04 (09.12.2021) | O/O on L/C | CHARGED
10 | 220kV A'hally-Vasanthnarapura#1 | 11:44 (09.12.2021) | 12:54 (09.12.2021) | O/O on L/C | CHARGED
11 | 220kV Kemar-Varahi#2 | 13:00 (09.12.2021) | 14:56 (09.12.2021) | Tripped | CHARGED
12 | 220kV SGS-SMG#2 | 13:45 (09.12.2021) | 16:08 (09.12.2021) | Tripped | CHARGED
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32