## M.I Gen & lines-10-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-10
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
3 | RTPS: U1 | 11:04 (08.06.2021) |  | O/O RESERVED SHUTDOWN
4 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
5 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BOILER TUBE LEAKAGE
6 | RTPS:U7 | 10:03 (06.07.2021) | 17:43 (10.07.2021) | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 220kv L'sugur-RTPS -1 | 14:15 (09.07.2021) |  | TRIPPED
3 | 400kV Kolar-Mylsandra line | 10:39 (10.07.2021) | 20:29 (10.07.2021) | TRIPPED | CHARGED
4 | 220kV VPH_SMG#2 line | 10:00 (10.07.2021) | 12:21 (10.07.2021) | TRIPPED | CHARGED
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29