## M.I Gen & lines-10-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-10
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
6 | YTPS: U2 | 14:55 (04.12.2021) |  | O/O FURNACE PRESSURE LOW
7 | RTPS: U1 | 22:25 (04.12.2021) |  | O/OBOILER TUBE LEAKAGE
8 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220kv Kadkola-K'pet | 08:28 (04.12.2021) |  | O/O on LC (10 days)
4 | 400KV-NARENDRA - GUTTUR-2 | 00:40 (06.12.2021) |  | O/O on O/V
5 | 220kv Nar PGCIL-G'Prabha-1 | 10:25 (10.12.2021) | 16:23 (10.12.2021) | o/o on LC | CHARGED
6 | 220kv NAR-Kalburgu-Bgm-1 &2 | 10:57 (10.12.2021) | 16:51 (10.12.2021) | o/o on LC | CHARGED
7 | 220kv Kavoor-Bajpe-1 | 10:15 (10.12.2021) | 11:44 (10.12.2021) | o/o on LC | CHARGED
8 | 220kv VPH-Kemar-2 | 11:05 (10.12.2021) | 13:56 (10.12.2021) | o/o on LC | CHARGED
9 | 220kv Bidnal-Harti-1 | 12:21 (10.12.2021) | 14:52 (10.12.2021) | o/o on LC | CHARGED
10 | 400kv Guttur-Nar-2 | 13:12 (10.12.2021) | 19:42 (10.12.2021) | o/o on LC | CHARGED
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32