## M.I Gen & lines-11-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-11
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U5 | 20:33 (08.10.2021) |  | O/O BOILER TUBE LEAKAGE
3 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
4 | RTPS: U1 | 16:29 (11.10.2021) |  | O/O BOILER TUBE LEAKAGE
5 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
6 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
7 | BTPS: U2 | 05:05 (02.10.2021) | 07:00 (12.10.2021) | O/O DUE TO ELECTRICAL SIDE PROBLEM
8 | YTPS: U2 | 01:52 (28.09.2021) |  | O/O
9 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
10 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kv Hiriyur-BTPS-2 | 22:44 (08.10.2021) | 06:10 (11.10.2021) | O/O on O/V | CHARGED
4 | 400kv NAR-Guttur-2 | 22:52 (08.10.2021) |  | O/O on O/V
5 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
6 | 400KV-KAIGA - GUTTUR-2 | 00:02 (10.10.2021) |  | O/O on O/V
7 | 220KV-KOLAR_AC - T GOLLAHALLI-1 | 00:05 (11.10.2021) | 11:27 (11.10.2021) | Tripped | CHARGED
8 | 220KV-KOLAR_AC - T GOLLAHALLI-2 | 00:05 (11.10.2021) | 11:32 (11.10.2021) | O/O on L/C | CHARGED
9 | 400KV-NELAMANGALA - TALGUPPA-1 | 12:41 (11.10.2021) | 17:38 (11.10.2021) | O/O on L/C | CHARGED
10 | 400KV-GUTTUR - BTPS-1 | 13:10 (11.10.2021) | 13:49 (11.10.2021) | O/O on L/C | CHARGED
11 | 400KV-BTPS- HIRIYUR-2 | 22:59 (11.10.2021) |  | O/O on O/V
12 | 220kV Hoody-HSR | 09:50 (11.10.2021) | 15:43 (11.10.2021) | O/O on L/C | CHARGED
13 | 220kV Shahbad-Gulbarga | 13:11 (11.10.2021) | 14:52 (11.10.2021) | O/O on L/C | CHARGED
14 | 220kV NPH-Hubli#3 | 12:35 (11.10.2021) | 17:22 (11.10.2021) | O/O on L/C | CHARGED
15 | 220kV NPH-Bidnal | 12:35 (11.10.2021) | 17:00 (11.10.2021) | O/O on L/C | CHARGED
16 | 220kV Lingapur-BTPS | 16:10 (11.10.2021) | 18:23 (11.10.2021) | Tripped | CHARGED
17 | 220kV Athani-M L Pura | 16:18 (11.10.2021) | 16:30 (11.10.2021) | Tripped | CHARGED
18 | 220kV RTPS-Mallat#3 | 20:03 (11.10.2021) | 20:25 (11.10.2021) | Tripped | CHARGED
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51