## M.I Gen & lines-12-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-12
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
3 | RTPS: U1 | 11:04 (08.06.2021) |  | O/O RESERVED SHUTDOWN
4 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
5 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BOILER TUBE LEAKAGE
6 | RTPS:U3 | 20:47 (11.07.2021) |  | O/O RESERVED SHUTDOWN
7 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U4 | 15:39 (12.07.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400KV-NARENDRA - GUTTUR-2 | 18:35 (11.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
3 | 400KV-NELAMANGALA - TALGUPPA-1 | 17:11 (11.07.2021) | 06:27 (12.07.2021) | O/O on O/V | CHARGED
4 | 400KV-BPS - JAGALUR-1 | 15:19 (12.07.2021) | 16:39 (12.07.2021) | O/O onL/C | CHARGED
5 | 400KV-BTPS - HIRIYUR-2 | 22:52 (12.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
6 | 400KV-KAIGA - GUTTUR-2 | 23:05 (12.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
7 | 220kV VPH-SG#3 | 07:28 (12.07.2021) | 11:16 (12.07.2021) | Tripped | CHARGED
8 | 220kV SMG-S'PURA | 10:09 (12.07.2021) | 10:20 (12.07.2021) | Tripped | CHARGED
9 | 220kV Guttur-Haveri#2 | 11:35 (12.07.2021) | 17:14 (12.07.2021) | O/O on L/C | CHARGED
10 | 220kV Hubli-Sirsi#2 | 16:32 (12.07.2021) | 18:10 (12.07.2021) | O/O on L/C | CHARGED
11 | 220kV Shahpur-Gulbarga | 20:30 (12.07.2021) | 21:09 (12.07.2021) | Tripped | CHARGED
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29