## M.I Gen & lines-12-09-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-09-12
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U3 | 21:30 (07.09.2021) |  | O/O RESERVE SHUTDOWN
3 | RTPS: U6 | 21:54 (07.09.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U8 | 16:07 (04.09.2021) |  | O/O RESERVE SHUT DOWN
5 | RTPS: U2 | 00:35 (08.09.2021) |  | O/O RESERVE SHUT DOWN (LOW DEMAND)
6 | RTPS: U4 | 05:10 (08.09.2021) |  | O/O RESERVE SHUT DOWN (LOW DEMAND)
7 | BTPS: U1 | 23:43 (06.09.2021) |  | O/O LOW DEMAND
8 | BTPS: U2 | 16:32 (04.09.2021) |  | O/O RESERVE SHUT DOWN
9 | BTPS: U3 | 11:32 (08.09.2021) |  | O/O RESERVE SHUT DOWN
10 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O FLAME FAILURE
11 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
12 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-NARENDRA - GUTTUR-2 | 17:22 (05.09.2021) |  | O/O on O/V | KEPT ON OVER VOLTAGE
4 | 220kV TKHally-Vajamangala | 07:32 (09.09.2021) | 12:10 (12.09.2021) | O/O on LC | CHARGED
5 | 220kv STRP-Talaguppa | 20:51 (11.09.2021) | 11:14 (12.09.2021) | o/o on LC | CHARGED
6 | 400KV-UPCL HASSAN-2 | 21:16 (12.09.2021) | 07:32 (13.09.2021) | O/O on O/V | CHARGED
7 | 400KV-RTPS BTPS-1 | 23:58 (12.09.2021) | 07:41 (13.09.2021) | O/O on O/V | CHARGED
8 | 220kV STRP-SMG | 09:13 (12.09.2021) | 11:12 (12.09.2021) | O/O on LC | CHARGED
9 | 220kV Lingasagur-B'Bgewadi#1&#2 | 09:15 (12.09.2021) | 12:55 (12.09.2021) | O/O on LC | CHARGED
10 | 220kV Bastipura-Kushalnagar | 11:27 (12.09.2021) | 16:33 (12.09.2021) | O/O on LC | CHARGED
11 | 220kV M L Pura-Kudachi | 20:24 (12.09.2021) | 23:08 (12.09.2021) | Tripped | CHARGED
12 | 220kV Kudachi-Chikkodi | 22:24 (12.09.2021) | 23:15 (12.09.2021) | Tripped | CHARGED
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
5
6
7
8
9
10
11
12
13
14
15
18
19
20
21
22
23
24
25
26
27
28