## M.I Gen & lines-13-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-13
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U5 | 20:33 (08.10.2021) | 15:22 (12.10.2021) | O/O BOILER TUBE LEAKAGE
3 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
4 | RTPS: U1 | 16:29 (11.10.2021) |  | O/O BOILER TUBE LEAKAGE
5 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
6 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
7 | YTPS: U2 | 01:52 (28.09.2021) |  | O/O
8 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
9 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 400KV-KAIGA - GUTTUR-2 | 00:02 (10.10.2021) |  | O/O on O/V
5 | 110kV Konaje-Manjeswara | 10:45 (13.10.2021) | 12:04 (13.10.2021) | O/o on LC | CHARGED
6 | 220kV BBWadi-Baluti | 11:20 (13.10.2021) | 16:13 (13.10.2021) | O/o on LC | CHARGED
7 | 400kV NLM-TGP | 13:25 (13.10.2021) | 17:07 (13.10.2021) | O/o on LC | CHARGED
8 | 220kV RTPS-Shahpur Line 1 | 21:46 (13.10.2021) | 22:53 (13.10.2021) | Tripped | CHARGED
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51