## M.I Gen & lines-13-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-13
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 21:28 (31.10.2021) |  | O/O BOILER TUBE LEAKAGE
2 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
4 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U5 | 10:54 (09.11.2021) |  | O/O GT PROTEC OPERATED
6 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
7 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
8 | RTPS:U8 | 09:50 (10.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220KV-AMBEWADI - PONDA-1 | 17:21 (25.10.2021) |  | Tripped
4 | 400KV-KAIGA - GUTTUR-2 | 20:58 (10.11.2021) |  | O/O On OV
5 | 400KV-NARENDRA - GUTTUR-1 | 21:44 (10.11.2021) |  | O/O On OV
6 | 400kV NLM-hiriyur#2 | 04:01 (11.11.2021) |  | T/P on O/V
7 | 220kv Lingasugur-shahapur | 23:56 (12.11.2021) | 21:10 (13.11.2021) | Tripped | CHARGED
8 | 220kv Lingasugur-Kustagi | 16:05 (12.11.2021) | 12:42 (13.11.2021) | Tripped | CHARGED
9 | 220Kv Talaguppa- SGS - 2 | 20:59 (12.11.2021) | 15:41 (13.11.2021) | Tripped | CHARGED
10 | 400kv Guttur-NRN - 2 | 21:10 (12.11.2021) |  | O/O on L/C
11 | 220kV SMG-Kadur | 02:17 (13.11.2021) | 12:04 (13.11.2021) | Tripped | CHARGED
12 | 220kV Shirakoppa-RNR | 11:11 (13.11.2021) | 12:45 (13.11.2021) | Tripped | CHARGED
13 | 220Kv Talaguppa- SGS - 1 | 12:43 (13.11.2021) | 14:53 (13.11.2021) | O/O on L/C | CHARGED
14 | 400kV Guttur-BTPS#1 | 17:47 (13.11.2021) |  | Tripped
15 | 400kV UPCL-Hassan#1 | 17:59 (13.11.2021) | 18:41 (13.11.2021) | Tripped | CHARGED
16 | 400kV UPCL-Hassan#2 | 17:59 (13.11.2021) | 18:31 (13.11.2021) | Tripped | CHARGED
17 | 220kV Guttur-Haveri | 18:47 (13.11.2021) |  | Tripped
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32