## M.I Gen & lines-14-06-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-06-14
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVED SHUTDOWN
3 | UPCL: U2 | 11:34 (08.05.2021) |  | O/O RESERVED SHUTDOWN
4 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U3 | 23:15 (12.05.2021) |  | O/O RESERVED SHUTDOWN
6 | RTPS: U7 | 22:41 (12.05.2021) |  | O/O RESERVED SHUTDOWN
7 | RTPS: U4 | 12:17 (15.05.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U5 | 11:02 (15.05.2021) |  | O/O RESERVED SHUTDOWN
9 | BTPS: U1 | 19:48 (02.06.2021) |  | O/O RESERVED SHUTDOWN
10 | RTPS: U6 | 10:17 (06.06.2021) |  | O/O RESERVED SHUTDOWN
11 | RTPS: U8 | 10:17 (06.06.2021) |  | O/O RESERVED SHUTDOWN
12 | BTPS: U2 | 18:54 (07.06.2021) |  | O/O RESERVED SHUTDOWN
13 | RTPS: U1 | 11:04 (08.06.2021) |  | O/O RESERVED SHUTDOWN
14 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RESERVED SHUTDOWN
15 | BTPS: U2 | 23:36 (12.06.2021) |  | O/O RESERVED SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV Devanahalli-YNK | 08:35 (12.05.2021) |  | O/O on L/C | FOR NORMALISATION OF LINE TO DEVANAHALLI YNK/TKR-YNK
3 | 400KV-NARENDRA - GUTTUR-2 | 20:04 (03.06.2021) |  | O/O on O/V | KEPT OPEN FOR OVER VOLTAGE
4 | 400kV NLM-Hassan#1 | 16:14 (12.06.2021) | 12:40 (14.06.2021) | Tripped | CHARGED
5 | 400kV -Hiriyur-BTPS # 2 line | 23:55 (12.06.2021) | 07:27 (14.06.2021) | O/O on O/V | CHARGED
6 | 400kV Nelamangal-Hiriyur #2 line | 03:55 (12.06.2021) | 07:15 (14.06.2021) | O/O on O/V | CHARGED
7 | 400KV-NELAMANGALA - TALGUPPA-1 | 09:37 (14.06.2021) | 11:42 (14.06.2021) | O/O on L/C | CHARGED
8 | 400KV-NELAMANGALA - HASSAN-1 | 13:47 (14.06.2021) |  | Tripped | B PHASE FAULT
9 | 400KV-UPCL - HASSAN-2 | 23:16 (14.06.2021) |  | O/O on O/V | KEPT OPEN FOR OVER VOLTAGE
10 | 220kV S'hally-HSR | 12:50 (14.06.2021) | 15:40 (14.06.2021) | O/O on L/C | CHARGED
11 | 220kV Varahi-SMG#3 | 10:35 (14.06.2021) | 15:15 (14.06.2021) | O/O on L/C | CHARGED
12 | 220kV Mylsandra-Y'hally | 13:07 (14.06.2021) | 17:15 (14.06.2021) | Tripped | CHARGED
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29