## M.I Gen & lines-14-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-14
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
3 | RTPS: U1 | 11:04 (08.06.2021) |  | O/O RESERVED SHUTDOWN
4 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
5 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RESERVED SHUTDOWN(12.07.2021)
6 | RTPS:U3 | 20:47 (11.07.2021) | 10:42 (14.07.2021) | O/O RESERVED SHUTDOWN
7 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U4 | 15:39 (12.07.2021) |  | O/O BOILER TUBE LEAKAGE
9 | RTPS: U7 | 01:22 (13.07.2021) |  | O/O DUE TO VALVE PROBLEM
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400KV-BTPS - HIRIYUR-2 | 22:52 (12.07.2021) | 06:32 (14.07.2021) | O/O on O/V | CHARGED
3 | 400KV-NARENDRA - GUTTUR-1 | 20:04 (13.07.2021) | 09:20 (14.07.2021) | O/O on O/V | CHARGED
4 | 400kV TGP-NLM | 01:28 (14.07.2021) | 07:21 (14.07.2021) | O/O on O/V | CHARGED
5 | 400kV Kaiga-Guttur#2 | 02:16 (14.07.2021) | 09:33 (14.07.2021) | O/O on O/V | CHARGED
6 | 400kV BPS-JSW#3 | 10:01 (14.07.2021) | 15:12 (14.07.2021) | O/O on L/C | CHARGED
7 | 220kV Kemar-MSEZ#2 | 16:52 (14.07.2021) | 22:30 (14.07.2021) | Tripped | CHARGED
8 | 220kV Naghnathpura-HSR | 18:08 (14.07.2021) | 18:18 (14.07.2021) | Tripped | CHARGED
9 | 220kV Varahi-Kemar#1 | 20:01 (14.07.2021) |  | Tripped
10 | 220kV Ambewdai-Xeldom | 20:48 (14.07.2021) |  | Tripped
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29