## M.I Gen & lines-14-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-14
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
2 | RTPS: U1 | 16:29 (11.10.2021) | 23:42 (14.10.2021) | O/O BOILER TUBE LEAKAGE
3 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
4 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
5 | YTPS: U2 | 01:52 (28.09.2021) | 21:14 (14.10.2021) | O/O
6 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
7 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 400KV-KAIGA - GUTTUR-2 | 00:02 (10.10.2021) |  | O/O on O/V
5 | 220kV RTPS-Shapur line | 02:05 (14.10.2021) |  | Tripped
6 | 400kV Narendra-Guttur #2 line | 17:19 (14.10.2021) |  | O/O on O/V
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51