## M.I Gen & lines-14-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-14
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS: U1 | 22:25 (04.12.2021) |  | O/OBOILER TUBE LEAKAGE LATER ON RESERVE SHUTDOWN
7 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kv UPCL- Hassan -2 | 22:37 (13.12.2021) |  | o/o on OV
4 | 220kv Kadkola-K'pet | 17:38 (12.12.2021) | 16:16 (14.12.2021) | Tripped | IDLE CHARGED AT K'PET END
5 | 400KV-KAIGA - GUTTUR-1 | 06:19 (12.12.2021) |  | Tripped
6 | 220kV ML Pura-Narendra#1 | 10:33 (14.12.2021) |  | O/o on LC
7 | 220kV C'Magalur-Hassan | 10:34 (14.12.2021) | 15:09 (14.12.2021) | O/o on LC | CHARGED
8 | 220kV Shimoga-C'Magalur | 15:21 (14.12.2021) | 18:18 (14.12.2021) | O/o on LC | CHARGED
9 | 220kV Malur-Kolar#3 | 18:06 (14.12.2021) | 18:32 (14.12.2021) | Tripped | CHARGED
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32